## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 02-Jul-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 77536 | 55413 | 45317 | 26070 | 2826 | 207162
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1709 | 1275.7 | 1070.05 | 570.93 | 52.68 | 4678.36
Hydro Gen (MU) |  | 350.45 | 34.07 | 65.5 | 63.33 | 40.46 | 553.81
Wind Gen (MU) |  | 39.47 | 176.404 | 196.36 | - | - | 412.234
Solar Gen (MU)* |  | 159.34 | 51.563 | 95.49 | 2.56 | 0.26 | 309.213
Energy Shortage (MU) |  | 0.22 | 0 | 0 | 0 | 0 | 0.22
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 79469 | 56337 | 50120 | 27454 | 2890 | 208851
Time Of Maximum Demand Met |  | 21:30 | 19:47 | 10:44 | 22:51 | 19:15 | 21:28
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.03 | 0 | 0 | 1.97 | 1.97 | 77.29 | 20.74
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 15701 | 0 | 330.84 | 205.68 | -3.01 | 197 | 0
| Haryana | 12311 | 0 | 255.55 | 192.15 | -1.92 | 274 | 0
| Rajasthan | 14057 | 0 | 305.47 | 85.79 | 0.31 | 446 | 0
| Delhi | 7196 | 0 | 142.41 | 130.02 | 0.14 | 288 | 0
NR | UP | 25992 | 0 | 521.08 | 267.76 | -1.28 | 472 | 0
| Uttarakhand | 2458 | 0 | 51.58 | 28.71 | 0.17 | 268 | 0.22
| HP | 1804 | 0 | 38.38 | 4.84 | 0.72 | 102 | 0
| J&K(UT) & Ladakh(UT) | 3665 | 0 | 51.52 | 30.69 | -4.93 | 0 | 0
| Chandigarh | 412 | 0 | 8.27 | 8.26 | 0.01 | 44 | 0
| Railways_NR ISTS | 206 | 0 | 4.27 | 3.76 | 0.51 | 71 | 0
| Chhattisgarh | 4911 | 0 | 110.27 | 59.7 | -1.92 | 191 | 0
| Gujarat | 16640 | 0 | 371.1 | 142.79 | -7.102 | 1280 | 0
| MP | 10011 | 0 | 217.45 | 107.06 | -4.03 | 384 | 0
WR | Maharashtra | 22900 | 0 | 504.63 | 153.73 | -5.941 | 1203 | 0
| Goa | 661 | 0 | 14.8328 | 13.66 | 0.8533 | 64 | 0
| DNHDDPDCL | 1245 | 0 | 28.3429 | 28.94 | -0.5971 | 56 | 0
| AMNSIL | 772 | 0 | 16.5724 | 6.22 | 0.84 | 287 | 0
| BALCO | 525 | 0 | 12.5209 | 12.58 | -0.0591 | 7 | 0
| Andhra Pradesh | 9094 | 0 | 195.3 | 45.51 | -1.38 | 437 | 0
| Telangana | 10042 | 0 | 204.09 | 132.91 | 0.57 | 644 | 0
SR | Karnataka | 12402 | 0 | 224.26 | 51.77 | -3.71 | 421 | 0
| Kerala | 3736 | 0 | 78.24 | 43.37 | 1.75 | 481 | 0
| Tamil Nadu | 16901 | 0 | 357.9 | 163.2 | -0.06 | 1784 | 0
| Puducherry | 464 | 0 | 10.26 | 9.92 | -0.24 | 44 | 0
| Bihar | 6685 | 0 | 134.93 | 127.29 | -3.02 | 403 | 0
| DVC | 3353 | 0 | 71.53 | -34.05 | -1.16 | 320 | 0
| Jharkhand | 2098 | 0 | 40.8 | 29.83 | -0.65 | 225 | 0
ER | Odisha | 5266 | 0 | 109.9 | 35.78 | -1.41 | 363 | 0
| West Bengal | 10027 | 0 | 212.38 | 70.91 | -1.57 | 222 | 0
| Sikkim | 86 | 0 | 1.24 | 1.44 | -0.2 | 22 | 0
| Railways_ER ISTS | 15 | 0 | 0.15 | 0.12 | 0.03 | 3 | 0
| Arunachal Pradesh | 107 | 0 | 1.92 | 2.76 | -1.48 | 0 | 0
| Assam | 1820 | 0 | 33.57 | 25.04 | 0.63 | 185 | 0
| Manipur | 174 | 0 | 2.63 | 2.91 | -0.28 | 17 | 0
NER | Meghalaya | 323 | 0 | 5.79 | 0.41 | -0.18 | 75 | 0
| Mizoram | 109 | 0 | 1.59 | 0.99 | -0.46 | 0 | 0
| Nagaland | 145 | 0 | 2.44 | 2.37 | -0.3 | 35 | 0
| Tripura | 269 | 0 | 4.74 | 4.04 | -0.18 | 10 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 33.9 | 13.64 | -24.525 | -11.143
Day Peak (MW) |  | 1621 | 705.336 | -1031 | -763.78
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 398.91 | -334.69 | 53.61 | -105 | -12.83 | 0
Actual(MU) |  | 371.88 | -337.75 | 74.408 | -105.23 | -17.85 | -14.542
O/D/U/D(MU) |  | -27.03 | -3.06 | 20.798 | -0.23 | -5.02 | -14.542
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4379.62 | 10484.7 | 6798 | 3766 | 596.8 | 26025.12 | 48.1843
State Sector |  | 6695.5 | 12075 | 7848 | 1249 | 119 | 27986.5 | 51.8157
Total |  | 11075.12 | 22559.7 | 14646 | 5015 | 715.8 | 54011.62 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 791.44 | 1371.92 | 558.29 | 685.57 | 14.23 | 3421.45 | 67.8065
Lignite |  | 29.87 | 13.49 | 54.83 | 0 | 0 | 98.19 | 1.9459
Hydro |  | 350.45 | 34.07 | 65.5 | 63.33 | 40.46 | 553.81 | 10.9754
Nuclear |  | 29.49 | 57.74 | 51.66 | 0 | 0 | 138.89 | 2.7525
Gas, Naptha & Diesel |  | 20.02 | 24.71 | 5.2 | 0 | 20.94 | 70.87 | 1.4045
RES (Wind, Solar, Biomass & Others) |  | 206.58 | 230.43 | 321 | 4.42 | 0.26 | 762.69 | 15.115
Total |  | 1427.85 | 1732.36 | 1056.48 | 753.32 | 75.89 | 5045.9 | 100
Share of RES in total generation (%) |  | 14.4679 | 13.3015 | 30.3839 | 0.58674 | 0.3426 | 15.115
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 41.0771 | 18.6012 | 41.4736 | 8.9935 | 53.6566 | 28.843
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.035 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.075 |  | Solar hr | 203429 |  | 11:58 | 0
|  |  |  | Non-Solar hr | 208851 |  | 21:28 | 0
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 02-Jul-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 95 | 0 | 2.51 |  | -2.51
3 | 765 kV | GAYA-VARANASI | 2 | 259 | 762 | 0 | 9.66 |  | -9.66
4 | 765 kV | SASARAM-FATEHPUR | 1 | 25 | 540 | 0 | 8.25 |  | -8.25
5 | 765 kV | GAYA-BALIA | 1 | 0 | 671 | 0 | 9.59 |  | -9.59
6 | 400 kV | PUSAULI-VARANASI | 1 | 6 | 101 | 0 | 0.9 |  | -0.9
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 7 | 102 | 0 | 1.53 |  | -1.53
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 1117 | 0 | 18.64 |  | -18.64
9 | 400 kV | PATNA-BALIA | 2 | 0 | 858 | 0 | 12.29 |  | -12.29
10 | 400 kV | NAUBATPUR-BALIA | 2 | 3 | 259 | 0 | 3.94 |  | -3.94
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 68 | 270 | 0 | 3.44 |  | -3.44
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 659 | 0 | 11.86 |  | -11.86
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 43 | 366 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 30 | 64 | 0 | 1 |  | -1
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.53 | 0 |  | 0.53
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.53 | 83.61 |  | -83.08
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 126 | 1068 | 0 | 11.92 |  | -11.92
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1735 | 150 | 24.91 | 0 |  | 24.91
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 644 | 0 | 9.68 |  | -9.68
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 279 | 370 | 0 | 1.55 |  | -1.55
5 | 400 kV | RANCHI-SIPAT | 2 | 439 | 80 | 3.86 | 0 |  | 3.86
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 163 | 0 | 2.53 |  | -2.53
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 0 | 138 | 0 | 1.43 |  | -1.43
ER-WR | [5 empty] | 28.77 | 27.11 |  | 1.66
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 202 | 0 | 4.81 | 0 |  | 4.81
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1688 | 0 | 40.9546 |  | -40.9546
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2574 | 0 | 47.14 |  | -47.14
4 | 400 kV | TALCHER-I/C | 2 | 0 | 717 | 0 | 9.3148 |  | -9.3148
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 4.81 | 88.0946 |  | -83.2846
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 671 | 0 | 12.4 | 0 |  | 12.4
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 876 | 0 | 15.1 | 0 |  | 15.1
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 169 | 0 | 2.96 | 0 |  | 2.96
ER-NER | [5 empty] | 30.46 | 0 |  | 30.46
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 507 | 0 | 11.88 | 0 |  | 11.88
NER-NR | [5 empty] | 11.88 | 0 |  | 11.88
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 3021 | 0 | 73.18 |  | -73.18
2 | HVDC | VINDHYACHAL B/B | - | 0 | 512 | 0 | 12.03 |  | -12.03
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1450 | 0 | 36.28 |  | -36.28
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 3200 | 0 | 50.28 |  | -50.28
5 | 765 kV | GWALIOR-PHAGI | 2 | 450 | 1769 | 1.33 | 23.77 |  | -22.44
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1411 | 0 | 46.23 |  | -46.23
7 | 765 kV | GWALIOR-ORAI | 1 | 631 | 0 | 9.87 | 0 |  | 9.87
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1222 | 0 | 23.14 |  | -23.14
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 855 | 2107 | 3.31 | 12.38 |  | -9.07
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3235 | 0 | 53.95 |  | -53.95
11 | 400 kV | ZERDA-KANKROLI | 1 | 238 | 304 | 1.27 | 1.47 |  | -0.2
12 | 400 kV | ZERDA -BHINMAL | 1 | 165 | 210 | 0.88 | 1.01 |  | -0.13
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 972 | 0 | 21.64 | 0 |  | 21.64
14 | 400 kV | RAPP-SHUJALPUR | 2 | 263 | 718 | 1.07 | 6.73 |  | -5.66
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 292 | 690 | 1.14 | 6.28 |  | -5.14
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 69 | 0 | 1.09 |  | -1.09
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.08 |  | -2.08
18 | 220 kV | MEHGAON-AURAIYA | 1 | 47 | 46 | 0.32 | 0.13 |  | 0.19
19 | 220 kV | MALANPUR-AURAIYA | 1 | 25 | 56 | 0.05 | 0.63 |  | -0.58
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 40.88 | 350.66 |  | -309.78
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 501 | 0 | 10.6 | 0 |  | 10.6
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2503 | 0 | 31.71 |  | -31.71
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1512 | 302 | 16.1 | 0.16 |  | 15.94
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2210 | 0 | 27.95 |  | -27.95
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2235 | 0 | 27.34 |  | -27.34
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1896 | 0 | 35.18 | 0 |  | 35.18
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 1 | 0 | 0.01 |  | -0.01
9 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 0 | 0 | 0.01 |  | -0.01
WR-SR | [5 empty] | 61.88 | 87.18 |  | -25.3
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 718.47 | 0 | 642.91 |  | 15.4298
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 786.209 | 709.077 | 723.83 |  | 17.372
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -28.444 | 24.093 | -2.37 |  | -0.0568
|  | NER | 132kV GELEPHU-SALAKATI |  | 12 | 0 | 8.75 |  | 0.21
|  | NER | 132kV MOTANGA-RANGIA |  | 52 | 0 | 39.167 |  | 0.94
|  | NR | NEPAL IMPORT (FROM UP) |  | -9 | 0 | 0 |  | 0
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 66.336 | 0 | 44 |  | 1.05
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 639 | 394 | 524.583 |  | 12.59
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -947 | -944 | -946.04 |  | -22.705
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -763.78 | 0 | -464.292 |  | -11.143
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -84 | 0 | -75.8333 |  | -1.82

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 02-Jul-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 22.6 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.6
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.6 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.6
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 31.04 |  | 0 | 1.09 | 0 | 0 | 0.06 |  | 0 | 0 |  | 32.19
Nepal | 2.63 |  | 0 | 8.32 | 0 | 0 | 2.21 |  | 0 | 0 |  | 13.16
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 33.67 |  | 0 | 9.41 | 0 | 0 | 2.27 |  | 0 | 0 |  | 45.35
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 31.04 |  | 0 | 1.09 | 0 | 0 | 0.06 |  | 0 | 0 |  | 32.19
Nepal | 2.63 |  | 0 | 8.32 | 0 | 0 | 2.21 |  | 0 | 0 |  | 13.16
Bangladesh | -22.6 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.6
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 11.07 |  | 0 | 9.41 | 0 | 0 | 2.27 |  | 0 | 0 |  | 22.75