## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 03-Jun-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 72296 | 62670 | 42531 | 25898 | 2935 | 206330
Peak Shortage (MW) |  | 51 | 160 | 0 | 0 | 0 | 211
Energy Met (MU) |  | 1698 | 1564.3 | 1079.99 | 580.22 | 52.2 | 4974.71
Hydro Gen (MU) |  | 315.89 | 54.25 | 44.5 | 27.66 | 30.64 | 472.94
Wind Gen (MU) |  | 32.45 | 107.09 | 77.4 | - | - | 216.94
Solar Gen (MU)* |  | 173.83 | 92.32 | 118.62 | 3.08 | 0.92 | 388.77
Energy Shortage (MU) |  | 3.52 | 3.28 | 0 | 1.2077 | 0 | 8.0077
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 77749 | 70047 | 50108 | 27268 | 2944 | 225900
Time Of Maximum Demand Met |  | 14:35 | 14:48 | 14:46 | 22:58 | 20:01 | 14:35
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.03 | 0.09 | 0.66 | 5.25 | 6.01 | 88.65 | 5.35
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 12382 | 0 | 251.2 | 133.58 | 1.01 | 389 | 0
| Haryana | 10473 | 0 | 225.78 | 168.33 | -1.36 | 489 | 0
| Rajasthan | 15943 | 0 | 337.1 | 122.11 | -3.79 | 217 | 2.89
| Delhi | 7233 | 0 | 144.63 | 124.78 | -1.37 | 231 | 0
NR | UP | 27884 | 0 | 585.26 | 289.67 | 0.29 | 351 | 0
| Uttarakhand | 2499 | 0 | 53.72 | 28.9 | -0.04 | 137 | 0
| HP | 1587 | 0 | 34.51 | 3.02 | -0.22 | 75 | 0
| J&K(UT) & Ladakh(UT) | 2581 | 165 | 54.52 | 27.93 | 0.79 | 376 | 0.63
| Chandigarh | 380 | 0 | 7.27 | 7.19 | 0.08 | 46 | 0
| Railways_NR ISTS | 217 | 0 | 3.96 | 3.9 | 0.06 | 48 | 0
| Chhattisgarh | 5277 | 0 | 117.5 | 59.2 | -1.3 | 122 | 0
| Gujarat | 22978 | 0 | 470.7 | 168.2 | -1.6 | 685 | 0
| MP | 13071 | 0 | 292.4 | 169.5 | -5.5 | 542 | 0
WR | Maharashtra | 27243 | 0 | 612.4 | 217.9 | -6.7 | 1048 | 0.82
| Goa | 759 | 0 | 12.8 | 12.1 | 0.5 | 116 | 2.46
| DNHDDPDCL | 1247 | 0 | 28.5 | 28.5 | 0 | 50 | 0
| AMNSIL | 797 | 0 | 17.5 | 7.8 | 0.4 | 295 | 0
| BALCO | 524 | 0 | 12.5 | 12.2 | 0.3 | 217 | 0
| Andhra Pradesh | 10835 | 0 | 221.62 | 61.84 | -2.09 | 598 | 0
| Telangana | 10226 | 0 | 209.83 | 97.8 | -0.08 | 701 | 0
SR | Karnataka | 11122 | 0 | 219.84 | 70.57 | -3.44 | 618 | 0
| Kerala | 3789 | 0 | 77.66 | 54.49 | 0.25 | 281 | 0
| Tamil Nadu | 15631 | 0 | 341.4 | 178.36 | 4.57 | 1870 | 0
| Puducherry | 457 | 0 | 9.64 | 9.32 | -0.27 | 26 | 0
| Bihar | 6813 | 0 | 134.21 | 124.06 | 2.51 | 343 | 0.7937
| DVC | 3208 | 0 | 69.33 | -38.89 | -0.72 | 356 | 0.414
| Jharkhand | 2090 | 414 | 42.48 | 29 | 1.27 | 434 | 0
ER | Odisha | 6260 | 0 | 124.36 | 51.49 | -0.31 | 431 | 0
| West Bengal | 10964 | 0 | 208.73 | 66.78 | -0.05 | 463 | 0
| Sikkim | 62 | 0 | 0.98 | 1.37 | -0.39 | 3 | 0
| Railways_ER ISTS | 13 | 0 | 0.13 | 0.13 | 0 | 2 | 0
| Arunachal Pradesh | 124 | 0 | 2.75 | 2.42 | 0.12 | 21 | 0
| Assam | 1894 | 0 | 30.22 | 23.61 | -1.02 | 190 | 0
| Manipur | 180 | 0 | 2.81 | 2.86 | -0.05 | 24 | 0
NER | Meghalaya | 256 | 0 | 4.67 | -0.46 | -0.16 | 34 | 0
| Mizoram | 100 | 0 | 1.87 | 1.32 | -0.02 | 33 | 0
| Nagaland | 144 | 0 | 2.54 | 2.54 | 0 | 19 | 0
| Tripura | 311 | 0 | 7.34 | 6.19 | 1.19 | 52 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 1.43 | -0.468 | -23.365 | -31.37
Day Peak (MW) |  | 168.28 | 200.478 | -1033 | -1471.96
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 367.08 | -331.93 | 53.08 | -76.86 | -11.37 | 0
Actual(MU) |  | 348.67 | -318.2 | 48.87 | -73.65 | -10.87 | -5.18
O/D/U/D(MU) |  | -18.41 | 13.73 | -4.21 | 3.21 | 0.5 | -5.18
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4583.86 | 5234.2 | 4718 | 4375.6 | 301 | 19212.66 | 49.6456
State Sector |  | 6085.5 | 5895.5 | 5303 | 2104 | 98.94 | 19486.94 | 50.3544
Total |  | 10669.36 | 11129.7 | 10021 | 6479.6 | 399.94 | 38699.6 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 831.09 | 1656.03 | 704.84 | 707.28 | 14.78 | 3914.02 | 72.8605
Lignite |  | 16.8 | 18.18 | 63.1 | 0 | 0 | 98.08 | 1.8258
Hydro |  | 315.89 | 54.25 | 44.5 | 27.66 | 30.64 | 472.94 | 8.8039
Nuclear |  | 29.81 | 63.93 | 51.2 | 0 | 0 | 144.94 | 2.6981
Gas, Naptha & Diesel |  | 31.53 | 37.79 | 5.9 | 0 | 23.84 | 99.06 | 1.844
RES (Wind, Solar, Biomass & Others) |  | 213.56 | 202.2 | 222.39 | 3.83 | 0.92 | 642.9 | 11.9677
Total |  | 1438.68 | 2032.38 | 1091.93 | 738.77 | 70.18 | 5371.94 | 100
Share of RES in total generation (%) |  | 14.8442 | 9.9489 | 20.3667 | 0.51843 | 1.3109 | 11.9677
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 38.8731 | 15.7638 | 29.131 | 4.2625 | 44.9701 | 23.4697
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.009 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.051 |  | Solar hr | 225900 |  | 14:35 | 120
|  |  |  | Non-Solar hr | 219435 |  | 0:00 | 0
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 03-Jun-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 3 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 570 | 855 | 0 | 5.2 |  | -5.2
4 | 765 kV | SASARAM-FATEHPUR | 1 | 8 | 506 | 0 | 6.94 |  | -6.94
5 | 765 kV | GAYA-BALIA | 1 | 0 | 685 | 0 | 11.24 |  | -11.24
6 | 400 kV | PUSAULI-VARANASI | 1 | 98 | 84 | 0 | 0.51 |  | -0.51
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 180 | 107 | 0 | 0.1 |  | -0.1
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 840 | 0 | 10.73 |  | -10.73
9 | 400 kV | PATNA-BALIA | 2 | 0 | 1039 | 0 | 13.02 |  | -13.02
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 331 | 0 | 5.3 |  | -5.3
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 156 | 299 | 0 | 2.39 |  | -2.39
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 620 | 0 | 9.69 |  | -9.69
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 164 | 298 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 18 | 64 | 0 | 0.8 |  | -0.8
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0.09 | 0 |  | 0.09
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.56 | 0 |  | 0.56
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.65 | 65.92 |  | -65.27
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 422 | 1025 | 0 | 0.26 |  | -0.26
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1608 | 70 | 22.81 | 0 |  | 22.81
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 701 | 0 | 9.45 |  | -9.45
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 174 | 350 | 0 | 1.68 |  | -1.68
5 | 400 kV | RANCHI-SIPAT | 2 | 443 | 25 | 6.19 | 0 |  | 6.19
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 13 | 166 | 0 | 1.63 |  | -1.63
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 50 | 131 | 0 | 0.66 |  | -0.66
ER-WR | [5 empty] | 29 | 13.68 |  | 15.32
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 163 | 0 | 3.71 |  | -3.71
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1691 | 0 | 40.95 |  | -40.95
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 1922 | 0 | 34.67 |  | -34.67
4 | 400 kV | TALCHER-I/C | 2 | 0 | 563 | 0 | 9.67 |  | -9.67
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 79.33 |  | -79.33
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 620 | 0 | 8.56 | 0 |  | 8.56
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 967 | 0 | 16 | 0 |  | 16
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 183 | 0 | 2.99 | 0 |  | 2.99
ER-NER | [5 empty] | 27.55 | 0 |  | 27.55
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 654 | 0 | 15.8 | 0 |  | 15.8
NER-NR | [5 empty] | 15.8 | 0 |  | 15.8
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 6048 | 0 | 88.29 |  | -88.29
2 | HVDC | VINDHYACHAL B/B | - | 0 | 254 | 0 | 11.99 |  | -11.99
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1442 | 2.84 | 36.31 |  | -33.47
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2710 | 0 | 41.29 |  | -41.29
5 | 765 kV | GWALIOR-PHAGI | 2 | 426 | 1557 | 1.21 | 20.83 |  | -19.62
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1185 | 0 | 38.44 |  | -38.44
7 | 765 kV | GWALIOR-ORAI | 1 | 701 | 0 | 11.19 | 0 |  | 11.19
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1156 | 0 | 22.64 |  | -22.64
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 832 | 1156 | 5.27 | 6.62 |  | -1.35
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3691 | 0 | 65.18 |  | -65.18
11 | 400 kV | ZERDA-KANKROLI | 1 | 196 | 208 | 1.37 | 1.13 |  | 0.24
12 | 400 kV | ZERDA -BHINMAL | 1 | 196 | 207 | 1.37 | 1.13 |  | 0.24
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 962 | 0 | 22.06 | 0 |  | 22.06
14 | 400 kV | RAPP-SHUJALPUR | 2 | 304 | 521 | 1.28 | 4.77 |  | -3.49
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 397 | 483 | 1.82 | 4.26 |  | -2.44
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 114 | 0 | 1.96 |  | -1.96
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.47 |  | -2.47
18 | 220 kV | MEHGAON-AURAIYA | 1 | 42 | 25 | 0.25 | 0.05 |  | 0.2
19 | 220 kV | MALANPUR-AURAIYA | 1 | 23 | 39 | 0.05 | 0.26 |  | -0.21
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 48.71 | 347.62 |  | -298.91
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 300 | 0 | 7.2 | 0 |  | 7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1602 | 0 | 30.54 |  | -30.54
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1331 | 0 | 16.15 | 0 |  | 16.15
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 431 | 1144 | 0.28 | 13.74 |  | -13.46
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 261 | 1442 | 0.1 | 19.14 |  | -19.04
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1645 | 0 | 31.06 | 0 |  | 31.06
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 81 | 0 | 2.1 | 0 |  | 2.1
9 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 129 | 2.4 | 0 |  | 2.4
WR-SR | [5 empty] | 59.29 | 63.42 |  | -4.13
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 213.208 | 127.645 | 158.32 |  | 3.7996
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 92.018 | 27.064 | 56.79 |  | 1.363
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -196.168 | -132.447 | -164 |  | -3.936
|  | NER | 132kV GELEPHU-SALAKATI |  | -23.06 | -2.15 | -16.25 |  | -0.39
|  | NER | 132kV MOTANGA-RANGIA |  | 50.34 | -13 | 24.583 |  | 0.59
|  | NR | NEPAL IMPORT (FROM UP) |  | -72 | 0 | -4 |  | -0.09
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -72 | 0 | -38 |  | -0.92
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -139.49 | 0 | -64.5 |  | -1.548
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 335 | -279 | 87.083 |  | 2.09
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -931 | -780 | -885.21 |  | -21.245
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1471.96 | -1200.19 | -1307.083 |  | -31.37
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -102 | 0 | -88.3333 |  | -2.12

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 03-Jun-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.37 |  | 0 | 0.46 | 0 | 0 | 1.68 |  | 0 | 0 |  | 2.51
Bangladesh | 21.3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.3
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.67 |  | 0 | 0.46 | 0 | 0 | 1.68 |  | 0 | 0 |  | 23.81
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.41 |  | 0 | 0.13 | 0 | 0 | 0 |  | 0 | 0 |  | 0.54
Nepal | 2.63 |  | 0 | 0 | 0 | 0 | 1.25 |  | 0 | 0 |  | 3.88
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 3.04 |  | 0 | 0.13 | 0 | 0 | 1.25 |  | 0 | 0 |  | 4.42
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.41 |  | 0 | 0.13 | 0 | 0 | 0 |  | 0 | 0 |  | 0.54
Nepal | 2.26 |  | 0 | -0.46 | 0 | 0 | -0.43 |  | 0 | 0 |  | 1.37
Bangladesh | -21.3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.3
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -18.63 |  | 0 | -0.33 | 0 | 0 | -0.43 |  | 0 | 0 |  | -19.39