## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 04-Jul-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 71032 | 59254 | 47091 | 25676 | 3197 | 206250
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1640 | 1333.2 | 1140.81 | 537.74 | 59.41 | 4711.16
Hydro Gen (MU) |  | 362.53 | 33.7 | 73.7 | 67.01 | 41.14 | 578.08
Wind Gen (MU) |  | 38.97 | 231.16 | 211.82 | - | - | 481.95
Solar Gen (MU)* |  | 164.54 | 70.43 | 111.01 | 1.39 | 0.95 | 348.32
Energy Shortage (MU) |  | 0.11 | 0 | 0 | 0.022 | 0 | 0.132
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 73903 | 59773 | 52762 | 26340 | 3210 | 206103
Time Of Maximum Demand Met |  | 00:00 | 19:41 | 11:47 | 20:43 | 19:59 | 19:48
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.036 | 0 | 0.64 | 6.68 | 7.31 | 78.8 | 13.89
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 15295 | 0 | 315.61 | 201.47 | -3.16 | 250 | 0
| Haryana | 12172 | 0 | 255.22 | 193.63 | -4.73 | 195 | 0
| Rajasthan | 15425 | 0 | 324.51 | 115.93 | -0.37 | 696 | 0
| Delhi | 6835 | 0 | 138.06 | 128.32 | -2.67 | 131 | 0
NR | UP | 23741 | 0 | 455.31 | 224.23 | -1.52 | 517 | 0
| Uttarakhand | 2138 | 75 | 46.23 | 22.48 | -0.97 | 174 | 0.11
| HP | 1785 | 0 | 37.42 | -0.23 | -0.1 | 144 | 0
| J&K(UT) & Ladakh(UT) | 2727 | 0 | 56.59 | 31.1 | -0.72 | 346 | 0
| Chandigarh | 362 | 0 | 6.95 | 7.47 | -0.52 | 13 | 0
| Railways_NR ISTS | 214 | 0 | 4.3 | 3.86 | 0.44 | 46 | 0
| Chhattisgarh | 5163 | 0 | 120.4 | 72.8 | -0.1 | 357 | 0
| Gujarat | 17474 | 0 | 377.9 | 119.6 | -9.2 | 266 | 0
| MP | 10908 | 0 | 229.7 | 117.2 | -4.1 | 479 | 0
WR | Maharashtra | 24174 | 0 | 531.3 | 164.5 | -8 | 757 | 0
| Goa | 680 | 0 | 14.6 | 14.1 | 0.2 | 35 | 0
| DNHDDPDCL | 1319 | 0 | 30.3 | 30.6 | -0.3 | 43 | 0
| AMNSIL | 759 | 0 | 16.4 | 6.5 | 0.5 | 271 | 0
| BALCO | 527 | 0 | 12.6 | 12.6 | 0 | 9 | 0
| Andhra Pradesh | 10091 | 0 | 213.4 | 48.35 | 1 | 632 | 0
| Telangana | 10802 | 0 | 214.64 | 138.81 | 1.07 | 633 | 0
SR | Karnataka | 12600 | 0 | 236.72 | 47.46 | -1.17 | 459 | 0
| Kerala | 4048 | 0 | 81.69 | 47.01 | 1.7 | 606 | 0
| Tamil Nadu | 17659 | 0 | 383.68 | 181.49 | -2.46 | 1068 | 0
| Puducherry | 487 | 0 | 10.68 | 10.2 | -0.15 | 35 | 0
| Bihar | 6348 | 0 | 120.99 | 110.95 | -0.62 | 251 | 0.022
| DVC | 3308 | 0 | 69.07 | -28.6 | 0.32 | 295 | 0
| Jharkhand | 1936 | 0 | 39.11 | 29.3 | -1.49 | 222 | 0
ER | Odisha | 5558 | 0 | 112.6 | 36.25 | 0.38 | 593 | 0
| West Bengal | 9272 | 0 | 194.66 | 65.03 | -1.88 | 289 | 0
| Sikkim | 80 | 0 | 1.15 | 1.25 | -0.1 | 42 | 0
| Railways_ER ISTS | 20 | 0 | 0.16 | 0.12 | 0.04 | 4 | 0
| Arunachal Pradesh | 131 | 0 | 2.49 | 2.74 | -0.92 | 0 | 0
| Assam | 2140 | 0 | 39.36 | 32.02 | 0.14 | 181 | 0
| Manipur | 167 | 0 | 2.24 | 2.57 | -0.33 | 16 | 0
NER | Meghalaya | 308 | 0 | 5.68 | 0.44 | -0.04 | 101 | 0
| Mizoram | 111 | 0 | 1.9 | 0.97 | -0.35 | 2 | 0
| Nagaland | 159 | 0 | 2.69 | 2.69 | -0.24 | 10 | 0
| Tripura | 280 | 0 | 5.05 | 4.48 | -0.12 | 79 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 37.02 | 14.95 | -18.92 | -31.08
Day Peak (MW) |  | 1704 | 734.632 | -1020 | -1431
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 373.4 | -341 | 80.26 | -105.18 | -7.48 | 0
Actual(MU) |  | 332.29 | -341.61 | 104.968 | -103.51 | -11.4 | -19.262
O/D/U/D(MU) |  | -41.11 | -0.61 | 24.708 | 1.67 | -3.92 | -19.262
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4777.04 | 12893.6 | 7598 | 5076 | 596.8 | 30941.44 | 52.1005
State Sector |  | 5185.5 | 12495 | 7878 | 2769 | 119 | 28446.5 | 47.8995
Total |  | 9962.54 | 25388.6 | 15476 | 7845 | 715.8 | 59387.94 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 733.23 | 1373.21 | 565.79 | 631.791 | 12.56 | 3316.581 | 65.6077
Lignite |  | 32.02 | 12.94 | 49.2 | 0 | 0 | 94.16 | 1.8626
Hydro |  | 362.53 | 33.7 | 73.7 | 67.01 | 41.14 | 578.08 | 11.4354
Nuclear |  | 29.66 | 46.98 | 51.61 | 0 | 0 | 128.25 | 2.537
Gas, Naptha & Diesel |  | 16.74 | 24.9 | 4.7 | 0 | 21.08 | 67.42 | 1.3337
RES (Wind, Solar, Biomass & Others) |  | 211.34 | 302.41 | 353.33 | 2.61 | 0.99 | 870.68 | 17.2236
Total |  | 1385.52 | 1794.14 | 1098.33 | 701.411 | 75.77 | 5055.171 | 100
Share of RES in total generation (%) |  | 15.2535 | 16.8554 | 32.1697 | 0.37211 | 1.3066 | 17.2236
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 43.5598 | 21.3523 | 43.5789 | 9.9257 | 55.6025 | 31.196
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.047 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.102 |  | Solar hr | 204244 |  | 11:46 | 67
|  |  |  | Non-Solar hr | 206103 |  | 19:48 | 75
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 04-Jul-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 351 | 0 | 8.44 |  | -8.44
2 | HVDC | PUSAULI B/B | - | 0 | 95 | 0 | 2.29 |  | -2.29
3 | 765 kV | GAYA-VARANASI | 2 | 410 | 873 | 0 | 5.64 |  | -5.64
4 | 765 kV | SASARAM-FATEHPUR | 1 | 55 | 469 | 0 | 4.63 |  | -4.63
5 | 765 kV | GAYA-BALIA | 1 | 0 | 601 | 0 | 7.31 |  | -7.31
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 84 | 0 | 1.13 |  | -1.13
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 78 | 0 | 1.12 |  | -1.12
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 778 | 0 | 10.5 |  | -10.5
9 | 400 kV | PATNA-BALIA | 2 | 146 | 631 | 0 | 6.5 |  | -6.5
10 | 400 kV | NAUBATPUR-BALIA | 2 | 87 | 185 | 0 | 1.48 |  | -1.48
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 254 | 166 | 0.65 | 0 |  | 0.65
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 470 | 0 | 6.53 |  | -6.53
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 0 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 34 | 42 | 0 | 0.23 |  | -0.23
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.45 | 0 |  | 0.45
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 1.1 | 55.8 |  | -54.7
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 278 | 954 | 0 | 6.56 |  | -6.56
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1684 | 328 | 22.68 | 0 |  | 22.68
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 402 | 0 | 5.73 |  | -5.73
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 154 | 389 | 0 | 2.57 |  | -2.57
5 | 400 kV | RANCHI-SIPAT | 2 | 416 | 133 | 5.12 | 0 |  | 5.12
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 136 | 0 | 2.42 |  | -2.42
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 0 | 199 | 0 | 1.7 |  | -1.7
ER-WR | [5 empty] | 27.8 | 18.98 |  | 8.82
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 512 | 160 | 1.44 | 0 |  | 1.44
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1705 | 0 | 40.95 |  | -40.95
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2911 | 0 | 47.64 |  | -47.64
4 | 400 kV | TALCHER-I/C | 2 | 0 | 524 | 0 | 8.64 |  | -8.64
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 1.44 | 88.59 |  | -87.15
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 301 | 259 | 1.7 | 1.44 |  | 0.26
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 403 | 452 | 0 | 0.61 |  | -0.61
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 82 | 99 | 0 | 0.09 |  | -0.09
ER-NER | [5 empty] | 1.7 | 2.14 |  | -0.44
Import/Export of <null> (With <null>)
No Records Found
NER-NR | [5 empty] | 0 | 0 |  | 0
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 3009 | 0 | 61 |  | -61
2 | HVDC | VINDHYACHAL B/B | - | 214 | 501 | 0 | 9.57 |  | -9.57
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1909 | 0 | 37.5 |  | -37.5
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2421 | 0 | 38.96 |  | -38.96
5 | 765 kV | GWALIOR-PHAGI | 2 | 808 | 1678 | 2.8 | 21.34 |  | -18.54
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1164 | 0 | 35 |  | -35
7 | 765 kV | GWALIOR-ORAI | 1 | 602 | 87 | 8.28 | 0.1 |  | 8.18
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1061 | 0 | 20.83 |  | -20.83
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 0 | 1615 | 0 | 21.89 |  | -21.89
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3175 | 0 | 52.95 |  | -52.95
11 | 400 kV | ZERDA-KANKROLI | 1 | 62 | 228 | 0.13 | 2.28 |  | -2.15
12 | 400 kV | ZERDA -BHINMAL | 1 | 43 | 157 | 0.09 | 1.57 |  | -1.48
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 960 | 0 | 20.52 | 0 |  | 20.52
14 | 400 kV | RAPP-SHUJALPUR | 2 | 309 | 567 | 1.61 | 5.45 |  | -3.84
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 412 | 502 | 2.7 | 4.29 |  | -1.59
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 78 | 0 | 1.19 |  | -1.19
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.56 |  | -2.56
18 | 220 kV | MEHGAON-AURAIYA | 1 | 65 | 25 | 0.26 | 0.11 |  | 0.15
19 | 220 kV | MALANPUR-AURAIYA | 1 | 42 | 38 | 0.1 | 0.27 |  | -0.17
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 36.49 | 316.86 |  | -280.37
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 501 | 0 | 8.8 | 0 |  | 8.8
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2311 | 0 | 40.94 |  | -40.94
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1418 | 1101 | 13.84 | 4.24 |  | 9.6
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2508 | 0 | 31.92 |  | -31.92
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2487 | 0 | 30.42 |  | -30.42
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1721 | 0 | 32.18 | 0 |  | 32.18
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 1 | 0 | 0.01 | 0.01 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 114 | 0.44 | 0.01 |  | 0.43
WR-SR | [5 empty] | 55.27 | 107.54 |  | -52.27
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 757.988 | 681.437 | 757.988 |  | 18.8694
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 745.613 | 649.536 | 670.46 |  | 16.091
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 56.897 | 0 | 6.49 |  | 0.1558
|  | NER | 132kV GELEPHU-SALAKATI |  | 35 | 0 | 27.083 |  | 0.65
|  | NER | 132kV MOTANGA-RANGIA |  | 61 | 0 | 52.083 |  | 1.25
|  | NR | NEPAL IMPORT (FROM UP) |  | -27 | 0 | 0 |  | 0
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 67.632 | 0 | 39 |  | 0.94
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 667 | 506 | 583.75 |  | 14.01
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -936 | -491 | -714.17 |  | -17.14
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1431 | -1103 | -1295 |  | -31.08
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -84 | 0 | -74.1667 |  | -1.78

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 04-Jul-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.05 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.05
Bangladesh | 16.46 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 16.46
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 16.51 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 16.51
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 32.07 |  | 0 | 0.99 | 0 | 0 | 0.11 |  | 0 | 0 |  | 33.17
Nepal | 2.63 |  | 0 | 10.65 | 0 | 0 | 0.76 |  | 0 | 0 |  | 14.04
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 34.7 |  | 0 | 11.64 | 0 | 0 | 0.87 |  | 0 | 0 |  | 47.21
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 32.07 |  | 0 | 0.99 | 0 | 0 | 0.11 |  | 0 | 0 |  | 33.17
Nepal | 2.58 |  | 0 | 10.65 | 0 | 0 | 0.76 |  | 0 | 0 |  | 13.99
Bangladesh | -16.46 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -16.46
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 18.19 |  | 0 | 11.64 | 0 | 0 | 0.87 |  | 0 | 0 |  | 30.7