## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 04-Aug-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 74152 | 51272 | 48882 | 25738 | 3360 | 203404
Peak Shortage (MW) |  | 190 | 0 | 0 | 279 | 14 | 483
Energy Met (MU) |  | 1640 | 1196.5 | 1147.48 | 558.17 | 64.73 | 4606.88
Hydro Gen (MU) |  | 438.85 | 86.82 | 79.2 | 137.92 | 33.4 | 776.19
Wind Gen (MU) |  | 43.93 | 251.79 | 275.31 | - | - | 571.03
Solar Gen (MU)* |  | 115.04 | 28.06 | 101.05 | 1.49 | 0.81 | 246.45
Energy Shortage (MU) |  | 1.1 | 0 | 0 | 1.002 | 0.32 | 2.422
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 75245 | 53886 | 54431 | 27865 | 3398 | 205393
Time Of Maximum Demand Met |  | 22:40 | 19:25 | 10:12 | 21:18 | 19:51 | 19:54
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.025 | 0 | 0.01 | 5.13 | 5.14 | 84.96 | 9.91
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 14859 | 0 | 320.33 | 192.82 | -0.53 | 152 | 0
| Haryana | 11241 | 0 | 237.25 | 184.51 | 0.16 | 214 | 0
| Rajasthan | 13013 | 0 | 290.07 | 81.2 | -3.29 | 374 | 0
| Delhi | 6835 | 0 | 137.69 | 123.54 | -1.14 | 188 | 0
NR | UP | 25351 | 0 | 507.21 | 248.14 | -2.43 | 455 | 0
| Uttarakhand | 2206 | 0 | 47.75 | 21.23 | 0.3 | 164 | 0.08
| HP | 1675 | 0 | 36.09 | 0.62 | -0.24 | 80 | 0
| J&K(UT) & Ladakh(UT) | 2531 | 190 | 51.93 | 27.02 | -0.91 | 139 | 1.02
| Chandigarh | 405 | 0 | 7.82 | 7.8 | 0.02 | 28 | 0
| Railways_NR ISTS | 166 | 0 | 3.44 | 3.56 | -0.12 | 8 | 0
| Chhattisgarh | 3571 | 0 | 75.2 | 18.5 | -4.1 | 265 | 0
| Gujarat | 16280 | 0 | 351.1 | 158.8 | -2.6 | 716 | 0
| MP | 9854 | 0 | 207 | 71.8 | -4 | 453 | 0
WR | Maharashtra | 22722 | 0 | 489.3 | 174.8 | -3.9 | 765 | 0
| Goa | 622 | 0 | 12.8 | 12.4 | 0.1 | 51 | 0
| DNHDDPDCL | 1295 | 0 | 29.9 | 29.7 | 0.2 | 87 | 0
| AMNSIL | 838 | 0 | 18.8 | 8.7 | 0.3 | 263 | 0
| BALCO | 522 | 0 | 12.4 | 12.5 | -0.1 | 517 | 0
| Andhra Pradesh | 10531 | 0 | 217.39 | 49.1 | -1.06 | 1015 | 0
| Telangana | 11721 | 0 | 235.11 | 126.12 | 0.51 | 516 | 0
SR | Karnataka | 12028 | 0 | 212.86 | 52.06 | -0.76 | 584 | 0
| Kerala | 4076 | 0 | 83.14 | 67.61 | 1.37 | 309 | 0
| Tamil Nadu | 17340 | 0 | 388.42 | 167.78 | -3.74 | 367 | 0
| Puducherry | 488 | 0 | 10.56 | 9.93 | -0.1 | 44 | 0
| Bihar | 6969 | 0 | 133.96 | 129.1 | -3.47 | 254 | 0.65
| DVC | 3318 | 0 | 71.68 | -34.7 | 0.54 | 261 | 0
| Jharkhand | 1632 | 115 | 34.72 | 28.31 | 1.3 | 134 | 0.352
ER | Odisha | 6688 | 0 | 115.4 | 56.58 | -1.98 | 397 | 0
| West Bengal | 9505 | 0 | 201.14 | 71.5 | -0.6 | 336 | 0
| Sikkim | 81 | 0 | 1.1 | 1.08 | 0.02 | 20 | 0
| Railways_ER ISTS | 24 | 0 | 0.17 | 0.25 | -0.08 | 11 | 0
| Arunachal Pradesh | 166 | 0 | 2.9 | 2.99 | -0.54 | 24 | 0
| Assam | 2263 | 0 | 43.92 | 36.5 | 0.33 | 140 | 0
| Manipur | 184 | 0 | 2.61 | 2.71 | -0.1 | 24 | 0
NER | Meghalaya | 317 | 0 | 5.5 | 1.61 | -0.13 | 40 | 0.32
| Mizoram | 114 | 0 | 1.79 | 1.64 | -0.11 | 6 | 0
| Nagaland | 155 | 0 | 2.88 | 2.46 | -0.11 | 23 | 0
| Tripura | 279 | 0 | 5.13 | 5.04 | -0.18 | 39 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 42.74 | 7.38 | -24.952 | -29.1331
Day Peak (MW) |  | 1991.05 | 366 | -1076 | -1247
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 334.68 | -330.93 | 88.87 | -88.59 | -4.03 | 0
Actual(MU) |  | 317.85 | -325.85 | 102.922 | -93.68 | -4.09 | -2.848
O/D/U/D(MU) |  | -16.83 | 5.08 | 14.052 | -5.09 | -0.06 | -2.848
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3639.04 | 12790.6 | 5248 | 2885 | 271 | 24833.64 | 41.7473
State Sector |  | 4689.5 | 16330.5 | 9293 | 3490 | 189 | 33992 | 58.2527
Total |  | 8328.54 | 29121.1 | 14541 | 6375 | 460 | 58826 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 726.93 | 1177.85 | 511.13 | 575.19 | 12.71 | 3003.81 | 60.7546
Lignite |  | 27.15 | 10.57 | 54.55 | 0 | 0 | 92.27 | 1.8662
Hydro |  | 438.85 | 86.82 | 79.2 | 137.92 | 33.4 | 776.19 | 15.6991
Nuclear |  | 29.2 | 50.1 | 64.82 | 0 | 0 | 144.12 | 2.9149
Gas, Naptha & Diesel |  | 23.81 | 19 | 6.2 | 0 | 28.8 | 77.81 | 1.5738
RES (Wind, Solar, Biomass & Others) |  | 165.75 | 280.69 | 400.2 | 2.52 | 0.808 | 849.968 | 17.1913
Total |  | 1411.69 | 1625.03 | 1116.1 | 715.63 | 75.718 | 4944.168 | 100
Share of RES in total generation (%) |  | 11.7412 | 17.2729 | 35.857 | 0.35214 | 1.0671 | 17.1913
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 44.8965 | 25.6986 | 48.7609 | 19.6247 | 45.1782 | 35.8054
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.045 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.080 |  | Solar hr | 203162 |  | 14:43 | 0
|  |  |  | Non-Solar hr | 205393 |  | 19:54 | 857
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 04-Aug-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 501 | 0 | 12.54 |  | -12.54
2 | HVDC | PUSAULI B/B | - | 3 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 318 | 447 | 0 | 3.31 |  | -3.31
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 400 | 0 | 5.62 |  | -5.62
5 | 765 kV | GAYA-BALIA | 1 | 0 | 633 | 0 | 9.84 |  | -9.84
6 | 400 kV | PUSAULI-VARANASI | 1 | 39 | 13 | 0.31 | 0 |  | 0.31
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 5 | 48 | 0 | 0.3 |  | -0.3
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 878 | 0 | 15.33 |  | -15.33
9 | 400 kV | PATNA-BALIA | 2 | 0 | 609 | 0 | 10.83 |  | -10.83
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 599 | 0 | 8.85 |  | -8.85
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 291 | 0 | 4.45 |  | -4.45
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 505 | 0 | 9.24 |  | -9.24
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 73 | 261 | 0 | 2.78 |  | -2.78
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 129 | 0 | 1.81 |  | -1.81
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.7 | 0 |  | 0.7
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 52 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 1.01 | 84.9 |  | -83.89
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1564 | 0 | 17.46 | 0 |  | 17.46
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1044 | 980 | 8.3 | 0 |  | 8.3
3 | 765 kV | JHARSUGUDA-DURG | 2 | 38 | 370 | 0 | 3.05 |  | -3.05
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 502 | 0 | 7.31 | 0 |  | 7.31
5 | 400 kV | RANCHI-SIPAT | 2 | 277 | 210 | 2.56 | 0 |  | 2.56
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 44 | 0 | 0.12 |  | -0.12
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 188 | 0 | 1.92 | 0 |  | 1.92
ER-WR | [5 empty] | 37.55 | 3.17 |  | 34.38
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 639 | 0 | 10.13 | 0 |  | 10.13
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 2023 | 0 | 37.85 |  | -37.85
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2786 | 0 | 48.68 |  | -48.68
4 | 400 kV | TALCHER-I/C | 2 | 965 | 1009 | 2.38 | 0 |  | 2.38
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 10.13 | 86.53 |  | -76.4
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 130 | 208 | 0 | 2.24 |  | -2.24
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 211 | 298 | 0 | 3.22 |  | -3.22
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 26 | 74 | 0 | 0.92 |  | -0.92
ER-NER | [5 empty] | 0 | 6.38 |  | -6.38
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 503 | 0 | 12.04 |  | -12.04
NER-NR | [5 empty] | 0 | 12.04 |  | -12.04
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 4035 | 0 | 68.16 |  | -68.16
2 | HVDC | VINDHYACHAL B/B | - | 0 | 101 | 0 | 2.42 |  | -2.42
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 978 | 0 | 13.71 |  | -13.71
4 | 765 kV | GWALIOR-AGRA | 2 | 204 | 2661 | 0 | 37.08 |  | -37.08
5 | 765 kV | GWALIOR-PHAGI | 2 | 292 | 1381 | 0 | 14.48 |  | -14.48
6 | 765 kV | JABALPUR-ORAI | 2 | 40 | 982 | 0 | 25.92 |  | -25.92
7 | 765 kV | GWALIOR-ORAI | 1 | 771 | 0 | 13.61 | 0 |  | 13.61
8 | 765 kV | SATNA-ORAI | 1 | 0 | 933 | 0 | 18.48 |  | -18.48
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 472 | 1269 | 0 | 14.47 |  | -14.47
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3470 | 0 | 58.61 |  | -58.61
11 | 400 kV | ZERDA-KANKROLI | 1 | 158 | 169 | 0.97 | 0 |  | 0.97
12 | 400 kV | ZERDA -BHINMAL | 1 | 387 | 236 | 0.82 | 0 |  | 0.82
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 955 | 0 | 21.05 | 0 |  | 21.05
14 | 400 kV | RAPP-SHUJALPUR | 2 | 162 | 588 | 0 | 5.18 |  | -5.18
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.28 |  | -2.28
17 | 220 kV | MEHGAON-AURAIYA | 1 | 131 | 39 | 0.95 | 0.11 |  | 0.84
18 | 220 kV | MALANPUR-AURAIYA | 1 | 98 | 44 | 0.54 | 0.17 |  | 0.37
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 37.94 | 261.07 |  | -223.13
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 992 | 303 | 8.96 | 4.23 |  | 4.73
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 4005 | 0 | 52.2 |  | -52.2
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1201 | 1329 | 0 | 4.18 |  | -4.18
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2677 | 0 | 43.83 |  | -43.83
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1493 | 0 | 25.28 | 0 |  | 25.28
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 112 | 2.09 | 0 |  | 2.09
WR-SR | [5 empty] | 36.33 | 104.44 |  | -68.11
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 618.357 | 571.51 | 606.36 |  | 14.5527
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1046.024 | 981.07 | 994.88 |  | 23.877
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 195.947 | 42.589 | 112.13 |  | 2.691
|  | NER | 132kV GELEPHU-SALAKATI |  | 28.45 | 15.91 | 23.333 |  | 0.56
|  | NER | 132kV MOTANGA-RANGIA |  | 53.6 | 24.4 | 44.167 |  | 1.06
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -47 | 0 | 2 |  | 0.04
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 413 | 160 | 309.167 |  | 7.42
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -912 | -910 | -910.5 |  | -21.852
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1247 | -1172 | -1213.879 |  | -29.1331
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -164 | 0 | -129.1667 |  | -3.1

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 04-Aug-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 21.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.83
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.83
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.14 |  | 1.89 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 42.03
Nepal | 0 |  | 0 | 7.01 | 0 | 0 | 0 |  | 0 | 0 |  | 7.01
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 40.14 |  | 1.89 | 7.01 | 0 | 0 | 0 |  | 0 | 0 |  | 49.04
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.14 |  | 1.89 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 42.03
Nepal | 0 |  | 0 | 7.01 | 0 | 0 | 0 |  | 0 | 0 |  | 7.01
Bangladesh | -21.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.83
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 18.31 |  | 1.89 | 7.01 | 0 | 0 | 0 |  | 0 | 0 |  | 27.21