## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 04-Sep-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 74994 | 62732 | 41525 | 25324 | 3276 | 207851
Peak Shortage (MW) |  | 75 | 457 | 0 | 0 | 212 | 744
Energy Met (MU) |  | 1777 | 1575.8 | 1028.51 | 578.48 | 65.88 | 5025.67
Hydro Gen (MU) |  | 378.05 | 93.8 | 53.5 | 107.79 | 37 | 670
Wind Gen (MU) |  | 50.88 | 82.64 | 135.8 | - | - | 269.32
Solar Gen (MU)* |  | 144.33 | 54.65 | 93.11 | 2.16 | 1.31 | 295.56
Energy Shortage (MU) |  | 10.7 | 7.18 | 0 | 5.213 | 2.68 | 25.83
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 79130 | 71716 | 46962 | 26217 | 3480 | 223121
Time Of Maximum Demand Met |  | 14:59 | 11:37 | 12:46 | 21:23 | 18:41 | 12:46
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.026 | 0 | 0 | 1.65 | 1.65 | 77.14 | 21.2
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 14783 | 0 | 304.59 | 180.03 | 0.62 | 175 | 0
| Haryana | 11782 | 0 | 251.44 | 183.96 | -1.19 | 181 | 7.23
| Rajasthan | 17179 | 0 | 369.6 | 128.74 | -1.41 | 534 | 1.63
| Delhi | 6533 | 0 | 128.63 | 103.34 | -2.45 | 92 | 0
NR | UP | 26421 | 0 | 580.01 | 252.31 | -0.3 | 1210 | 0
| Uttarakhand | 2126 | 0 | 46.78 | 22.04 | 0.66 | 213 | 1.26
| HP | 1541 | 0 | 33.33 | 1.3 | 0.08 | 80 | 0.07
| J&K(UT) & Ladakh(UT) | 2466 | 18 | 52.92 | 26.58 | 2.35 | 245 | 0.57
| Chandigarh | 329 | 0 | 6.59 | 6.82 | -0.23 | 25 | 0
| Railways_NR ISTS | 167 | 0 | 3.46 | 2.93 | 0.53 | 51 | 0
| Chhattisgarh | 5535 | 0 | 121.4 | 68.4 | -0.6 | 409 | 0
| Gujarat | 23666 | 0 | 499.6 | 203.6 | -0.1 | 758 | 0
| MP | 14531 | 0 | 315.3 | 170.1 | -0.5 | 793 | 7.01
WR | Maharashtra | 26426 | 0 | 566.9 | 216.4 | -3.8 | 813 | 0
| Goa | 605 | 0 | 12.8 | 12.7 | 0 | 107 | 0.17
| DNHDDPDCL | 1228 | 0 | 28.4 | 28.6 | -0.2 | 40 | 0
| AMNSIL | 879 | 0 | 19 | 6.6 | 0 | 278 | 0
| BALCO | 519 | 0 | 12.4 | 12.4 | 0 | 5 | 0
| Andhra Pradesh | 9558 | 0 | 205.73 | 82.25 | -4.8 | 710 | 0
| Telangana | 9604 | 0 | 202.34 | 81.9 | -1.56 | 642 | 0
SR | Karnataka | 12015 | 0 | 230.17 | 83.96 | -2.4 | 600 | 0
| Kerala | 3637 | 0 | 76.34 | 64.44 | 1.16 | 207 | 0
| Tamil Nadu | 13691 | 0 | 304.89 | 109.32 | -8.19 | 381 | 0
| Puducherry | 411 | 0 | 9.04 | 8.82 | -0.49 | 17 | 0
| Bihar | 6792 | 232 | 150.13 | 148.92 | 0.49 | 384 | 3.898
| DVC | 3287 | 0 | 74.45 | -47.4 | -1.39 | 494 | 0
| Jharkhand | 1756 | 0 | 36.79 | 32.85 | 0.28 | 181 | 1.315
ER | Odisha | 4718 | 0 | 105.54 | 31.61 | -2.67 | 331 | 0
| West Bengal | 9881 | 0 | 210.46 | 90.7 | -2.56 | 312 | 0
| Sikkim | 62 | 0 | 0.95 | 0.29 | 0.66 | 57 | 0
| Railways_ER ISTS | 18 | 0 | 0.16 | 0.16 | 0 | 14 | 0
| Arunachal Pradesh | 171 | 0 | 3.03 | 2.79 | -0.3 | 25 | 0
| Assam | 2298 | 0 | 45.79 | 36.26 | 1.86 | 286 | 2.1
| Manipur | 188 | 0 | 2.52 | 2.58 | -0.06 | 17 | 0
NER | Meghalaya | 282 | 0 | 5.09 | 0.84 | -0.17 | 45 | 0.58
| Mizoram | 101 | 0 | 1.69 | 1.25 | -0.32 | 13 | 0
| Nagaland | 168 | 0 | 3.04 | 2.77 | -0.17 | 9 | 0
| Tripura | 325 | 0 | 4.72 | 5.26 | 0.17 | 99 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 41.15 | 8.94 | -25.499 | -32.045
Day Peak (MW) |  | 1900.12 | 463 | -1095 | -1486
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 338.4 | -242.19 | 21.22 | -110.97 | -6.46 | 0
Actual(MU) |  | 325 | -231.88 | 17.437 | -110.97 | -5.21 | -5.623
O/D/U/D(MU) |  | -13.4 | 10.31 | -3.783 | 0 | 1.25 | -5.623
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2924.22 | 7874.8 | 5408 | 2470 | 229.5 | 18906.52 | 47.0058
State Sector |  | 4754.5 | 8633 | 4568 | 3103.65 | 256 | 21315.15 | 52.9942
Total |  | 7678.72 | 16507.8 | 9976 | 5573.65 | 485.5 | 40221.67 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 863.48 | 1569.11 | 656.43 | 640.98 | 12.74 | 3742.74 | 69.0925
Lignite |  | 29.98 | 10.95 | 58.41 | 0 | 0 | 99.34 | 1.8339
Hydro |  | 378.05 | 93.8 | 53.5 | 107.79 | 37 | 670 | 12.3685
Nuclear |  | 29.34 | 53.73 | 46.11 | 0 | 0 | 129.18 | 2.3847
Gas, Naptha & Diesel |  | 48.24 | 71.67 | 5.7 | 0 | 27.63 | 153.24 | 2.8289
RES (Wind, Solar, Biomass & Others) |  | 202.47 | 139.81 | 275.28 | 3.33 | 1.31 | 622.2 | 11.4861
Total |  | 1551.56 | 1939.07 | 1095.43 | 752.1 | 79 | 5417 | 100
Share of RES in total generation (%) |  | 13.0494 | 7.2102 | 25.1299 | 0.44276 | 0.053905 | 8.0094
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.3062 | 14.8184 | 34.2231 | 14.7746 | 48.49 | 26.24
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.019 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.056 |  | Solar hr | 223121 |  | 12:46 | 222
|  |  |  | Non-Solar hr | 211470 |  | 0:00 | 6290
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 04-Sep-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 801 | 0 | 20.31 |  | -20.31
2 | HVDC | PUSAULI B/B | - | 0 | 95 | 0 | 2.23 |  | -2.23
3 | 765 kV | GAYA-VARANASI | 2 | 417 | 290 | 0 | 1.37 |  | -1.37
4 | 765 kV | SASARAM-FATEHPUR | 1 | 119 | 270 | 0 | 3.91 |  | -3.91
5 | 765 kV | GAYA-BALIA | 1 | 0 | 765 | 0 | 13.34 |  | -13.34
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 117 | 0 | 1.62 |  | -1.62
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 14 | 94 | 0 | 0.6 |  | -0.6
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 729 | 0 | 10.54 |  | -10.54
9 | 400 kV | PATNA-BALIA | 2 | 0 | 510 | 0 | 8.41 |  | -8.41
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 544 | 0 | 8.32 |  | -8.32
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 80 | 244 | 0 | 3.3 |  | -3.3
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 399 | 0 | 5.93 |  | -5.93
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 194 | 169 | 0 | 1.04 |  | -1.04
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 166 | 0 | 1.94 |  | -1.94
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.51 | 0 |  | 0.51
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.51 | 82.86 |  | -82.35
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 709 | 1194 | 1.5 | 0 |  | 1.5
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1499 | 0 | 23.12 | 0 |  | 23.12
3 | 765 kV | JHARSUGUDA-DURG | 2 | 33 | 240 | 0 | 2.18 |  | -2.18
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 470 | 0 | 8.1 |  | -8.1
5 | 400 kV | RANCHI-SIPAT | 2 | 284 | 2 | 3.11 | 0 |  | 3.11
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 187 | 0 | 2.77 |  | -2.77
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 16 | 59 | 0.49 | 0 |  | 0.49
ER-WR | [5 empty] | 28.22 | 13.05 |  | 15.17
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 574 | 0 | 8.76 |  | -8.76
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1638 | 0 | 34.26 |  | -34.26
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 1960 | 0 | 28.79 |  | -28.79
4 | 400 kV | TALCHER-I/C | 2 | 184 | 480 | 0 | 1.11 |  | -1.11
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 71.81 |  | -71.81
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 329 | 0 | 3.13 |  | -3.13
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 32 | 372 | 0 | 2.85 |  | -2.85
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 5 | 92 | 0 | 1.02 |  | -1.02
ER-NER | [5 empty] | 0 | 7 |  | -7
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 553 | 0 | 13.21 |  | -13.21
NER-NR | [5 empty] | 0 | 13.21 |  | -13.21
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5052 | 0 | 91.05 |  | -91.05
2 | HVDC | VINDHYACHAL B/B | - | 182 | 0 | 4.84 | 0 |  | 4.84
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1450 | 0 | 15.16 |  | -15.16
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2023 | 0 | 29.36 |  | -29.36
5 | 765 kV | GWALIOR-PHAGI | 2 | 46 | 1691 | 0 | 24.27 |  | -24.27
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1246 | 0 | 38.67 |  | -38.67
7 | 765 kV | GWALIOR-ORAI | 1 | 787 | 0 | 14.337 | 0 |  | 14.337
8 | 765 kV | SATNA-ORAI | 1 | 0 | 996 | 0 | 19.25 |  | -19.25
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1493 | 744 | 6.38 | 0 |  | 6.38
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3467 | 0 | 66.06 |  | -66.06
11 | 400 kV | ZERDA-KANKROLI | 1 | 261 | 138 | 2.17 | 0.53 |  | 1.64
12 | 400 kV | ZERDA -BHINMAL | 1 | 609 | 249 | 3.98 | 0 |  | 3.98
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 953 | 0 | 21.91 | 0 |  | 21.91
14 | 400 kV | RAPP-SHUJALPUR | 2 | 241 | 654 | 0 | 5.36 |  | -5.36
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.69 |  | -2.69
17 | 220 kV | MEHGAON-AURAIYA | 1 | 118 | 0 | 1.9 | 0 |  | 1.9
18 | 220 kV | MALANPUR-AURAIYA | 1 | 85 | 0 | 1.22 | 0 |  | 1.22
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 56.737 | 292.4 |  | -235.663
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 305 | 0 | 7.2 |  | -7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1302 | 0 | 15.12 |  | -15.12
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2493 | 715 | 24.71 | 1.54 |  | 23.17
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 903 | 1749 | 0 | 13.18 |  | -13.18
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1820 | 0 | 31.18 | 0 |  | 31.18
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 106 | 1.21 | 0.01 |  | 1.2
WR-SR | [5 empty] | 57.1 | 37.05 |  | 20.05
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 725.251 | 444.006 | 651.36 |  | 15.6327
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1016.254 | 935.061 | 983.42 |  | 23.602
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 120.961 | -40.833 | 64.67 |  | 1.552
|  | NER | 132kV GELEPHU-SALAKATI |  | 35.12 | 0 | 15 |  | 0.36
|  | NER | 132kV MOTANGA-RANGIA |  | 0 | 0 | 0 |  | 0
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -44 | 0 | -2 |  | -0.04
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 507 | 86 | 374.167 |  | 8.98
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -946 | -832 | -916.63 |  | -21.999
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1486 | -1188 | -1335.208 |  | -32.045
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -149 | 0 | -145.8333 |  | -3.5

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 04-Sep-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.21 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.21
Bangladesh | 22.02 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.02
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.23 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.23
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 37.73 |  | 2.74 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.47
Nepal | 0 |  | 0 | 9.61 | 0 | 0 | 0 |  | 0 | 0 |  | 9.61
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 37.73 |  | 2.74 | 9.61 | 0 | 0 | 0 |  | 0 | 0 |  | 50.08
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 37.73 |  | 2.74 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.47
Nepal | -0.21 |  | 0 | 9.61 | 0 | 0 | 0 |  | 0 | 0 |  | 9.4
Bangladesh | -22.02 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.02
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 15.5 |  | 2.74 | 9.61 | 0 | 0 | 0 |  | 0 | 0 |  | 27.85