## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 05-Jan-2025
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 60004 | 63404 | 44045 | 22253 | 2701 | 192407
Peak Shortage (MW) |  | 4 | 0 | 0 | 766 | 0 | 770
Energy Met (MU) |  | 1240 | 1469.7 | 1146.61 | 452.19 | 49.31 | 4357.81
Hydro Gen (MU) |  | 95.86 | 36.4 | 94.7 | 18.01 | 12.36 | 257.33
Wind Gen (MU) |  | 9.09 | 52.08 | 58.26 | - | - | 119.43
Solar Gen (MU)* |  | 143.75 | 102.69 | 143.47 | 3.07 | 1.11 | 394.09
Energy Shortage (MU) |  | 0.08 | 0 | 0 | 1.5072 | 0 | 1.5872
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 64701 | 73377 | 57703 | 23810 | 2796 | 219312
Time Of Maximum Demand Met |  | 09:55 | 09:58 | 09:17 | 19:25 | 17:33 | 09:49
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.053 | 0.02 | 2.82 | 6.89 | 9.73 | 72.89 | 17.38
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 8479 | 0 | 156.12 | 78.03 | -1.33 | 300 | 0
| Haryana | 7963 | 0 | 150.72 | 108.08 | -1.89 | 369 | 0
| Rajasthan | 17584 | 0 | 318.22 | 111.92 | 0.62 | 396 | 0
| Delhi | 5065 | 0 | 84.23 | 82.55 | -0.96 | 405 | 0
NR | UP | 20821 | 4 | 372.04 | 112.56 | -1.82 | 285 | 0.08
| Uttarakhand | 2371 | 0 | 44.69 | 36.38 | 0.37 | 169 | 0
| HP | 2125 | 0 | 37.5 | 31.03 | -0.89 | 258 | 0
| J&K(UT) & Ladakh(UT) | 3143 | 0 | 68.2 | 65.91 | -1.77 | 809 | 0
| Chandigarh | 287 | 0 | 4.66 | 4.61 | 0.05 | 40 | 0
| Railways_NR ISTS | 192 | 0 | 3.76 | 3.61 | 0.15 | 46 | 0
| Chhattisgarh | 5330 | 0 | 107.8 | 56.9 | 0.2 | 305 | 0
| Gujarat | 22372 | 0 | 419.9 | 200.6 | 0.5 | 656 | 0
| MP | 15489 | 0 | 287.6 | 169.1 | -3 | 529 | 0
WR | Maharashtra | 27920 | 0 | 578.6 | 188.8 | 0.4 | 734 | 0
| Goa | 693 | 0 | 14 | 13.4 | 0 | 43 | 0
| DNHDDPDCL | 1333 | 0 | 30.5 | 30.4 | 0.1 | 39 | 0
| AMNSIL | 791 | 0 | 16.3 | 5.5 | 1.1 | 318 | 0
| BALCO | 526 | 0 | 12.6 | 12.7 | -0.1 | 2 | 0
| RIL JAMNAGAR | 101 | 0 | 2.4 | 2.3 | 0.1 | 0 | 0
| Andhra Pradesh | 10685 | 0 | 199.96 | 54.33 | -2.27 | 372 | 0
| Telangana | 14471 | 0 | 267.62 | 162.69 | -1.88 | 882 | 0
SR | Karnataka | 15625 | 0 | 273.6 | 83.86 | 0.09 | 499 | 0
| Kerala | 4135 | 0 | 80.26 | 63.95 | 1.13 | 291 | 0
| Tamil Nadu | 15906 | 0 | 316.62 | 175.67 | -2.72 | 787 | 0
| Puducherry | 392 | 0 | 8.55 | 8.25 | -0.27 | 41 | 0
| Bihar | 5550 | 428 | 99.04 | 91.18 | -4.17 | 460.87 | 1.5072
| DVC | 3270 | 0 | 70.97 | -38.84 | -0.16 | 338.73 | 0
| Jharkhand | 2023 | 0 | 36.46 | 26.9 | -0.02 | 184.26 | 0
ER | Odisha | 5235 | 0 | 97.91 | 33.38 | -2.07 | 406.21 | 0
| West Bengal | 7203 | 0 | 146.08 | 6.82 | -1.21 | 178.59 | 0
| Sikkim | 105 | 0 | 1.6 | 1.78 | -0.18 | 13.46 | 0
| Railways_ER ISTS | 14 | 0 | 0.13 | 0.14 | -0.01 | 4 | 0
| Arunachal Pradesh | 159 | 0 | 2.78 | 2.95 | -0.3 | 13 | 0
| Assam | 1536 | 0 | 27.49 | 20.2 | 0.76 | 107 | 0
| Manipur | 258 | 0 | 3.83 | 3.93 | -0.1 | 20 | 0
NER | Meghalaya | 407 | 0 | 6.43 | 5.25 | 0.01 | 89 | 0
| Mizoram | 175 | 0 | 2.23 | 1.83 | -0.09 | 15 | 0
| Nagaland | 156 | 0 | 2.42 | 2.36 | -0.01 | 14 | 0
| Tripura | 231 | 0 | 4.13 | 3.24 | 0.11 | 41 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -6.13 | -5.742 | -19.85 | -13.64
Day Peak (MW) |  | -573 | -387 | -999 | -765.2
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 252.64 | -246.8 | 145.19 | -157.39 | 6.36 | 0
Actual(MU) |  | 249.19 | -245.47 | 136.823 | -158.4 | 5.59 | -12.267
O/D/U/D(MU) |  | -3.45 | 1.33 | -8.367 | -1.01 | -0.77 | -12.267
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4481.46 | 8045.6 | 5388 | 6303 | 567.5 | 24785.56 | 44.8957
State Sector |  | 7568 | 12449.5 | 7964 | 2248.5 | 191.37 | 30421.37 | 55.1043
Total |  | 12049.46 | 20495.1 | 13352 | 8551.5 | 758.87 | 55206.93 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 748.92 | 1558.98 | 628.1 | 671.68 | 9.64 | 3617.32 | 76.2411
Lignite |  | 23.07 | 15.54 | 52.23 | 0 | 0 | 90.84 | 1.9146
Hydro |  | 95.86 | 36.4 | 94.7 | 18.01 | 12.36 | 257.33 | 5.4237
Nuclear |  | 31.65 | 54.25 | 65.53 | 0 | 0 | 151.43 | 3.1916
Gas, Naptha & Diesel |  | 2.81 | 13.18 | 4.8 | 0 | 24.69 | 45.48 | 0.95857
RES (Wind, Solar, Biomass & Others) |  | 178.89 | 158.97 | 237.17 | 6.03 | 1.12 | 582.18 | 12.2704
Total |  | 1081.2 | 1837.32 | 1082.53 | 695.72 | 47.81 | 4744.58 | 100
Share of RES in total generation (%) |  | 16.5455 | 8.6523 | 21.9089 | 0.86673 | 2.3426 | 12.2704
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 28.3389 | 13.5861 | 36.7103 | 3.4554 | 28.1949 | 20.8857
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.014 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.049 |  | Solar hr | 219312 |  | 9:49 | 0
|  |  |  | Non-Solar hr | 200685 |  | 18:35 | 460
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 05-Jan-2025
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 1 | 0 | 0 | 6.01 |  | -6.01
3 | 765 kV | GAYA-VARANASI | 2 | 0 | 1083 | 0 | 16.28 |  | -16.28
4 | 765 kV | SASARAM-FATEHPUR | 1 | 62 | 447 | 0 | 6.54 |  | -6.54
5 | 765 kV | GAYA-BALIA | 1 | 0 | 950 | 0 | 11.35 |  | -11.35
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 209 | 0 | 3.8 |  | -3.8
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 127 | 0 | 2.01 |  | -2.01
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 825 | 0 | 9.25 |  | -9.25
9 | 400 kV | PATNA-BALIA | 2 | 0 | 960 | 0 | 14.42 |  | -14.42
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 633 | 0 | 4.47 |  | -4.47
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 416 | 0 | 6.92 |  | -6.92
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 774 | 0 | 8.34 |  | -8.34
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 47 | 343 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 95 | 0 | 2.79 |  | -2.79
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0.08 | 0 |  | 0.08
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.59 | 0 |  | 0.59
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.67 | 92.18 |  | -91.51
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 676 | 607 | 0.75 | 0 |  | 0.75
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 873 | 544 | 3.24 | 0 |  | 3.24
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 1000 | 0 | 18.22 |  | -18.22
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 742 | 0 | 11.57 |  | -11.57
5 | 400 kV | RANCHI-SIPAT | 2 | 180 | 298 | 0 | 0.68 |  | -0.68
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 107 | 0 | 1.47 |  | -1.47
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 69 | 95 | 0 | 0.14 |  | -0.14
ER-WR | [5 empty] | 3.99 | 32.08 |  | -28.09
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 215 | 0 | 5.1 |  | -5.1
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1646 | 0 | 39.73 |  | -39.73
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2861 | 0 | 50.44 |  | -50.44
4 | 400 kV | TALCHER-I/C | 2 | 246 | 0 | 4.389 | 0 |  | 4.389
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 95.27 |  | -95.27
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 358 | 6 | 2.96 | 0 |  | 2.96
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 581 | 0 | 5.6 | 0 |  | 5.6
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 110 | 0 | 1.3 | 0 |  | 1.3
ER-NER | [5 empty] | 9.86 | 0 |  | 9.86
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 661 | 0 | 16.06 | 0 |  | 16.06
NER-NR | [5 empty] | 16.06 | 0 |  | 16.06
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 3020 | 0 | 45.12 |  | -45.12
2 | HVDC | VINDHYACHAL B/B | - | 228 | 103 | 0 | 1.24 |  | -1.24
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1916 | 0 | 40.2 |  | -40.2
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2817 | 0 | 33.66 |  | -33.66
5 | 765 kV | GWALIOR-PHAGI | 2 | 279 | 1822 | 0.25 | 25.25 |  | -25
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1474 | 0 | 36.8 |  | -36.8
7 | 765 kV | GWALIOR-ORAI | 1 | 965 | 0 | 15.64 | 0 |  | 15.64
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1110 | 0 | 18.7 |  | -18.7
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1356 | 644 | 11.66 | 1.04 |  | 10.62
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2902 | 0 | 34.08 |  | -34.08
11 | 400 kV | ZERDA-KANKROLI | 1 | 273 | 91 | 2.66 | 0.12 |  | 2.54
12 | 400 kV | ZERDA -BHINMAL | 1 | 188 | 63 | 1.83 | 0.09 |  | 1.74
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 973 | 0 | 21.76 | 0 |  | 21.76
14 | 400 kV | RAPP-SHUJALPUR | 2 | 437 | 480 | 1.98 | 2.09 |  | -0.11
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 412 | 507 | 1.76 | 2.16 |  | -0.4
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 156 | 0 | 2.73 |  | -2.73
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.35 |  | -1.35
18 | 220 kV | MEHGAON-AURAIYA | 1 | 97 | 3 | 0.84 | 0 |  | 0.84
19 | 220 kV | MALANPUR-AURAIYA | 1 | 63 | 24 | 0.42 | 0.07 |  | 0.35
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 58.8 | 244.7 |  | -185.9
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1011 | 0 | 19.18 |  | -19.18
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2503 | 0 | 40.89 |  | -40.89
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1790 | 793 | 8.13 | 4.52 |  | 3.61
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2069 | 0 | 29.38 |  | -29.38
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2410 | 0 | 31.98 |  | -31.98
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1695 | 0 | 28.46 | 0 |  | 28.46
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 112 | 2.1 | 0 |  | 2.1
WR-SR | [5 empty] | 38.69 | 125.95 |  | -87.26
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 242.717 | -144.115 | 82.32 |  | 1.9756
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -243.035 | 61.075 | -109.54 |  | -2.629
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -255.864 | -158.576 | -209.38 |  | -5.025
|  | NER | 132kV GELEPHU-SALAKATI |  | -28 | 0 | -18.333 |  | -0.44
|  | NER | 132kV MOTANGA-RANGIA |  | -9 | 8 | -0.417 |  | -0.01
|  | NR | NEPAL IMPORT (FROM UP) |  | -67 | 0 | -45 |  | -1.09
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -67 | 0 | -36 |  | -0.86
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -167 | -67.5 | -74.25 |  | -1.782
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -220 | 21 | -83.75 |  | -2.01
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -938 | -554 | -777.92 |  | -18.67
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -765.2 | -403.34 | -568.333 |  | -13.64
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -61 | 0 | -49.1667 |  | -1.18

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 05-Jan-2025
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 6.16 | 0 | 0 | 0.9 |  | 0 | 0 |  | 7.06
Nepal | 1.89 |  | 0 | 1.41 | 0 | 0 | 0.62 |  | 0 | 0 |  | 3.92
Bangladesh | 19.43 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 19.43
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.32 |  | 0 | 7.57 | 0 | 0 | 1.52 |  | 0 | 0 |  | 30.41
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.88 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.88
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.88 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.88
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.88 |  | 0 | -6.16 | 0 | 0 | -0.9 |  | 0 | 0 |  | -6.18
Nepal | -1.89 |  | 0 | -1.41 | 0 | 0 | -0.62 |  | 0 | 0 |  | -3.92
Bangladesh | -19.43 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -19.43
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -20.44 |  | 0 | -7.57 | 0 | 0 | -1.52 |  | 0 | 0 |  | -29.53

## TimeSeries
Date of Reporting: | [11 empty] | 05-Jan-2025
15 Min (INSTANTANEOUS) ALL INDIA GRID FREQUENCY, GENERATION & DEMAND MET (SCADA DATA)
TIME | FREQUENCY (Hz) | DEMAND MET (MW) | NUCLEAR (MW) | WIND (MW) | SOLAR (MW) | HYDRO** (MW) | GAS (MW) | THERMAL (MW) | OTHERS* (MW) | NET DEMAND MET (MW) | TOTAL GENERATION (MW) | NET TRANSNATIONAL EXCHANGE (MW) (+ve) Import, (-ve) Export
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I=A-(C+D)) | (J=B+C+D+E+F+G+H) | (K)
0:00 | 50.11 | 150076 | 5838 | 7658 | 134 | 6939 | 1611 | 128973 | 3141 | 142284 | 154294 | -1445
0:15 | 50 | 149332 | 5814 | 7525 | 136 | 6122 | 1605 | 129277 | 3195 | 141671 | 153674 | -1528
0:30 | 50 | 148342 | 5814 | 7449 | 129 | 6204 | 1621 | 128004 | 3205 | 140764 | 152426 | -1430
0:45 | 50 | 147201 | 5819 | 7299 | 131 | 6123 | 1631 | 126979 | 3229 | 139771 | 151211 | -1357
1:00 | 50 | 145867 | 5818 | 7132 | 129 | 6138 | 1667 | 125614 | 3199 | 138606 | 149697 | -1228
1:15 | 49.95 | 145263 | 5838 | 6917 | 129 | 6044 | 1668 | 125325 | 3241 | 138217 | 149162 | -1492
1:30 | 49.95 | 144911 | 5826 | 6697 | 126 | 6286 | 1669 | 124769 | 3213 | 138088 | 148586 | -1420
1:45 | 49.95 | 143662 | 5825 | 6496 | 122 | 6317 | 1674 | 123947 | 3220 | 137044 | 147601 | -1320
2:00 | 50 | 143021 | 5835 | 6289 | 126 | 6240 | 1669 | 123294 | 3283 | 136606 | 146736 | -1331
2:15 | 50 | 142448 | 5832 | 6063 | 125 | 6254 | 1681 | 122966 | 3248 | 136260 | 146169 | -1308
2:30 | 50 | 141791 | 5835 | 5837 | 126 | 6208 | 1682 | 122458 | 3269 | 135828 | 145415 | -1284
2:45 | 50 | 141119 | 5840 | 5664 | 130 | 6254 | 1675 | 122021 | 3207 | 135325 | 144791 | -1169
3:00 | 50 | 141126 | 5831 | 5455 | 129 | 6205 | 1682 | 122076 | 3211 | 135542 | 144589 | -1121
3:15 | 49.95 | 141177 | 5817 | 5208 | 129 | 6368 | 1683 | 122340 | 3291 | 135840 | 144836 | -1123
3:30 | 50 | 141135 | 5802 | 4992 | 126 | 6405 | 1686 | 122817 | 3269 | 136017 | 145097 | -1238
3:45 | 50 | 141168 | 5817 | 4862 | 124 | 6371 | 1688 | 123044 | 3231 | 136182 | 145137 | -1135
4:00 | 50.05 | 141531 | 5818 | 4812 | 123 | 6472 | 1709 | 123502 | 3203 | 136596 | 145639 | -1123
4:15 | 50 | 143201 | 5811 | 4710 | 121 | 6612 | 1695 | 125301 | 3222 | 138370 | 147472 | -1157
4:30 | 50.05 | 144878 | 5822 | 4586 | 121 | 6793 | 1689 | 126755 | 3291 | 140171 | 149057 | -1184
4:45 | 50 | 146803 | 5818 | 4531 | 121 | 6718 | 1687 | 128943 | 3237 | 142151 | 151055 | -1184
5:00 | 50.05 | 148990 | 5805 | 4502 | 121 | 6470 | 1689 | 131309 | 3270 | 144367 | 153166 | -1177
5:15 | 49.95 | 152589 | 5812 | 4443 | 128 | 6719 | 1674 | 134717 | 3220 | 148018 | 156713 | -1174
5:30 | 50.05 | 156907 | 5810 | 4370 | 126 | 6859 | 1678 | 139246 | 3226 | 152411 | 161315 | -1191
5:45 | 50 | 161354 | 5803 | 4237 | 127 | 7782 | 1687 | 142980 | 3231 | 156990 | 165847 | -1311
6:00 | 50.05 | 164778 | 5812 | 4141 | 145 | 8777 | 1666 | 145835 | 3266 | 160492 | 169642 | -1474
6:15 | 49.95 | 169095 | 5808 | 4036 | 138 | 9503 | 1678 | 149424 | 3248 | 164921 | 173835 | -1532
6:30 | 50.05 | 175117 | 5822 | 3927 | 205 | 11609 | 1705 | 153205 | 3263 | 170985 | 179736 | -1431
6:45 | 49.95 | 181157 | 5822 | 3878 | 237 | 14102 | 1665 | 157221 | 3289 | 177042 | 186214 | -1371
7:00 | 49.9 | 186620 | 5824 | 3915 | 508 | 17187 | 1685 | 158914 | 3252 | 182197 | 191285 | -1142
7:15 | 49.85 | 191308 | 5849 | 4006 | 1274 | 19500 | 1684 | 160389 | 3289 | 186028 | 195991 | -1118
7:30 | 49.7 | 195811 | 5871 | 3995 | 2700 | 21235 | 1689 | 161164 | 3360 | 189116 | 200014 | -1045
7:45 | 50 | 198543 | 5883 | 3993 | 4958 | 21360 | 1682 | 161092 | 3362 | 189592 | 202330 | -1057
8:00 | 50.05 | 200327 | 5905 | 4133 | 8215 | 20963 | 1689 | 159925 | 3382 | 187979 | 204212 | -1066
8:15 | 50.05 | 203351 | 5902 | 4178 | 12240 | 20165 | 1675 | 159303 | 3401 | 186933 | 206864 | -946
8:30 | 50.05 | 206100 | 5902 | 4128 | 16890 | 18828 | 1705 | 158353 | 3435 | 185082 | 209241 | -800
8:45 | 50.05 | 208753 | 5909 | 4015 | 21930 | 16391 | 1673 | 158434 | 3417 | 182808 | 211769 | -789
9:00 | 50.1 | 211215 | 5917 | 3901 | 26974 | 13753 | 1670 | 158118 | 3498 | 180340 | 213831 | -782
9:15 | 50.05 | 214743 | 5890 | 3878 | 31286 | 12625 | 1665 | 158591 | 3548 | 179579 | 217483 | -923
9:30 | 50.05 | 216918 | 5867 | 3675 | 34491 | 11808 | 1667 | 157840 | 3545 | 178752 | 218893 | -881
9:45 | 49.95 | 218180 | 5858 | 3369 | 37127 | 10766 | 1680 | 157914 | 3522 | 177684 | 220236 | -957
10:00 | 50 | 218697 | 5844 | 3864 | 42520 | 9317 | 1673 | 154451 | 3533 | 172313 | 221202 | -944
10:15 | 49.9 | 217621 | 5826 | 3915 | 45298 | 8023 | 1676 | 152271 | 3537 | 168408 | 220546 | -1089
10:30 | 49.95 | 217629 | 5830 | 3940 | 47725 | 7601 | 1662 | 150295 | 3553 | 165964 | 220606 | -1154
10:45 | 50 | 216770 | 5828 | 4021 | 49717 | 6973 | 1672 | 148342 | 3481 | 163032 | 220034 | -1228
11:00 | 49.95 | 215706 | 5812 | 4144 | 51350 | 6343 | 1648 | 146341 | 3459 | 160212 | 219097 | -1315
11:15 | 49.95 | 214100 | 5817 | 4261 | 52640 | 5598 | 1671 | 143883 | 3538 | 157199 | 217408 | -1354
11:30 | 50 | 213439 | 5808 | 4321 | 53929 | 5744 | 1654 | 142266 | 3552 | 155189 | 217274 | -1405
11:45 | 50 | 212899 | 5809 | 4364 | 54958 | 5859 | 1656 | 140584 | 3513 | 153577 | 216743 | -1540
12:00 | 50.1 | 211550 | 5779 | 4353 | 55725 | 5963 | 1650 | 138453 | 3535 | 151472 | 215458 | -1716
12:15 | 50.05 | 209999 | 5773 | 4332 | 56195 | 5381 | 1652 | 136874 | 3496 | 149472 | 213703 | -1672
12:30 | 50.1 | 208559 | 5786 | 4239 | 56228 | 5940 | 1646 | 135021 | 3465 | 148092 | 212325 | -1761
12:45 | 50 | 207118 | 5781 | 4348 | 56148 | 6112 | 1653 | 133176 | 3490 | 146622 | 210708 | -1748
13:00 | 50.05 | 204388 | 5788 | 4209 | 55984 | 6058 | 1644 | 130877 | 3448 | 144195 | 208008 | -1776
13:15 | 50.05 | 200058 | 5795 | 3974 | 55747 | 5755 | 1649 | 127369 | 3393 | 140337 | 203682 | -1773
13:30 | 50.05 | 198656 | 5788 | 3870 | 55143 | 5941 | 1655 | 126428 | 3432 | 139643 | 202257 | -1759
13:45 | 50 | 198355 | 5786 | 3720 | 54502 | 5783 | 1665 | 127085 | 3420 | 140133 | 201961 | -1763
14:00 | 50 | 197270 | 5803 | 3484 | 53176 | 5841 | 1650 | 127521 | 3377 | 140610 | 200852 | -1757
14:15 | 50 | 196688 | 5801 | 3376 | 51790 | 5615 | 1663 | 128515 | 3403 | 141522 | 200163 | -1744
14:30 | 49.95 | 197204 | 5788 | 3243 | 49820 | 5534 | 1647 | 130897 | 3377 | 144141 | 200306 | -1715
14:45 | 49.95 | 197445 | 5777 | 3252 | 47884 | 5635 | 1655 | 133122 | 3367 | 146309 | 200692 | -1761
15:00 | 49.95 | 197547 | 5775 | 3151 | 45485 | 5905 | 1634 | 135152 | 3361 | 148911 | 200463 | -1774
15:15 | 49.95 | 196551 | 5772 | 3053 | 42607 | 5887 | 1645 | 137202 | 3396 | 150891 | 199562 | -1666
15:30 | 50 | 196306 | 5781 | 3020 | 39515 | 6588 | 1643 | 139613 | 3357 | 153771 | 199517 | -1678
15:45 | 50 | 196351 | 5793 | 3018 | 35961 | 7368 | 1654 | 142203 | 3365 | 157372 | 199362 | -1646
16:00 | 50.05 | 196211 | 5797 | 2945 | 31831 | 7941 | 1647 | 146104 | 3305 | 161435 | 199570 | -1488
16:15 | 50 | 194713 | 5784 | 2960 | 27529 | 7362 | 1656 | 149996 | 3323 | 164224 | 198610 | -1376
16:30 | 49.96 | 195762 | 5801 | 2920 | 22804 | 8942 | 1666 | 154330 | 3268 | 170038 | 199731 | -1229
16:45 | 50.01 | 196290 | 5814 | 2971 | 17950 | 10730 | 1643 | 157649 | 3289 | 175369 | 200046 | -1154
17:00 | 49.85 | 195778 | 5830 | 3036 | 13098 | 13092 | 1677 | 159433 | 3305 | 179644 | 199471 | -1033
17:15 | 49.95 | 194890 | 5856 | 3145 | 8650 | 16377 | 1667 | 159280 | 3171 | 183095 | 198146 | -967
17:30 | 49.9 | 195814 | 5850 | 3248 | 5143 | 19784 | 1649 | 160220 | 3195 | 187423 | 199089 | -828
17:45 | 49.75 | 197637 | 5898 | 3375 | 2877 | 22528 | 1687 | 160884 | 3250 | 191385 | 200499 | -799
18:00 | 49.91 | 198314 | 5849 | 3450 | 1509 | 23702 | 1679 | 161702 | 3459 | 193355 | 201350 | -785
18:15 | 49.81 | 199249 | 5870 | 3638 | 1007 | 24391 | 1757 | 161715 | 3494 | 194604 | 201872 | -716
18:30 | 49.91 | 200341 | 5872 | 3917 | 864 | 24915 | 1768 | 162119 | 3463 | 195560 | 202918 | -714
18:45 | 50.01 | 200397 | 5888 | 4154 | 826 | 24921 | 1775 | 161853 | 3498 | 195417 | 202915 | -760
19:00 | 50.01 | 198958 | 5881 | 4450 | 691 | 23242 | 1686 | 162040 | 3571 | 193817 | 201561 | -712
19:15 | 49.96 | 197725 | 5866 | 4743 | 697 | 21591 | 1673 | 162240 | 3415 | 192285 | 200225 | -729
19:30 | 49.9 | 195810 | 5853 | 5110 | 698 | 19947 | 1668 | 161524 | 3379 | 190002 | 198179 | -732
19:45 | 49.85 | 193203 | 5850 | 5146 | 697 | 18450 | 1666 | 160158 | 3305 | 187360 | 195272 | -679
20:00 | 50.05 | 189957 | 5848 | 5278 | 695 | 15969 | 1673 | 159946 | 3259 | 183984 | 192668 | -800
20:15 | 50 | 186378 | 5845 | 5455 | 121 | 14281 | 1682 | 158371 | 3191 | 180802 | 188946 | -1014
20:30 | 50 | 183738 | 5836 | 5593 | 123 | 12383 | 1650 | 157385 | 3247 | 178022 | 186217 | -1015
20:45 | 49.85 | 181393 | 5862 | 5651 | 153 | 11406 | 1678 | 155745 | 3181 | 175589 | 183676 | -981
21:00 | 49.95 | 178711 | 5912 | 5823 | 114 | 11145 | 1676 | 153343 | 3190 | 172774 | 181203 | -1152
21:15 | 50.04 | 176228 | 5927 | 5821 | 88 | 11208 | 1678 | 150791 | 3198 | 170319 | 178711 | -1245
21:30 | 50.04 | 172967 | 5957 | 5983 | 85 | 10685 | 1672 | 147915 | 3256 | 166899 | 175553 | -1393
21:45 | 50.04 | 169617 | 5931 | 6200 | 90 | 9700 | 1659 | 145615 | 3210 | 163327 | 172405 | -1537
22:00 | 50.09 | 166362 | 5944 | 6409 | 93 | 8399 | 1686 | 143687 | 3254 | 159860 | 169472 | -1448
22:15 | 49.99 | 165454 | 5943 | 6401 | 95 | 7955 | 1845 | 143028 | 3226 | 158958 | 168493 | -1506
22:30 | 49.99 | 163858 | 5932 | 6472 | 94 | 7824 | 1683 | 141245 | 3238 | 157292 | 166488 | -1506
22:45 | 50.04 | 161854 | 5943 | 6629 | 90 | 7361 | 1843 | 139991 | 3227 | 155135 | 165084 | -1527
23:00 | 50.04 | 159576 | 5934 | 6723 | 89 | 7221 | 1684 | 137363 | 3267 | 152764 | 162281 | -1487
23:15 | 49.99 | 158289 | 5938 | 6969 | 89 | 7425 | 1841 | 136087 | 3226 | 151231 | 161575 | -1530
23:30 | 50.04 | 156634 | 5938 | 7267 | 97 | 7437 | 1823 | 134272 | 3265 | 149270 | 160099 | -1504
23:45 | 50.04 | 154470 | 5955 | 7412 | 98 | 6985 | 1669 | 132281 | 3292 | 146960 | 157692 | -1474
*Others include (i) Biomass from Punjab (ii) Some of the state sector IPP & non-conventional generation in SR (small capacity) (iii) Solar generation in Odisha(manually punched). ** Hydro generation is excluding Bhutan hydro. ***Bhutan hydro is accounted for in net transnational exchange. Disclaimer: 1. The information provided is for general informational purposes only. 2. The data is provided "as is" without any guarantees or warranties. 3. All Data is operational SCADA data telemetered and reporting at NLDC through RLDC/SLDC. 4. Data is subject to errors due to telemetry loss/freeze/garbage value etc. 5. Demand met and RE generation data is incident on transmission system. Resources in distribution system plus behind the meter (BTM) generation excluded. 6. Users are advised to ensure its accuracy, completeness and relevance for their purposes, and, in this respect, GRID-INDIA shall not be responsible for any errors or omissions.