## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 05-Aug-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 71206 | 52969 | 49962 | 26468 | 3220 | 203825
Peak Shortage (MW) |  | 243 | 0 | 0 | 116 | 16 | 375
Energy Met (MU) |  | 1605 | 1214.9 | 1186.21 | 588.17 | 64.22 | 4658.5
Hydro Gen (MU) |  | 436.6 | 95.73 | 93.7 | 135.83 | 33.3 | 795.16
Wind Gen (MU) |  | 31.15 | 190.8 | 234.9 | - | - | 456.85
Solar Gen (MU)* |  | 119.16 | 33.94 | 115.01 | 2.01 | 0.85 | 270.97
Energy Shortage (MU) |  | 1.07 | 0 | 0 | 1.46 | 0.42 | 2.95
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 72355 | 55371 | 57212 | 27845 | 3271 | 206265
Time Of Maximum Demand Met |  | 00:00 | 19:40 | 11:54 | 21:01 | 19:13 | 19:43
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.037 | 0 | 1.18 | 4.99 | 6.17 | 80.07 | 13.76
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 14813 | 0 | 313.04 | 185.32 | -0.37 | 195 | 0
| Haryana | 10805 | 0 | 236.23 | 180.51 | -1.55 | 151 | 0.38
| Rajasthan | 13210 | 0 | 295.61 | 93.47 | -0.52 | 404 | 0
| Delhi | 6405 | 0 | 133.9 | 121.11 | -1.61 | 247 | 0
NR | UP | 24977 | 0 | 479.26 | 236.45 | -2.49 | 372 | 0.17
| Uttarakhand | 2164 | 0 | 47.54 | 20.41 | 0.91 | 170 | 0
| HP | 1724 | 0 | 36.27 | 0.46 | -0.22 | 79 | 0
| J&K(UT) & Ladakh(UT) | 2567 | 0 | 52.52 | 27.26 | -0.57 | 221 | 0.52
| Chandigarh | 344 | 0 | 7.33 | 7.61 | -0.28 | 26 | 0
| Railways_NR ISTS | 157 | 0 | 3.18 | 3.55 | -0.37 | 0 | 0
| Chhattisgarh | 3908 | 0 | 84.8 | 23.5 | -0.3 | 238 | 0
| Gujarat | 16463 | 0 | 362.2 | 167 | -2.7 | 651 | 0
| MP | 9563 | 0 | 203.2 | 68.7 | -2.9 | 344 | 0
WR | Maharashtra | 22453 | 0 | 488.8 | 175.2 | -5.7 | 436 | 0
| Goa | 638 | 0 | 13 | 12.3 | 0.4 | 66 | 0
| DNHDDPDCL | 1278 | 0 | 29.9 | 29.8 | 0.1 | 53 | 0
| AMNSIL | 942 | 0 | 20.6 | 9.7 | 0.4 | 258 | 0
| BALCO | 520 | 0 | 12.4 | 12.5 | -0.1 | 147 | 0
| Andhra Pradesh | 11259 | 0 | 227.05 | 56.15 | 0.83 | 763 | 0
| Telangana | 12127 | 0 | 246.21 | 124.63 | -0.27 | 569 | 0
SR | Karnataka | 12892 | 0 | 225.26 | 61.49 | 1.06 | 762 | 0
| Kerala | 4063 | 0 | 83.11 | 63.97 | 1.43 | 219 | 0
| Tamil Nadu | 17881 | 0 | 393.82 | 181.33 | -0.54 | 894 | 0
| Puducherry | 492 | 0 | 10.76 | 9.9 | 0.15 | 82 | 0
| Bihar | 7070 | 0 | 143.33 | 135.61 | -0.45 | 343 | 1.176
| DVC | 3541 | 0 | 73.88 | -37.97 | 0.28 | 311 | 0
| Jharkhand | 1690 | 0 | 37.97 | 30 | 2.58 | 175 | 0.284
ER | Odisha | 6429 | 0 | 118.81 | 55.21 | -4.5 | 280 | 0
| West Bengal | 9751 | 0 | 212.81 | 83.48 | -2.26 | 451 | 0
| Sikkim | 80 | 0 | 1.26 | 1.24 | 0.02 | 21 | 0
| Railways_ER ISTS | 23 | 0 | 0.11 | 0.25 | -0.14 | 10 | 0
| Arunachal Pradesh | 162 | 0 | 2.99 | 2.87 | -0.36 | 19 | 0
| Assam | 2180 | 0 | 43.26 | 35.79 | 0.17 | 117 | 0
| Manipur | 178 | 0 | 2.56 | 2.64 | -0.08 | 14 | 0
NER | Meghalaya | 320 | 10 | 5.53 | 1.36 | -0.06 | 53 | 0.42
| Mizoram | 112 | 0 | 1.82 | 1.63 | -0.13 | 6 | 0
| Nagaland | 165 | 0 | 2.82 | 2.44 | -0.17 | 11 | 0
| Tripura | 286 | 0 | 5.24 | 5.13 | -0.01 | 46 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 42.287 | 7.88 | -24.936 | -28.69
Day Peak (MW) |  | 1998.16 | 338 | -1084 | -1237
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 314.87 | -329.65 | 109.95 | -89.12 | -6.05 | 0
Actual(MU) |  | 290.75 | -326.18 | 130.57 | -92.77 | -5.79 | -3.42
O/D/U/D(MU) |  | -24.12 | 3.47 | 20.62 | -3.65 | 0.26 | -3.42
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3072.47 | 12624.3 | 5918 | 2885 | 271 | 24770.77 | 42.2401
State Sector |  | 6209.5 | 15670.5 | 9043 | 2830 | 119 | 33872 | 57.7599
Total |  | 9281.97 | 28294.8 | 14961 | 5715 | 390 | 58642.77 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 733.58 | 1233.12 | 529.06 | 608.67 | 14.29 | 3118.72 | 62.5194
Lignite |  | 24.65 | 10.71 | 57.06 | 0 | 0 | 92.42 | 1.8527
Hydro |  | 436.6 | 95.73 | 93.7 | 135.83 | 33.3 | 795.16 | 15.9402
Nuclear |  | 29.25 | 50.15 | 66.25 | 0 | 0 | 145.65 | 2.9198
Gas, Naptha & Diesel |  | 21.17 | 17.8 | 6.2 | 0 | 28.71 | 73.88 | 1.481
RES (Wind, Solar, Biomass & Others) |  | 156.03 | 226.59 | 376.09 | 3.01 | 0.85 | 762.57 | 15.2869
Total |  | 1401.28 | 1634.1 | 1128.36 | 747.51 | 77.15 | 4988.4 | 100
Share of RES in total generation (%) |  | 11.1348 | 13.8663 | 33.3307 | 0.40267 | 1.1017 | 15.2869
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 44.3794 | 22.7936 | 47.5061 | 18.5737 | 44.2644 | 34.1468
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.047 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.084 |  | Solar hr | 206175 |  | 11:54 | 22
|  |  |  | Non-Solar hr | 206265 |  | 19:43 | 895
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 05-Aug-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 500 | 0 | 12.31 |  | -12.31
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 513 | 404 | 0 | 1.53 |  | -1.53
4 | 765 kV | SASARAM-FATEHPUR | 1 | 63 | 355 | 0 | 4.74 |  | -4.74
5 | 765 kV | GAYA-BALIA | 1 | 0 | 619 | 0 | 9.05 |  | -9.05
6 | 400 kV | PUSAULI-VARANASI | 1 | 36 | 19 | 0.19 | 0 |  | 0.19
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 12 | 44 | 0 | 0.12 |  | -0.12
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 900 | 0 | 14.71 |  | -14.71
9 | 400 kV | PATNA-BALIA | 2 | 0 | 572 | 0 | 10.73 |  | -10.73
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 596 | 0 | 8.85 |  | -8.85
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 84 | 285 | 0 | 3.45 |  | -3.45
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 502 | 0 | 8.77 |  | -8.77
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 161 | 230 | 0 | 2.04 |  | -2.04
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 117 | 0 | 1.74 |  | -1.74
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.78 | 0 |  | 0.78
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 60 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.97 | 78.04 |  | -77.07
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1745 | 0 | 26.08 | 0 |  | 26.08
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1370 | 782 | 12.99 | 0 |  | 12.99
3 | 765 kV | JHARSUGUDA-DURG | 2 | 65 | 343 | 0 | 2.23 |  | -2.23
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 441 | 0 | 5.49 | 0 |  | 5.49
5 | 400 kV | RANCHI-SIPAT | 2 | 380 | 182 | 3.27 | 0 |  | 3.27
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 11 | 44 | 0 | 0.51 |  | -0.51
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 299 | 0 | 2.64 | 0 |  | 2.64
ER-WR | [5 empty] | 50.47 | 2.74 |  | 47.73
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 288 | 0 | 7.2 | 0 |  | 7.2
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1987 | 0 | 38.52 |  | -38.52
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 3129 | 0 | 54 |  | -54
4 | 400 kV | TALCHER-I/C | 2 | 236 | 949 | 0 | 10.23 |  | -10.23
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 7.2 | 92.52 |  | -85.32
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 109 | 206 | 0 | 1.75 |  | -1.75
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 185 | 296 | 0 | 2.26 |  | -2.26
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 13 | 69 | 0 | 0.82 |  | -0.82
ER-NER | [5 empty] | 0 | 4.83 |  | -4.83
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 503 | 0 | 12.04 |  | -12.04
NER-NR | [5 empty] | 0 | 12.04 |  | -12.04
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 4031 | 0 | 60.67 |  | -60.67
2 | HVDC | VINDHYACHAL B/B | - | 0 | 293 | 0 | 3.13 |  | -3.13
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 977 | 0 | 9.98 |  | -9.98
4 | 765 kV | GWALIOR-AGRA | 2 | 10 | 2424 | 0 | 33.98 |  | -33.98
5 | 765 kV | GWALIOR-PHAGI | 2 | 257 | 1264 | 0 | 17.76 |  | -17.76
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 886 | 0 | 23.16 |  | -23.16
7 | 765 kV | GWALIOR-ORAI | 1 | 734 | 0 | 13.79 | 0 |  | 13.79
8 | 765 kV | SATNA-ORAI | 1 | 0 | 917 | 0 | 18.14 |  | -18.14
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 721 | 1090 | 0 | 5.73 |  | -5.73
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3311 | 0 | 58.32 |  | -58.32
11 | 400 kV | ZERDA-KANKROLI | 1 | 138 | 146 | 0 | 0.31 |  | -0.31
12 | 400 kV | ZERDA -BHINMAL | 1 | 311 | 209 | 0.63 | 0 |  | 0.63
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 952 | 0 | 21.68 | 0 |  | 21.68
14 | 400 kV | RAPP-SHUJALPUR | 2 | 88 | 551 | 0 | 5.59 |  | -5.59
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.28 |  | -2.28
17 | 220 kV | MEHGAON-AURAIYA | 1 | 69 | 22 | 0.43 | 0.1 |  | 0.33
18 | 220 kV | MALANPUR-AURAIYA | 1 | 45 | 32 | 0.22 | 0.24 |  | -0.02
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 36.75 | 239.39 |  | -202.64
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 299 | 317 | 0 | 2.47 |  | -2.47
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 5007 | 0 | 32.9 |  | -32.9
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 549 | 2090 | 0 | 14.8 |  | -14.8
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3591 | 0 | 50.31 |  | -50.31
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1399 | 0 | 22.74 | 0 |  | 22.74
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 123 | 2.23 | 0 |  | 2.23
WR-SR | [5 empty] | 24.97 | 100.48 |  | -75.51
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 616.932 | 573.032 | 588.41 |  | 14.1218
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1050.083 | 0 | 995.63 |  | 23.895
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 197.25 | 47.376 | 112.67 |  | 2.704
|  | NER | 132kV GELEPHU-SALAKATI |  | 23.16 | 16.97 | 22.375 |  | 0.537
|  | NER | 132kV MOTANGA-RANGIA |  | 59 | 32.5 | 42.917 |  | 1.03
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -65 | 0 | 5 |  | 0.12
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 403 | 245 | 323.333 |  | 7.76
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -923 | -813 | -907.33 |  | -21.776
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1237 | -1135 | -1195.417 |  | -28.69
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -161 | 0 | -131.6667 |  | -3.16

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 05-Aug-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 21.79 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.79
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.79 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.79
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.2 |  | 2.1 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 42.3
Nepal | 0 |  | 0 | 7.17 | 0 | 0 | 0 |  | 0 | 0 |  | 7.17
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 40.2 |  | 2.1 | 7.17 | 0 | 0 | 0 |  | 0 | 0 |  | 49.47
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.2 |  | 2.1 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 42.3
Nepal | 0 |  | 0 | 7.17 | 0 | 0 | 0 |  | 0 | 0 |  | 7.17
Bangladesh | -21.79 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.79
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 18.41 |  | 2.1 | 7.17 | 0 | 0 | 0 |  | 0 | 0 |  | 27.68