## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 05-Dec-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 47344 | 53370 | 39507 | 19333 | 2544 | 162098
Peak Shortage (MW) |  | 0 | 0 | 0 | 216 | 0 | 216
Energy Met (MU) |  | 1014 | 1236.4 | 925.12 | 407.26 | 46.85 | 3629.63
Hydro Gen (MU) |  | 107.45 | 21.9 | 36.8 | 16.23 | 11.71 | 194.09
Wind Gen (MU) |  | 10.94 | 152.831 | 60.93 | - | - | 224.701
Solar Gen (MU)* |  | 109.05 | 46.91 | 60.32 | 4.48 | 1.05 | 221.81
Energy Shortage (MU) |  | 0.18 | 0 | 0 | 1.56 | 0 | 1.74
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 51885 | 58964 | 44938 | 20964 | 2745 | 175512
Time Of Maximum Demand Met |  | 10:32 | 09:48 | 09:11 | 17:49 | 17:13 | 09:46
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.048 | 0 | 0.36 | 3.76 | 4.12 | 71.36 | 24.52
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 6971 | 0 | 137.25 | 54.37 | -1.14 | 174 | 0
| Haryana | 7208 | 0 | 134.82 | 96.17 | 0.15 | 268 | 0
| Rajasthan | 14144 | 0 | 261 | 101.44 | -3.15 | 264 | 0
| Delhi | 3769 | 0 | 69.43 | 60.05 | 0.16 | 184 | 0
NR | UP | 15495 | 0 | 275.58 | 108.74 | -0.26 | 1558 | 0
| Uttarakhand | 2026 | 0 | 38.08 | 27.84 | 0.34 | 163 | 0
| HP | 1929 | 0 | 34.31 | 26.9 | 0.07 | 58 | 0.18
| J&K(UT) & Ladakh(UT) | 2687 | 80 | 56.31 | 50.96 | 0.65 | 233 | 0
| Chandigarh | 204 | 0 | 3.54 | 3.74 | -0.2 | 37 | 0
| Railways_NR ISTS | 177 | 0 | 3.61 | 3.65 | -0.04 | 9 | 0
| 0 | 4256 | 0 | 89.42 | 41 | -1.24 | 235 | 0
| Gujarat | 18286 | 0 | 361.941 | 165.69 | -7.37 | 384 | 0
| MP | 11310 | 0 | 209.77 | 121.42 | -3.58 | 366 | 0
WR | Maharashtra | 23816 | 0 | 503.876 | 184.15 | 1.372 | 646 | 0
| Goa | 674 | 0 | 13.5354 | 12.76 | 0.1766 | 87 | 0
| DNHDDPDCL | 1251 | 0 | 28.202 | 28.13 | 0.072 | 37 | 0
| 0 | 836 | 0 | 17.1295 | 8.62 | -0.78 | 255 | 0
| 0 | 524 | 0 | 12.4892 | 12.53 | -0.0408 | 9 | 0
| Andhra Pradesh | 7789 | 0 | 158.47 | 35.97 | -2.6 | 401 | 0
| Telangana | 10264 | 0 | 194 | 113.96 | 1.08 | 620 | 0
SR | Karnataka | 13117 | 0 | 243.46 | 109.59 | -0.38 | 715 | 0
| Kerala | 4236 | 0 | 84.19 | 70.72 | 1.87 | 263 | 0
| Tamil Nadu | 11765 | 0 | 237.15 | 140.82 | -3.43 | 264 | 0
| Puducherry | 363 | 0 | 7.85 | 7.51 | -0.32 | 24 | 0
| Bihar | 4466 | 0 | 81.52 | 76.88 | -1.4 | 291 | 0
| DVC | 3193 | 0 | 68.61 | -43.16 | 0.18 | 319 | 0
| Jharkhand | 1545 | 0 | 28.55 | 26.18 | -2.45 | 183 | 1.56
ER | Odisha | 4387 | 0 | 93.97 | 35.37 | -0.75 | 407 | 0
| West Bengal | 6979 | 0 | 132.78 | 21.63 | -2.85 | 62 | 0
| Sikkim | 105 | 0 | 1.66 | 1.69 | -0.03 | 18 | 0
| Railways_ER ISTS | 23 | 0 | 0.17 | 0.14 | 0.03 | 0 | 0
| Arunachal Pradesh | 165 | 0 | 2.84 | 2.79 | -0.09 | 17 | 0
| Assam | 1527 | 0 | 26.13 | 19.08 | 0.46 | 135 | 0
| Manipur | 217 | 0 | 2.98 | 2.97 | 0.01 | 33 | 0
NER | Meghalaya | 362 | 0 | 6.34 | 5.24 | -0.14 | 143 | 0
| Mizoram | 134 | 0 | 1.93 | 1.81 | -0.18 | 17 | 0
| Nagaland | 147 | 0 | 2.34 | 2.31 | -0.11 | 16 | 0
| Tripura | 238 | 0 | 4.29 | 4.98 | 0.07 | 34 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -5.04 | 0.07 | -13.28 | -17.11
Day Peak (MW) |  | -311 | 87 | -591 | -763
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 215.57 | -239.79 | 159.57 | -136.4 | 1.05 | 0
Actual(MU) |  | 202.91 | -210.39 | 173.624 | -143.88 | 1.75 | 24.014
O/D/U/D(MU) |  | -12.66 | 29.4 | 14.054 | -7.48 | 0.7 | 24.014
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 6423.46 | 12893.85 | 7028 | 3981 | 354.5 | 30680.81 | 42.045
State Sector |  | 13420.5 | 17131 | 8704 | 2789 | 246 | 42290.5 | 57.955
Total |  | 19843.96 | 30024.85 | 15732 | 6770 | 600.5 | 72971.31 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 568.13 | 1287.2 | 545.72 | 597.96 | 12.08 | 3011.09 | 75.3381
Lignite |  | 26.64 | 18.42 | 44.43 | 0 | 0 | 89.49 | 2.2391
Hydro |  | 107.45 | 21.9 | 36.8 | 16.23 | 11.71 | 194.09 | 4.8562
Nuclear |  | 20.65 | 52.86 | 75.82 | 0 | 0 | 149.33 | 3.7363
Gas, Naptha & Diesel |  | 9.43 | 12.49 | 4.4 | 0 | 26.51 | 52.83 | 1.3218
RES (Wind, Solar, Biomass & Others) |  | 143.55 | 201.16 | 147.76 | 6.42 | 1.05 | 499.94 | 12.5086
Total |  | 875.85 | 1594.03 | 854.93 | 620.61 | 51.35 | 3996.77 | 100
Share of RES in total generation (%) |  | 16.3898 | 12.6196 | 17.2833 | 1.0345 | 2.0448 | 12.5086
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 31.0156 | 17.3096 | 30.4563 | 3.6496 | 24.8491 | 21.101
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.022 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.063 |  | Solar hr | 175512 |  | 9:46 | 241
|  |  |  | Non-Solar hr | 172974 |  | 18:16 | 296
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 05-Dec-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 48 | 0 | 1.29 |  | -1.29
3 | 765 kV | GAYA-VARANASI | 2 | 0 | 1022 | 0 | 13.56 |  | -13.56
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 504 | 0 | 6.95 |  | -6.95
5 | 765 kV | GAYA-BALIA | 1 | 0 | 699 | 0 | 11.81 |  | -11.81
6 | 400 kV | PUSAULI-VARANASI | 1 | 25 | 30 | 0.11 | 0 |  | 0.11
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 73 | 0 | 1.32 |  | -1.32
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 524 | 0 | 7.87 |  | -7.87
9 | 400 kV | PATNA-BALIA | 2 | 0 | 0 | 0 | 0 |  | 0
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 753 | 0 | 10.61 |  | -10.61
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 381 | 0 | 4.79 |  | -4.79
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 432 | 0 | 5.94 |  | -5.94
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 420 | 0 | 5.1 |  | -5.1
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 27 | 109 | 0 | 0.94 |  | -0.94
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0 | 0 |  | 0
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.11 | 70.18 |  | -70.07
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 171 | 552 | 0 | 4.37 |  | -4.37
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 290 | 796 | 0 | 3.54 |  | -3.54
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 596 | 0 | 10.98 |  | -10.98
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 541 | 0 | 6.12 |  | -6.12
5 | 400 kV | RANCHI-SIPAT | 2 | 77 | 281 | 0 | 1.45 |  | -1.45
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 33 | 112 | 0 | 0.77 |  | -0.77
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 175 | 43 | 2.07 | 0 |  | 2.07
ER-WR | [5 empty] | 2.07 | 27.23 |  | -25.16
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 709 | 0 | 16.57 |  | -16.57
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1645 | 0 | 39.69 |  | -39.69
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2415 | 0 | 47.36 |  | -47.36
4 | 400 kV | TALCHER-I/C | 2 | 259 | 675 | 0 | 0.62 |  | -0.62
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 103.62 |  | -103.62
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 250 | 23 | 2.35 | 0 |  | 2.35
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 794 | 0 | 9.64 | 0 |  | 9.64
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 155 | 0 | 2.13 | 0 |  | 2.13
ER-NER | [5 empty] | 14.12 | 0 |  | 14.12
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 659 | 0 | 16.05 | 0 |  | 16.05
NER-NR | [5 empty] | 16.05 | 0 |  | 16.05
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1520 | 0 | 36.35 |  | -36.35
2 | HVDC | VINDHYACHAL B/B | - | 274 | 0 | 7.32 | 0 |  | 7.32
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 258 | 0 | 6.1 |  | -6.1
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2092 | 0 | 35.82 |  | -35.82
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1903 | 0 | 24.46 |  | -24.46
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 919 | 0 | 28.67 |  | -28.67
7 | 765 kV | GWALIOR-ORAI | 1 | 988 | 0 | 13.61 | 0 |  | 13.61
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1053 | 0 | 20.94 |  | -20.94
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 787 | 711 | 0 | 2.3 |  | -2.3
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2293 | 0 | 40.6 |  | -40.6
11 | 400 kV | ZERDA-KANKROLI | 1 | 150 | 62 | 0.71 | 0.17 |  | 0.54
12 | 400 kV | ZERDA -BHINMAL | 1 | 241 | 237 | 0 | 1.08 |  | -1.08
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 957 | 0 | 20.78 | 0 |  | 20.78
14 | 400 kV | RAPP-SHUJALPUR | 2 | 262 | 323 | 0.99 | 2.15 |  | -1.16
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 98 | 0 | 1.57 |  | -1.57
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 0.7 |  | -0.7
17 | 220 kV | MEHGAON-AURAIYA | 1 | 49 | 23 | 0.03 | 0 |  | 0.03
18 | 220 kV | MALANPUR-AURAIYA | 1 | 36 | 31 | 0 | 0.17 |  | -0.17
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 43.44 | 201.08 |  | -157.64
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 507 | 0 | 11.24 |  | -11.24
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2004 | 0 | 42.58 |  | -42.58
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 415 | 871 | 0.75 | 6.77 |  | -6.02
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2156 | 0 | 36.28 |  | -36.28
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 0 | 0 | 0 |  | 0
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 966 | 0 | 16.49 | 0 |  | 16.49
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 114 | 2.13 | 0 |  | 2.13
WR-SR | [5 empty] | 19.37 | 96.87 |  | -77.5
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -178.317 | 9.65 | -80.91 |  | -1.9418
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 293.645 | 59.547 | 142.58 |  | 3.422
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -286.742 | -150.357 | -251.42 |  | -6.034
|  | NER | 132kV GELEPHU-SALAKATI |  | -35 | -16 | -25 |  | -0.6
|  | NER | 132kV MOTANGA-RANGIA |  | 16 | -4 | 4.583 |  | 0.11
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 0.13
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 128 | -36 | 8.333 |  | 0.2
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -458 | -220 | -443.33 |  | -10.64
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -763 | -498 | -712.917 |  | -17.11
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | 133 | 0 | -110 |  | -2.64

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 05-Dec-2023
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 5.96 | 0 | 0 | 0 |  | 0 | 0 |  | 5.96
Nepal | 0.12 |  | 0 | 0 | 0 | 0 | 0.53 |  | 0 | 0 |  | 0.65
Bangladesh | 10.56 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 10.56
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 10.68 |  | 0 | 5.96 | 0 | 0 | 0.53 |  | 0 | 0 |  | 17.17
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.73 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.73
Nepal | 0 |  | 0 | 1.23 | 0 | 0 | 0 |  | 0 | 0 |  | 1.23
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.73 |  | 0 | 1.23 | 0 | 0 | 0 |  | 0 | 0 |  | 1.96
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.73 |  | 0 | -5.96 | 0 | 0 | 0 |  | 0 | 0 |  | -5.23
Nepal | -0.12 |  | 0 | 1.23 | 0 | 0 | -0.53 |  | 0 | 0 |  | 0.58
Bangladesh | -10.56 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -10.56
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -9.95 |  | 0 | -4.73 | 0 | 0 | -0.53 |  | 0 | 0 |  | -15.21