## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 06-Jun-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 67666 | 65044 | 45740 | 28423 | 3277 | 210150
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1763 | 1566.6 | 1091.71 | 638.74 | 59.2 | 5119.25
Hydro Gen (MU) |  | 312.05 | 47.7 | 50.4 | 39.9 | 32.8 | 482.85
Wind Gen (MU) |  | 70.88 | 156.13 | 78.26 | - | - | 305.27
Solar Gen (MU)* |  | 178.89 | 91.92 | 122.6 | 3.9 | 1.04 | 398.35
Energy Shortage (MU) |  | 1.75 | 0 | 0 | 0 | 0 | 1.75
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 84928 | 72274 | 51440 | 31224 | 3341 | 238588
Time Of Maximum Demand Met |  | 14:52 | 15:02 | 12:21 | 23:04 | 19:58 | 14:54
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.045 | 0 | 0.02 | 3.51 | 3.53 | 69.6 | 26.87
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 14482 | 0 | 230.47 | 122.64 | -7.9 | 339 | 0
| Haryana | 12667 | 0 | 248.66 | 185.95 | -4.19 | 280 | 0
| Rajasthan | 16806 | 0 | 367.23 | 101.64 | -1.27 | 420 | 1.75
| Delhi | 7892 | 0 | 158.98 | 132.26 | -1.65 | 380 | 0
NR | UP | 28090 | 0 | 615.96 | 319.19 | 0.27 | 761 | 0
| Uttarakhand | 2678 | 0 | 45.29 | 29.17 | -1.27 | 251 | 0
| HP | 1829 | 0 | 36.39 | 4.44 | -0.98 | 70 | 0
| J&K(UT) & Ladakh(UT) | 2504 | 0 | 47.75 | 22.52 | -0.99 | 136 | 0
| Chandigarh | 413 | 0 | 7.41 | 8.2 | -0.79 | 29 | 0
| Railways_NR ISTS | 211 | 0 | 4.37 | 3.84 | 0.53 | 92 | 0
| Chhattisgarh | 5104 | 0 | 110.7 | 55.2 | -0.7 | 549 | 0
| Gujarat | 24171 | 0 | 495.1 | 131.5 | -4 | 415 | 0
| MP | 13192 | 0 | 280.3 | 151.7 | -3.6 | 847 | 0
WR | Maharashtra | 26493 | 0 | 602.2 | 229.6 | -6.9 | 720 | 0
| Goa | 794 | 0 | 16.5 | 14.8 | 1.5 | 64 | 0
| DNHDDPDCL | 1340 | 0 | 32.1 | 31.1 | 1 | 65 | 0
| AMNSIL | 785 | 0 | 17.2 | 7.1 | 0.5 | 276 | 0
| BALCO | 524 | 0 | 12.5 | 12.6 | -0.1 | 5 | 0
| Andhra Pradesh | 10531 | 0 | 207.88 | 55.87 | -2.16 | 756 | 0
| Telangana | 9677 | 0 | 194.43 | 71.88 | -0.23 | 644 | 0
SR | Karnataka | 10949 | 0 | 221.63 | 82.11 | -3.04 | 957 | 0
| Kerala | 4400 | 0 | 88.15 | 54.62 | 2.56 | 610 | 0
| Tamil Nadu | 17375 | 0 | 368.87 | 195.15 | -3.66 | 1002 | 0
| Puducherry | 471 | 0 | 10.75 | 10.46 | -0.32 | 23 | 0
| Bihar | 6901 | 0 | 148.87 | 135.78 | 1.54 | 458 | 0
| DVC | 3291 | 0 | 73.42 | -42.73 | 0.19 | 321 | 0
| Jharkhand | 2250 | 0 | 44.39 | 34.72 | -0.61 | 341 | 0
ER | Odisha | 6943 | 0 | 146.01 | 68.74 | 1.54 | 625 | 0
| West Bengal | 11515 | 0 | 224.55 | 81.55 | 0.27 | 508 | 0
| Sikkim | 88 | 0 | 1.35 | 1.52 | -0.17 | 30 | 0
| Railways_ER ISTS | 25 | 0 | 0.15 | 0.15 | 0 | 0 | 0
| Arunachal Pradesh | 160 | 0 | 2.67 | 2.53 | -0.06 | 28 | 0
| Assam | 2163 | 0 | 38.42 | 29.4 | 0.49 | 156 | 0
| Manipur | 208 | 0 | 3.18 | 3.12 | 0.06 | 23 | 0
NER | Meghalaya | 306 | 0 | 5.38 | -0.09 | -0.26 | 48 | 0
| Mizoram | 116 | 0 | 2.1 | 1.83 | -0.29 | 16 | 0
| Nagaland | 166 | 0 | 2.75 | 2.79 | -0.04 | 18 | 0
| Tripura | 320 | 0 | 4.7 | 5.66 | -1.41 | 53 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 7.562 | -1.986 | -23.294 | -31.04
Day Peak (MW) |  | 518 | 52.33 | -1033 | -1476
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 367.67 | -387.9 | 77.84 | -51.69 | -5.92 | 0
Actual(MU) |  | 348.56 | -425.14 | 104.423 | -33.47 | -1.81 | -7.437
O/D/U/D(MU) |  | -19.11 | -37.24 | 26.583 | 18.22 | 4.11 | -7.437
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2849.76 | 4309.8 | 4912 | 3215.6 | 301 | 15588.16 | 48.2261
State Sector |  | 3660.5 | 5818.5 | 4953 | 2204 | 98.94 | 16734.94 | 51.7739
Total |  | 6510.26 | 10128.3 | 9865 | 5419.6 | 399.94 | 32323.1 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 853.12 | 1647.8 | 667.59 | 710.65 | 11.4 | 3890.56 | 70.117
Lignite |  | 21.22 | 10.92 | 57.01 | 0 | 0 | 89.15 | 1.6067
Hydro |  | 312.05 | 47.7 | 50.4 | 39.9 | 32.8 | 482.85 | 8.7021
Nuclear |  | 29.62 | 59.32 | 50.93 | 0 | 0 | 139.87 | 2.5208
Gas, Naptha & Diesel |  | 59.59 | 114.67 | 10.44 | 0 | 23.88 | 208.58 | 3.7591
RES (Wind, Solar, Biomass & Others) |  | 257.32 | 249.55 | 224.49 | 5.24 | 1.06 | 737.66 | 13.2944
Total |  | 1532.92 | 2129.96 | 1060.86 | 755.79 | 69.14 | 5548.67 | 100
Share of RES in total generation (%) |  | 16.7863 | 11.7162 | 21.1611 | 0.69331 | 1.5331 | 13.2944
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.0751 | 16.7407 | 30.7128 | 5.9726 | 48.9731 | 24.5172
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.019 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.038 |  | Solar hr | 238588 |  | 14:54 | 0
|  |  |  | Non-Solar hr | 220889 |  | 0:00 | 1205
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 06-Jun-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 679 | 395 | 2.11 | 0 |  | 2.11
4 | 765 kV | SASARAM-FATEHPUR | 1 | 35 | 333 | 0 | 3.8 |  | -3.8
5 | 765 kV | GAYA-BALIA | 1 | 0 | 640 | 0 | 10.91 |  | -10.91
6 | 400 kV | PUSAULI-VARANASI | 1 | 98 | 73 | 0 | 0.15 |  | -0.15
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 181 | 71 | 1.18 | 0 |  | 1.18
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 659 | 0 | 7.5 |  | -7.5
9 | 400 kV | PATNA-BALIA | 2 | 0 | 868 | 0 | 13.01 |  | -13.01
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 579 | 0 | 3.87 |  | -3.87
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 127 | 149 | 0 | 0.2 |  | -0.2
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 503 | 0 | 7.1 |  | -7.1
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 0 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 6 | 60 | 0 | 0.77 |  | -0.77
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.6 | 0 |  | 0.6
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 3.89 | 47.31 |  | -43.42
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 931 | 262 | 8.96 | 0 |  | 8.96
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1946 | 0 | 29.59 | 0 |  | 29.59
3 | 765 kV | JHARSUGUDA-DURG | 2 | 20 | 508 | 0 | 5.05 |  | -5.05
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 336 | 78 | 2.67 | 0 |  | 2.67
5 | 400 kV | RANCHI-SIPAT | 2 | 539 | 0 | 7.82 | 0 |  | 7.82
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 162 | 113 | 0.76 | 0 |  | 0.76
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 155 | 208 | 1.4 | 0 |  | 1.4
ER-WR | [5 empty] | 51.2 | 5.05 |  | 46.15
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 168 | 0 | 3.63 |  | -3.63
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1698 | 0 | 40.95 |  | -40.95
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2301 | 0 | 37.81 |  | -37.81
4 | 400 kV | TALCHER-I/C | 2 | 0 | 709 | 0 | 12.32 |  | -12.32
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 60 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 82.39 |  | -82.39
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 455 | 0 | 7.22 | 0 |  | 7.22
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 689 | 0 | 10.92 | 0 |  | 10.92
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 128 | 0 | 2.21 | 0 |  | 2.21
ER-NER | [5 empty] | 20.35 | 0 |  | 20.35
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 655 | 0 | 15.98 | 0 |  | 15.98
NER-NR | [5 empty] | 15.98 | 0 |  | 15.98
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5579 | 0 | 116.5 |  | -116.5
2 | HVDC | VINDHYACHAL B/B | - | 295 | 254 | 2.58 | 2.7 |  | -0.12
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1662 | 0 | 37.39 |  | -37.39
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2641 | 0 | 44.56 |  | -44.56
5 | 765 kV | GWALIOR-PHAGI | 2 | 790 | 1116 | 4.61 | 7.86 |  | -3.25
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1130 | 0 | 34.41 |  | -34.41
7 | 765 kV | GWALIOR-ORAI | 1 | 557 | 0 | 6.81 | 0 |  | 6.81
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1117 | 0 | 21.9 |  | -21.9
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 43 | 1454 | 0 | 17.47 |  | -17.47
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3742 | 0 | 73.01 |  | -73.01
11 | 400 kV | ZERDA-KANKROLI | 1 | 101 | 220 | 0.38 | 1.78 |  | -1.4
12 | 400 kV | ZERDA -BHINMAL | 1 | 80 | 200 | 0.18 | 0.78 |  | -0.6
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 961 | 0 | 21.05 | 0 |  | 21.05
14 | 400 kV | RAPP-SHUJALPUR | 2 | 339 | 402 | 2.37 | 2.21 |  | 0.16
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 469 | 384 | 3.55 | 1.95 |  | 1.6
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 111 | 0 | 1.85 |  | -1.85
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.72 |  | -2.72
18 | 220 kV | MEHGAON-AURAIYA | 1 | 68 | 23 | 0.65 | 0.04 |  | 0.61
19 | 220 kV | MALANPUR-AURAIYA | 1 | 45 | 30 | 0.31 | 0.14 |  | 0.17
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 42.49 | 367.27 |  | -324.78
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 311 | 308 | 5.29 | 1.9 |  | 3.39
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2500 | 0 | 42.4 |  | -42.4
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1497 | 1018 | 7.42 | 3.84 |  | 3.58
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 1758 | 0 | 22.59 |  | -22.59
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2050 | 0 | 26.46 |  | -26.46
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1699 | 0 | 27.41 | 0 |  | 27.41
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 75 | 0 | 1.37 |  | -1.37
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 126 | 2.45 | 0 |  | 2.45
WR-SR | [5 empty] | 42.57 | 98.56 |  | -55.99
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 494.631 | 18.76 | 303.32 |  | 7.2797
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 273.345 | -32.476 | 108.04 |  | 2.593
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -203.983 | -85.531 | -133.29 |  | -3.199
|  | NER | 132kV GELEPHU-SALAKATI |  | -13 | -0.9 | -7.833 |  | -0.188
|  | NER | 132kV MOTANGA-RANGIA |  | 56 | 31 | 45 |  | 1.08
|  | NR | NEPAL IMPORT (FROM UP) |  | -73 | 0 | -32 |  | -0.77
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -73 | 0 | -46 |  | -1.11
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -181.67 | -76.55 | -79.833 |  | -1.916
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 234 | -176 | 75.417 |  | 1.81
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -943 | -789 | -895.58 |  | -21.494
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1476 | -1104 | -1293.333 |  | -31.04
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -90 | 0 | -75 |  | -1.8

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 06-Jun-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.22 |  | 0 | 0.59 | 0 | 0 | 1.56 |  | 0 | 0 |  | 2.37
Bangladesh | 21.55 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.55
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.77 |  | 0 | 0.59 | 0 | 0 | 1.56 |  | 0 | 0 |  | 23.92
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 5.81 |  | 0 | 0 | 0 | 0 | 0.2 |  | 0 | 0 |  | 6.01
Nepal | 2.63 |  | 0 | 0.4 | 0 | 0 | 0.36 |  | 0 | 0 |  | 3.39
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 8.44 |  | 0 | 0.4 | 0 | 0 | 0.56 |  | 0 | 0 |  | 9.4
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 5.81 |  | 0 | 0 | 0 | 0 | 0.2 |  | 0 | 0 |  | 6.01
Nepal | 2.41 |  | 0 | -0.19 | 0 | 0 | -1.2 |  | 0 | 0 |  | 1.02
Bangladesh | -21.55 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.55
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -13.33 |  | 0 | -0.19 | 0 | 0 | -1 |  | 0 | 0 |  | -14.52