## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 07-Apr-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 56083 | 64828 | 53736 | 27771 | 2921 | 205339
Peak Shortage (MW) |  | 0 | 0 | 0 | 418 | 0 | 418
Energy Met (MU) |  | 1210 | 1587.3 | 1401.62 | 629.45 | 54.29 | 4882.66
Hydro Gen (MU) |  | 125.51 | 46.01 | 61.8 | 27.74 | 14.059 | 275.119
Wind Gen (MU) |  | 4.1 | 113.91 | 33.41 | - | - | 151.42
Solar Gen (MU)* |  | 161.76 | 84.53 | 136.55 | 3.05 | 1.17 | 387.06
Energy Shortage (MU) |  | 0.17 | 0.28 | 0 | 2.462 | 0 | 2.912
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 57746 | 71056 | 66723 | 28851 | 3137 | 215883
Time Of Maximum Demand Met |  | 19:32 | 15:36 | 14:53 | 22:34 | 18:31 | 15:00
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.029 | 0.02 | 0.08 | 3.04 | 3.15 | 82.39 | 14.47
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 7244 | 0 | 155.99 | 35.33 | -0.13 | 343 | 0
| Haryana | 7584 | 0 | 150.34 | 91.76 | -1.9 | 82 | 0
| Rajasthan | 12738 | 0 | 265.95 | 57.28 | 0.23 | 424 | 0
| Delhi | 4070 | 0 | 86.72 | 78.93 | -0.53 | 159 | 0
NR | UP | 21380 | 0 | 413.57 | 136.17 | -1.2 | 963 | 0
| Uttarakhand | 2034 | 0 | 41.62 | 26.17 | -0.72 | 211 | 0.17
| HP | 1759 | 0 | 32.67 | 20.38 | 0.18 | 67 | 0
| J&K(UT) & Ladakh(UT) | 2738 | 0 | 55.49 | 45.13 | 0.05 | 384 | 0
| Chandigarh | 206 | 0 | 3.91 | 3.84 | 0.07 | 26 | 0
| Railways_NR ISTS | 191 | 0 | 3.78 | 3.59 | 0.19 | 44 | 0
| Chhattisgarh | 6299 | 0 | 144.4 | 84.9 | -0.7 | 528 | 0.08
| Gujarat | 21408 | 0 | 456.2 | 155.7 | -4.2 | 549 | 0
| MP | 12774 | 0 | 275.6 | 138.3 | -4.3 | 310 | 0
WR | Maharashtra | 28112 | 0 | 633.6 | 197.8 | -1.3 | 811 | 0
| Goa | 747 | 0 | 15.6 | 13.1 | 2.2 | 112 | 0.2
| DNHDDPDCL | 1250 | 0 | 28.9 | 29.3 | -0.4 | 52 | 0
| AMNSIL | 897 | 0 | 20.5 | 7.3 | 0 | 275 | 0
| BALCO | 526 | 0 | 12.5 | 12.6 | -0.1 | 9 | 0
| Andhra Pradesh | 12952 | 0 | 247.67 | 77.61 | 2.39 | 977 | 0
| Telangana | 13538 | 0 | 276.03 | 152.33 | -0.62 | 552 | 0
SR | Karnataka | 16637 | 0 | 329.69 | 158.85 | -0.09 | 744 | 0
| Kerala | 5364 | 0 | 108.15 | 81.1 | 2.44 | 947 | 0
| Tamil Nadu | 19506 | 0 | 429.04 | 280.4 | -3.05 | 302 | 0
| Puducherry | 473 | 0 | 11.04 | 10.4 | -0.01 | 32 | 0
| Bihar | 6093 | 118 | 123.42 | 115.03 | -3.53 | 248 | 1.162
| DVC | 3641 | 0 | 74.47 | -41.87 | -0.35 | 157 | 0
| Jharkhand | 1879 | 0 | 41.56 | 30.29 | -1.26 | 208 | 1.3
ER | Odisha | 6476 | 0 | 141.44 | 56.75 | -0.53 | 309 | 0
| West Bengal | 11303 | 0 | 246.64 | 113.46 | -2.12 | 378 | 0
| Sikkim | 93 | 0 | 1.81 | 1.69 | 0.12 | 34 | 0
| Railways_ER ISTS | 11 | 0 | 0.11 | 0.14 | -0.03 | 6 | 0
| Arunachal Pradesh | 172 | 0 | 2.7 | 2.63 | -0.04 | 42 | 0
| Assam | 1917 | 0 | 33.47 | 26.22 | 0.78 | 135 | 0
| Manipur | 214 | 0 | 2.9 | 3.02 | -0.12 | 25 | 0
NER | Meghalaya | 290 | 0 | 5.24 | 4.03 | -0.14 | 60 | 0
| Mizoram | 123 | 0 | 1.9 | 1.81 | -0.28 | 12 | 0
| Nagaland | 154 | 0 | 2.08 | 2.25 | -0.17 | 36 | 0
| Tripura | 310 | 0 | 6 | 6.32 | 0.61 | 94 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -3.31 | -11.661 | -23.331 | -31.629
Day Peak (MW) |  | -441 | -805 | -1075.41 | -1399
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 79.5 | -378.93 | 331.09 | -37.02 | 5.36 | 0
Actual(MU) |  | 66.31 | -368.28 | 345.17 | -53.19 | 5.68 | -4.31
O/D/U/D(MU) |  | -13.19 | 10.65 | 14.08 | -16.17 | 0.32 | -4.31
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4710.62 | 7219.5 | 5378 | 3766 | 175.5 | 21249.62 | 53.7806
State Sector |  | 4585.5 | 7411.5 | 3198 | 2881.5 | 185.58 | 18262.08 | 46.2194
Total |  | 9296.12 | 14631 | 8576 | 6647.5 | 361.08 | 39511.7 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 846.9 | 1722.94 | 758.69 | 733.91 | 16.5 | 4078.94 | 77.0084
Lignite |  | 19.7 | 17.36 | 64.33 | 0 | 0 | 101.39 | 1.9142
Hydro |  | 125.51 | 46.01 | 61.8 | 27.74 | 14.059 | 275.119 | 5.1941
Nuclear |  | 30.68 | 59.79 | 51.34 | 0 | 0 | 141.81 | 2.6773
Gas, Naptha & Diesel |  | 18.58 | 57.35 | 6 | 0 | 24.894 | 106.824 | 2.0168
RES (Wind, Solar, Biomass & Others) |  | 184.69 | 201.7 | 201.06 | 4.04 | 1.1714 | 592.6614 | 11.1892
Total |  | 1226.06 | 2105.15 | 1143.22 | 765.69 | 56.6244 | 5296.7444 | 100
Share of RES in total generation (%) |  | 15.0527 | 9.5789 | 17.5733 | 0.52749 | 2.065 | 11.1836
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 27.8558 | 14.6277 | 27.5408 | 4.1755 | 27.03 | 19.1005
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.053 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.079 |  | Solar hr | 215883 |  | 15:00 | 30
|  |  |  | Non-Solar hr | 210343 |  | 19:30 | 307
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 07-Apr-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 49 | 0 | 1.24 |  | -1.24
3 | 765 kV | GAYA-VARANASI | 2 | 672 | 320 | 1.23 | 0 |  | 1.23
4 | 765 kV | SASARAM-FATEHPUR | 1 | 24 | 214 | 0 | 2.8 |  | -2.8
5 | 765 kV | GAYA-BALIA | 1 | 0 | 487 | 0 | 7.42 |  | -7.42
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 129 | 0 | 1.82 |  | -1.82
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 82 | 0 | 0.64 | 0 |  | 0.64
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 772 | 188 | 4 | 0 |  | 4
9 | 400 kV | PATNA-BALIA | 2 | 314 | 427 | 0 | 2.15 |  | -2.15
10 | 400 kV | NAUBATPUR-BALIA | 2 | 192 | 88 | 0 | 0.63 |  | -0.63
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 453 | 0 | 5.18 | 0 |  | 5.18
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 352 | 174 | 0.29 | 0 |  | 0.29
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 234 | 19 | 2.15 | 0 |  | 2.15
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 24 | 80 | 0 | 1.04 |  | -1.04
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.85 | 0 |  | 0.85
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 14.34 | 17.1 |  | -2.76
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 2150 | 0 | 32.82 | 0 |  | 32.82
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1053 | 0 | 2.19 | 0 |  | 2.19
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 663 | 0 | 10.86 |  | -10.86
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 40 | 425 | 0 | 6.27 |  | -6.27
5 | 400 kV | RANCHI-SIPAT | 2 | 194 | 73 | 1.38 | 0 |  | 1.38
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 156 | 35 | 1.1 | 0 |  | 1.1
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 0 | 0 | 0 | 0.4 |  | -0.4
ER-WR | [5 empty] | 37.49 | 17.53 |  | 19.96
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 629 | 0 | 12.92 |  | -12.92
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1495 | 0 | 36.12 |  | -36.12
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2884 | 0 | 57.11 |  | -57.11
4 | 400 kV | TALCHER-I/C | 2 | 0 | 829 | 0 | 12.79 |  | -12.79
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 106.15 |  | -106.15
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 316 | 54 | 3.17 | 0.1 |  | 3.07
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 635 | 76 | 7.69 | 0 |  | 7.69
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 48 | 11 | 0.69 | 0 |  | 0.69
ER-NER | [5 empty] | 11.55 | 0.1 |  | 11.45
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 660 | 0 | 16.22 | 0 |  | 16.22
NER-NR | [5 empty] | 16.22 | 0 |  | 16.22
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 2090 | 0 | 45.51 |  | -45.51
2 | HVDC | VINDHYACHAL B/B | - | 257 | 0 | 6.05 | 0 |  | 6.05
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 980 | 0 | 24.23 |  | -24.23
4 | 765 kV | GWALIOR-AGRA | 2 | 304 | 1459 | 0.42 | 14.55 |  | -14.13
5 | 765 kV | GWALIOR-PHAGI | 2 | 1342 | 931 | 7.93 | 7.47 |  | 0.46
6 | 765 kV | JABALPUR-ORAI | 2 | 458 | 546 | 0 | 4.61 |  | -4.61
7 | 765 kV | GWALIOR-ORAI | 1 | 591 | 25 | 7.34 | 0 |  | 7.34
8 | 765 kV | SATNA-ORAI | 1 | 0 | 867 | 0 | 16.84 |  | -16.84
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1866 | 409 | 14.09 | 0.97 |  | 13.12
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2461 | 0 | 41.59 |  | -41.59
11 | 400 kV | ZERDA-KANKROLI | 1 | 397 | 33 | 3.52 | 0.04 |  | 3.48
12 | 400 kV | ZERDA -BHINMAL | 1 | 396 | 33 | 3.52 | 0.04 |  | 3.48
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 972 | 0 | 22.33 | 0 |  | 22.33
14 | 400 kV | RAPP-SHUJALPUR | 2 | 905 | 37 | 8.64 | 0.02 |  | 8.62
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 133 | 0 | 2.44 |  | -2.44
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.6 |  | -1.6
18 | 220 kV | MEHGAON-AURAIYA | 1 | 80 | 0 | 1.13 | 0 |  | 1.13
19 | 220 kV | MALANPUR-AURAIYA | 1 | 61 | 0 | 0.65 | 0 |  | 0.65
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 75.62 | 159.91 |  | -84.29
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1012 | 0 | 24 |  | -24
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6020 | 0 | 96.12 |  | -96.12
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 0 | 2369 | 0 | 38.75 |  | -38.75
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3268 | 0 | 62.4 |  | -62.4
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 3005 | 0 | 58.85 |  | -58.85
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 877 | 0 | 11.92 | 0 |  | 11.92
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 86 | 0 | 0.42 |  | -0.42
9 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 122 | 2.46 | 0 |  | 2.46
WR-SR | [5 empty] | 14.38 | 280.54 |  | -266.16
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 155.776 | -101.368 | 35.68 |  | 0.8564
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -270.64 | 121.788 | -42.58 |  | -1.022
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -238.145 | -65.851 | -141.92 |  | -3.406
|  | NER | 132kV GELEPHU-SALAKATI |  | -17 | 14 | -3.75 |  | -0.09
|  | NER | 132kV MOTANGA-RANGIA |  | 37 | 0 | 14.583 |  | 0.35
|  | NR | NEPAL IMPORT (FROM UP) |  | -73 | 0 | -49 |  | -1.18
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -73 | 0 | -46 |  | -1.11
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -351 | 0 | -131.292 |  | -3.151
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -454 | 0 | -259.167 |  | -6.22
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -946 | -649 | -855.46 |  | -20.531
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1399 | -1289 | -1317.875 |  | -31.629
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -129.41 | 0 | -116.6667 |  | -2.8

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 07-Apr-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 4.83 | 0 | 0 | 0 |  | 0 | 0 |  | 4.83
Nepal | 0.21 |  | 0 | 6.35 | 0 | 0 | 0 |  | 0 | 0 |  | 6.56
Bangladesh | 20.34 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.34
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 20.55 |  | 0 | 11.18 | 0 | 0 | 0 |  | 0 | 0 |  | 31.73
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.76 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.76
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.76 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.76
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.76 |  | 0 | -4.83 | 0 | 0 | 0 |  | 0 | 0 |  | -4.07
Nepal | -0.21 |  | 0 | -6.35 | 0 | 0 | 0 |  | 0 | 0 |  | -6.56
Bangladesh | -20.34 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.34
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -19.79 |  | 0 | -11.18 | 0 | 0 | 0 |  | 0 | 0 |  | -30.97