## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 07-Jun-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 71717 | 64777 | 43436 | 28415 | 3432 | 211777
Peak Shortage (MW) |  | 25 | 0 | 0 | 0 | 0 | 25
Energy Met (MU) |  | 1591 | 1592.8 | 1033.66 | 637.2 | 63.91 | 4918.57
Hydro Gen (MU) |  | 318.65 | 42.98 | 45.6 | 31.2 | 30.33 | 468.76
Wind Gen (MU) |  | 34.1 | 133.83 | 55.07 | - | - | 223
Solar Gen (MU)* |  | 170.81 | 87.24 | 104.9 | 4.01 | 1 | 367.96
Energy Shortage (MU) |  | 0.13 | 0 | 0 | 1.811 | 0 | 1.941
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 78903 | 73055 | 47761 | 30924 | 3448 | 230073
Time Of Maximum Demand Met |  | 15:01 | 15:01 | 11:57 | 23:06 | 20:07 | 15:01
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.034 | 0 | 0.34 | 2.23 | 2.57 | 71.59 | 25.84
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 11192 | 0 | 192.24 | 94.66 | -3.48 | 330 | 0
| Haryana | 11352 | 0 | 216.45 | 161.39 | -4.33 | 519 | 0
| Rajasthan | 16846 | 0 | 358.97 | 123.7 | -1.71 | 692 | 0
| Delhi | 7395 | 0 | 146.8 | 118.88 | -3.43 | 291 | 0
NR | UP | 28043 | 0 | 526.44 | 268.89 | -2.05 | 627 | 0
| Uttarakhand | 2718 | 0 | 54.11 | 28.53 | 0 | 191 | 0.08
| HP | 1692 | 0 | 35.49 | 2.33 | -0.12 | 114 | 0
| J&K(UT) & Ladakh(UT) | 2533 | 25 | 48.68 | 22.87 | -0.48 | 232 | 0.05
| Chandigarh | 385 | 0 | 7.08 | 7.94 | -0.86 | 10 | 0
| Railways_NR ISTS | 220 | 0 | 4.34 | 4 | 0.34 | 52 | 0
| Chhattisgarh | 5136 | 0 | 117.2 | 57.5 | 0.1 | 347 | 0
| Gujarat | 24604 | 0 | 502.5 | 139.7 | -2.7 | 738 | 0
| MP | 13305 | 0 | 293.8 | 165.1 | -3.5 | 500 | 0
WR | Maharashtra | 26223 | 0 | 606 | 218.8 | 1.2 | 654 | 0
| Goa | 772 | 0 | 16.2 | 14.4 | 1.6 | 75 | 0
| DNHDDPDCL | 1308 | 0 | 27.5 | 28.6 | -1.1 | 23 | 0
| AMNSIL | 785 | 0 | 17.1 | 7 | 0.4 | 277 | 0
| BALCO | 523 | 0 | 12.5 | 12.6 | -0.1 | 20 | 0
| Andhra Pradesh | 9337 | 0 | 195.44 | 56.61 | -2.28 | 774 | 0
| Telangana | 9281 | 0 | 190.34 | 78.95 | -1.8 | 652 | 0
SR | Karnataka | 10324 | 0 | 206.8 | 73.19 | -3.66 | 450 | 0
| Kerala | 4153 | 0 | 87.63 | 57.97 | 1.06 | 876 | 0
| Tamil Nadu | 16355 | 0 | 343.64 | 198.21 | -4.98 | 688 | 0
| Puducherry | 432 | 0 | 9.81 | 9.76 | -0.54 | 28 | 0
| Bihar | 7035 | 0 | 128.91 | 120.62 | -2.62 | 685 | 1.811
| DVC | 3344 | 0 | 73.57 | -39.57 | -0.24 | 378 | 0
| Jharkhand | 2184 | 0 | 45.2 | 32.93 | 0.72 | 252 | 0
ER | Odisha | 6932 | 0 | 146.86 | 69.04 | -0.11 | 470 | 0
| West Bengal | 11555 | 0 | 241.02 | 103.3 | -1.4 | 216 | 0
| Sikkim | 90 | 0 | 1.5 | 1.51 | -0.01 | 26 | 0
| Railways_ER ISTS | 12 | 0 | 0.14 | 0.24 | -0.1 | 2 | 0
| Arunachal Pradesh | 168 | 0 | 2.58 | 2.53 | -0.13 | 40 | 0
| Assam | 2311 | 0 | 42.88 | 33.9 | 0.63 | 400 | 0
| Manipur | 215 | 0 | 3.04 | 3.14 | -0.1 | 42 | 0
NER | Meghalaya | 313 | 0 | 5.58 | 0.08 | -0.05 | 34 | 0
| Mizoram | 111 | 0 | 1.73 | 1.49 | -0.35 | 9 | 0
| Nagaland | 180 | 0 | 2.66 | 2.86 | -0.2 | 21 | 0
| Tripura | 315 | 0 | 5.44 | 5.46 | -0.14 | 51 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 2.55 | -0.725 | -23.673 | -30.84
Day Peak (MW) |  | 125 | 132.44 | -1043 | -1477.54
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 300.4 | -341.07 | 63.71 | -24.83 | 1.79 | 0
Actual(MU) |  | 269.05 | -347.5 | 84.457 | -18.19 | 3.15 | -9.033
O/D/U/D(MU) |  | -31.35 | -6.43 | 20.747 | 6.64 | 1.36 | -9.033
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4096.31 | 4309.8 | 4822 | 3215.6 | 301 | 16744.71 | 52.6023
State Sector |  | 4875.5 | 4450.5 | 3478 | 2164 | 119.94 | 15087.94 | 47.3977
Total |  | 8971.81 | 8760.3 | 8300 | 5379.6 | 420.94 | 31832.65 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 781.53 | 1635.43 | 673.55 | 702.08 | 11.16 | 3803.75 | 71.4952
Lignite |  | 21.98 | 11 | 62.38 | 0 | 0 | 95.36 | 1.7924
Hydro |  | 318.65 | 42.98 | 45.6 | 31.2 | 30.33 | 468.76 | 8.8108
Nuclear |  | 29.96 | 59.96 | 51.34 | 0 | 0 | 141.26 | 2.6551
Gas, Naptha & Diesel |  | 46.15 | 108.24 | 10.43 | 0 | 23.85 | 188.67 | 3.5462
RES (Wind, Solar, Biomass & Others) |  | 212.47 | 222.47 | 181.01 | 5.54 | 1 | 622.49 | 11.7003
Total |  | 1410.74 | 2080.08 | 1024.31 | 738.82 | 66.34 | 5320.29 | 100
Share of RES in total generation (%) |  | 15.0609 | 10.6953 | 17.6714 | 0.74984 | 1.5074 | 11.7003
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.772 | 15.6441 | 27.1353 | 4.9728 | 47.2264 | 23.1662
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.017 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.041 |  | Solar hr | 230073 |  | 15:01 | 0
|  |  |  | Non-Solar hr | 214743 |  | 22:23 | 279
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 07-Jun-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 793 | 345 | 1.65 | 0 |  | 1.65
4 | 765 kV | SASARAM-FATEHPUR | 1 | 114 | 300 | 0 | 3.29 |  | -3.29
5 | 765 kV | GAYA-BALIA | 1 | 0 | 666 | 0 | 8.4 |  | -8.4
6 | 400 kV | PUSAULI-VARANASI | 1 | 95 | 62 | 0 | 0.11 |  | -0.11
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 184 | 56 | 0.66 | 0 |  | 0.66
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 132 | 381 | 0 | 3.69 |  | -3.69
9 | 400 kV | PATNA-BALIA | 2 | 0 | 753 | 0 | 10.05 |  | -10.05
10 | 400 kV | NAUBATPUR-BALIA | 2 | 31 | 482 | 0 | 2.87 |  | -2.87
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 281 | 41 | 2.03 | 0 |  | 2.03
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 87 | 425 | 0 | 4.65 |  | -4.65
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 162 | 196 | 0 | 1.53 |  | -1.53
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 9 | 59 | 0 | 0.86 |  | -0.86
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.56 | 0 |  | 0.56
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 4.9 | 35.45 |  | -30.55
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1016 | 343 | 6.7 | 0 |  | 6.7
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 2297 | 0 | 34.92 | 0 |  | 34.92
3 | 765 kV | JHARSUGUDA-DURG | 2 | 47 | 417 | 0 | 3.52 |  | -3.52
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 299 | 146 | 1.63 | 0 |  | 1.63
5 | 400 kV | RANCHI-SIPAT | 2 | 662 | 0 | 9.42 | 0 |  | 9.42
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 54 | 79 | 0 | 0.69 |  | -0.69
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 177 | 8 | 1.39 | 0 |  | 1.39
ER-WR | [5 empty] | 54.06 | 4.21 |  | 49.85
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 106 | 154 | 0 | 2.24 |  | -2.24
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1697 | 0 | 40.9499 |  | -40.9499
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2269 | 0 | 32.42 |  | -32.42
4 | 400 kV | TALCHER-I/C | 2 | 0 | 713 | 0 | 13.68 |  | -13.68
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 75.6099 |  | -75.6099
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 334 | 8 | 4.58 | 0 |  | 4.58
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 479 | 0 | 7.2 | 0 |  | 7.2
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 118 | 0 | 1.54 | 0 |  | 1.54
ER-NER | [5 empty] | 13.32 | 0 |  | 13.32
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 657 | 0 | 15.6 | 0 |  | 15.6
NER-NR | [5 empty] | 15.6 | 0 |  | 15.6
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5069 | 0 | 85.26 |  | -85.26
2 | HVDC | VINDHYACHAL B/B | - | 295 | 52 | 6.12 | 0.34 |  | 5.78
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1661 | 0 | 25.5 |  | -25.5
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2642 | 0 | 41.79 |  | -41.79
5 | 765 kV | GWALIOR-PHAGI | 2 | 954 | 961 | 4.4 | 9.92 |  | -5.52
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1148 | 0 | 31.5 |  | -31.5
7 | 765 kV | GWALIOR-ORAI | 1 | 611 | 0 | 8.15 | 0 |  | 8.15
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1186 | 0 | 20.99 |  | -20.99
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 479 | 1681 | 1.35 | 12.05 |  | -10.7
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3719 | 0 | 66.1 |  | -66.1
11 | 400 kV | ZERDA-KANKROLI | 1 | 155 | 304 | 0.69 | 1.81 |  | -1.12
12 | 400 kV | ZERDA -BHINMAL | 1 | 155 | 303 | 0.69 | 1.8 |  | -1.11
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 972 | 0 | 20.55 | 0 |  | 20.55
14 | 400 kV | RAPP-SHUJALPUR | 2 | 411 | 390 | 2.35 | 2.45 |  | -0.1
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 488 | 380 | 2.68 | 2.18 |  | 0.5
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 108 | 0 | 1.85 |  | -1.85
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.72 |  | -2.72
18 | 220 kV | MEHGAON-AURAIYA | 1 | 51 | 17 | 0.1 | 0 |  | 0.1
19 | 220 kV | MALANPUR-AURAIYA | 1 | 28 | 34 | 0.06 | 0 |  | 0.06
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 47.14 | 306.26 |  | -259.12
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 306 | 0 | 7.2 |  | -7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2501 | 0 | 38.59 |  | -38.59
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2095 | 925 | 12.33 | 2.35 |  | 9.98
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 425 | 1693 | 0.22 | 14.09 |  | -13.87
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 189 | 1948 | 0.04 | 19.91 |  | -19.87
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1825 | 0 | 27.28 | 0 |  | 27.28
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 64 | 1.51 | 0 |  | 1.51
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 124 | 2.42 | 0 |  | 2.42
WR-SR | [5 empty] | 43.8 | 82.14 |  | -38.34
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 381.574 | 125.246 | 246.18 |  | 5.9084
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -71.719 | 47.362 | -13.71 |  | -0.329
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -247.635 | -106.267 | -165.29 |  | -3.967
|  | NER | 132kV GELEPHU-SALAKATI |  | -12 | 7 | -7.917 |  | -0.19
|  | NER | 132kV MOTANGA-RANGIA |  | 56 | 0 | 47.083 |  | 1.13
|  | NR | NEPAL IMPORT (FROM UP) |  | -72 | 0 | -43 |  | -1.03
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -72 | 0 | -43 |  | -1.04
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -133.56 | 0 | -55.208 |  | -1.325
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 266 | 0 | 111.25 |  | 2.67
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -947 | -788 | -902.21 |  | -21.653
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1477.54 | -1055.87 | -1285 |  | -30.84
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -96 | 0 | -84.1667 |  | -2.02

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 07-Jun-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.22 |  | 0 | 0.59 | 0 | 0 | 0.58 |  | 0 | 0 |  | 1.39
Bangladesh | 21.67 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.67
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.89 |  | 0 | 0.59 | 0 | 0 | 0.58 |  | 0 | 0 |  | 23.06
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.67 |  | 0 | 0.2 | 0 | 0 | 0 |  | 0 | 0 |  | 0.87
Nepal | 2.63 |  | 0 | 0 | 0 | 0 | 0.45 |  | 0 | 0 |  | 3.08
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 3.3 |  | 0 | 0.2 | 0 | 0 | 0.45 |  | 0 | 0 |  | 3.95
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.67 |  | 0 | 0.2 | 0 | 0 | 0 |  | 0 | 0 |  | 0.87
Nepal | 2.41 |  | 0 | -0.59 | 0 | 0 | -0.13 |  | 0 | 0 |  | 1.69
Bangladesh | -21.67 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.67
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -18.59 |  | 0 | -0.39 | 0 | 0 | -0.13 |  | 0 | 0 |  | -19.11