## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 07-Oct-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 67161 | 62249 | 43278 | 26520 | 2855 | 202063
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1444 | 1446 | 1081.23 | 568.13 | 53.42 | 4592.78
Hydro Gen (MU) |  | 241.59 | 84.14 | 146.8 | 101.83 | 40.4 | 614.76
Wind Gen (MU) |  | 6.13 | 25.98 | 16.83 | - | - | 48.94
Solar Gen (MU)* |  | 164.09 | 92.87 | 105.22 | 2.73 | 0.57 | 365.48
Energy Shortage (MU) |  | 0 | 0 | 0 | 0 | 0 | 0
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 67596 | 63752 | 49623 | 27262 | 3008 | 204673
Time Of Maximum Demand Met |  | 19:19 | 19:02 | 12:22 | 21:00 | 17:53 | 19:03
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.043 | 0 | 1.02 | 8.67 | 9.69 | 78.23 | 12.08
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 9674 | 0 | 186.86 | 97.21 | -8.49 | 319 | 0
| Haryana | 9427 | 0 | 196.53 | 136.41 | -3.11 | 430 | 0
| Rajasthan | 14939 | 0 | 325.32 | 128.46 | -2.55 | 334 | 0
| Delhi | 5740 | 0 | 117.34 | 105.84 | 0.36 | 335 | 0
NR | UP | 24791 | 0 | 491.92 | 204.9 | -2.18 | 603 | 0
| Uttarakhand | 2156 | 0 | 44.88 | 25.43 | 0.72 | 136 | 0
| HP | 1483 | 0 | 30.62 | 11.09 | -0.78 | 114 | 0
| J&K(UT) & Ladakh(UT) | 2663 | 0 | 41.84 | 27.18 | -0.93 | 175 | 0
| Chandigarh | 242 | 0 | 4.82 | 5.05 | -0.23 | 22 | 0
| Railways_NR ISTS | 193 | 0 | 3.98 | 3.9 | 0.08 | 24 | 0
| Chhattisgarh | 5912 | 0 | 136.6 | 85.7 | 1.2 | 286 | 0
| Gujarat | 19181 | 0 | 425.7 | 180.8 | -4.6 | 481 | 0
| MP | 12536 | 0 | 269.2 | 165.1 | -2.6 | 399 | 0
WR | Maharashtra | 23836 | 0 | 540.1 | 211.8 | 1 | 758 | 0
| Goa | 654 | 0 | 13.9 | 13.4 | 0.4 | 40 | 0
| DNHDDPDCL | 1295 | 0 | 30 | 29.9 | 0.1 | 62 | 0
| AMNSIL | 808 | 0 | 17.8 | 9.6 | -0.3 | 215 | 0
| BALCO | 530 | 0 | 12.7 | 12.6 | 0.1 | 10 | 0
| Andhra Pradesh | 10427 | 0 | 216.93 | 60.79 | -1 | 481 | 0
| Telangana | 12629 | 0 | 248.28 | 105.4 | -2.27 | 786 | 0
SR | Karnataka | 10206 | 0 | 203.63 | 57.11 | -0.78 | 446 | 0
| Kerala | 3805 | 0 | 78.56 | 59.34 | 0.28 | 328 | 0
| Tamil Nadu | 14718 | 0 | 324.53 | 187.05 | -0.14 | 1198 | 0
| Puducherry | 405 | 0 | 9.3 | 9.14 | -0.4 | 42 | 0
| Bihar | 6800 | 0 | 137.74 | 129.43 | -2.84 | 147 | 0
| DVC | 3382 | 0 | 72.33 | -32.89 | -0.25 | 584 | 0
| Jharkhand | 2153 | 0 | 44.19 | 31.98 | 0.57 | 189 | 0
ER | Odisha | 6312 | 0 | 129.84 | 33.35 | -1.5 | 433 | 0
| West Bengal | 8988 | 0 | 182.78 | 38.93 | -3.05 | 155 | 0
| Sikkim | 75 | 0 | 1.12 | 1.21 | -0.09 | 10 | 0
| Railways_ER ISTS | 25 | 0 | 0.13 | 0.17 | -0.04 | 6 | 0
| Arunachal Pradesh | 141 | 0 | 2.69 | 2.16 | -0.15 | 21 | 0
| Assam | 1880 | 0 | 33.56 | 25.34 | 0.63 | 98 | 0
| Manipur | 194 | 0 | 2.73 | 2.95 | -0.22 | 15 | 0
NER | Meghalaya | 249 | 0 | 4.32 | -1.28 | -0.27 | 30 | 0
| Mizoram | 106 | 0 | 1.94 | 0.7 | -0.41 | 7 | 0
| Nagaland | 167 | 0 | 2.76 | 2.27 | -0.03 | 17 | 0
| Tripura | 306 | 0 | 5.42 | 4.95 | -0.13 | 40 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 43.81 | 7.97 | -23.378 | -24.877
Day Peak (MW) |  | 1954 | 409.224 | -522 | -1124
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 289.45 | -174.28 | 77.27 | -175.02 | -17.42 | 0
Actual(MU) |  | 274.88 | -151.67 | 69.678 | -181.24 | -19.78 | -8.132
O/D/U/D(MU) |  | -14.57 | 22.61 | -7.592 | -6.22 | -2.36 | -8.132
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 4535.04 | 10960.6 | 4668 | 2556 | 301 | 23020.64 | 49.8659
State Sector |  | 3855.5 | 10903 | 6137 | 2094 | 154.97 | 23144.47 | 50.1341
Total |  | 8390.54 | 21863.6 | 10805 | 4650 | 455.97 | 46165.11 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 777.95 | 1374.02 | 654.4 | 716.04 | 14.43 | 3536.84 | 71.9057
Lignite |  | 24.56 | 15.33 | 51.44 | 0 | 0 | 91.33 | 1.8568
Hydro |  | 241.59 | 84.14 | 146.8 | 101.83 | 40.4 | 614.76 | 12.4984
Nuclear |  | 29.95 | 46.49 | 75.6 | 0 | 0 | 152.04 | 3.091
Gas, Naptha & Diesel |  | 10.42 | 24.67 | 12 | 0 | 22.94 | 70.03 | 1.4237
RES (Wind, Solar, Biomass & Others) |  | 176.11 | 122.02 | 150.49 | 4.53 | 0.57 | 453.72 | 9.2244
Total |  | 1260.58 | 1666.67 | 1090.73 | 822.4 | 78.34 | 4918.72 | 100
Share of RES in total generation (%) |  | 13.9706 | 7.3212 | 13.7972 | 0.55083 | 0.7276 | 9.2244
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 35.5114 | 15.159 | 34.1872 | 12.9329 | 52.2977 | 24.8138
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.032 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.070 |  | Solar hr | 198712 |  | 11:41 | 0
|  |  |  | Non-Solar hr | 204673 |  | 19:03 | 0
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 07-Oct-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 351 | 0 | 8.83 |  | -8.83
2 | HVDC | PUSAULI B/B | - | 0 | 297 | 0 | 7.14 |  | -7.14
3 | 765 kV | GAYA-VARANASI | 2 | 386 | 869 | 0 | 9.84 |  | -9.84
4 | 765 kV | SASARAM-FATEHPUR | 1 | 194 | 324 | 0 | 3.15 |  | -3.15
5 | 765 kV | GAYA-BALIA | 1 | 0 | 749 | 0 | 10.07 |  | -10.07
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 258 | 0 | 4.93 |  | -4.93
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 125 | 0 | 2.13 |  | -2.13
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 841 | 0 | 11.84 |  | -11.84
9 | 400 kV | PATNA-BALIA | 2 | 0 | 1085 | 0 | 17.95 |  | -17.95
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 337 | 0 | 5.25 |  | -5.25
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 35 | 231 | 0 | 4.3 |  | -4.3
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 584 | 0 | 8.84 |  | -8.84
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 342 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 118 | 0 | 1.89 |  | -1.89
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 0 | 0 | 0.4 | 0 |  | 0.4
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.4 | 96.16 |  | -95.76
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 212 | 1176 | 0 | 10.05 |  | -10.05
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 564 | 947 | 0 | 1.29 |  | -1.29
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 629 | 0 | 10.61 |  | -10.61
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 840 | 0 | 13.74 |  | -13.74
5 | 400 kV | RANCHI-SIPAT | 2 | 83 | 398 | 0 | 3.55 |  | -3.55
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 121 | 0 | 1.67 |  | -1.67
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 55 | 129 | 0 | 1.25 |  | -1.25
ER-WR | [5 empty] | 0 | 42.16 |  | -42.16
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 310 | 0 | 7.37 |  | -7.37
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1643 | 0 | 39.481 |  | -39.481
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2564 | 0 | 44.74 |  | -44.74
4 | 400 kV | TALCHER-I/C | 2 | 227 | 616 | 2.749 | 0 |  | 2.749
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 91.591 |  | -91.591
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 269 | 108 | 2.57 | 0.1 |  | 2.47
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 315 | 77 | 1.15 | 0 |  | 1.15
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 62 | 16 | 0.24 | 0 |  | 0.24
ER-NER | [5 empty] | 3.96 | 0.1 |  | 3.86
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 703 | 0 | 16.84 |  | -16.84
NER-NR | [5 empty] | 0 | 16.84 |  | -16.84
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5042 | 0 | 81.13 |  | -81.13
2 | HVDC | VINDHYACHAL B/B | - | 45 | 0 | 1.23 | 0 |  | 1.23
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 2354 | 0 | 43.73 |  | -43.73
4 | 765 kV | GWALIOR-AGRA | 2 | 753 | 1343 | 1.96 | 9.3 |  | -7.34
5 | 765 kV | GWALIOR-PHAGI | 2 | 711 | 1927 | 2.76 | 21.66 |  | -18.9
6 | 765 kV | JABALPUR-ORAI | 2 | 116 | 1041 | 0 | 17.86 |  | -17.86
7 | 765 kV | GWALIOR-ORAI | 1 | 783 | 0 | 11 | 0 |  | 11
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1041 | 0 | 16.53 |  | -16.53
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2129 | 0 | 28.79 | 0 |  | 28.79
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 211 | 2385 | 0 | 30.2 |  | -30.2
11 | 400 kV | ZERDA-KANKROLI | 1 | 367 | 4 | 5.24 | 0 |  | 5.24
12 | 400 kV | ZERDA -BHINMAL | 1 | 132 | 147 | 0.28 | 1.39 |  | -1.11
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 0 | 1 | 0 | 0 |  | 0
14 | 400 kV | RAPP-SHUJALPUR | 2 | 475 | 459 | 3.54 | 2.52 |  | 1.02
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 364 | 483 | 2.31 | 3.59 |  | -1.28
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 113 | 0 | 2.04 |  | -2.04
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.51 |  | -2.51
18 | 220 kV | MEHGAON-AURAIYA | 1 | 137 | 0 | 1.58 | 0 |  | 1.58
19 | 220 kV | MALANPUR-AURAIYA | 1 | 104 | 16 | 1 | 0.01 |  | 0.99
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 59.69 | 232.47 |  | -172.78
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 307 | 0 | 7.18 |  | -7.18
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 606 | 0 | 14.43 |  | -14.43
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1345 | 577 | 12.46 | 0.56 |  | 11.9
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 328 | 2078 | 0.65 | 22.5 |  | -21.85
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 109 | 2083 | 0.04 | 24.28 |  | -24.24
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1679 | 0 | 30.99 | 0 |  | 30.99
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 78 | 0 | 1.48 | 0 |  | 1.48
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 126 | 2.47 | 0 |  | 2.47
WR-SR | [5 empty] | 48.09 | 68.95 |  | -20.86
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 818.37 | 773.662 | 790.5 |  | 18.972
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 933.859 | 865.34 | 904.29 |  | 21.703
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 107.71 | 52.636 | 77.8 |  | 1.8673
|  | NER | 132kV GELEPHU-SALAKATI |  | 24 | 0 | 12.5 |  | 0.3
|  | NER | 132kV MOTANGA-RANGIA |  | 48 | 0 | 40.417 |  | 0.97
|  | NR | NEPAL IMPORT (FROM UP) |  | 0 | 0 | 0 |  | 0
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 67.224 | 0 | 58 |  | 1.4
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 342 | 89 | 273.75 |  | 6.57
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -459 | -438 | -459 |  | -22.038
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1124 | -1003 | -1036.542 |  | -24.877
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -63 | 0 | -55.8333 |  | -1.34

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 07-Oct-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 22.82 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.82
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.82 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.82
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.8 |  | 0 | 1.94 | 0 | 0 | 0 |  | 0 | 0 |  | 42.74
Nepal | 2.35 |  | 0 | 0 | 0 | 0 | 5.41 |  | 0 | 0 |  | 7.76
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 43.15 |  | 0 | 1.94 | 0 | 0 | 5.41 |  | 0 | 0 |  | 50.5
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 40.8 |  | 0 | 1.94 | 0 | 0 | 0 |  | 0 | 0 |  | 42.74
Nepal | 2.35 |  | 0 | 0 | 0 | 0 | 5.41 |  | 0 | 0 |  | 7.76
Bangladesh | -22.82 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.82
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 20.33 |  | 0 | 1.94 | 0 | 0 | 5.41 |  | 0 | 0 |  | 27.68