## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 09-Mar-2025
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 56448 | 70077 | 52130 | 23834 | 2711 | 205200
Peak Shortage (MW) |  | 60 | 0 | 0 | 0 | 20 | 80
Energy Met (MU) |  | 1280 | 1640 | 1414.15 | 498.96 | 50.38 | 4883.49
Hydro Gen (MU) |  | 122.14 | 53.17 | 89.1 | 24.48 | 8.45 | 297.34
Wind Gen (MU) |  | 7.6 | 58.69 | 22.09 | - | - | 88.38
Solar Gen (MU)* |  | 205.96 | 141.99 | 144.6 | 4.3 | 1.02 | 497.87
Energy Shortage (MU) |  | 0.06 | 0 | 0 | 0 | 0.213 | 0.273
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 65179 | 75955 | 67522 | 24619 | 2760 | 229961
Time Of Maximum Demand Met |  | 10:13 | 11:01 | 15:42 | 18:49 | 18:04 | 10:29
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.04 | 0.03 | 0.58 | 6.16 | 6.77 | 78.68 | 14.55
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 10033 | 0 | 190.92 | 75.59 | -0.56 | 423 | 0
| Haryana | 8385 | 0 | 164.66 | 106.15 | -1.03 | 484 | 0
| Rajasthan | 16940 | 0 | 334.08 | 108.17 | 0.02 | 665 | 0
| Delhi | 3740 | 0 | 69.8 | 61.58 | -0.26 | 293 | 0
NR | UP | 19387 | 0 | 375.86 | 81.61 | -0.95 | 413 | 0
| Uttarakhand | 2147 | 0 | 41.3 | 30.7 | 0.67 | 115 | 0
| HP | 1901 | 0 | 34.29 | 25.24 | -0.55 | 498 | 0
| J&K(UT) & Ladakh(UT) | 2933 | 60 | 60.79 | 57.39 | -2.68 | 759 | 0.06
| Chandigarh | 205 | 0 | 3.45 | 3.41 | 0.04 | 14 | 0
| Railways_NR ISTS | 205 | 0 | 4.37 | 3.88 | 0.49 | 38 | 0
| Chhattisgarh | 6153 | 0 | 139 | 73 | 0 | 199 | 0
| Gujarat | 23144 | 0 | 461.1 | 194.4 | -0.7 | 684 | 0
| MP | 15483 | 0 | 312.2 | 186.4 | -4.1 | 618 | 0
WR | Maharashtra | 28497 | 0 | 645.4 | 227.5 | -0.4 | 718 | 0
| Goa | 793 | 0 | 15.9 | 15.8 | -0.4 | 41 | 0
| DNHDDPDCL | 1332 | 0 | 30.5 | 30.4 | 0.1 | 47 | 0
| AMNSIL | 794 | 0 | 17.5 | 10.5 | 0.2 | 192 | 0
| BALCO | 537 | 0 | 12.8 | 12.7 | 0.1 | 11 | 0
| RIL JAMNAGAR | 235 | 0 | 5.6 | 5.6 | 0 | 0 | 0
| Andhra Pradesh | 12360 | 0 | 241.38 | 78.96 | 0.28 | 907 | 0
| Telangana | 16358 | 0 | 322.41 | 190.26 | -0.89 | 741 | 0
SR | Karnataka | 17574 | 0 | 344.65 | 155.44 | -1.17 | 1022 | 0
| Kerala | 5072 | 0 | 101.45 | 82.29 | 1.49 | 963 | 0
| Tamil Nadu | 18954 | 0 | 394.22 | 253.48 | -1.36 | 548 | 0
| Puducherry | 440 | 0 | 10.04 | 9.74 | -0.26 | 20 | 0
| Bihar | 5110 | 0 | 99.39 | 88.68 | 3.59 | 222 | 0
| DVC | 3257 | 0 | 69.9 | -53.42 | 1.11 | 285 | 0
| Jharkhand | 2059 | 0 | 41.31 | 29.9 | -0.06 | 253 | 0
ER | Odisha | 5238 | 0 | 104.84 | 26.74 | -1.09 | 514 | 0
| West Bengal | 9158 | 0 | 181.69 | 39.73 | -1.39 | 184 | 0
| Sikkim | 106 | 0 | 1.65 | 1.8 | -0.15 | 11 | 0
| Railways_ER ISTS | 11 | 0 | 0.18 | 0.14 | 0.04 | 0 | 0
| Arunachal Pradesh | 174 | 0 | 3.19 | 3.04 | 0.05 | 27 | 0
| Assam | 1590 | 0 | 29.86 | 23.48 | 0.24 | 90 | 0
| Manipur | 185 | 27 | 2.87 | 2.58 | 0.29 | 40 | 0.213
NER | Meghalaya | 344 | 0 | 5.58 | 4.3 | 0.02 | 223 | 0
| Mizoram | 127 | 0 | 2.34 | 1.79 | 0.2 | 29 | 0
| Nagaland | 165 | 0 | 2.34 | 2.32 | -0.03 | 33 | 0
| Tripura | 249 | 0 | 4.2 | 3.49 | -0.06 | 24 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -6.26 | -11.237 | -23.44 | -22.6519
Day Peak (MW) |  | -547 | -685 | -997 | -1283
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 128.15 | -257.75 | 293.42 | -174.45 | 10.63 | 0
Actual(MU) |  | 119.98 | -255.46 | 301.005 | -181.73 | 10.06 | -6.145
O/D/U/D(MU) |  | -8.17 | 2.29 | 7.585 | -7.28 | -0.57 | -6.145
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 5659.44 | 8190.6 | 2678 | 3956.5 | 1131 | 21615.54 | 46.5245
State Sector |  | 7668 | 9133 | 6156 | 1701 | 187 | 24845 | 53.4755
Total |  | 13327.44 | 17323.6 | 8834 | 5657.5 | 1318 | 46460.54 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 836.68 | 1683.9 | 763.49 | 746.16 | 10.55 | 4040.78 | 76.362
Lignite |  | 28.81 | 11.7 | 61.64 | 0 | 0 | 102.15 | 1.9304
Hydro |  | 122.14 | 53.17 | 89.1 | 24.48 | 8.45 | 297.34 | 5.6191
Nuclear |  | 20.87 | 59.69 | 76.24 | 0 | 0 | 156.8 | 2.9632
Gas, Naptha & Diesel |  | 8.37 | 15.93 | 4.5 | 0 | 24.39 | 53.19 | 1.0052
RES (Wind, Solar, Biomass & Others) |  | 235.81 | 202.85 | 195.51 | 6.13 | 1.05 | 641.35 | 12.1201
Total |  | 1252.68 | 2027.24 | 1190.48 | 776.77 | 44.44 | 5291.61 | 100
Share of RES in total generation (%) |  | 18.8244 | 10.0062 | 16.4228 | 0.78917 | 2.3627 | 12.1201
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 30.2408 | 15.5734 | 30.3113 | 3.9407 | 21.3771 | 20.7024
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.026 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.049 |  | Solar hr | 229961 |  | 10:29 | 0
|  |  |  | Non-Solar hr | 208566 |  | 18:55 | 20
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 09-Mar-2025
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 47 | 0 | 2.03 |  | -2.03
3 | 765 kV | GAYA-VARANASI | 2 | 355 | 920 | 0 | 12.07 |  | -12.07
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 543 | 0 | 8.83 |  | -8.83
5 | 765 kV | GAYA-BALIA | 1 | 0 | 521 | 0 | 7.36 |  | -7.36
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 120 | 0 | 1.77 |  | -1.77
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 70 | 43 | 0.15 | 0 |  | 0.15
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 365 | 444 | 0 | 3.11 |  | -3.11
9 | 400 kV | PATNA-BALIA | 2 | 0 | 816 | 0 | 14.47 |  | -14.47
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 269 | 0 | 4.41 |  | -4.41
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 289 | 133 | 0.45 | 0 |  | 0.45
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 4 | 439 | 0 | 6.87 |  | -6.87
13 | 400 kV | BIHARSARIFF-SAHUPURI | 2 | 0 | 0 | 0 | 4 |  | -4
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 52 | 0 | 0.47 |  | -0.47
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0.14 | 0 |  | 0.14
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.28 | 0 |  | 0.28
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 1.02 | 65.39 |  | -64.37
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 770 | 494 | 1.16 | 0 |  | 1.16
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 0 | 1345 | 0 | 17.01 |  | -17.01
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 800 | 0 | 15.8 |  | -15.8
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 711 | 0 | 12.03 |  | -12.03
5 | 400 kV | RANCHI-SIPAT | 2 | 0 | 422 | 0 | 5.56 |  | -5.56
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 130 | 0 | 2.14 |  | -2.14
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 94 | 95 | 0 | 0.24 |  | -0.24
ER-WR | [5 empty] | 1.16 | 52.78 |  | -51.62
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 744 | 0 | 17.59 |  | -17.59
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1907 | 0 | 42.71 |  | -42.71
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 3103 | 0 | 56.78 |  | -56.78
4 | 400 kV | TALCHER-I/C | 2 | 261 | 261 | 1.03 | 0 |  | 1.03
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 117.08 |  | -117.08
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 253 | 151 | 1.84 | 0.68 |  | 1.16
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 420 | 132 | 3.2 | 0 |  | 3.2
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 83 | 0 | 0.93 | 0 |  | 0.93
ER-NER | [5 empty] | 5.97 | 0.68 |  | 5.29
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 670 | 0 | 15.78 | 0 |  | 15.78
NER-NR | [5 empty] | 15.78 | 0 |  | 15.78
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 3449 | 0 | 64.04 |  | -64.04
2 | HVDC | VINDHYACHAL B/B | - | 49 | 255 | 0.59 | 2.62 |  | -2.03
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1454 | 0 | 31.5 |  | -31.5
4 | 765 kV | GWALIOR-AGRA | 2 | 1045 | 1060 | 3.84 | 4.2 |  | -0.36
5 | 765 kV | GWALIOR-PHAGI | 2 | 705 | 1379 | 2.85 | 14.32 |  | -11.47
6 | 765 kV | JABALPUR-ORAI | 2 | 405 | 583 | 0 | 3.57 |  | -3.57
7 | 765 kV | GWALIOR-ORAI | 1 | 749 | 0 | 13.35 | 0 |  | 13.35
8 | 765 kV | SATNA-ORAI | 1 | 0 | 903 | 0 | 15.63 |  | -15.63
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1936 | 0 | 27.8 | 0 |  | 27.8
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 50 | 1632 | 0 | 17 |  | -17
11 | 400 kV | ZERDA-KANKROLI | 1 | 395 | 0 | 5.37 | 0 |  | 5.37
12 | 400 kV | ZERDA -BHINMAL | 1 | 273 | 0 | 3.71 | 0 |  | 3.71
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 484 | 0 | 10.53 | 0 |  | 10.53
14 | 400 kV | RAPP-SHUJALPUR | 2 | 597 | 188 | 6.05 | 0.3 |  | 5.75
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 628 | 283 | 5.8 | 0.59 |  | 5.21
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 164 | 0 | 2.7 |  | -2.7
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.14 |  | -2.14
18 | 220 kV | MEHGAON-AURAIYA | 1 | 145 | 0 | 2.24 | 0 |  | 2.24
19 | 220 kV | MALANPUR-AURAIYA | 1 | 106 | 0 | 1.43 | 0 |  | 1.43
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 83.56 | 158.61 |  | -75.05
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1011 | 0 | 24 |  | -24
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6033 | 0 | 116.01 |  | -116.01
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 657 | 1838 | 2.49 | 14.34 |  | -11.85
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3271 | 0 | 51.01 |  | -51.01
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 3020 | 0 | 49.66 |  | -49.66
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1223 | 0 | 17.99 | 0 |  | 17.99
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 129 | 2.51 | 0 |  | 2.51
WR-SR | [5 empty] | 22.99 | 255.02 |  | -232.03
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 176.629 | -43.71 | 69.95 |  | 1.6789
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -298.554 | 52.747 | -128.79 |  | -3.091
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -257.105 | -126.394 | -190.5 |  | -4.572
|  | NER | 132kV GELEPHU-SALAKATI |  | -20 | -8 | -14.583 |  | -0.35
|  | NER | 132kV MOTANGA-RANGIA |  | 11 | -3 | 2.917 |  | 0.07
|  | NR | NEPAL IMPORT (FROM UP) |  | -58 | 0 | -40 |  | -0.95
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -58 | 0 | -39 |  | -0.94
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -237 | -58 | -158.375 |  | -3.801
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -448 | -10 | -231.083 |  | -5.546
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -945 | -892 | -932.5 |  | -22.38
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1283 | -811 | -943.829 |  | -22.6519
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -52 | 0 | -44.1667 |  | -1.06

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 09-Mar-2025
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0.39 | 6.46 | 0 | 0 | 0.56 |  | 0 | 0 |  | 7.41
Nepal | 4.02 |  | 0 | 5.14 | 0 | 0 | 1.43 |  | 0 | 0 |  | 10.59
Bangladesh | 23.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 23.33
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 27.35 |  | 0.39 | 11.6 | 0 | 0 | 1.99 |  | 0 | 0 |  | 41.33
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.66 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.66
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0.35 |  | 0 | 0 |  | 0.35
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.66 |  | 0 | 0 | 0 | 0 | 0.35 |  | 0 | 0 |  | 1.01
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.66 |  | -0.39 | -6.46 | 0 | 0 | -0.56 |  | 0 | 0 |  | -6.75
Nepal | -4.02 |  | 0 | -5.14 | 0 | 0 | -1.08 |  | 0 | 0 |  | -10.24
Bangladesh | -23.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -23.33
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -26.69 |  | -0.39 | -11.6 | 0 | 0 | -1.64 |  | 0 | 0 |  | -40.32

## TimeSeries
Date of Reporting: | [11 empty] | 09-Mar-2025
15 Min (INSTANTANEOUS) ALL INDIA GRID FREQUENCY, GENERATION & DEMAND MET (SCADA DATA)
TIME | FREQUENCY (Hz) | DEMAND MET (MW) | NUCLEAR (MW) | WIND (MW) | SOLAR (MW) | HYDRO** (MW) | GAS (MW) | THERMAL (MW) | OTHERS* (MW) | NET DEMAND MET (MW) | TOTAL GENERATION (MW) | NET TRANSNATIONAL EXCHANGE (MW) (+ve) Import, (-ve) Export
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I=A-(C+D)) | (J=B+C+D+E+F+G+H) | (K)
0:00 | 50.07 | 181021 | 6216 | 4582 | 96 | 7579 | 2116 | 162678 | 2476 | 176343 | 185743 | -1708
0:15 | 49.92 | 181587 | 6205 | 4591 | 97 | 7023 | 2143 | 163439 | 2424 | 176899 | 185922 | -1766
0:30 | 50.02 | 181115 | 6198 | 4575 | 99 | 6943 | 2131 | 163250 | 2443 | 176441 | 185639 | -1775
0:45 | 50.02 | 181235 | 6195 | 4574 | 99 | 7088 | 2137 | 162903 | 2454 | 176562 | 185450 | -1744
1:00 | 49.97 | 179913 | 6194 | 4443 | 99 | 6673 | 2152 | 162111 | 2418 | 175371 | 184090 | -1724
1:15 | 49.97 | 178830 | 6198 | 4383 | 99 | 6093 | 2140 | 161913 | 2418 | 174348 | 183244 | -1721
1:30 | 49.97 | 178165 | 6198 | 4429 | 100 | 6042 | 2135 | 161119 | 2413 | 173636 | 182436 | -1709
1:45 | 49.97 | 177698 | 6204 | 4380 | 99 | 5983 | 2141 | 160939 | 2437 | 173219 | 182183 | -1725
2:00 | 50.02 | 176624 | 6218 | 4459 | 103 | 5923 | 2126 | 159720 | 2505 | 172062 | 181054 | -1715
2:15 | 49.97 | 175759 | 6200 | 4451 | 102 | 5737 | 2125 | 159255 | 2402 | 171206 | 180272 | -1759
2:30 | 50.02 | 175536 | 6212 | 4352 | 99 | 6073 | 2127 | 158715 | 2428 | 171085 | 180006 | -1767
2:45 | 50.02 | 174643 | 6208 | 4202 | 97 | 6040 | 2122 | 157917 | 2476 | 170344 | 179062 | -1763
3:00 | 50.02 | 174381 | 6206 | 4256 | 101 | 5572 | 2130 | 158165 | 2390 | 170024 | 178820 | -1772
3:15 | 50.02 | 174895 | 6199 | 4355 | 106 | 5665 | 2183 | 158366 | 2410 | 170434 | 179284 | -1794
3:30 | 50.02 | 175010 | 6203 | 4338 | 104 | 5977 | 2166 | 158116 | 2406 | 170568 | 179310 | -1776
3:45 | 49.97 | 175750 | 6203 | 4346 | 100 | 6145 | 2188 | 158775 | 2381 | 171304 | 180138 | -1773
4:00 | 50.02 | 176000 | 6194 | 4414 | 101 | 6181 | 2166 | 159107 | 2410 | 171485 | 180573 | -1804
4:15 | 49.87 | 178820 | 6196 | 4427 | 98 | 6647 | 2197 | 161471 | 2404 | 174295 | 183440 | -1697
4:30 | 50.02 | 180926 | 6213 | 4510 | 99 | 7107 | 2217 | 162885 | 2380 | 176317 | 185411 | -1459
4:45 | 50.02 | 181936 | 6205 | 4558 | 99 | 7229 | 2214 | 163608 | 2365 | 177279 | 186278 | -1326
5:00 | 50.07 | 182836 | 6216 | 4606 | 98 | 7575 | 2238 | 164165 | 2382 | 178132 | 187280 | -1341
5:15 | 50.02 | 185299 | 6239 | 4600 | 96 | 8873 | 2272 | 165388 | 2414 | 180603 | 189882 | -1380
5:30 | 50.07 | 187305 | 6215 | 4566 | 97 | 10093 | 2269 | 166250 | 2444 | 182642 | 191934 | -1375
5:45 | 50.07 | 189320 | 6216 | 4490 | 97 | 11504 | 2278 | 166741 | 2433 | 184733 | 193759 | -1334
6:00 | 50.12 | 190560 | 6233 | 4556 | 140 | 12702 | 2268 | 166873 | 2485 | 185864 | 195257 | -1410
6:15 | 50.07 | 194114 | 6222 | 4470 | 129 | 15039 | 2145 | 168352 | 2471 | 189515 | 198828 | -1374
6:30 | 50.07 | 199092 | 6232 | 4320 | 157 | 19184 | 2203 | 169282 | 2500 | 194615 | 203878 | -1391
6:45 | 50.02 | 202249 | 6252 | 4123 | 393 | 21430 | 2270 | 169520 | 2568 | 197733 | 206556 | -1252
7:00 | 50.02 | 205220 | 6274 | 4012 | 1209 | 22988 | 2274 | 169822 | 2509 | 199999 | 209088 | -1073
7:15 | 50.02 | 207505 | 6304 | 3853 | 2959 | 23541 | 2311 | 169776 | 2562 | 200693 | 211306 | -1137
7:30 | 50.07 | 208547 | 6277 | 3722 | 5993 | 22459 | 2374 | 168818 | 2632 | 198832 | 212275 | -1133
7:45 | 50.12 | 209936 | 6299 | 3506 | 10157 | 21126 | 2324 | 167261 | 2660 | 196273 | 213333 | -1161
8:00 | 50.12 | 211558 | 6319 | 3426 | 15516 | 18563 | 2328 | 165658 | 2659 | 192616 | 214469 | -1188
8:15 | 50.02 | 216026 | 6301 | 3229 | 20972 | 16948 | 2318 | 166776 | 2703 | 191825 | 219247 | -1372
8:30 | 50.02 | 219340 | 6311 | 2913 | 26743 | 15354 | 2237 | 166584 | 2727 | 189684 | 222869 | -1456
8:45 | 50.02 | 220711 | 6322 | 2519 | 32076 | 14288 | 2194 | 163996 | 2778 | 186116 | 224173 | -1432
9:00 | 50.07 | 221507 | 6319 | 2145 | 37130 | 13138 | 2135 | 161194 | 2798 | 182232 | 224859 | -1454
9:15 | 49.97 | 225235 | 6319 | 1823 | 41302 | 11737 | 2132 | 162718 | 2756 | 182110 | 228787 | -1476
9:30 | 49.92 | 227335 | 6303 | 1517 | 45282 | 11097 | 2126 | 161981 | 2770 | 180536 | 231076 | -1493
9:45 | 49.97 | 229152 | 6287 | 1367 | 48843 | 10851 | 2153 | 160568 | 2753 | 178942 | 232822 | -1505
10:00 | 50.02 | 229198 | 6273 | 1286 | 52037 | 9735 | 2126 | 159192 | 2741 | 175875 | 233390 | -1804
10:15 | 49.97 | 229484 | 6268 | 1237 | 54743 | 9113 | 2133 | 157994 | 2761 | 173504 | 234249 | -1957
10:30 | 49.97 | 229736 | 6269 | 1175 | 57205 | 8898 | 2113 | 156292 | 2712 | 171356 | 234664 | -1995
10:45 | 49.92 | 229661 | 6255 | 1172 | 59156 | 8571 | 2133 | 152633 | 2695 | 169333 | 232615 | -1985
11:00 | 49.97 | 229431 | 6265 | 1116 | 60609 | 7999 | 2128 | 153671 | 2665 | 167706 | 234453 | -1962
11:15 | 49.92 | 224264 | 6251 | 808 | 58750 | 6376 | 2124 | 152715 | 2044 | 164706 | 229068 | -1990
11:30 | 49.97 | 227870 | 6247 | 1083 | 62316 | 7175 | 2124 | 151024 | 2680 | 164471 | 232649 | -1998
11:45 | 49.97 | 226852 | 6228 | 1068 | 62567 | 6904 | 2092 | 150046 | 2671 | 163217 | 231576 | -1941
12:00 | 49.97 | 225374 | 6213 | 1104 | 62993 | 6963 | 2102 | 148307 | 2675 | 161277 | 230357 | -1985
12:15 | 49.92 | 224168 | 6219 | 1127 | 63050 | 6850 | 2119 | 146704 | 2692 | 159991 | 228761 | -1987
12:30 | 49.97 | 223691 | 6176 | 1142 | 62860 | 7033 | 2121 | 146014 | 2689 | 159689 | 228035 | -1969
12:45 | 49.97 | 222398 | 6172 | 1171 | 62767 | 7383 | 2124 | 144440 | 2699 | 158460 | 226756 | -1994
13:00 | 50.02 | 219754 | 6153 | 1253 | 63146 | 7278 | 2093 | 141817 | 2682 | 155355 | 224422 | -2035
13:15 | 49.97 | 216181 | 6157 | 1407 | 62576 | 7054 | 2109 | 138838 | 2663 | 152198 | 220804 | -2034
13:30 | 49.97 | 215122 | 6142 | 1526 | 62396 | 7054 | 2112 | 137924 | 2640 | 151200 | 219794 | -1978
13:45 | 49.87 | 215977 | 6138 | 1598 | 62029 | 6626 | 2130 | 139391 | 2583 | 152350 | 220495 | -1925
14:00 | 49.92 | 217008 | 6151 | 1775 | 61499 | 7091 | 2140 | 140442 | 2590 | 153734 | 221688 | -1949
14:15 | 49.87 | 217335 | 6150 | 1876 | 60481 | 7305 | 2149 | 141464 | 2608 | 154978 | 222033 | -1922
14:30 | 49.97 | 219116 | 6165 | 2210 | 59140 | 7873 | 2122 | 143834 | 2584 | 157766 | 223928 | -1892
14:45 | 50.02 | 220502 | 6172 | 2326 | 58316 | 8392 | 2125 | 145475 | 2562 | 159860 | 225368 | -1970
15:00 | 50.02 | 220905 | 6177 | 2431 | 56838 | 8446 | 2133 | 147206 | 2562 | 161636 | 225793 | -1940
15:15 | 50.02 | 221316 | 6187 | 2540 | 54209 | 8671 | 2173 | 149738 | 2528 | 164567 | 226046 | -1906
15:30 | 50.07 | 223014 | 6174 | 2706 | 52035 | 9136 | 2158 | 153087 | 2531 | 168273 | 227827 | -1914
15:45 | 50.02 | 222625 | 6188 | 2806 | 49166 | 9754 | 2160 | 154842 | 2516 | 170653 | 227432 | -1931
16:00 | 50.02 | 222441 | 6198 | 2931 | 45636 | 10175 | 2175 | 157867 | 2479 | 173874 | 227461 | -1883
16:15 | 50.02 | 220226 | 6219 | 3051 | 41960 | 10684 | 2184 | 158324 | 2479 | 175215 | 224901 | -1888
16:30 | 49.97 | 219911 | 6224 | 3113 | 37903 | 11260 | 2168 | 161583 | 2454 | 178895 | 224705 | -1739
16:45 | 49.87 | 218890 | 6230 | 3303 | 33358 | 11798 | 2223 | 164247 | 2455 | 182229 | 223614 | -1601
17:00 | 49.92 | 217515 | 6216 | 3441 | 28616 | 13532 | 2213 | 165614 | 2423 | 185458 | 222055 | -1437
17:15 | 50.02 | 214426 | 6227 | 3590 | 23683 | 15453 | 2193 | 164852 | 2402 | 187153 | 218400 | -984
17:30 | 50.02 | 210284 | 6252 | 3826 | 16454 | 17496 | 2278 | 165535 | 2417 | 190004 | 214258 | -1039
17:45 | 49.97 | 207504 | 6258 | 3879 | 11349 | 18917 | 2306 | 166269 | 2372 | 192276 | 211350 | -1015
18:00 | 50.02 | 204620 | 6259 | 3981 | 6961 | 19748 | 2336 | 167050 | 2436 | 193678 | 208771 | -1022
18:15 | 49.97 | 202388 | 6266 | 3897 | 3739 | 21465 | 2405 | 166319 | 2448 | 194752 | 206539 | -959
18:30 | 50.02 | 204453 | 6294 | 3762 | 1551 | 23378 | 2432 | 168828 | 2400 | 199140 | 208645 | -895
18:45 | 49.92 | 207504 | 6294 | 3733 | 644 | 25174 | 2471 | 170901 | 2407 | 203127 | 211624 | -923
19:00 | 50.02 | 208142 | 6284 | 3921 | 355 | 25442 | 2456 | 171597 | 2398 | 203866 | 212453 | -912
19:15 | 50.02 | 206455 | 6303 | 4104 | 338 | 24032 | 2461 | 171496 | 2403 | 202013 | 211137 | -943
19:30 | 50.02 | 205383 | 6277 | 4270 | 322 | 22349 | 2474 | 171833 | 2405 | 200791 | 209930 | -927
19:45 | 50.02 | 203981 | 6258 | 4384 | 239 | 21024 | 2469 | 171750 | 2392 | 199358 | 208516 | -939
20:00 | 50.02 | 201867 | 6293 | 4588 | 235 | 18748 | 2472 | 171461 | 2390 | 197044 | 206187 | -908
20:15 | 50.07 | 199241 | 6293 | 4733 | 231 | 17135 | 2431 | 170470 | 2444 | 194277 | 203737 | -1015
20:30 | 50.07 | 196889 | 6285 | 5014 | 243 | 15113 | 2458 | 169838 | 2431 | 191632 | 201382 | -1021
20:45 | 49.97 | 194788 | 6257 | 5079 | 235 | 14011 | 2392 | 169090 | 2457 | 189474 | 199521 | -1043
21:00 | 49.97 | 192370 | 6274 | 5203 | 233 | 13041 | 2387 | 167916 | 2451 | 186934 | 197505 | -1284
21:15 | 49.97 | 191627 | 6246 | 5269 | 190 | 12513 | 2356 | 167928 | 2461 | 186168 | 196963 | -1523
21:30 | 49.92 | 190919 | 6259 | 5271 | 195 | 12151 | 2327 | 167711 | 2445 | 185453 | 196359 | -1658
21:45 | 49.92 | 190398 | 6266 | 5270 | 196 | 12021 | 2286 | 167474 | 2466 | 184932 | 195979 | -1751
22:00 | 50.02 | 188826 | 6230 | 5207 | 194 | 11261 | 2154 | 166753 | 2480 | 183425 | 194279 | -1717
22:15 | 49.82 | 190387 | 6223 | 5032 | 194 | 11883 | 2095 | 167837 | 2466 | 185161 | 195730 | -1836
22:30 | 49.97 | 190234 | 6213 | 4967 | 194 | 12048 | 2088 | 167638 | 2474 | 185073 | 195622 | -1778
22:45 | 49.97 | 189560 | 6218 | 4879 | 199 | 11424 | 2074 | 167643 | 2469 | 184482 | 194906 | -1773
23:00 | 50.02 | 188516 | 6217 | 4898 | 203 | 10995 | 2076 | 166973 | 2462 | 183415 | 193824 | -1777
23:15 | 50.02 | 188009 | 6215 | 5055 | 203 | 10547 | 2081 | 166571 | 2457 | 182751 | 193129 | -1761
23:30 | 50.02 | 187577 | 6210 | 5267 | 198 | 10343 | 2061 | 166212 | 2455 | 182112 | 192746 | -1742
23:45 | 50.07 | 186427 | 6196 | 5500 | 192 | 9419 | 1865 | 165724 | 2455 | 180735 | 191351 | -1720
*Others include (i) Biomass from Punjab (ii) Some of the state sector IPP & non-conventional generation in SR (small capacity) (iii) Solar generation in Odisha(manually punched). ** Hydro generation is excluding Bhutan hydro. ***Bhutan hydro is accounted for in net transnational exchange. Disclaimer: 1. The information provided is for general informational purposes only. 2. The data is provided "as is" without any guarantees or warranties. 3. All Data is operational SCADA data telemetered and reporting at NLDC through RLDC/SLDC. 4. Data is subject to errors due to telemetry loss/freeze/garbage value etc. 5. Demand met and RE generation data is incident on transmission system. Resources in distribution system plus behind the meter (BTM) generation excluded. 6. Users are advised to ensure its accuracy, completeness and relevance for their purposes, and, in this respect, GRID-INDIA shall not be responsible for any errors or omissions.