## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 10-Nov-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 51921 | 62610 | 46062 | 21258 | 2658 | 184509
Peak Shortage (MW) |  | 0 | 0 | 0 | 255 | 38 | 293
Energy Met (MU) |  | 1137 | 1528.1 | 1000.57 | 444.43 | 49.73 | 4159.83
Hydro Gen (MU) |  | 128.3 | 42.37 | 42 | 34.53 | 16.26 | 263.46
Wind Gen (MU) |  | 8.31 | 17.57 | 20.7 | - | - | 46.58
Solar Gen (MU)* |  | 73.75 | 54.01 | 89.01 | 6.2 | 1.11 | 224.08
Energy Shortage (MU) |  | 2.07 | 0 | 0 | 1.24 | 0.08 | 3.39
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 55556 | 72913 | 46505 | 22516 | 2874 | 194095
Time Of Maximum Demand Met |  | 18:31 | 10:29 | 18:48 | 17:44 | 17:17 | 18:26
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.058 | 0.17 | 2.96 | 10.06 | 13.19 | 75.41 | 11.4
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 6729 | 0 | 137.37 | 42.68 | -0.67 | 129 | 0
| Haryana | 7071 | 0 | 142.07 | 85.98 | -0.88 | 145 | 0.01
| Rajasthan | 15580 | 0 | 313.79 | 126.81 | -2.91 | 408 | 0
| Delhi | 4031 | 0 | 77.7 | 68.39 | -0.12 | 268 | 0
NR | UP | 17926 | 73 | 333.81 | 108.07 | -1.76 | 1123 | 0.28
| Uttarakhand | 2041 | 0 | 39.94 | 28.98 | 1.05 | 184 | 0.08
| HP | 1935 | 0 | 35 | 26.7 | -0.27 | 42 | 0.13
| J&K(UT) & Ladakh(UT) | 2391 | 0 | 49.67 | 41.93 | 2.48 | 334 | 1.57
| Chandigarh | 196 | 0 | 3.57 | 3.68 | -0.11 | 16 | 0
| Railways_NR ISTS | 191 | 0 | 3.69 | 3.57 | 0.12 | 32 | 0
| Chhattisgarh | 4373 | 0 | 93 | 35.1 | -0.6 | 213 | 0
| Gujarat | 21302 | 0 | 432.6 | 216.1 | -0.2 | 425 | 0
| MP | 16372 | 0 | 333.3 | 210.4 | -3.5 | 829 | 0
WR | Maharashtra | 28356 | 0 | 595.8 | 228.9 | -4.3 | 929 | 0
| Goa | 684 | 0 | 14 | 12.8 | 0.6 | 56 | 0
| DNHDDPDCL | 1266 | 0 | 29.1 | 29 | 0.1 | 52 | 0
| AMNSIL | 862 | 0 | 17.9 | 8.3 | 0 | 260 | 0
| BALCO | 522 | 0 | 12.4 | 12.5 | -0.1 | 6 | 0
| Andhra Pradesh | 9731 | 0 | 202.76 | 91.42 | -1.97 | 385 | 0
| Telangana | 9825 | 0 | 202.25 | 93.46 | -2.86 | 460 | 0
SR | Karnataka | 10321 | 0 | 206.11 | 91.14 | -6.49 | 717 | 0
| Kerala | 3887 | 0 | 78.65 | 60.19 | 0.67 | 167 | 0
| Tamil Nadu | 15030 | 0 | 301.61 | 175.36 | -1.35 | 602 | 0
| Puducherry | 449 | 0 | 9.19 | 9.51 | -0.36 | 32 | 0
| Bihar | 4802 | 0 | 85.95 | 82.4 | -2.8 | 261 | 0
| DVC | 3176 | 0 | 67.09 | -37.08 | -0.24 | 225 | 0
| Jharkhand | 1546 | 0 | 30.03 | 22.26 | -1.65 | 210 | 1.24
ER | Odisha | 5183 | 0 | 109.85 | 22.57 | -1.84 | 313 | 0
| West Bengal | 7610 | 0 | 150.01 | 17.72 | -2.74 | 140 | 0
| Sikkim | 92 | 0 | 1.35 | 1.27 | 0.08 | 29 | 0
| Railways_ER ISTS | 9 | 0 | 0.15 | 0.18 | -0.03 | 0 | 0
| Arunachal Pradesh | 153 | 0 | 2.6 | 2.57 | -0.16 | 32 | 0
| Assam | 1682 | 0 | 29.63 | 22.78 | 0.29 | 135 | 0
| Manipur | 205 | 0 | 2.69 | 2.64 | 0.05 | 26 | 0
NER | Meghalaya | 334 | 0 | 6.38 | 4.91 | -0.2 | 129 | 0.08
| Mizoram | 134 | 0 | 1.92 | 1.55 | -0.24 | 15 | 0
| Nagaland | 142 | 0 | 2.32 | 2.26 | -0.1 | 12 | 0
| Tripura | 272 | 0 | 4.19 | 3.74 | -0.18 | 27 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 5.02 | 8.25 | -21.652 | -24.42
Day Peak (MW) |  | 319 | 430.024 | -932 | -1327
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 197.6 | -160.11 | 127.68 | -166.09 | -2.74 | -3.66
Actual(MU) |  | 214.99 | -133.56 | 121.799 | -203.65 | -4.22 | -4.641
O/D/U/D(MU) |  | 17.39 | 26.55 | -5.881 | -37.56 | -1.48 | -0.981
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 5448.04 | 9340.25 | 5758 | 4326 | 230 | 25102.29 | 48.117
State Sector |  | 7225.5 | 10992.5 | 6229 | 2475 | 145 | 27067 | 51.883
Total |  | 12673.54 | 20332.75 | 11987 | 6801 | 375 | 52169.29 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 727.63 | 1600.74 | 629.18 | 678.91 | 15.75 | 3652.21 | 80.2648
Lignite |  | 22.95 | 18.79 | 61.68 | 0 | 0 | 103.42 | 2.2729
Hydro |  | 129.15 | 42.97 | 42.4 | 34.59 | 16.4 | 265.51 | 5.8351
Nuclear |  | 20.25 | 53.32 | 73.01 | 0 | 0 | 146.58 | 3.2214
Gas, Naptha & Diesel |  | 10.07 | 16.46 | 3.8 | 0 | 26.81 | 57.14 | 1.2558
RES (Wind, Solar, Biomass & Others) |  | 97.52 | 74.22 | 145.25 | 7.24 | 1.11 | 325.34 | 7.15
Total |  | 1007.57 | 1806.5 | 955.32 | 720.74 | 60.07 | 4550.2 | 100
Share of RES in total generation (%) |  | 9.6787 | 4.1085 | 15.2043 | 1.0045 | 1.8478 | 7.15
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 24.5065 | 9.4387 | 27.2851 | 5.8038 | 29.1493 | 16.2065
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.032 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.063 |  | Solar hr | 193949 |  | 10:14 | 0
|  |  |  | Non-Solar hr | 194095 |  | 18:26 | 924
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 10-Nov-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 502 | 0 | 11.76 |  | -11.76
2 | HVDC | PUSAULI B/B | - | 0 | 49 | 0 | 1.25 |  | -1.25
3 | 765 kV | GAYA-VARANASI | 2 | 0 | 939 | 0 | 14.84 |  | -14.84
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 485 | 0 | 7.6 |  | -7.6
5 | 765 kV | GAYA-BALIA | 1 | 0 | 610 | 0 | 12.7 |  | -12.7
6 | 400 kV | PUSAULI-VARANASI | 1 | 44 | 48 | 0.2 | 0 |  | 0.2
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 1 | 92 | 0 | 1.31 |  | -1.31
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 552 | 0 | 10.5 |  | -10.5
9 | 400 kV | PATNA-BALIA | 2 | 0 | 438 | 0 | 6.69 |  | -6.69
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 478 | 0 | 8.25 |  | -8.25
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 279 | 0 | 4.1 |  | -4.1
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 359 | 0 | 6.15 |  | -6.15
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 405 | 0 | 5.24 |  | -5.24
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 2 | 195 | 0 | 2.59 |  | -2.59
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0.07 | 0 |  | 0.07
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.37 | 0 |  | 0.37
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.64 | 92.98 |  | -92.34
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 167 | 1027 | 0 | 12.48 |  | -12.48
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 234 | 799 | 0 | 1.7 |  | -1.7
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 732 | 0 | 14.39 |  | -14.39
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 570 | 0 | 7.98 |  | -7.98
5 | 400 kV | RANCHI-SIPAT | 2 | 27 | 297 | 0 | 1.6 |  | -1.6
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 132 | 0 | 2.32 |  | -2.32
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 58 | 60 | 0.11 | 0 |  | 0.11
ER-WR | [5 empty] | 0.11 | 40.47 |  | -40.36
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 525 | 0 | 11.87 |  | -11.87
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1994 | 0 | 44.6 |  | -44.6
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2670 | 0 | 47.08 |  | -47.08
4 | 400 kV | TALCHER-I/C | 2 | 271 | 138 | 0 | 0.5 |  | -0.5
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 103.55 |  | -103.55
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 280 | 0 | 4.64 |  | -4.64
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 131 | 507 | 0 | 6.3 |  | -6.3
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 20 | 94 | 0 | 1.2 |  | -1.2
ER-NER | [5 empty] | 0 | 12.14 |  | -12.14
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 706 | 0 | 16.92 |  | -16.92
NER-NR | [5 empty] | 0 | 16.92 |  | -16.92
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 820 | 0 | 19.6 |  | -19.6
2 | HVDC | VINDHYACHAL B/B | - | 432 | 0 | 8.35 | 0 |  | 8.35
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1170 | 0 | 11.55 |  | -11.55
4 | 765 kV | GWALIOR-AGRA | 2 | 93 | 1567 | 0.03 | 23.29 |  | -23.26
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1986 | 0 | 38.76 |  | -38.76
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 768 | 0 | 27.58 |  | -27.58
7 | 765 kV | GWALIOR-ORAI | 1 | 1033 | 0 | 19.16 | 0 |  | 19.16
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1084 | 0 | 22.34 |  | -22.34
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1675 | 0 | 26 | 0 |  | 26
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2371 | 0 | 42.9 |  | -42.9
11 | 400 kV | ZERDA-KANKROLI | 1 | 218 | 0 | 3.19 | 0 |  | 3.19
12 | 400 kV | ZERDA -BHINMAL | 1 | 342 | 143 | 1.22 | 0 |  | 1.22
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 957 | 0 | 22.19 | 0 |  | 22.19
14 | 400 kV | RAPP-SHUJALPUR | 2 | 178 | 275 | 0 | 1.14 |  | -1.14
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 165 | 0 | 2.73 |  | -2.73
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.21 |  | -1.21
17 | 220 kV | MEHGAON-AURAIYA | 1 | 116 | 0 | 1.75 | 0 |  | 1.75
18 | 220 kV | MALANPUR-AURAIYA | 1 | 85 | 0 | 1.08 | 0 |  | 1.08
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 82.97 | 191.1 |  | -108.13
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1007 | 0 | 14.8 |  | -14.8
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 3010 | 0 | 43.52 |  | -43.52
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2085 | 681 | 17.93 | 1.25 |  | 16.68
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2204 | 0 | 27.88 |  | -27.88
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2197 | 0 | 25.32 |  | -25.32
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1732 | 0 | 27.36 | 0 |  | 27.36
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 48 | 0 | 0.01 |  | -0.01
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 118 | 2.19 | 0 |  | 2.19
WR-SR | [5 empty] | 47.48 | 112.78 |  | -65.3
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 29.808 | -22.43 | 115.36 |  | 2.7687
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 367.182 | 129.366 | 215.79 |  | 5.179
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -180.427 | -111.733 | -147.54 |  | -3.541
|  | NER | 132kV GELEPHU-SALAKATI |  | 12 | 0 | 1.25 |  | 0.03
|  | NER | 132kV MOTANGA-RANGIA |  | 32 | 18 | 24.167 |  | 0.58
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 0.98
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 370 | 230 | 302.917 |  | 7.27
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -795 | -671 | -783 |  | -18.792
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1327 | -810 | -1017.5 |  | -24.42
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -137 | 0 | -119.1667 |  | -2.86

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 10-Nov-2023
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 18.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 18.83
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 18.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 18.83
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.24 |  | 0 | 0.86 | 0 | 0 | 0 |  | 0 | 0 |  | 2.1
Nepal | 0 |  | 0 | 7.83 | 0 | 0 | 0.19 |  | 0 | 0 |  | 8.02
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 1.24 |  | 0 | 8.69 | 0 | 0 | 0.19 |  | 0 | 0 |  | 10.12
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.24 |  | 0 | 0.86 | 0 | 0 | 0 |  | 0 | 0 |  | 2.1
Nepal | 0 |  | 0 | 7.83 | 0 | 0 | 0.19 |  | 0 | 0 |  | 8.02
Bangladesh | -18.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -18.83
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -17.59 |  | 0 | 8.69 | 0 | 0 | 0.19 |  | 0 | 0 |  | -8.71