## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 11-Jun-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 63674 | 61067 | 46829 | 25305 | 3017 | 199892
Peak Shortage (MW) |  | 349 | 0 | 0 | 237 | 17 | 603
Energy Met (MU) |  | 1526 | 1513 | 1151.68 | 599.96 | 57.91 | 4848.35
Hydro Gen (MU) |  | 262.62 | 23.57 | 61.5 | 66.41 | 13.2 | 416.22
Wind Gen (MU) |  | 59.7 | 157.37 | 222.38 | ---------- | - | 439.45
Solar Gen (MU)* |  | 131.55 | 66.71 | 124.85 | 2.96 | 0.84 | 326.91
Energy Shortage (MU) |  | 5.14 | 0.08 | 0 | 2.17 | 1.18 | 8.57
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 68793 | 68872 | 53217 | 27001 | 3014 | 219301
Time Of Maximum Demand Met |  | 00:00 | 15:32 | 14:59 | 13:14 | 20:01 | 15:00
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.044 | 0 | 0 | 4.26 | 4.26 | 73.51 | 22.23
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 10697 | 0 | 204.15 | 98.4 | -3.75 | 136 | 0
| Haryana | 9486 | 0 | 199.56 | 137.14 | -7.56 | 0 | 0
| Rajasthan | 14578 | 0 | 309.33 | 65.59 | -2.56 | 299 | 0
| Delhi | 6285 | 0 | 126.16 | 116.03 | -2.47 | 64 | 0
NR | UP | 26210 | 0 | 542.4 | 267.36 | -1.06 | 433 | 1.91
| Uttarakhand | 2408 | 0 | 52.93 | 28.29 | -0.83 | 153 | 0.07
| HP | 1557 | 37 | 31.71 | 3.07 | -0.1 | 118 | 0.46
| J&K(UT) & Ladakh(UT) | 2335 | 0 | 49.42 | 24.82 | -0.29 | 187 | 2.7
| Chandigarh | 313 | 0 | 6.2 | 6.22 | -0.02 | 32 | 0
| Railways_NR ISTS | 186 | 0 | 4.03 | 3.31 | 0.72 | 45 | 0
| Chhattisgarh | 4862 | 0 | 111.2 | 56.9 | -1.1 | 217 | 0
| Gujarat | 21464 | 0 | 455.5 | 208.9 | -1.7 | 712 | 0
| MP | 11578 | 0 | 257.6 | 136.2 | 0 | 294 | 0
WR | Maharashtra | 27481 | 0 | 614.4 | 213.7 | -1 | 764 | 0.08
| Goa | 673 | 0 | 14.5 | 14.4 | -0.4 | 125 | 0
| DNHDDPDCL | 1268 | 0 | 29.8 | 30 | -0.2 | 44 | 0
| AMNSIL | 851 | 0 | 17.6 | 10.8 | -0.2 | 250 | 0
| BALCO | 520 | 0 | 12.4 | 12.4 | 0 | 150 | 0
| Andhra Pradesh | 12165 | 0 | 244.59 | 57.34 | 0.45 | 1358 | 0
| Telangana | 9975 | 0 | 197.1 | 78.1 | -1.47 | 362 | 0
SR | Karnataka | 12422 | 0 | 238.5 | 63.37 | -3.94 | 864 | 0
| Kerala | 3852 | 0 | 77.78 | 49.68 | 0.89 | 382 | 0
| Tamil Nadu | 17840 | 0 | 382.72 | 165.42 | -2.45 | 918 | 0
| Puducherry | 487 | 0 | 10.99 | 10.37 | -0.09 | 143 | 0
| Bihar | 6717 | 0 | 145.97 | 135.66 | -1.45 | 172 | 1.96
| DVC | 3558 | 0 | 79.17 | -49.19 | 0.75 | 312 | 0
| Jharkhand | 1872 | 0 | 37.74 | 36.33 | -3.5 | 215 | 0.21
ER | Odisha | 6454 | 0 | 136.56 | 66.42 | 1.63 | 755 | 0
| West Bengal | 9512 | 0 | 198.93 | 87.77 | -2.64 | 370 | 0
| Sikkim | 89 | 0 | 1.49 | 1.3 | 0.19 | 44 | 0
| Railways_ER ISTS | 23 | 0 | 0.1 | 0.26 | -0.16 | 5 | 0
| Arunachal Pradesh | 163 | 0 | 2.9 | 2.51 | 0.39 | 58 | 0
| Assam | 1979 | 0 | 38.55 | 31.94 | -0.09 | 165 | 0
| Manipur | 156 | 0 | 2.31 | 2.43 | -0.12 | 21 | 0
NER | Meghalaya | 327 | 17 | 4.88 | 2.63 | -0.26 | 47 | 1.18
| Mizoram | 109 | 0 | 1.61 | 1.7 | -0.28 | 8 | 0
| Nagaland | 162 | 0 | 2.76 | 2.47 | -0.09 | 13 | 0
| Tripura | 251 | 0 | 4.9 | 4.79 | 0.06 | 79 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 5.198 | -4.705 | -24.755 | -25.4787
Day Peak (MW) |  | 385.99 | -371.39 | -1080 | -1122.82
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 261.46 | -229.47 | 19.21 | -62.88 | 11.67 | -0.01
Actual(MU) |  | 237.14 | -228.09 | 35.587 | -59.55 | 11.18 | -3.733
O/D/U/D(MU) |  | -24.32 | 1.38 | 16.377 | 3.33 | -0.49 | -3.723
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2309.36 | 9150.4 | 5978 | 930 | 817.8 | 19185.56 | 43.2184
State Sector |  | 5624.5 | 10648 | 5178 | 3470 | 286 | 25206.5 | 56.7816
Total |  | 7933.86 | 19798.4 | 11156 | 4400 | 1103.8 | 44392.06 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 818.9 | 1560.07 | 654.84 | 664.25 | 16.25 | 3714.31 | 70.6949
Lignite |  | 23.64 | 18.8 | 56.79 | 0 | 0 | 99.23 | 1.8936
Hydro |  | 262.53 | 23.57 | 61.5 | 69.89 | 13.2 | 430.69 | 8.1106
Nuclear |  | 29.2 | 31.68 | 45.42 | 0 | 0 | 106.3 | 2.0285
Gas, Naptha & Diesel |  | 45.33 | 59.98 | 6.4 | 0 | 23.18 | 134.89 | 2.1314
RES (Wind, Solar, Biomass & Others) |  | 199.13 | 224.6 | 364.92 | 3.929 | 0.84 | 793.419 | 15.141
Total |  | 1378.73 | 1918.7 | 1189.87 | 738.069 | 53.47 | 5278.839 | 100
Share of RES in total generation (%) |  | 14.4421 | 11.8492 | 30.6689 | 0.54522 | 1.571 | 15.141
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 35.6065 | 14.764 | 39.6548 | 9.4196 | 26.2577 | 25.2801
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.007 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.052 |  | Solar hr | 219301 |  | 15:00 | 418
|  |  |  | Non-Solar hr | 209559 |  | 0:00 | 768
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 11-Jun-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 95 | 0 | 2.4 |  | -2.4
3 | 765 kV | GAYA-VARANASI | 2 | 442 | 317 | 1.28 | 0 |  | 1.28
4 | 765 kV | SASARAM-FATEHPUR | 1 | 168 | 143 | 0 | 0.26 |  | -0.26
5 | 765 kV | GAYA-BALIA | 1 | 0 | 771 | 0 | 13.48 |  | -13.48
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 114 | 0 | 1.76 |  | -1.76
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 9 | 79 | 0 | 0.57 |  | -0.57
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 136 | 631 | 0 | 8.53 |  | -8.53
9 | 400 kV | PATNA-BALIA | 2 | 0 | 559 | 0 | 9.59 |  | -9.59
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 569 | 0 | 8.04 |  | -8.04
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 188 | 315 | 0 | 3.34 |  | -3.34
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 20 | 399 | 0 | 5.6 |  | -5.6
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 197 | 204 | 0 | 0.73 |  | -0.73
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 196 | 0 | 3.37 |  | -3.37
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.79 | 0 |  | 0.79
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 66 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 2.07 | 57.67 |  | -55.6
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1275 | 0 | 17.26 | 0 |  | 17.26
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1954 | 0 | 29.34 | 0 |  | 29.34
3 | 765 kV | JHARSUGUDA-DURG | 2 | 91 | 581 | 0 | 5.08 |  | -5.08
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 112 | 318 | 0 | 2.64 |  | -2.64
5 | 400 kV | RANCHI-SIPAT | 2 | 411 | 43 | 5.1 | 0 |  | 5.1
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 44 | 0 | 0.63 |  | -0.63
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 213 | 0 | 3.45 | 0 |  | 3.45
ER-WR | [5 empty] | 55.15 | 8.35 |  | 46.8
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 649 | 0 | 13.25 |  | -13.25
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1090 | 0 | 24.35 |  | -24.35
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2784 | 0 | 44.61 |  | -44.61
4 | 400 kV | TALCHER-I/C | 2 | 444 | 0 | 7.93 | 0 |  | 7.93
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 82.21 |  | -82.21
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 55 | 198 | 0 | 1.11 |  | -1.11
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 106 | 289 | 0 | 1.14 |  | -1.14
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 43 | 51 | 0 | 0.15 |  | -0.15
ER-NER | [5 empty] | 0 | 2.4 |  | -2.4
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 385 | 0 | 8.07 | 0 |  | 8.07
NER-NR | [5 empty] | 8.07 | 0 |  | 8.07
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 4029 | 0 | 88.64 |  | -88.64
2 | HVDC | VINDHYACHAL B/B | - | 272 | 0 | 7.26 | 0 |  | 7.26
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 974 | 0 | 12.9 |  | -12.9
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2299 | 0 | 34.54 |  | -34.54
5 | 765 kV | GWALIOR-PHAGI | 2 | 19 | 1123 | 0 | 9.5 |  | -9.5
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1116 | 0 | 32.9 |  | -32.9
7 | 765 kV | GWALIOR-ORAI | 1 | 577 | 0 | 10.21 | 0 |  | 10.21
8 | 765 kV | SATNA-ORAI | 1 | 0 | 986 | 0 | 18.99 |  | -18.99
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1491 | 275 | 17.68 | 0.21 |  | 17.47
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3428 | 0 | 69.59 |  | -69.59
11 | 400 kV | ZERDA-KANKROLI | 1 | 325 | 43 | 4.09 | 0 |  | 4.09
12 | 400 kV | ZERDA -BHINMAL | 1 | 602 | 0 | 9.3 | 0 |  | 9.3
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 967 | 0 | 22.06 | 0 |  | 22.06
14 | 400 kV | RAPP-SHUJALPUR | 2 | 303 | 399 | 1.63 | 1.4 |  | 0.23
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.42 |  | -2.42
17 | 220 kV | MEHGAON-AURAIYA | 1 | 96 | 0 | 1.1 | 0 |  | 1.1
18 | 220 kV | MALANPUR-AURAIYA | 1 | 69 | 3 | 6.3 | 0.02 |  | 6.28
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 79.63 | 271.11 |  | -191.48
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 993 | 0 | 12.25 | 0 |  | 12.25
2 | HVDC | RAIGARH-PUGALUR | 2 | 2395 | 2001 | 0 | 12.07 |  | -12.07
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1929 | 1158 | 16.68 | 3.64 |  | 13.04
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2517 | 0 | 32.74 |  | -32.74
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1612 | 0 | 28.32 | 0 |  | 28.32
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 2 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 114 | 1.45 | 0 |  | 1.45
WR-SR | [5 empty] | 58.7 | 48.45 |  | 10.25
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 243.389 | 74.971 | 125.68 |  | 3.0164
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 189.448 | 98.784 | 125.17 |  | 3.004
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -120.884 | -35.573 | -68.46 |  | -1.643
|  | NER | 132kV GELEPHU-SALAKATI |  | 49.69 | 24.78 | 35.875 |  | 0.861
|  | NER | 132kV MOTANGA-RANGIA |  | -6.7 | 0 | -1.792 |  | -0.043
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -74 | 0 | -62 |  | -1.48
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -58.39 | -9.43 | -23.958 |  | -0.575
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -239 | 0 | -110.417 |  | -2.65
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -929 | -794 | -899.79 |  | -21.595
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1122.82 | -996.85 | -1061.613 |  | -25.4787
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -151 | 0 | -131.6667 |  | -3.16