## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 14-Jun-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 68031 | 59347 | 48237 | 26110 | 3042 | 204767
Peak Shortage (MW) |  | 76 | 0 | 0 | 302 | 34 | 412
Energy Met (MU) |  | 1621 | 1462.3 | 1181.34 | 590 | 59.43 | 4914.07
Hydro Gen (MU) |  | 324.09 | 23.3 | 57.7 | 77.04 | 28.3 | 510.43
Wind Gen (MU) |  | 45.97 | 237.4 | 219.77 | - | - | 503.14
Solar Gen (MU)* |  | 131.94 | 58.77 | 129.42 | 2.21 | 0.99 | 323.33
Energy Shortage (MU) |  | 2.69 | 0 | 0 | 1.9444 | 1.33 | 5.9644
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 72058 | 63863 | 54416 | 27903 | 3099 | 215352
Time Of Maximum Demand Met |  | 23:09 | 00:00 | 16:00 | 23:33 | 19:11 | 15:28
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.077 | 0 | 0.6 | 4.28 | 4.88 | 58.86 | 36.26
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 10947 | 0 | 220.29 | 114.3 | 0.47 | 1287 | 0
| Haryana | 10462 | 200 | 226.62 | 160.71 | -5.59 | 184 | 1.44
| Rajasthan | 15770 | 0 | 332.15 | 99.01 | -2.53 | 284 | 0
| Delhi | 7043 | 0 | 143.6 | 129.46 | -1.7 | 233 | 0
NR | UP | 27292 | 0 | 551.23 | 271.5 | -1.17 | 580 | 0
| Uttarakhand | 2413 | 0 | 53.5 | 24.46 | -1.43 | 183 | 0
| HP | 1550 | 13 | 29.73 | -4.21 | -0.21 | 145 | 0.44
| J&K(UT) & Ladakh(UT) | 2697 | 0 | 53.38 | 27.09 | 0.11 | 376 | 0.81
| Chandigarh | 383 | 0 | 6.85 | 7.06 | -0.21 | 44 | 0
| Railways_NR ISTS | 189 | 0 | 4.05 | 3.36 | 0.69 | 44 | 0
| Chhattisgarh | 4908 | 0 | 111.9 | 52.6 | -1.5 | 244 | 0
| Gujarat | 18231 | 0 | 397.1 | 131.5 | -1.9 | 1204 | 0
| MP | 11837 | 0 | 264.5 | 146.2 | -3.8 | 305 | 0
WR | Maharashtra | 27111 | 0 | 615.2 | 213.4 | 0.5 | 766 | 0
| Goa | 729 | 0 | 15 | 15.2 | -0.7 | 29 | 0
| DNHDDPDCL | 1277 | 0 | 28.8 | 29.6 | -0.8 | 181 | 0
| AMNSIL | 807 | 0 | 17.4 | 8.4 | 0 | 239 | 0
| BALCO | 519 | 0 | 12.4 | 12.5 | -0.1 | 515 | 0
| Andhra Pradesh | 12366 | 0 | 250.69 | 75.96 | -0.35 | 600 | 0
| Telangana | 10555 | 0 | 212.76 | 84.63 | 0.84 | 763 | 0
SR | Karnataka | 12867 | 0 | 256.32 | 75.24 | 2.67 | 928 | 0
| Kerala | 3916 | 0 | 76.82 | 58.1 | 0.97 | 289 | 0
| Tamil Nadu | 17190 | 0 | 373.99 | 161.99 | -7.65 | 345 | 0
| Puducherry | 473 | 0 | 10.76 | 10.23 | -0.2 | 72 | 0
| Bihar | 6320 | 146 | 138.95 | 128.08 | -0.5 | 251 | 1.9444
| DVC | 3535 | 0 | 78.32 | -41.8 | 0.6 | 356 | 0
| Jharkhand | 1802 | 0 | 37.31 | 34.99 | -2.65 | 139 | 0
ER | Odisha | 6121 | 0 | 116.01 | 54.64 | -3.61 | 280 | 0
| West Bengal | 11060 | 0 | 217.74 | 91.9 | -3.61 | 187 | 0
| Sikkim | 101 | 0 | 1.45 | 1.42 | 0.03 | 41 | 0
| Railways_ER ISTS | 17 | 0 | 0.22 | 0.26 | -0.04 | 7 | 0
| Arunachal Pradesh | 162 | 0 | 2.86 | 2.8 | -0.15 | 28 | 0
| Assam | 2054 | 0 | 39.52 | 33.2 | -0.41 | 126 | 0
| Manipur | 163 | 0 | 2.36 | 2.65 | -0.29 | 14 | 0
NER | Meghalaya | 327 | 34 | 4.83 | 1.31 | -0.32 | 40 | 1.33
| Mizoram | 113 | 0 | 1.88 | 1.79 | -0.21 | 10 | 0
| Nagaland | 164 | 0 | 2.71 | 2.6 | -0.12 | 20 | 0
| Tripura | 310 | 0 | 5.27 | 5.28 | 0.22 | 86 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 6.8572 | 4.017 | -25.045 | -15.481
Day Peak (MW) |  | 435.77 | 218.83 | -1107 | -1086.94
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 320.59 | -308.2 | 58.5 | -71.26 | 0.35 | -0.02
Actual(MU) |  | 293.61 | -322.73 | 89.986 | -64.4 | -0.39 | -3.924
O/D/U/D(MU) |  | -26.98 | -14.53 | 31.486 | 6.86 | -0.74 | -3.904
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 1544.22 | 7906.9 | 5428 | 1590 | 817.8 | 17286.92 | 40.6986
State Sector |  | 4114.5 | 12103 | 6188 | 2500 | 283 | 25188.5 | 59.3014
Total |  | 5658.72 | 20009.9 | 11616 | 4090 | 1100.8 | 42475.42 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 802.98 | 1477.72 | 628.64 | 645.9 | 14.99 | 3570.23 | 67.6175
Lignite |  | 23.93 | 18.03 | 54.86 | 0 | 0 | 96.82 | 1.8337
Hydro |  | 324.09 | 23.3 | 57.7 | 77.04 | 28.3 | 510.43 | 9.6672
Nuclear |  | 29 | 32.57 | 45.42 | 0 | 0 | 106.99 | 2.0263
Gas, Naptha & Diesel |  | 43.57 | 62.42 | 5.8 | 0 | 23.08 | 134.87 | 2.5543
RES (Wind, Solar, Biomass & Others) |  | 186.22 | 297.32 | 373.53 | 2.64 | 0.99 | 860.7 | 16.301
Total |  | 1409.79 | 1911.36 | 1165.95 | 725.58 | 67.36 | 5280.04 | 100
Share of RES in total generation (%) |  | 13.2091 | 15.5554 | 32.0365 | 0.36385 | 1.4697 | 16.301
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 38.2546 | 18.4785 | 40.8808 | 10.9816 | 43.4828 | 27.9945
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.027 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.085 |  | Solar hr | 215352 |  | 15:28 | 320
|  |  |  | Non-Solar hr | 213456 |  | 23:01 | 869
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 14-Jun-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 97 | 0 | 2.51 |  | -2.51
3 | 765 kV | GAYA-VARANASI | 2 | 767 | 304 | 3.97 | 0 |  | 3.97
4 | 765 kV | SASARAM-FATEHPUR | 1 | 230 | 299 | 0 | 2.21 |  | -2.21
5 | 765 kV | GAYA-BALIA | 1 | 0 | 670 | 0 | 10.53 |  | -10.53
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 108 | 0 | 1.61 |  | -1.61
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 12 | 78 | 0 | 0.72 |  | -0.72
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 117 | 835 | 0 | 12.14 |  | -12.14
9 | 400 kV | PATNA-BALIA | 2 | 62 | 503 | 0 | 6.69 |  | -6.69
10 | 400 kV | NAUBATPUR-BALIA | 2 | 117 | 517 | 0 | 6.56 |  | -6.56
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 152 | 375 | 0 | 4.19 |  | -4.19
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 145 | 413 | 0 | 5.42 |  | -5.42
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 269 | 222 | 0 | 0.28 |  | -0.28
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 199 | 0 | 3.74 |  | -3.74
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.7 | 0 |  | 0.7
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 66 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 4.67 | 56.6 |  | -51.93
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 889 | 378 | 4.77 | 0 |  | 4.77
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1780 | 52 | 22.04 | 0 |  | 22.04
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 715 | 0 | 9.04 |  | -9.04
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 31 | 456 | 0 | 5.49 |  | -5.49
5 | 400 kV | RANCHI-SIPAT | 2 | 426 | 94 | 4.25 | 0 |  | 4.25
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 86 | 0 | 1.73 |  | -1.73
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 190 | 0 | 2.87 | 0 |  | 2.87
ER-WR | [5 empty] | 33.93 | 16.26 |  | 17.67
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 406 | 0 | 7.72 | 0 |  | 7.72
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 995 | 0 | 24.13 |  | -24.13
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2969 | 0 | 52.81 |  | -52.81
4 | 400 kV | TALCHER-I/C | 2 | 407 | 124 | 6.09 | 0 |  | 6.09
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 7.72 | 76.94 |  | -69.22
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 289 | 158 | 2.28 | 0.26 |  | 2.02
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 442 | 206 | 3.08 | 0 |  | 3.08
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 76 | 42 | 0.33 | 0 |  | 0.33
ER-NER | [5 empty] | 5.69 | 0.26 |  | 5.43
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 189 | 0 | 4.53 | 0 |  | 4.53
NER-NR | [5 empty] | 4.53 | 0 |  | 4.53
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5045 | 0 | 108.17 |  | -108.17
2 | HVDC | VINDHYACHAL B/B | - | 446 | 0 | 7.72 | 0 |  | 7.72
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 974 | 0 | 11.74 |  | -11.74
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2049 | 0 | 34.14 |  | -34.14
5 | 765 kV | GWALIOR-PHAGI | 2 | 687 | 881 | 2.39 | 10.05 |  | -7.66
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 983 | 0 | 29.87 |  | -29.87
7 | 765 kV | GWALIOR-ORAI | 1 | 550 | 0 | 9.06 | 0 |  | 9.06
8 | 765 kV | SATNA-ORAI | 1 | 0 | 998 | 0 | 20.43 |  | -20.43
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 948 | 989 | 1 | 9.34 |  | -8.34
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3641 | 0 | 70.08 |  | -70.08
11 | 400 kV | ZERDA-KANKROLI | 1 | 90 | 126 | 0.19 | 1.02 |  | -0.83
12 | 400 kV | ZERDA -BHINMAL | 1 | 300 | 136 | 1.85 | 0.47 |  | 1.38
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 957 | 0 | 21.09 | 0 |  | 21.09
14 | 400 kV | RAPP-SHUJALPUR | 2 | 299 | 300 | 1.59 | 1.88 |  | -0.29
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.74 |  | -2.74
17 | 220 kV | MEHGAON-AURAIYA | 1 | 96 | 0 | 1.34 | 0 |  | 1.34
18 | 220 kV | MALANPUR-AURAIYA | 1 | 67 | 0 | 0.81 | 0 |  | 0.81
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 47.04 | 299.93 |  | -252.89
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1004 | 0 | 9.32 |  | -9.32
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 3007 | 0 | 36.33 |  | -36.33
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2062 | 1248 | 10.4 | 6.37 |  | 4.03
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 41 | 2269 | 0 | 34.59 |  | -34.59
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1406 | 0 | 22.21 | 0 |  | 22.21
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 2 | 0 | 0.03 | 0 |  | 0.03
8 | 220 kV | XELDEM-AMBEWADI | 1 | 1 | 128 | 1.94 | 0 |  | 1.94
WR-SR | [5 empty] | 34.58 | 86.61 |  | -52.03
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 271.471 | 141.022 | 204.32 |  | 4.9037
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 169.15 | 98.784 | 131.04 |  | 3.145
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -132.298 | -53.702 | -87.92 |  | -2.11
|  | NER | 132kV GELEPHU-SALAKATI |  | -5.37 | 5.26 | -0.45 |  | -0.0108
|  | NER | 132kV MOTANGA-RANGIA |  | 54.14 | 20.9 | 38.667 |  | 0.928
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -78 | 0 | -54 |  | -1.29
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -52.17 | -13 | -21.792 |  | -0.523
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 349 | 91 | 242.917 |  | 5.83
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -927 | -728 | -890.63 |  | -21.375
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1086.94 | 0 | -645.042 |  | -15.481
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -180 | 0 | -152.9167 |  | -3.67