## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 15-Jan-2025
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 58700 | 57252 | 36432 | 22491 | 2458 | 177333
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1210 | 1412.9 | 1044.72 | 464.48 | 46.95 | 4179.05
Hydro Gen (MU) |  | 88.91 | 42.76 | 70.8 | 17.46 | 10.75 | 230.68
Wind Gen (MU) |  | 19.75 | 125.9 | 102.65 | - | - | 248.3
Solar Gen (MU)* |  | 142.92 | 94.94 | 94.92 | 2.63 | 0.94 | 336.35
Energy Shortage (MU) |  | 0.31 | 0 | 0 | 0 | 0 | 0.31
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 64276 | 71236 | 56293 | 23449 | 2657 | 215557
Time Of Maximum Demand Met |  | 10:44 | 10:10 | 09:42 | 18:01 | 17:31 | 09:40
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.043 | 0 | 0 | 3.46 | 3.46 | 66.13 | 30.41
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 7824 | 0 | 142.44 | 63.11 | -1.16 | 311 | 0
| Haryana | 8157 | 0 | 152.01 | 99.67 | -1.12 | 271 | 0
| Rajasthan | 17354 | 0 | 304.63 | 97.16 | -6.79 | 280 | 0
| Delhi | 5476 | 0 | 88.27 | 80.88 | -1.83 | 371 | 0
NR | UP | 20218 | 0 | 362.06 | 138.73 | -0.67 | 370 | 0
| Uttarakhand | 2491 | 0 | 45.03 | 36.76 | -0.11 | 307 | 0
| HP | 2191 | 0 | 38.41 | 32.04 | -0.64 | 145 | 0
| J&K(UT) & Ladakh(UT) | 3155 | 0 | 68.6 | 65.43 | -0.9 | 879 | 0.31
| Chandigarh | 275 | 0 | 4.52 | 4.56 | -0.04 | 27 | 0
| Railways_NR ISTS | 192 | 0 | 3.77 | 3.88 | -0.11 | 45 | 0
| Chhattisgarh | 5340 | 0 | 110.2 | 59.9 | 0.6 | 803 | 0
| Gujarat | 16137 | 0 | 310.2 | 131.1 | -11 | 592 | 0
| MP | 18138 | 0 | 322.3 | 203.6 | -3.7 | 1719 | 0
WR | Maharashtra | 29387 | 0 | 595 | 230.8 | -1 | 953 | 0
| Goa | 744 | 0 | 15.2 | 14.4 | 0.3 | 50 | 0
| DNHDDPDCL | 1249 | 0 | 27.5 | 28.2 | -0.7 | 42 | 0
| AMNSIL | 784 | 0 | 17.2 | 7.5 | 0.7 | 281 | 0
| BALCO | 532 | 0 | 12.7 | 12.7 | 0 | 528 | 0
| RIL JAMNAGAR | 110 | 0 | 2.6 | 2.6 | 0 | 0 | 0
| Andhra Pradesh | 10458 | 0 | 185.66 | 39.24 | -1.54 | 651 | 0
| Telangana | 13722 | 0 | 241.64 | 142.05 | -1.33 | 423 | 0
SR | Karnataka | 16195 | 0 | 269.48 | 89.67 | -0.98 | 819 | 0
| Kerala | 4403 | 0 | 88.49 | 71.67 | 1.04 | 713 | 0
| Tamil Nadu | 12629 | 0 | 252.18 | 131.24 | -5.69 | 886 | 0
| Puducherry | 323 | 0 | 7.27 | 6.87 | -0.19 | 44 | 0
| Bihar | 5572 | 0 | 100.57 | 93.87 | -4.66 | 322 | 0
| DVC | 3306 | 0 | 71.22 | -34.97 | -0.15 | 269 | 0
| Jharkhand | 2045 | 0 | 37.35 | 29.63 | -1.79 | 221 | 0
ER | Odisha | 5210 | 0 | 102.55 | 38.72 | -3.03 | 373 | 0
| West Bengal | 7314 | 0 | 150.81 | 32.19 | -1.45 | 157 | 0
| Sikkim | 116 | 0 | 1.84 | 2 | -0.16 | 23 | 0
| Railways_ER ISTS | 16 | 0 | 0.14 | 0.16 | -0.02 | 0 | 0
| Arunachal Pradesh | 180 | 0 | 3.17 | 3.26 | -0.21 | 14 | 0
| Assam | 1339 | 0 | 24.43 | 17.81 | 0.08 | 143 | 0
| Manipur | 273 | 0 | 3.97 | 3.98 | -0.01 | 43 | 0
NER | Meghalaya | 373 | 0 | 6.53 | 5.18 | -0.04 | 97 | 0
| Mizoram | 156 | 0 | 2.31 | 1.91 | -0.1 | 15 | 0
| Nagaland | 168 | 0 | 2.49 | 2.43 | -0.01 | 24 | 0
| Tripura | 206 | 0 | 4.05 | 3.4 | -0.01 | 50 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -3.94 | -7.856 | -22.359 | -14.51
Day Peak (MW) |  | -288 | -435.36 | -996 | -761
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 266.18 | -254.18 | 100.39 | -116.09 | 3.7 | 0
Actual(MU) |  | 256.19 | -241.05 | 84.033 | -107.43 | 1.35 | -6.907
O/D/U/D(MU) |  | -9.99 | 13.13 | -16.357 | 8.66 | -2.35 | -6.907
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 5833.98 | 7538.7 | 4608 | 3808 | 697.5 | 22486.18 | 37.7056
State Sector |  | 9013 | 16704.5 | 6943 | 4268.5 | 220.97 | 37149.97 | 62.2944
Total |  | 14846.98 | 24243.2 | 11551 | 8076.5 | 918.47 | 59636.15 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 695.38 | 1425.85 | 600.28 | 635.63 | 13.04 | 3370.18 | 74.0969
Lignite |  | 28.62 | 16.32 | 44.66 | 0 | 0 | 89.6 | 1.9699
Hydro |  | 88.91 | 42.76 | 70.8 | 17.46 | 10.75 | 230.68 | 5.0717
Nuclear |  | 26.46 | 53.89 | 70.85 | 0 | 0 | 151.2 | 3.3243
Gas, Naptha & Diesel |  | 12.05 | 13.28 | 11.9 | 0 | 24.76 | 61.99 | 1.3629
RES (Wind, Solar, Biomass & Others) |  | 188.79 | 223.62 | 225.61 | 5.73 | 0.94 | 644.69 | 14.1742
Total |  | 1040.21 | 1775.72 | 1024.1 | 658.82 | 49.49 | 4548.34 | 100
Share of RES in total generation (%) |  | 18.1492 | 12.5932 | 22.0301 | 0.86974 | 1.8994 | 14.1742
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 29.2402 | 18.0361 | 35.8617 | 3.5199 | 23.6209 | 22.5702
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.010 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.038 |  | Solar hr | 215557 |  | 9:40 | 310
|  |  |  | Non-Solar hr | 185642 |  | 18:39 | 0
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 15-Jan-2025
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 49 | 0 | 1.29 |  | -1.29
3 | 765 kV | GAYA-VARANASI | 2 | 445 | 972 | 0 | 9.83 |  | -9.83
4 | 765 kV | SASARAM-FATEHPUR | 1 | 153 | 587 | 0 | 7.15 |  | -7.15
5 | 765 kV | GAYA-BALIA | 1 | 0 | 925 | 0 | 13.6 |  | -13.6
6 | 400 kV | PUSAULI-VARANASI | 1 | 1 | 118 | 0 | 1.32 |  | -1.32
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 69 | 48 | 0.1 | 0 |  | 0.1
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 82 | 755 | 0 | 7.52 |  | -7.52
9 | 400 kV | PATNA-BALIA | 2 | 0 | 627 | 0 | 13.98 |  | -13.98
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 674 | 0 | 4.31 |  | -4.31
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 19 | 319 | 0 | 5.16 |  | -5.16
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 585 | 0 | 7.63 |  | -7.63
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 0 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 105 | 0 | 1.7 |  | -1.7
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.3 | 0 |  | 0.3
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.4 | 73.49 |  | -73.09
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 713 | 648 | 4.91 | 0 |  | 4.91
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1429 | 298 | 14.63 | 0 |  | 14.63
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 908 | 0 | 14.7 |  | -14.7
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 532 | 0 | 7.2 |  | -7.2
5 | 400 kV | RANCHI-SIPAT | 2 | 383 | 201 | 2.56 | 0 |  | 2.56
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 20 | 94 | 0 | 0.91 |  | -0.91
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 134 | 18 | 1.51 | 0 |  | 1.51
ER-WR | [5 empty] | 23.61 | 22.81 |  | 0.8
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 215 | 0 | 5.07 |  | -5.07
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1199 | 0 | 28.97 |  | -28.97
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2671 | 0 | 45.51 |  | -45.51
4 | 400 kV | TALCHER-I/C | 2 | 210 | 439 | 0.07 | 0 |  | 0.07
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 79.55 |  | -79.55
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 318 | 0 | 4.28 | 0 |  | 4.28
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 549 | 0 | 7.54 | 0 |  | 7.54
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 106 | 0 | 1.71 | 0 |  | 1.71
ER-NER | [5 empty] | 13.53 | 0 |  | 13.53
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 661 | 0 | 15.67 | 0 |  | 15.67
NER-NR | [5 empty] | 15.67 | 0 |  | 15.67
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1515 | 0 | 36.21 |  | -36.21
2 | HVDC | VINDHYACHAL B/B | - | 309 | 102 | 0 | 1.24 |  | -1.24
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1454 | 0 | 29.7 |  | -29.7
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 3089 | 0 | 37.69 |  | -37.69
5 | 765 kV | GWALIOR-PHAGI | 2 | 719 | 1769 | 1.57 | 20.78 |  | -19.21
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1490 | 0 | 35.4 |  | -35.4
7 | 765 kV | GWALIOR-ORAI | 1 | 773 | 0 | 12.4 | 0 |  | 12.4
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1169 | 0 | 18.6 |  | -18.6
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 282 | 1323 | 0.41 | 8.95 |  | -8.54
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3277 | 0 | 48.66 |  | -48.66
11 | 400 kV | ZERDA-KANKROLI | 1 | 131 | 220 | 0.73 | 1.13 |  | -0.4
12 | 400 kV | ZERDA -BHINMAL | 1 | 90 | 152 | 0.5 | 0.78 |  | -0.28
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 975 | 0 | 20.83 | 0 |  | 20.83
14 | 400 kV | RAPP-SHUJALPUR | 2 | 562 | 569 | 2.95 | 3.23 |  | -0.28
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 590 | 552 | 3.37 | 2.66 |  | 0.71
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 149 | 0 | 2.51 |  | -2.51
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.7 |  | -1.7
18 | 220 kV | MEHGAON-AURAIYA | 1 | 110 | 38 | 0.89 | 0.07 |  | 0.82
19 | 220 kV | MALANPUR-AURAIYA | 1 | 76 | 50 | 0.39 | 0.13 |  | 0.26
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 44.04 | 249.44 |  | -205.4
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 302 | 0 | 7.18 | 0 |  | 7.18
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 606 | 0 | 14.6 |  | -14.6
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1478 | 969 | 11.05 | 6.77 |  | 4.28
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 92 | 2383 | 0.07 | 31.72 |  | -31.65
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 86 | 2300 | 0.02 | 30.25 |  | -30.23
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1702 | 0 | 28.31 | 0 |  | 28.31
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 120 | 2.3 | 0 |  | 2.3
WR-SR | [5 empty] | 48.93 | 83.34 |  | -34.41
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 251.038 | 34.836 | 97 |  | 2.328
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -182.6 | 104.453 | -56.96 |  | -1.367
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -243.371 | -110.16 | -181.08 |  | -4.346
|  | NER | 132kV GELEPHU-SALAKATI |  | -37 | -2 | -16.25 |  | -0.39
|  | NER | 132kV MOTANGA-RANGIA |  | -31 | -6 | -6.667 |  | -0.16
|  | NR | NEPAL IMPORT (FROM UP) |  | -65 | 0 | -52 |  | -1.26
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -65 | 0 | -45 |  | -1.07
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -165.36 | -34.39 | -75.667 |  | -1.816
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -270 | 13 | -154.583 |  | -3.71
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -930 | -642 | -878.29 |  | -21.079
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -761 | -408 | -604.583 |  | -14.51
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -66 | 0 | -53.3333 |  | -1.28

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 15-Jan-2025
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0.26 | 5 | 0 | 0 | 0 |  | 0 | 0 |  | 5.26
Nepal | 2.14 |  | 0 | 3.66 | 0 | 0 | 0.71 |  | 0 | 0 |  | 6.51
Bangladesh | 21.92 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.92
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 24.06 |  | 0.26 | 8.66 | 0 | 0 | 0.71 |  | 0 | 0 |  | 33.69
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.86 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.86
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0.15 |  | 0 | 0 |  | 0.15
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.86 |  | 0 | 0 | 0 | 0 | 0.15 |  | 0 | 0 |  | 1.01
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.86 |  | -0.26 | -5 | 0 | 0 | 0 |  | 0 | 0 |  | -4.4
Nepal | -2.14 |  | 0 | -3.66 | 0 | 0 | -0.56 |  | 0 | 0 |  | -6.36
Bangladesh | -21.92 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.92
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -23.2 |  | -0.26 | -8.66 | 0 | 0 | -0.56 |  | 0 | 0 |  | -32.68

## TimeSeries
Date of Reporting: | [11 empty] | 15-Jan-2025
15 Min (INSTANTANEOUS) ALL INDIA GRID FREQUENCY, GENERATION & DEMAND MET (SCADA DATA)
TIME | FREQUENCY (Hz) | DEMAND MET (MW) | NUCLEAR (MW) | WIND (MW) | SOLAR (MW) | HYDRO** (MW) | GAS (MW) | THERMAL (MW) | OTHERS* (MW) | NET DEMAND MET (MW) | TOTAL GENERATION (MW) | NET TRANSNATIONAL EXCHANGE (MW) (+ve) Import, (-ve) Export
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I=A-(C+D)) | (J=B+C+D+E+F+G+H) | (K)
0:00 | 49.99 | 151916 | 5945 | 13262 | 48 | 6111 | 2436 | 125361 | 3332 | 138606 | 156495 | -1569
0:15 | 49.99 | 150839 | 5933 | 13292 | 50 | 5881 | 2399 | 124467 | 3392 | 137497 | 155414 | -1602
0:30 | 49.99 | 149759 | 5941 | 13240 | 51 | 5962 | 2404 | 123364 | 3380 | 136468 | 154342 | -1565
0:45 | 50.04 | 148851 | 5939 | 13119 | 54 | 5913 | 2406 | 122667 | 3336 | 135678 | 153434 | -1500
1:00 | 50.04 | 147346 | 5943 | 13059 | 61 | 5804 | 2404 | 121194 | 3363 | 134226 | 151828 | -1392
1:15 | 50.04 | 145769 | 5924 | 12787 | 62 | 5483 | 2420 | 120274 | 3376 | 132920 | 150326 | -1412
1:30 | 50.04 | 144928 | 5931 | 12614 | 60 | 5264 | 2396 | 119851 | 3335 | 132254 | 149451 | -1420
1:45 | 49.99 | 143988 | 5943 | 12404 | 53 | 5093 | 2395 | 119583 | 3341 | 131531 | 148812 | -1389
2:00 | 50.04 | 142479 | 5951 | 12210 | 52 | 4908 | 2403 | 118497 | 3350 | 130217 | 147371 | -1466
2:15 | 49.99 | 142197 | 5943 | 11918 | 52 | 4765 | 2395 | 118736 | 3313 | 130227 | 147122 | -1430
2:30 | 49.99 | 141894 | 5949 | 11885 | 57 | 4723 | 2410 | 118501 | 3307 | 129952 | 146832 | -1408
2:45 | 49.99 | 141507 | 5953 | 11843 | 53 | 4764 | 2404 | 118127 | 3334 | 129611 | 146478 | -1409
3:00 | 49.99 | 140948 | 5944 | 11803 | 48 | 4612 | 2412 | 117843 | 3321 | 129097 | 145983 | -1416
3:15 | 49.99 | 141403 | 5964 | 11742 | 43 | 4692 | 2435 | 117978 | 3357 | 129618 | 146211 | -1311
3:30 | 49.99 | 141452 | 5938 | 11804 | 39 | 4886 | 2420 | 118056 | 3306 | 129609 | 146449 | -1315
3:45 | 49.94 | 141999 | 5949 | 11818 | 38 | 5076 | 2433 | 118582 | 3315 | 130143 | 147211 | -1324
4:00 | 49.99 | 142775 | 5958 | 11774 | 36 | 5086 | 2434 | 119224 | 3329 | 130965 | 147841 | -1366
4:15 | 49.94 | 144284 | 5948 | 11668 | 43 | 5272 | 2441 | 120788 | 3180 | 132573 | 149340 | -1350
4:30 | 49.94 | 145775 | 5943 | 11656 | 45 | 5347 | 2445 | 122225 | 3224 | 134074 | 150885 | -1353
4:45 | 49.94 | 148039 | 5942 | 11710 | 40 | 5458 | 2444 | 124110 | 3254 | 136289 | 152958 | -1430
5:00 | 49.93 | 150601 | 5938 | 11618 | 39 | 5464 | 2439 | 126812 | 3205 | 138944 | 155515 | -1441
5:15 | 49.89 | 154848 | 5949 | 11727 | 42 | 5684 | 2438 | 130879 | 3219 | 143079 | 159938 | -1422
5:30 | 49.89 | 158637 | 5954 | 11592 | 43 | 6241 | 2454 | 134270 | 3261 | 147002 | 163815 | -1469
5:45 | 49.89 | 162776 | 5948 | 11245 | 42 | 7059 | 2448 | 137758 | 3241 | 151489 | 167741 | -1471
6:00 | 50.09 | 166028 | 5950 | 11294 | 47 | 7680 | 2433 | 140371 | 3278 | 154687 | 171053 | -1460
6:15 | 50.04 | 169356 | 5964 | 11337 | 193 | 8002 | 2478 | 143352 | 3292 | 157826 | 174618 | -1459
6:30 | 50.04 | 174853 | 6008 | 11245 | 187 | 9571 | 2603 | 147074 | 3269 | 163421 | 179957 | -1458
6:45 | 50.09 | 180390 | 6013 | 11108 | 198 | 12672 | 2877 | 149476 | 3304 | 169084 | 185648 | -1340
7:00 | 50.04 | 185144 | 5999 | 11034 | 349 | 14544 | 3364 | 151487 | 3298 | 173761 | 190075 | -1351
7:15 | 50.03 | 188855 | 6011 | 10859 | 844 | 16384 | 3383 | 152955 | 3295 | 177152 | 193731 | -1293
7:30 | 50.03 | 193575 | 6011 | 10683 | 1777 | 17346 | 3738 | 155336 | 3373 | 181115 | 198264 | -1242
7:45 | 49.98 | 197985 | 6039 | 10684 | 3167 | 18036 | 3768 | 157729 | 3337 | 184134 | 202760 | -1265
8:00 | 50.04 | 199387 | 6014 | 10460 | 5185 | 18263 | 3913 | 156795 | 3406 | 183742 | 204036 | -1273
8:15 | 50.04 | 204508 | 6000 | 10408 | 7741 | 19774 | 4241 | 157582 | 3413 | 186359 | 209159 | -1259
8:30 | 50.09 | 206355 | 5997 | 10092 | 10771 | 19603 | 3952 | 157081 | 3445 | 185492 | 210941 | -1229
8:45 | 50.09 | 209076 | 6006 | 9872 | 14543 | 18698 | 4148 | 157050 | 3566 | 184661 | 213883 | -1240
9:00 | 50.09 | 210402 | 6019 | 9639 | 18350 | 16806 | 3935 | 156444 | 3502 | 182413 | 214695 | -1196
9:15 | 50.09 | 214076 | 5989 | 9225 | 22006 | 16587 | 4213 | 156623 | 3568 | 182845 | 218211 | -1173
9:30 | 50.09 | 214496 | 6016 | 8648 | 25386 | 15858 | 3829 | 155470 | 3559 | 180462 | 218766 | -1230
9:45 | 50.09 | 215295 | 6009 | 8190 | 29293 | 14160 | 2791 | 155628 | 3548 | 177812 | 219619 | -1312
10:00 | 50.14 | 214730 | 5988 | 7327 | 32823 | 11901 | 2604 | 155100 | 3554 | 174580 | 219297 | -1330
10:15 | 50.08 | 214732 | 5968 | 6941 | 36258 | 10348 | 2608 | 153248 | 3530 | 171533 | 218901 | -1413
10:30 | 50.03 | 214642 | 5932 | 6615 | 39168 | 9829 | 2496 | 150644 | 3522 | 168859 | 218206 | -1409
10:45 | 50.03 | 213507 | 5926 | 6471 | 41764 | 9345 | 2431 | 147841 | 3493 | 165272 | 217271 | -1344
11:00 | 50.08 | 211230 | 5917 | 6352 | 43413 | 8259 | 2437 | 144734 | 3439 | 161465 | 214551 | -1321
11:15 | 50.08 | 208828 | 5900 | 6221 | 45129 | 7850 | 2373 | 141499 | 3442 | 157478 | 212414 | -1443
11:30 | 50.08 | 207041 | 5888 | 6275 | 47006 | 7549 | 2341 | 137545 | 3477 | 153760 | 210081 | -1509
11:45 | 50.08 | 205078 | 5887 | 6224 | 48824 | 12045 | 2340 | 110919 | 3150 | 150030 | 189389 | -2056
12:00 | 50.18 | 203437 | 5859 | 6245 | 50073 | 6696 | 2340 | 132366 | 3498 | 147119 | 207077 | -1611
12:15 | 50.13 | 198834 | 5881 | 6312 | 47496 | 6069 | 2338 | 129125 | 1912 | 145026 | 199133 | -1641
12:30 | 50.03 | 197640 | 5854 | 6198 | 47547 | 6461 | 2368 | 127228 | 1940 | 143895 | 197596 | -1634
12:45 | 50.03 | 197791 | 5854 | 5991 | 50901 | 6516 | 2352 | 125787 | 3402 | 140899 | 200803 | -1643
13:00 | 50.08 | 194710 | 5852 | 5901 | 50315 | 6699 | 2341 | 123445 | 3408 | 138494 | 197961 | -1628
13:15 | 50.08 | 190838 | 5865 | 5936 | 50259 | 6645 | 2339 | 119357 | 3424 | 134643 | 193825 | -1616
13:30 | 50.03 | 188858 | 5836 | 5864 | 49506 | 6615 | 2338 | 118517 | 3406 | 133488 | 192082 | -1633
13:45 | 50.03 | 187776 | 5814 | 5487 | 48670 | 6709 | 2334 | 118433 | 3388 | 133619 | 190835 | -1631
14:00 | 50.08 | 186513 | 5827 | 5468 | 47853 | 6862 | 2343 | 117505 | 3391 | 133192 | 189249 | -1654
14:15 | 49.98 | 185003 | 5869 | 5565 | 46481 | 6338 | 2334 | 118548 | 3413 | 132957 | 188548 | -1654
14:30 | 50.03 | 184716 | 5811 | 5735 | 45040 | 6790 | 2334 | 119180 | 3348 | 133941 | 188238 | -1598
14:45 | 50.03 | 184236 | 5812 | 5723 | 43354 | 6628 | 2220 | 120407 | 3372 | 135159 | 187516 | -1660
15:00 | 49.98 | 183780 | 5831 | 5736 | 41112 | 7175 | 2344 | 121862 | 3391 | 136932 | 187451 | -1693
15:15 | 49.98 | 181703 | 5850 | 5739 | 38694 | 6669 | 2235 | 122783 | 3337 | 137270 | 185307 | -1602
15:30 | 49.98 | 181508 | 5827 | 5843 | 35268 | 6882 | 2221 | 125779 | 3325 | 140397 | 185145 | -1532
15:45 | 49.88 | 180061 | 5837 | 5947 | 31602 | 7537 | 2230 | 127181 | 3358 | 142512 | 183692 | -1511
16:00 | 49.93 | 178903 | 5840 | 5866 | 28855 | 8067 | 2245 | 128798 | 3375 | 144182 | 183046 | -1396
16:15 | 49.98 | 176936 | 5811 | 6134 | 24433 | 7549 | 2435 | 131281 | 3326 | 146369 | 180969 | -1395
16:30 | 49.98 | 177732 | 5839 | 6210 | 20154 | 8038 | 2222 | 135013 | 3266 | 151368 | 180742 | -1246
16:45 | 49.98 | 177977 | 5865 | 6222 | 16265 | 9258 | 2228 | 138483 | 3242 | 155490 | 181563 | -1065
17:00 | 49.98 | 178554 | 5904 | 6340 | 12040 | 10619 | 2223 | 141722 | 3288 | 160174 | 182136 | -1071
17:15 | 50.03 | 177513 | 5908 | 6522 | 8168 | 12870 | 2222 | 141821 | 3167 | 162823 | 180678 | -1072
17:30 | 50.08 | 178538 | 5881 | 6733 | 4682 | 14895 | 2220 | 144725 | 3137 | 167123 | 182273 | -1087
17:45 | 50.03 | 179998 | 5890 | 6961 | 2416 | 16630 | 2217 | 146186 | 3178 | 170621 | 183478 | -1089
18:00 | 50.08 | 181553 | 5901 | 7468 | 954 | 17737 | 2280 | 147726 | 3205 | 173131 | 185271 | -1130
18:15 | 50.03 | 183158 | 5893 | 8180 | 358 | 18068 | 2266 | 148519 | 3191 | 174620 | 186475 | -1061
18:30 | 50.03 | 185247 | 5894 | 8819 | 139 | 18667 | 2264 | 149889 | 3205 | 176289 | 188877 | -1078
18:45 | 50.03 | 185444 | 5891 | 9615 | 141 | 18271 | 2230 | 149906 | 3185 | 175688 | 189239 | -1061
19:00 | 50.03 | 184394 | 5902 | 10425 | 145 | 16629 | 2433 | 148744 | 3218 | 173824 | 187496 | -1060
19:15 | 50.03 | 181729 | 5887 | 11268 | 147 | 15363 | 2402 | 146867 | 3245 | 170314 | 185179 | -1067
19:30 | 50.08 | 179864 | 5906 | 12037 | 116 | 14363 | 2235 | 145468 | 3214 | 167711 | 183339 | -1082
19:45 | 50.08 | 176864 | 5896 | 12875 | 109 | 13530 | 2233 | 142854 | 3215 | 163880 | 180712 | -1071
20:00 | 50.03 | 173777 | 5899 | 13582 | 115 | 11165 | 2325 | 141413 | 3260 | 160080 | 177759 | -1007
20:15 | 50.03 | 171498 | 5889 | 14255 | 127 | 9847 | 2311 | 139424 | 3223 | 157116 | 175076 | -1047
20:30 | 50.03 | 169365 | 5907 | 14598 | 135 | 9031 | 2325 | 138210 | 3229 | 154632 | 173435 | -1056
20:45 | 49.98 | 168054 | 5885 | 15078 | 134 | 8691 | 2136 | 136019 | 3197 | 152842 | 171140 | -1074
21:00 | 50.08 | 165080 | 5896 | 15511 | 101 | 8105 | 2316 | 134222 | 3114 | 149468 | 169265 | -1055
21:15 | 50.03 | 163065 | 5892 | 15958 | 101 | 7801 | 2149 | 132310 | 3106 | 147006 | 167317 | -1343
21:30 | 49.98 | 160805 | 5896 | 16124 | 105 | 7272 | 2141 | 130731 | 3068 | 144576 | 165337 | -1501
21:45 | 49.98 | 158185 | 5896 | 16473 | 100 | 7130 | 2154 | 127639 | 3096 | 141612 | 162488 | -1504
22:00 | 50.08 | 155329 | 5908 | 16809 | 65 | 6771 | 2092 | 124601 | 3140 | 138455 | 159386 | -1547
22:15 | 49.98 | 155420 | 5903 | 16705 | 66 | 6998 | 2150 | 124473 | 3097 | 138649 | 159392 | -1538
22:30 | 49.98 | 154365 | 5894 | 16874 | 63 | 7165 | 2353 | 123447 | 3108 | 137428 | 158904 | -1536
22:45 | 49.98 | 152823 | 5896 | 16869 | 55 | 7130 | 2330 | 121888 | 3136 | 135899 | 157304 | -1500
23:00 | 50.03 | 149824 | 5895 | 16939 | 56 | 6675 | 2145 | 119035 | 3110 | 132829 | 153855 | -1524
23:15 | 49.98 | 148399 | 5894 | 16992 | 57 | 6358 | 2147 | 117750 | 3078 | 131350 | 152276 | -1482
23:30 | 49.98 | 146579 | 5911 | 16847 | 60 | 6211 | 2147 | 116094 | 3092 | 129672 | 150362 | -1503
23:45 | 50.03 | 145018 | 5927 | 16696 | 61 | 5786 | 2137 | 115328 | 3094 | 128261 | 149029 | -1497
*Others include (i) Biomass from Punjab (ii) Some of the state sector IPP & non-conventional generation in SR (small capacity) (iii) Solar generation in Odisha(manually punched). ** Hydro generation is excluding Bhutan hydro. ***Bhutan hydro is accounted for in net transnational exchange. Disclaimer: 1. The information provided is for general informational purposes only. 2. The data is provided "as is" without any guarantees or warranties. 3. All Data is operational SCADA data telemetered and reporting at NLDC through RLDC/SLDC. 4. Data is subject to errors due to telemetry loss/freeze/garbage value etc. 5. Demand met and RE generation data is incident on transmission system. Resources in distribution system plus behind the meter (BTM) generation excluded. 6. Users are advised to ensure its accuracy, completeness and relevance for their purposes, and, in this respect, GRID-INDIA shall not be responsible for any errors or omissions.