## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 15-Aug-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 72161 | 59400 | 48027 | 25274 | 3199 | 208061
Peak Shortage (MW) |  | 1542 | 27 | 400 | 378 | 196 | 2543
Energy Met (MU) |  | 1691 | 1444.6 | 1200.17 | 560.39 | 63.94 | 4960.1
Hydro Gen (MU) |  | 398.58 | 102.4 | 92 | 134.24 | 37.06 | 764.28
Wind Gen (MU) |  | 52.82 | 204.65 | 126.85 | - | - | 384.32
Solar Gen (MU)* |  | 119.93 | 37.22 | 114.13 | 2.36 | 1.01 | 274.65
Energy Shortage (MU) |  | 10.35 | 0.58 | 0.8 | 0.9 | 1.19 | 13.82
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 76709 | 66304 | 59272 | 26520 | 3343 | 227645
Time Of Maximum Demand Met |  | 14:04 | 11:38 | 11:35 | 21:24 | 18:53 | 12:24
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.036 | 0 | 0 | 6.7 | 6.7 | 80.75 | 12.54
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 14657 | 0 | 324.07 | 188.33 | -0.97 | 83 | 0
| Haryana | 11834 | 0 | 247.53 | 181.22 | -0.83 | 181 | 1.08
| Rajasthan | 16802 | 0 | 341.27 | 120.2 | 0.9 | 388 | 7.06
| Delhi | 6139 | 0 | 128.94 | 111.21 | -1.59 | 162 | 0
NR | UP | 26158 | 0 | 521.53 | 231.3 | -0.77 | 698 | 0.42
| Uttarakhand | 1878 | 0 | 39.86 | 22.58 | 0.82 | 164 | 1.76
| HP | 1492 | 0 | 29.94 | -1.37 | -0.88 | 143 | 0.03
| J&K(UT) & Ladakh(UT) | 2403 | 0 | 47.89 | 23.1 | -0.88 | 159 | 0
| Chandigarh | 310 | 0 | 6.63 | 6.91 | -0.28 | 17 | 0
| Railways_NR ISTS | 158 | 0 | 3.22 | 3.27 | -0.05 | 53 | 0
| Chhattisgarh | 5698 | 0 | 128.1 | 71.5 | -2 | 412 | 0.5
| Gujarat | 20317 | 0 | 422.3 | 142.6 | 4.2 | 1050 | 0
| MP | 12241 | 0 | 269.2 | 133.9 | -2.2 | 409 | 0
WR | Maharashtra | 25210 | 0 | 551.2 | 210.9 | -5.8 | 816 | 0.08
| Goa | 635 | 0 | 13.4 | 13.3 | -0.3 | 38 | 0
| DNHDDPDCL | 1283 | 0 | 29.7 | 30 | -0.3 | 31 | 0
| AMNSIL | 808 | 0 | 18.3 | 8.6 | 0.2 | 321 | 0
| BALCO | 519 | 0 | 12.4 | 12.5 | -0.1 | 3 | 0
| Andhra Pradesh | 11730 | 0 | 233.62 | 103.18 | 0.8 | 749 | 0
| Telangana | 13052 | 0 | 271.85 | 130.16 | -0.57 | 1061 | 0
SR | Karnataka | 15429 | 0 | 268.24 | 84.82 | 0.3 | 640 | 0.8
| Kerala | 4084 | 0 | 83.4 | 68.68 | 0.21 | 343 | 0
| Tamil Nadu | 15685 | 0 | 333.24 | 151.9 | -0.61 | 502 | 0
| Puducherry | 425 | 0 | 9.82 | 9.41 | -0.31 | 40 | 0
| Bihar | 6867 | 0 | 141.71 | 134.38 | 2.08 | 263 | 0.23
| DVC | 3414 | 0 | 74.6 | -44.32 | -0.71 | 222 | 0
| Jharkhand | 1675 | 0 | 39.68 | 33.05 | 1.65 | 153 | 0.67
ER | Odisha | 5433 | 0 | 111.77 | 39.12 | -1.78 | 343 | 0
| West Bengal | 9071 | 0 | 191.28 | 77 | -4.15 | 166 | 0
| Sikkim | 77 | 0 | 1.2 | 1 | 0.2 | 26 | 0
| Railways_ER ISTS | 13 | 0 | 0.15 | 0.15 | 0 | 0 | 0
| Arunachal Pradesh | 169 | 0 | 3.03 | 2.7 | -0.23 | 36 | 0
| Assam | 2223 | 127 | 42.71 | 34.11 | 0.92 | 291 | 0.63
| Manipur | 194 | 0 | 2.74 | 2.69 | 0.05 | 37 | 0
NER | Meghalaya | 282 | 0 | 5.36 | 1.27 | -0.35 | 70 | 0.56
| Mizoram | 120 | 0 | 2 | 1.52 | -0.28 | 6 | 0
| Nagaland | 167 | 0 | 2.91 | 2.7 | -0.01 | 12 | 0
| Tripura | 300 | 0 | 5.19 | 5.78 | -0.06 | 45 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 39.72 | 9.91 | -24.771 | -30.06
Day Peak (MW) |  | 1837 | 404 | -1076 | -1375
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 284.16 | -321.19 | 190.91 | -142.12 | -11.76 | 0
Actual(MU) |  | 261.44 | -313.83 | 204.401 | -140.65 | -12.75 | -1.389
O/D/U/D(MU) |  | -22.72 | 7.36 | 13.491 | 1.47 | -0.99 | -1.389
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2371.58 | 11240.6 | 7658 | 2860 | 304.5 | 24434.68 | 44.1213
State Sector |  | 5569.5 | 12916.5 | 8318 | 3390 | 142 | 30336 | 55.8787
Total |  | 7941.08 | 24157.1 | 15976 | 6250 | 446.5 | 54770.68 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 842.98 | 1432.51 | 580.89 | 629.13 | 16.94 | 3502.45 | 65.9382
Lignite |  | 25.51 | 10.95 | 44.79 | 0 | 0 | 81.25 | 1.5296
Hydro |  | 398.58 | 102.4 | 92 | 134.24 | 37.06 | 764.28 | 14.3886
Nuclear |  | 29.35 | 50.13 | 70.68 | 0 | 0 | 150.16 | 2.827
Gas, Naptha & Diesel |  | 46.09 | 30.73 | 6.2 | 0 | 29.44 | 112.46 | 2.1172
RES (Wind, Solar, Biomass & Others) |  | 179.23 | 242.99 | 273.77 | 4.12 | 1.01 | 701.12 | 13.1995
Total |  | 1521.74 | 1869.71 | 1068.33 | 767.49 | 84.45 | 5311.72 | 100
Share of RES in total generation (%) |  | 11.778 | 12.9961 | 25.626 | 0.53681 | 1.196 | 13.1995
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.8991 | 21.1541 | 40.8535 | 18.0276 | 45.0799 | 30.415
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.019 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.049 |  | Solar hr | 227645 |  | 12:24 | 0
|  |  |  | Non-Solar hr | 211007 |  | 19:32 | 2002
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 15-Aug-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 500 | 0 | 11.87 |  | -11.87
2 | HVDC | PUSAULI B/B | - | 0 | 97 | 0 | 2.6 |  | -2.6
3 | 765 kV | GAYA-VARANASI | 2 | 88 | 435 | 0 | 3.79 |  | -3.79
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 240 | 0 | 3.97 |  | -3.97
5 | 765 kV | GAYA-BALIA | 1 | 0 | 557 | 0 | 7.98 |  | -7.98
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 96 | 0 | 1.59 |  | -1.59
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 75 | 0 | 0.74 |  | -0.74
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 844 | 0 | 13.92 |  | -13.92
9 | 400 kV | PATNA-BALIA | 2 | 0 | 558 | 0 | 10.84 |  | -10.84
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 578 | 0 | 10.87 |  | -10.87
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 64 | 281 | 0 | 3.09 |  | -3.09
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 476 | 0 | 8.39 |  | -8.39
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 66 | 200 | 0 | 1.7 |  | -1.7
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 116 | 0 | 1.54 |  | -1.54
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.56 | 0 |  | 0.56
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 50 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.56 | 82.89 |  | -82.33
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1741 | 0 | 27.63 | 0 |  | 27.63
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 982 | 879 | 4.36 | 0 |  | 4.36
3 | 765 kV | JHARSUGUDA-DURG | 2 | 47 | 342 | 0 | 2.85 |  | -2.85
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 500 | 0 | 6.09 |  | -6.09
5 | 400 kV | RANCHI-SIPAT | 2 | 176 | 288 | 0 | 0.57 |  | -0.57
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 44 | 0 | 2.24 |  | -2.24
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 102 | 7 | 0.06 | 0 |  | 0.06
ER-WR | [5 empty] | 32.05 | 11.75 |  | 20.3
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 544 | 0 | 12.42 |  | -12.42
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1993 | 0 | 42.58 |  | -42.58
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2597 | 0 | 42.38 |  | -42.38
4 | 400 kV | TALCHER-I/C | 2 | 0 | 1248 | 0 | 22.45 |  | -22.45
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 97.38 |  | -97.38
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 105 | 243 | 0.42 | 1.64 |  | -1.22
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 212 | 341 | 0 | 0.85 |  | -0.85
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 8 | 85 | 0 | 0.67 |  | -0.67
ER-NER | [5 empty] | 0.42 | 3.16 |  | -2.74
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 704 | 0 | 16.99 |  | -16.99
NER-NR | [5 empty] | 0 | 16.99 |  | -16.99
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 3025 | 0 | 51.14 |  | -51.14
2 | HVDC | VINDHYACHAL B/B | - | 439 | 0 | 12.17 | 0 |  | 12.17
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 496 | 0 | 12.17 |  | -12.17
4 | 765 kV | GWALIOR-AGRA | 2 | 72 | 1948 | 0.02 | 24.14 |  | -24.12
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1281 | 0 | 17.86 |  | -17.86
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 951 | 0 | 24.73 |  | -24.73
7 | 765 kV | GWALIOR-ORAI | 1 | 630 | 0 | 11.95 | 0 |  | 11.95
8 | 765 kV | SATNA-ORAI | 1 | 0 | 964 | 0 | 19.34 |  | -19.34
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 315 | 1533 | 0.66 | 14.82 |  | -14.16
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3054 | 0 | 46.27 |  | -46.27
11 | 400 kV | ZERDA-KANKROLI | 1 | 145 | 192 | 0.78 | 1.66 |  | -0.88
12 | 400 kV | ZERDA -BHINMAL | 1 | 404 | 280 | 2.94 | 1.93 |  | 1.01
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 974 | 0 | 21.83 | 0 |  | 21.83
14 | 400 kV | RAPP-SHUJALPUR | 2 | 97 | 488 | 0.29 | 4.45 |  | -4.16
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.59 |  | -2.59
17 | 220 kV | MEHGAON-AURAIYA | 1 | 158 | 0 | 2.59 | 0 |  | 2.59
18 | 220 kV | MALANPUR-AURAIYA | 1 | 123 | 0 | 1.91 | 0 |  | 1.91
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 55.14 | 221.1 |  | -165.96
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1006 | 0 | 10.88 |  | -10.88
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6027 | 0 | 102.02 |  | -102.02
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1108 | 1573 | 3.23 | 5.74 |  | -2.51
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2738 | 0 | 38.87 |  | -38.87
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1438 | 0 | 22.98 | 0 |  | 22.98
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 46 | 0 | 0.01 |  | -0.01
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 107 | 2.13 | 0 |  | 2.13
WR-SR | [5 empty] | 28.34 | 157.52 |  | -129.18
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 606.601 | -165.324 | 520.82 |  | 12.4997
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1044.671 | 848.457 | 964.79 |  | 23.155
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 169.437 | 3.712 | 118.13 |  | 2.835
|  | NER | 132kV GELEPHU-SALAKATI |  | 34 | 8 | 17.083 |  | 0.41
|  | NER | 132kV MOTANGA-RANGIA |  | 71 | 2 | 34.167 |  | 0.82
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -24 | 0 | 7 |  | 0.16
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 428 | 239 | 406.25 |  | 9.75
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -920 | -798 | -890.88 |  | -21.381
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1375 | -1095 | -1252.5 |  | -30.06
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -156 | 0 | -141.25 |  | -3.39

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 15-Aug-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 21.48 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.48
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.48 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.48
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 37.48 |  | 2.7 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.18
Nepal | 0 |  | 0 | 10.65 | 0 | 0 | 0 |  | 0 | 0 |  | 10.65
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 37.48 |  | 2.7 | 10.65 | 0 | 0 | 0 |  | 0 | 0 |  | 50.83
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 37.48 |  | 2.7 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.18
Nepal | 0 |  | 0 | 10.65 | 0 | 0 | 0 |  | 0 | 0 |  | 10.65
Bangladesh | -21.48 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.48
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 16 |  | 2.7 | 10.65 | 0 | 0 | 0 |  | 0 | 0 |  | 29.35