## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 16-May-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 69684 | 63804 | 49096 | 28201 | 3531 | 214316
Peak Shortage (MW) |  | 510 | 240 | 0 | 152 | 0 | 902
Energy Met (MU) |  | 1596 | 1519.9 | 1148.9 | 628.46 | 67.64 | 4960.9
Hydro Gen (MU) |  | 274.7 | 68.34 | 38.3 | 22.91 | 14.85 | 419.1
Wind Gen (MU) |  | 15.1 | 49.67 | 42.85 | - | - | 107.62
Solar Gen (MU)* |  | 160.56 | 90.25 | 116.24 | 3.92 | 1.26 | 372.23
Energy Shortage (MU) |  | 5.95 | 0.37 | 0 | 4.1818 | 0.7 | 11.2018
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 71737 | 69600 | 54524 | 28889 | 3639 | 226152
Time Of Maximum Demand Met |  | 15:01 | 15:38 | 15:01 | 22:59 | 18:55 | 15:01
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.02 | 0 | 0.01 | 2.13 | 2.14 | 85.41 | 12.45
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 11721 | 0 | 234.37 | 99.05 | -0.39 | 298 | 0
| Haryana | 9940 | 0 | 216.36 | 160.03 | -5.09 | 177 | 0
| Rajasthan | 15320 | 0 | 310.02 | 101.17 | 2.74 | 478 | 5.92
| Delhi | 6387 | 0 | 129.31 | 106.7 | -9.44 | 265 | 0
NR | UP | 26452 | 0 | 554.26 | 243.65 | -0.79 | 531 | 0
| Uttarakhand | 2448 | 0 | 52.5 | 30.02 | -2.96 | 235 | 0
| HP | 1622 | 0 | 33.73 | 3.41 | -0.18 | 71 | 0.03
| J&K(UT) & Ladakh(UT) | 2616 | 0 | 54.63 | 33.99 | 1.99 | 386 | 0
| Chandigarh | 325 | 0 | 6.44 | 6.9 | -0.46 | 1 | 0
| Railways_NR ISTS | 201 | 0 | 4.14 | 3.68 | 0.46 | 94 | 0
| Chhattisgarh | 5188 | 0 | 114.5 | 61.3 | -0.9 | 244 | 0
| Gujarat | 21976 | 0 | 458.6 | 149.5 | -0.2 | 1577 | 0
| MP | 12980 | 0 | 271.6 | 135.2 | -2.9 | 745 | 0
WR | Maharashtra | 26672 | 0 | 597.7 | 203.2 | -4.8 | 1113 | 0.37
| Goa | 751 | 0 | 16.2 | 14.9 | 1 | 73 | 0
| DNHDDPDCL | 1283 | 0 | 29.7 | 29.8 | -0.1 | 56 | 0
| AMNSIL | 878 | 0 | 19.1 | 8.3 | 0.7 | 291 | 0
| BALCO | 524 | 0 | 12.5 | 12.5 | 0 | 7 | 0
| Andhra Pradesh | 11131 | 0 | 226.34 | 60.58 | -0.44 | 740 | 0
| Telangana | 9439 | 0 | 194.74 | 66.76 | 0.4 | 580 | 0
SR | Karnataka | 12206 | 0 | 244.33 | 111.8 | -3.15 | 562 | 0
| Kerala | 4211 | 0 | 89.69 | 73.25 | 0.5 | 216 | 0
| Tamil Nadu | 17602 | 0 | 382.94 | 246.49 | 2.04 | 831 | 0
| Puducherry | 480 | 0 | 10.86 | 10.7 | -0.45 | 17 | 0
| Bihar | 6879 | 0 | 143.38 | 129.91 | 1.61 | 359 | 2.4188
| DVC | 3535 | 0 | 76.74 | -30.58 | 1.17 | 304 | 0
| Jharkhand | 2218 | 0 | 45.34 | 31.57 | 0.03 | 353 | 1.763
ER | Odisha | 6296 | 0 | 129.45 | 46 | -0.04 | 493 | 0
| West Bengal | 11272 | 0 | 231.95 | 88.48 | -1.88 | 266 | 0
| Sikkim | 95 | 0 | 1.45 | 1.45 | 0 | 54 | 0
| Railways_ER ISTS | 16 | 0 | 0.15 | 0.16 | -0.01 | 5 | 0
| Arunachal Pradesh | 172 | 0 | 2.81 | 2.8 | -0.09 | 42 | 0
| Assam | 2336 | 0 | 44.32 | 36.8 | 0.94 | 276 | 0.7
| Manipur | 222 | 0 | 3.21 | 3.24 | -0.03 | 22 | 0
NER | Meghalaya | 310 | 0 | 5.58 | 3.61 | -0.1 | 60 | 0
| Mizoram | 126 | 0 | 2.1 | 1.79 | -0.17 | 22 | 0
| Nagaland | 176 | 0 | 2.96 | 3 | -0.04 | 28 | 0
| Tripura | 349 | 0 | 6.66 | 6 | 0.62 | 93 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -2.05 | -11.924 | -22.954 | -17.97
Day Peak (MW) |  | -334 | -813.97 | -1063 | -1153
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 261.88 | -382.08 | 138.94 | -35.41 | 16.67 | 0
Actual(MU) |  | 258.09 | -411.95 | 150.635 | -21.59 | 18.99 | -5.825
O/D/U/D(MU) |  | -3.79 | -29.87 | 11.695 | 13.82 | 2.32 | -5.825
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 1376.71 | 2941.75 | 3752 | 3266 | 351 | 11687.46 | 42.0519
State Sector |  | 4933 | 5741 | 3618 | 1703.5 | 109.97 | 16105.47 | 57.9481
Total |  | 6309.71 | 8682.75 | 7370 | 4969.5 | 460.97 | 27792.93 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 869.18 | 1670.33 | 731.96 | 705.34 | 14.11 | 3990.92 | 74.3051
Lignite |  | 18.1 | 24.61 | 58.13 | 0 | 0 | 100.84 | 1.8775
Hydro |  | 274.7 | 68.34 | 38.3 | 22.91 | 14.85 | 419.1 | 7.803
Nuclear |  | 25.78 | 54.18 | 50.83 | 0 | 0 | 130.79 | 2.4351
Gas, Naptha & Diesel |  | 63.05 | 111.3 | 11.4 | 0 | 24.52 | 210.27 | 3.9149
RES (Wind, Solar, Biomass & Others) |  | 184.95 | 142.87 | 185.35 | 4.64 | 1.26 | 519.07 | 9.6643
Total |  | 1435.76 | 2071.63 | 1075.97 | 732.89 | 54.74 | 5370.99 | 100
Share of RES in total generation (%) |  | 12.8817 | 6.8965 | 17.2263 | 0.63311 | 2.3018 | 9.6643
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 33.81 | 12.8107 | 25.51 | 3.7591 | 29.43 | 19.9025
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.009 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.045 |  | Solar hr | 226152 |  | 15:01 | 0
|  |  |  | Non-Solar hr | 219865 |  | 22:34 | 2873
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 16-May-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 3 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 1045 | 230 | 0 | 6.25 |  | -6.25
4 | 765 kV | SASARAM-FATEHPUR | 1 | 383 | 265 | 0 | 0.6 |  | -0.6
5 | 765 kV | GAYA-BALIA | 1 | 0 | 607 | 0 | 10.31 |  | -10.31
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 95 | 0 | 1 |  | -1
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 97 | 0 | 1.11 | 0 |  | 1.11
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 604 | 308 | 2.7 | 0 |  | 2.7
9 | 400 kV | PATNA-BALIA | 2 | 382 | 483 | 0 | 3.53 |  | -3.53
10 | 400 kV | NAUBATPUR-BALIA | 2 | 244 | 129 | 0 | 1.39 |  | -1.39
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 530 | 0 | 5.99 | 0 |  | 5.99
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 240 | 308 | 0 | 1.64 |  | -1.64
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 0 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 62 | 73 | 0 | 0.37 |  | -0.37
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.6 | 0 |  | 0.6
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 10.4 | 25.09 |  | -14.69
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1437 | 0 | 23.32 | 0 |  | 23.32
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1516 | 0 | 27.62 | 0 |  | 27.62
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 948 | 0 | 17.28 |  | -17.28
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 265 | 226 | 0.14 | 0 |  | 0.14
5 | 400 kV | RANCHI-SIPAT | 2 | 564 | 0 | 9.33 | 0 |  | 9.33
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 81 | 24 | 0.51 | 0 |  | 0.51
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 80 | 135 | 0 | 0.97 |  | -0.97
ER-WR | [5 empty] | 60.92 | 18.25 |  | 42.67
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 624 | 0 | 13.6 |  | -13.6
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1196 | 0 | 28.95 |  | -28.95
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2108 | 0 | 41.32 |  | -41.32
4 | 400 kV | TALCHER-I/C | 2 | 611 | 0 | 5.82 | 0 |  | 5.82
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 83.87 |  | -83.87
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 185 | 154 | 1.25 | 0.63 |  | 0.62
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 375 | 378 | 0 | 0.49 |  | -0.49
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 44 | 64 | 0 | 0.2 |  | -0.2
ER-NER | [5 empty] | 1.25 | 1.32 |  | -0.07
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 849 | 0 | 17.19 | 0 |  | 17.19
NER-NR | [5 empty] | 17.19 | 0 |  | 17.19
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5184 | 0 | 110.61 |  | -110.61
2 | HVDC | VINDHYACHAL B/B | - | 50 | 0 | 1.25 | 0 |  | 1.25
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1662 | 0 | 42.39 |  | -42.39
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2095 | 0 | 33.7 |  | -33.7
5 | 765 kV | GWALIOR-PHAGI | 2 | 758 | 1116 | 2.99 | 13.36 |  | -10.37
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 878 | 0 | 25.77 |  | -25.77
7 | 765 kV | GWALIOR-ORAI | 1 | 549 | 0 | 8.86 | 0 |  | 8.86
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1035 | 0 | 20.37 |  | -20.37
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1386 | 500 | 12 | 0.8 |  | 11.2
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3369 | 0 | 69.18 |  | -69.18
11 | 400 kV | ZERDA-KANKROLI | 1 | 306 | 73 | 3.13 | 0.09 |  | 3.04
12 | 400 kV | ZERDA -BHINMAL | 1 | 306 | 73 | 3.13 | 0.09 |  | 3.04
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 959 | 0 | 22.194 | 0 |  | 22.194
14 | 400 kV | RAPP-SHUJALPUR | 2 | 509 | 293 | 3.01 | 1.56 |  | 1.45
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 520 | 370 | 3.07 | 2.61 |  | 0.46
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 139 | 0 | 2.48 |  | -2.48
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.39 |  | -2.39
18 | 220 kV | MEHGAON-AURAIYA | 1 | 93 | 0 | 0.88 | 0 |  | 0.88
19 | 220 kV | MALANPUR-AURAIYA | 1 | 63 | 12 | 0.4 | 0.02 |  | 0.38
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 60.914 | 325.42 |  | -264.506
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 305 | 0 | 7.2 |  | -7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2004 | 0 | 47.98 |  | -47.98
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 398 | 1206 | 0.33 | 10.7 |  | -10.37
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 1551 | 0 | 26.39 |  | -26.39
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 1844 | 0 | 32.64 |  | -32.64
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1182 | 0 | 17.91 | 0 |  | 17.91
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 77 | 0 | 0.35 |  | -0.35
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 142 | 2.64 | 0 |  | 2.64
WR-SR | [5 empty] | 20.88 | 125.26 |  | -104.38
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 176.208 | -2.776 | 80.23 |  | 1.9255
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -265.227 | 240.87 | -13.42 |  | -0.322
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -244.608 | -87.93 | -168.79 |  | -4.051
|  | NER | 132kV GELEPHU-SALAKATI |  | -18 | 0 | -9.583 |  | -0.23
|  | NER | 132kV MOTANGA-RANGIA |  | 43 | 0 | 26.25 |  | 0.63
|  | NR | NEPAL IMPORT (FROM UP) |  | 0 | 0 | 0 |  | -1.12
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | -1.26
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -300.97 | -25 | -146.417 |  | -3.514
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -513 | -17 | -251.25 |  | -6.03
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -937 | -641 | -848.92 |  | -20.374
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1153 | -371 | -748.75 |  | -17.97
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -126 | 0 | -107.5 |  | -2.58

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 16-May-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 3.39 | 0 | 0 | 0 |  | 0 | 0 |  | 3.39
Nepal | 0.35 |  | 0 | 4.96 | 0 | 0 | 0.21 |  | 0 | 0 |  | 5.52
Bangladesh | 20.43 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.43
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 20.78 |  | 0 | 8.35 | 0 | 0 | 0.21 |  | 0 | 0 |  | 29.34
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.45 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.45
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.45 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.45
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.45 |  | 0 | -3.39 | 0 | 0 | 0 |  | 0 | 0 |  | -2.94
Nepal | -0.35 |  | 0 | -4.96 | 0 | 0 | -0.21 |  | 0 | 0 |  | -5.52
Bangladesh | -20.43 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.43
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -20.33 |  | 0 | -8.35 | 0 | 0 | -0.21 |  | 0 | 0 |  | -28.89