## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 17-May-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 71735 | 62390 | 46217 | 27567 | 3425 | 211334
Peak Shortage (MW) |  | 132 | 0 | 0 | 0 | 0 | 132
Energy Met (MU) |  | 1645 | 1545.3 | 1117.24 | 639.47 | 69.27 | 5016.28
Hydro Gen (MU) |  | 294.57 | 51.81 | 32.9 | 26.55 | 14.47 | 420.3
Wind Gen (MU) |  | 19.76 | 58.48 | 37.41 | - | - | 115.65
Solar Gen (MU)* |  | 159.05 | 87.06 | 103.47 | 2.92 | 1.26 | 353.76
Energy Shortage (MU) |  | 3.58 | 0 | 0 | 1.6906 | 0.93 | 6.2006
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 74989 | 69972 | 51087 | 29450 | 3594 | 226371
Time Of Maximum Demand Met |  | 14:31 | 15:46 | 11:51 | 22:53 | 18:46 | 14:31
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.019 | 0 | 0 | 1.4 | 1.4 | 89.21 | 9.39
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 12245 | 0 | 238.56 | 102.06 | 0.58 | 245 | 0
| Haryana | 10305 | 0 | 223.02 | 169.19 | -5.84 | 196 | 0
| Rajasthan | 15610 | 0 | 331.55 | 126.37 | 2.59 | 424 | 3.58
| Delhi | 6756 | 0 | 134.83 | 109.66 | -8.34 | 223 | 0
NR | UP | 26950 | 0 | 564.69 | 247.08 | 0.11 | 405 | 0
| Uttarakhand | 2549 | 0 | 53.78 | 32.08 | -2.39 | 213 | 0
| HP | 1593 | 0 | 33.87 | 2.19 | -0.11 | 76 | 0
| J&K(UT) & Ladakh(UT) | 2470 | 0 | 53.96 | 29.97 | -0.13 | 316 | 0
| Chandigarh | 350 | 0 | 6.75 | 6.67 | 0.08 | 36 | 0
| Railways_NR ISTS | 207 | 0 | 4.23 | 3.69 | 0.54 | 73 | 0
| Chhattisgarh | 5200 | 0 | 117.5 | 58.3 | 0.2 | 241 | 0
| Gujarat | 22202 | 0 | 467.9 | 162.5 | -3.8 | 638 | 0
| MP | 13202 | 0 | 287 | 155.8 | -3.2 | 555 | 0
WR | Maharashtra | 26496 | 0 | 595.2 | 196.1 | -7.6 | 735 | 0
| Goa | 745 | 0 | 16 | 14.2 | 1.5 | 78 | 0
| DNHDDPDCL | 1299 | 0 | 30.2 | 30.3 | -0.1 | 94 | 0
| AMNSIL | 856 | 0 | 19 | 8.5 | 0.4 | 201 | 0
| BALCO | 522 | 0 | 12.5 | 12.5 | 0 | 7 | 0
| Andhra Pradesh | 10539 | 0 | 221.31 | 58.98 | -2.16 | 554 | 0
| Telangana | 9219 | 0 | 187.51 | 69.98 | -1.75 | 613 | 0
SR | Karnataka | 12730 | 0 | 247.98 | 122.79 | -3.95 | 491 | 0
| Kerala | 4382 | 0 | 90.71 | 73.13 | 0.27 | 269 | 0
| Tamil Nadu | 16480 | 0 | 359.74 | 236.04 | -5.02 | 349 | 0
| Puducherry | 435 | 0 | 9.99 | 9.82 | -0.42 | 25 | 0
| Bihar | 6997 | 435 | 145.98 | 130.79 | 3.56 | 511 | 1.0506
| DVC | 3546 | 0 | 77.41 | -37.63 | 0.42 | 252 | 0
| Jharkhand | 2117 | 0 | 46.57 | 32.56 | 0.47 | 286 | 0.64
ER | Odisha | 6573 | 0 | 131.99 | 51.3 | -0.35 | 467 | 0
| West Bengal | 11328 | 0 | 236.37 | 88.86 | -0.69 | 304 | 0
| Sikkim | 73 | 0 | 1.02 | 1.17 | -0.15 | 29 | 0
| Railways_ER ISTS | 13 | 0 | 0.13 | 0.13 | 0 | 4 | 0
| Arunachal Pradesh | 167 | 0 | 3.01 | 2.74 | 0.18 | 32 | 0
| Assam | 2268 | 0 | 45.11 | 38.02 | 0.19 | 181 | 0.93
| Manipur | 226 | 0 | 3.39 | 3.43 | -0.04 | 10 | 0
NER | Meghalaya | 294 | 0 | 5.57 | 3.71 | -0.14 | 59 | 0
| Mizoram | 130 | 0 | 2.16 | 1.82 | -0.14 | 17 | 0
| Nagaland | 177 | 0 | 3.11 | 3.11 | 0 | 12 | 0
| Tripura | 360 | 0 | 6.92 | 6.36 | 0.53 | 75 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -1.28 | -11.669 | -23.2 | -12.51
Day Peak (MW) |  | 187 | -812.55 | -1073 | -1064
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 287.25 | -377.73 | 118.63 | -47.2 | 19.05 | 0
Actual(MU) |  | 279.79 | -411.04 | 134.136 | -27.76 | 22.24 | -2.634
O/D/U/D(MU) |  | -7.46 | -33.31 | 15.506 | 19.44 | 3.19 | -2.634
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2059.47 | 3731.3 | 3252 | 3266 | 351 | 12659.77 | 41.7116
State Sector |  | 5133 | 5389 | 4778 | 2281 | 109.97 | 17690.97 | 58.2884
Total |  | 7192.47 | 9120.3 | 8030 | 5547 | 460.97 | 30350.74 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 873.01 | 1705.15 | 740.73 | 731.71 | 12.95 | 4063.55 | 74.2829
Lignite |  | 19.85 | 20.26 | 59.02 | 0 | 0 | 99.13 | 1.8121
Hydro |  | 294.57 | 51.81 | 32.9 | 26.55 | 14.47 | 420.3 | 7.6832
Nuclear |  | 27.85 | 64.44 | 51.12 | 0 | 0 | 143.41 | 2.6216
Gas, Naptha & Diesel |  | 62.95 | 110.48 | 10.42 | 0 | 24.4 | 208.25 | 3.8069
RES (Wind, Solar, Biomass & Others) |  | 214.95 | 148.74 | 167.05 | 3.73 | 1.26 | 535.73 | 9.7933
Total |  | 1493.18 | 2100.88 | 1061.24 | 761.99 | 53.08 | 5470.37 | 100
Share of RES in total generation (%) |  | 14.3955 | 7.0799 | 15.741 | 0.48951 | 2.3738 | 9.7933
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 35.9883 | 12.6133 | 23.6582 | 3.9738 | 29.6345 | 20.0981
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.012 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.049 |  | Solar hr | 226371 |  | 14:31 | 0
|  |  |  | Non-Solar hr | 217683 |  | 22:42 | 1219
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 17-May-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 734 | 290 | 0.79 | 0 |  | 0.79
4 | 765 kV | SASARAM-FATEHPUR | 1 | 140 | 279 | 0 | 3.11 |  | -3.11
5 | 765 kV | GAYA-BALIA | 1 | 0 | 688 | 0 | 12.22 |  | -12.22
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 75 | 0 | 0.78 |  | -0.78
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 70 | 0 | 0.84 | 0 |  | 0.84
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 431 | 312 | 0.84 | 0 |  | 0.84
9 | 400 kV | PATNA-BALIA | 2 | 212 | 530 | 0 | 5.8 |  | -5.8
10 | 400 kV | NAUBATPUR-BALIA | 2 | 174 | 336 | 0 | 1.1 |  | -1.1
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 412 | 0 | 4.06 | 0 |  | 4.06
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 124 | 278 | 0 | 2.97 |  | -2.97
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 0 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 26 | 70 | 0 | 0.82 |  | -0.82
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.62 | 0 |  | 0.62
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 7.15 | 26.8 |  | -19.65
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1426 | 19 | 19.04 | 0 |  | 19.04
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1692 | 0 | 28.22 | 0 |  | 28.22
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 1129 | 0 | 18.78 |  | -18.78
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 194 | 302 | 0 | 1.66 |  | -1.66
5 | 400 kV | RANCHI-SIPAT | 2 | 579 | 0 | 9.34 | 0 |  | 9.34
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 58 | 65 | 0.07 | 0 |  | 0.07
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 126 | 135 | 0.14 | 0 |  | 0.14
ER-WR | [5 empty] | 56.81 | 20.44 |  | 36.37
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 625 | 0 | 13.85 |  | -13.85
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1484 | 0 | 29.77 |  | -29.77
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2329 | 0 | 42.01 |  | -42.01
4 | 400 kV | TALCHER-I/C | 2 | 707 | 0 | 13.69 | 0 |  | 13.69
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 85.63 |  | -85.63
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 113 | 188 | 1.97 | 0.26 |  | 1.71
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 258 | 384 | 0 | 2.61 |  | -2.61
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 32 | 76 | 0 | 0.71 |  | -0.71
ER-NER | [5 empty] | 1.97 | 3.58 |  | -1.61
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 847 | 0 | 16.25 | 0 |  | 16.25
NER-NR | [5 empty] | 16.25 | 0 |  | 16.25
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5026 | 0 | 88.72 |  | -88.72
2 | HVDC | VINDHYACHAL B/B | - | 50 | 28 | 0.308 | 0 |  | 0.308
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1661 | 0 | 37.88 |  | -37.88
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2452 | 0 | 39.89 |  | -39.89
5 | 765 kV | GWALIOR-PHAGI | 2 | 135 | 1390 | 0.17 | 20.48 |  | -20.31
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1122 | 0 | 32.53 |  | -32.53
7 | 765 kV | GWALIOR-ORAI | 1 | 634 | 0 | 11.66 | 0 |  | 11.66
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1123 | 0 | 22.53 |  | -22.53
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1203 | 969 | 7.65 | 3.19 |  | 4.46
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3511 | 0 | 71.6 |  | -71.6
11 | 400 kV | ZERDA-KANKROLI | 1 | 235 | 167 | 2.09 | 0.48 |  | 1.61
12 | 400 kV | ZERDA -BHINMAL | 1 | 235 | 166 | 2.1 | 0.48 |  | 1.62
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 954 | 0 | 21.83 | 0 |  | 21.83
14 | 400 kV | RAPP-SHUJALPUR | 2 | 310 | 385 | 1.29 | 2.67 |  | -1.38
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 306 | 409 | 1.2 | 3.2 |  | -2
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 132 | 0 | 2.42 |  | -2.42
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.64 |  | -2.64
18 | 220 kV | MEHGAON-AURAIYA | 1 | 62 | 0 | 0.85 | 0 |  | 0.85
19 | 220 kV | MALANPUR-AURAIYA | 1 | 40 | 9 | 0.39 | 0.02 |  | 0.37
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 49.538 | 328.73 |  | -279.192
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 306 | 0 | 7.2 |  | -7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2001 | 0 | 40.49 |  | -40.49
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 284 | 1028 | 0.16 | 9.23 |  | -9.07
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 1578 | 0 | 26.99 |  | -26.99
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 1883 | 0 | 30.45 |  | -30.45
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1073 | 0 | 15.96 | 0 |  | 15.96
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 96 | 1.82 | 0 |  | 1.82
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 116 | 2.15 | 0 |  | 2.15
WR-SR | [5 empty] | 20.09 | 114.36 |  | -94.27
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 315.273 | 9.598 | 110.91 |  | 2.6618
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 263.874 | -124.494 | 6.17 |  | 0.148
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -296.408 | 1.23 | -199.5 |  | -4.788
|  | NER | 132kV GELEPHU-SALAKATI |  | -21 | 7 | -5.417 |  | -0.13
|  | NER | 132kV MOTANGA-RANGIA |  | 49 | 0 | 34.583 |  | 0.83
|  | NR | NEPAL IMPORT (FROM UP) |  | -74 | 0 | -47 |  | -1.14
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -74 | 0 | -49 |  | -1.18
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -299.55 | -16.1 | -142.042 |  | -3.409
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -513 | -11 | -247.5 |  | -5.94
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -953 | -641 | -859.17 |  | -20.62
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1064 | -60 | -521.25 |  | -12.51
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -120 | 0 | -107.5 |  | -2.58

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 17-May-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 3.59 | 0 | 0 | 0 |  | 0 | 0 |  | 3.59
Nepal | 0.35 |  | 0 | 5.54 | 0 | 0 | 0 |  | 0 | 0 |  | 5.89
Bangladesh | 20.66 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.66
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.01 |  | 0 | 9.13 | 0 | 0 | 0 |  | 0 | 0 |  | 30.14
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.42 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1.42
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 1.42 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1.42
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.42 |  | 0 | -3.59 | 0 | 0 | 0 |  | 0 | 0 |  | -2.17
Nepal | -0.35 |  | 0 | -5.54 | 0 | 0 | 0 |  | 0 | 0 |  | -5.89
Bangladesh | -20.66 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.66
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -19.59 |  | 0 | -9.13 | 0 | 0 | 0 |  | 0 | 0 |  | -28.72