## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 18-May-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 73248 | 64897 | 46635 | 28377 | 3148 | 216305
Peak Shortage (MW) |  | 318 | 0 | 0 | 0 | 0 | 318
Energy Met (MU) |  | 1691 | 1562.8 | 1078.41 | 653.51 | 64.76 | 5050.48
Hydro Gen (MU) |  | 314.96 | 46.4 | 37.5 | 21.74 | 16.12 | 436.72
Wind Gen (MU) |  | 21.28 | 95.45 | 23.39 | - | - | 140.12
Solar Gen (MU)* |  | 165.31 | 85.49 | 92.81 | 2.95 | 0.99 | 347.55
Energy Shortage (MU) |  | 6.09 | 0 | 0 | 1.878 | 0 | 7.968
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 75739 | 70953 | 50820 | 30633 | 3307 | 225926
Time Of Maximum Demand Met |  | 10:44 | 15:10 | 12:30 | 23:13 | 18:43 | 14:59
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.022 | 0 | 0 | 3.25 | 3.25 | 85.95 | 10.8
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 12857 | 0 | 256.09 | 117.03 | -0.89 | 262 | 0
| Haryana | 10362 | 0 | 228.19 | 174.03 | -5.07 | 251 | 0
| Rajasthan | 15918 | 0 | 335.52 | 127.58 | 0.87 | 431 | 6.03
| Delhi | 6944 | 0 | 139.73 | 115.02 | -8.88 | 209 | 0
NR | UP | 26970 | 0 | 575.59 | 255.52 | 0.47 | 821 | 0
| Uttarakhand | 2579 | 0 | 56.25 | 31.48 | -2.49 | 205 | 0
| HP | 1649 | 0 | 34.77 | 0.89 | 0.21 | 109 | 0
| J&K(UT) & Ladakh(UT) | 2573 | 0 | 54.08 | 29.45 | -1.45 | 105 | 0.06
| Chandigarh | 358 | 0 | 6.9 | 6.82 | 0.08 | 40 | 0
| Railways_NR ISTS | 211 | 0 | 4.24 | 3.62 | 0.62 | 86 | 0
| Chhattisgarh | 5189 | 0 | 116.3 | 56.2 | -0.6 | 243 | 0
| Gujarat | 23520 | 0 | 487.4 | 160.94 | -2.1 | 694 | 0
| MP | 13175 | 0 | 291.4 | 157.8 | -5.6 | 503 | 0
WR | Maharashtra | 26342 | 0 | 589.9 | 196.7 | -3.6 | 727 | 0
| Goa | 793 | 0 | 16.6 | 14.6 | 1.6 | 36 | 0
| DNHDDPDCL | 1274 | 0 | 29.8 | 29.6 | 0.2 | 67 | 0
| AMNSIL | 842 | 0 | 18.9 | 8.8 | 0.3 | 272 | 0
| BALCO | 522 | 0 | 12.5 | 12.5 | 0 | 518 | 0
| Andhra Pradesh | 9992 | 0 | 211 | 61.59 | -0.13 | 1077 | 0
| Telangana | 8147 | 0 | 175.99 | 51.95 | 0.81 | 582 | 0
SR | Karnataka | 12360 | 0 | 238.39 | 123.16 | -3.11 | 928 | 0
| Kerala | 4335 | 0 | 90.92 | 74.98 | 0.25 | 686 | 0
| Tamil Nadu | 16089 | 0 | 352.12 | 225.82 | 4.43 | 802 | 0
| Puducherry | 439 | 0 | 9.99 | 9.73 | -0.39 | 23 | 0
| Bihar | 6991 | 0 | 150.56 | 133.17 | 5.8 | 410 | 1.638
| DVC | 3430 | 0 | 78.01 | -37.1 | 0.25 | 236 | 0
| Jharkhand | 2175 | 0 | 46.54 | 33.39 | -0.6 | 262 | 0.24
ER | Odisha | 6268 | 0 | 132.06 | 52.28 | -0.11 | 512 | 0
| West Bengal | 12098 | 0 | 244.74 | 101.78 | -0.54 | 267 | 0
| Sikkim | 100 | 0 | 1.48 | 1.46 | 0.02 | 39 | 0
| Railways_ER ISTS | 13 | 0 | 0.12 | 0.13 | -0.01 | 4 | 0
| Arunachal Pradesh | 150 | 0 | 2.65 | 2.81 | -0.25 | 22 | 0
| Assam | 2023 | 0 | 41.79 | 34.48 | -0.28 | 175 | 0
| Manipur | 220 | 0 | 3.16 | 3.34 | -0.18 | 54 | 0
NER | Meghalaya | 313 | 0 | 5.42 | 3.43 | -0.19 | 71 | 0
| Mizoram | 126 | 0 | 2.1 | 1.84 | -0.19 | 14 | 0
| Nagaland | 162 | 0 | 2.8 | 3.04 | -0.24 | 26 | 0
| Tripura | 358 | 0 | 6.84 | 6.48 | 0.42 | 112 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -1.208 | -12.816 | -23.498 | -15.4268
Day Peak (MW) |  | -198.73 | -815.95 | -1069 | -767.4
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 299.29 | -369.23 | 88.83 | -33.5 | 14.61 | 0
Actual(MU) |  | 285.2 | -396.53 | 117.544 | -29.91 | 15.58 | -8.116
O/D/U/D(MU) |  | -14.09 | -27.3 | 28.714 | 3.59 | 0.97 | -8.116
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2197.22 | 4150 | 3252 | 2606 | 351 | 12556.22 | 42.0578
State Sector |  | 4418 | 5561.5 | 5228 | 1981 | 109.97 | 17298.47 | 57.9422
Total |  | 6615.22 | 9711.5 | 8480 | 4587 | 460.97 | 29854.69 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 885.45 | 1690.68 | 740.17 | 745.34 | 13.2 | 4074.84 | 74.3395
Lignite |  | 20.34 | 21.3 | 59.64 | 0 | 0 | 101.28 | 1.8477
Hydro |  | 314.96 | 46.4 | 37.5 | 21.74 | 16.12 | 436.72 | 7.9673
Nuclear |  | 25.62 | 65.01 | 50.94 | 0 | 0 | 141.57 | 2.5827
Gas, Naptha & Diesel |  | 62.87 | 105.93 | 9.47 | 0 | 24.36 | 202.63 | 3.6967
RES (Wind, Solar, Biomass & Others) |  | 194.26 | 182.87 | 142.57 | 3.64 | 1.01 | 524.35 | 9.566
Total |  | 1503.5 | 2112.19 | 1040.29 | 770.72 | 54.69 | 5481.39 | 100
Share of RES in total generation (%) |  | 12.9205 | 8.6578 | 13.7048 | 0.47229 | 1.8468 | 9.566
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 35.573 | 13.9325 | 22.2063 | 3.293 | 31.322 | 20.1161
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.026 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.055 |  | Solar hr | 225926 |  | 14:59 | 0
|  |  |  | Non-Solar hr | 219041 |  | 22:30 | 2519
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 18-May-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 3 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 637 | 285 | 1.07 | 0 |  | 1.07
4 | 765 kV | SASARAM-FATEHPUR | 1 | 81 | 268 | 0 | 3.02 |  | -3.02
5 | 765 kV | GAYA-BALIA | 1 | 0 | 666 | 0 | 12.22 |  | -12.22
6 | 400 kV | PUSAULI-VARANASI | 1 | 5 | 167 | 0 | 0.85 |  | -0.85
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 78 | 85 | 0.86 | 0 |  | 0.86
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 389 | 269 | 1.2 | 0 |  | 1.2
9 | 400 kV | PATNA-BALIA | 2 | 142 | 598 | 0 | 7.73 |  | -7.73
10 | 400 kV | NAUBATPUR-BALIA | 2 | 106 | 385 | 0 | 1.71 |  | -1.71
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 414 | 0 | 4.66 | 0 |  | 4.66
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 52 | 328 | 0 | 3.52 |  | -3.52
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 9 | 6 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 25 | 73 | 0 | 0.88 |  | -0.88
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.44 | 0 |  | 0.44
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 8.23 | 29.93 |  | -21.7
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1182 | 98 | 14.12 | 0 |  | 14.12
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1788 | 0 | 27.22 | 0 |  | 27.22
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 828 | 0 | 14.1 |  | -14.1
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 52 | 254 | 0 | 3.43 |  | -3.43
5 | 400 kV | RANCHI-SIPAT | 2 | 547 | 0 | 9.34 | 0 |  | 9.34
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 63 | 55 | 0 | 0.19 |  | -0.19
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 101 | 40 | 0.48 | 0 |  | 0.48
ER-WR | [5 empty] | 51.16 | 17.72 |  | 33.44
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 516 | 0 | 12.29 |  | -12.29
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1487 | 0 | 30.41 |  | -30.41
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2443 | 0 | 41.09 |  | -41.09
4 | 400 kV | TALCHER-I/C | 2 | 641 | 0 | 12.04 | 0 |  | 12.04
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 83.79 |  | -83.79
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 207 | 131 | 0.72 | 1.01 |  | -0.29
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 400 | 191 | 0.2 | 0 |  | 0.2
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 86 | 39 | 0.12 | 0 |  | 0.12
ER-NER | [5 empty] | 1.04 | 1.01 |  | 0.03
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 654 | 0 | 15.28 | 0 |  | 15.28
NER-NR | [5 empty] | 15.28 | 0 |  | 15.28
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5027 | 0 | 92.33 |  | -92.33
2 | HVDC | VINDHYACHAL B/B | - | 246 | 28 | 0.9 | 1.05 |  | -0.15
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1440 | 0 | 32.09 |  | -32.09
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2309 | 0 | 41.31 |  | -41.31
5 | 765 kV | GWALIOR-PHAGI | 2 | 284 | 1435 | 0.36 | 16.3 |  | -15.94
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1025 | 0 | 34.32 |  | -34.32
7 | 765 kV | GWALIOR-ORAI | 1 | 652 | 0 | 10.54 | 0 |  | 10.54
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1100 | 0 | 22.29 |  | -22.29
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 852 | 1049 | 4.83 | 8.31 |  | -3.48
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3505 | 0 | 72.53 |  | -72.53
11 | 400 kV | ZERDA-KANKROLI | 1 | 222 | 152 | 1.39 | 0.85 |  | 0.54
12 | 400 kV | ZERDA -BHINMAL | 1 | 221 | 151 | 1.4 | 0.84 |  | 0.56
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 963 | 0 | 22.35 | 0 |  | 22.35
14 | 400 kV | RAPP-SHUJALPUR | 2 | 389 | 333 | 1.64 | 2.95 |  | -1.31
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 414 | 371 | 1.96 | 2.89 |  | -0.93
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 133 | 0 | 2.53 |  | -2.53
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.52 |  | -2.52
18 | 220 kV | MEHGAON-AURAIYA | 1 | 69 | 1 | 0.49 | 0 |  | 0.49
19 | 220 kV | MALANPUR-AURAIYA | 1 | 44 | 7 | 0.48 | 0 |  | 0.48
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 46.34 | 333.11 |  | -286.77
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 309 | 0 | 7.2 |  | -7.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1501 | 0 | 31.17 |  | -31.17
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 369 | 1260 | 0.8 | 9.11 |  | -8.31
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 1674 | 0 | 22.17 |  | -22.17
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2080 | 0 | 28.78 |  | -28.78
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1062 | 0 | 15.06 | 0 |  | 15.06
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 85 | 1.73 | 0 |  | 1.73
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 132 | 2.43 | 0 |  | 2.43
WR-SR | [5 empty] | 20.02 | 98.43 |  | -78.41
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 335.683 | 41.148 | 130.64 |  | 3.1353
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -170.503 | 59.541 | -53.92 |  | -1.294
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -249.794 | -88.983 | -140.75 |  | -3.378
|  | NER | 132kV GELEPHU-SALAKATI |  | -61.16 | 4.5 | -9.75 |  | -0.234
|  | NER | 132kV MOTANGA-RANGIA |  | 40.43 | 4.27 | 23.583 |  | 0.566
|  | NR | NEPAL IMPORT (FROM UP) |  | -74 | 0 | -25 |  | -0.59
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -74 | 0 | -52 |  | -1.26
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -314.95 | -16.69 | -154 |  | -3.696
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -501 | -26 | -302.917 |  | -7.27
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -947 | -651 | -871.58 |  | -20.918
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -767.4 | 44.32 | -642.783 |  | -15.4268
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -122 | 0 | -107.5 |  | -2.58

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 18-May-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 3.22 | 0 | 0 | 0 |  | 0 | 0 |  | 3.22
Nepal | 0.35 |  | 0 | 5.47 | 0 | 0 | 0.09 |  | 0 | 0 |  | 5.91
Bangladesh | 20.62 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.62
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 20.97 |  | 0 | 8.69 | 0 | 0 | 0.09 |  | 0 | 0 |  | 29.75
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.36 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1.36
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 1.36 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1.36
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 1.36 |  | 0 | -3.22 | 0 | 0 | 0 |  | 0 | 0 |  | -1.86
Nepal | -0.35 |  | 0 | -5.47 | 0 | 0 | -0.09 |  | 0 | 0 |  | -5.91
Bangladesh | -20.62 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.62
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -19.61 |  | 0 | -8.69 | 0 | 0 | -0.09 |  | 0 | 0 |  | -28.39