## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 19-Jun-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 81306 | 60291 | 47113 | 28475 | 2737 | 219922
Peak Shortage (MW) |  | 753 | 0 | 0 | 0 | 0 | 753
Energy Met (MU) |  | 1990 | 1478.7 | 1128.25 | 663.77 | 53.33 | 5314.05
Hydro Gen (MU) |  | 368.5 | 40.59 | 50.4 | 51.92 | 31.57 | 542.98
Wind Gen (MU) |  | 64.22 | 178.03 | 165.26 | - | - | 407.51
Solar Gen (MU)* |  | 173.58 | 85.08 | 124.29 | 3.28 | 0.26 | 386.49
Energy Shortage (MU) |  | 18.74 | 0 | 0 | 0.631 | 0 | 19.371
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 89526 | 66493 | 52191 | 30893 | 2746 | 239329
Time Of Maximum Demand Met |  | 15:45 | 14:44 | 14:43 | 00:01 | 19:17 | 14:44
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.031 | 0 | 0 | 1.85 | 1.85 | 71.61 | 26.54
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 15860 | 0 | 339.32 | 192.67 | 1.29 | 391 | 0
| Haryana | 13373 | 0 | 287.98 | 201.11 | 2.85 | 361 | 2.99
| Rajasthan | 17689 | 0 | 378.39 | 101.72 | 2.01 | 513 | 9.12
| Delhi | 8568 | 0 | 177.67 | 146.06 | 2.81 | 337 | 0
NR | UP | 28752 | 488 | 636.78 | 347.04 | -2.06 | 464 | 5.04
| Uttarakhand | 2739 | 75 | 60.51 | 31.73 | -0.39 | 155 | 0.37
| HP | 1745 | 0 | 39.01 | 2.49 | -0.73 | 48 | 0
| J&K(UT) & Ladakh(UT) | 2729 | 0 | 57.32 | 29.38 | 2.94 | 784 | 1.22
| Chandigarh | 440 | 0 | 9.09 | 8.78 | 0.31 | 71 | 0
| Railways_NR ISTS | 225 | 0 | 4.32 | 3.34 | 0.98 | 116 | 0
| Chhattisgarh | 5346 | 0 | 117.1 | 63.8 | -1.6 | 672 | 0
| Gujarat | 23826 | 0 | 492.9 | 147.3 | -4.1 | 915 | 0
| MP | 11923 | 0 | 255.2 | 130 | -5.9 | 427 | 0
WR | Maharashtra | 23941 | 0 | 537.4 | 182.2 | -5.2 | 644 | 0
| Goa | 693 | 0 | 14.8 | 14.1 | 0.2 | 35 | 0
| DNHDDPDCL | 1318 | 0 | 30.2 | 30.3 | -0.1 | 145 | 0
| AMNSIL | 820 | 0 | 18.6 | 8.5 | 0.7 | 324 | 0
| BALCO | 525 | 0 | 12.5 | 12.6 | -0.1 | 6 | 0
| Andhra Pradesh | 10787 | 0 | 222.01 | 61.96 | -1.32 | 496 | 0
| Telangana | 10359 | 0 | 215.19 | 111.13 | 0.73 | 640 | 0
SR | Karnataka | 11711 | 0 | 226.5 | 53.37 | -3.97 | 655 | 0
| Kerala | 4160 | 0 | 87.07 | 55.61 | 1.86 | 452 | 0
| Tamil Nadu | 17039 | 0 | 367.03 | 174.41 | -6.51 | 956 | 0
| Puducherry | 468 | 0 | 10.45 | 10.43 | -0.58 | 27 | 0
| Bihar | 7259 | 0 | 154.47 | 147.99 | -4.9 | 396 | 0.158
| DVC | 3487 | 0 | 76.93 | -44.62 | 0.47 | 420 | 0
| Jharkhand | 2279 | 0 | 48.89 | 39.33 | 1.26 | 414 | 0.473
ER | Odisha | 6399 | 0 | 133.5 | 55.11 | -1.58 | 519 | 0
| West Bengal | 11880 | 0 | 248.39 | 105.76 | -1.67 | 214 | 0
| Sikkim | 83 | 0 | 1.44 | 1.62 | -0.18 | 18 | 0
| Railways_ER ISTS | 17 | 0 | 0.15 | 0.24 | -0.09 | 6 | 0
| Arunachal Pradesh | 149 | 0 | 3.89 | 2.84 | 0.82 | 16 | 0
| Assam | 1757 | 0 | 31.39 | 23.51 | 0.1 | 107 | 0
| Manipur | 198 | 0 | 3.19 | 3.24 | -0.05 | 22 | 0
NER | Meghalaya | 342 | 0 | 5.7 | 0.01 | 0.07 | 56 | 0
| Mizoram | 105 | 0 | 1.66 | 1.39 | -0.4 | 1 | 0
| Nagaland | 153 | 0 | 2.83 | 2.84 | -0.04 | 20 | 0
| Tripura | 208 | 0 | 4.67 | 4.95 | -0.25 | 56 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 22.74 | 6.48 | -24.314 | -22.28
Day Peak (MW) |  | 1209 | 397 | -1031 | -1322.3
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 461.69 | -432.81 | 35.36 | -53.87 | -10.37 | 0
Actual(MU) |  | 452.96 | -456.74 | 52.619 | -49.44 | -10.84 | -11.441
O/D/U/D(MU) |  | -8.73 | -23.93 | 17.259 | 4.43 | -0.47 | -11.441
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2676.13 | 5424.8 | 4892 | 3140.6 | 254.5 | 16388.03 | 48.6111
State Sector |  | 3370.5 | 7123 | 5148 | 1564 | 119 | 17324.5 | 51.3889
Total |  | 6046.63 | 12547.8 | 10040 | 4704.6 | 373.5 | 33712.53 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 905.84 | 1605.16 | 673.09 | 739.86 | 13.99 | 3937.94 | 68.6436
Lignite |  | 29.49 | 16.01 | 54.71 | 0 | 0 | 100.21 | 1.7468
Hydro |  | 368.5 | 40.59 | 50.4 | 51.92 | 31.57 | 542.98 | 9.4649
Nuclear |  | 28.57 | 59.86 | 51.45 | 0 | 0 | 139.88 | 2.4383
Gas, Naptha & Diesel |  | 64.92 | 91.73 | 7.54 | 0 | 23.89 | 188.08 | 3.2785
RES (Wind, Solar, Biomass & Others) |  | 246.09 | 264.8 | 312.2 | 4.34 | 0.27 | 827.7 | 14.4279
Total |  | 1643.41 | 2078.15 | 1149.39 | 796.12 | 69.72 | 5736.79 | 100
Share of RES in total generation (%) |  | 14.9744 | 12.7421 | 27.1622 | 0.54514 | 0.38726 | 14.4279
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.1357 | 17.5757 | 36.0235 | 7.0668 | 45.6684 | 26.3311
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.010 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.041 |  | Solar hr | 239329 |  | 14:44 | 0
|  |  |  | Non-Solar hr | 224444 |  | 0:00 | 4076
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 19-Jun-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 95 | 0 | 1.24 |  | -1.24
3 | 765 kV | GAYA-VARANASI | 2 | 526 | 654 | 0 | 3.49 |  | -3.49
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 440 | 0 | 6.7 |  | -6.7
5 | 765 kV | GAYA-BALIA | 1 | 0 | 560 | 0 | 10.82 |  | -10.82
6 | 400 kV | PUSAULI-VARANASI | 1 | 51 | 64 | 0 | 0.45 |  | -0.45
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 84 | 74 | 0 | 0.38 |  | -0.38
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 859 | 0 | 14.78 |  | -14.78
9 | 400 kV | PATNA-BALIA | 2 | 0 | 775 | 0 | 9.85 |  | -9.85
10 | 400 kV | NAUBATPUR-BALIA | 2 | 29 | 229 | 0 | 3.33 |  | -3.33
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 203 | 135 | 0 | 0.11 |  | -0.11
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 559 | 0 | 9.94 |  | -9.94
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 123 | 269 | 0 | 2.73 |  | -2.73
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 1 | 55 | 0 | 0.81 |  | -0.81
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0.09 | 0 |  | 0.09
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.5 | 0 |  | 0.5
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.59 | 64.63 |  | -64.04
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 196 | 1001 | 0 | 8.76 |  | -8.76
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 2352 | 0 | 39.37 | 0 |  | 39.37
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 525 | 0 | 6.17 |  | -6.17
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 461 | 78 | 5.26 | 0 |  | 5.26
5 | 400 kV | RANCHI-SIPAT | 2 | 605 | 0 | 9.63 | 0 |  | 9.63
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 192 | 0 | 2.92 |  | -2.92
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 38 | 142 | 0 | 0.4 |  | -0.4
ER-WR | [5 empty] | 54.26 | 18.25 |  | 36.01
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 407 | 0 | 6.81 | 0 |  | 6.81
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1694 | 0 | 40.78 |  | -40.78
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2413 | 0 | 46.53 |  | -46.53
4 | 400 kV | TALCHER-I/C | 2 | 16 | 541 | 0 | 6.71 |  | -6.71
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 6.81 | 87.31 |  | -80.5
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 572 | 0 | 9.37 | 0 |  | 9.37
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 813 | 0 | 13 | 0 |  | 13
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 125 | 0 | 2.2 | 0 |  | 2.2
ER-NER | [5 empty] | 24.57 | 0 |  | 24.57
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 459 | 0 | 11.89 | 0 |  | 11.89
NER-NR | [5 empty] | 11.89 | 0 |  | 11.89
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 6045 | 0 | 114.31 |  | -114.31
2 | HVDC | VINDHYACHAL B/B | - | 0 | 496 | 0 | 10.28 |  | -10.28
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1661 | 0 | 42.38 |  | -42.38
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 3210 | 0 | 62.1 |  | -62.1
5 | 765 kV | GWALIOR-PHAGI | 2 | 534 | 1548 | 1.68 | 18.89 |  | -17.21
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1264 | 0 | 47.88 |  | -47.88
7 | 765 kV | GWALIOR-ORAI | 1 | 609 | 0 | 8.32 | 0 |  | 8.32
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1210 | 0 | 26.23 |  | -26.23
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 325 | 1907 | 0.44 | 19.54 |  | -19.1
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3816 | 0 | 76.1 |  | -76.1
11 | 400 kV | ZERDA-KANKROLI | 1 | 164 | 260 | 0.69 | 2.11 |  | -1.42
12 | 400 kV | ZERDA -BHINMAL | 1 | 164 | 259 | 0.69 | 2.1 |  | -1.41
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 973 | 0 | 21.53 | 0 |  | 21.53
14 | 400 kV | RAPP-SHUJALPUR | 2 | 182 | 541 | 0.54 | 6.85 |  | -6.31
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 276 | 549 | 1.03 | 6.44 |  | -5.41
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 140 | 0 | 2.12 |  | -2.12
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.83 |  | -2.83
18 | 220 kV | MEHGAON-AURAIYA | 1 | 25 | 36 | 0.13 | 0.19 |  | -0.06
19 | 220 kV | MALANPUR-AURAIYA | 1 | 9 | 45 | 0.01 | 0.38 |  | -0.37
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 35.06 | 440.73 |  | -405.67
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 998 | 0 | 20.5 | 0 |  | 20.5
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1002 | 0 | 17.86 |  | -17.86
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1458 | 508 | 13.53 | 0.99 |  | 12.54
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 1817 | 0 | 28.84 |  | -28.84
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 1865 | 0 | 29.09 |  | -29.09
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1635 | 0 | 30.28 | 0 |  | 30.28
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 69 | 1.66 | 0 |  | 1.66
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 104 | 2.02 | 0 |  | 2.02
WR-SR | [5 empty] | 67.99 | 76.78 |  | -8.79
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 601.126 | 291.479 | 435.73 |  | 10.4574
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 629.238 | 347.773 | 487.04 |  | 11.689
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -83.341 | 0 | -8.21 |  | -0.197
|  | NER | 132kV GELEPHU-SALAKATI |  | 8 | -22 | 0.417 |  | 0.01
|  | NER | 132kV MOTANGA-RANGIA |  | 41 | 0 | 32.5 |  | 0.78
|  | NR | NEPAL IMPORT (FROM UP) |  | 0 | 0 | 0 |  | -0.9
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | -1.01
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 469 | 252 | 349.583 |  | 8.39
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -941 | -937 | -941 |  | -22.584
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1322.3 | -722.2 | -928.333 |  | -22.28
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -90 | 0 | -72.0833 |  | -1.73

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 19-Jun-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.12 |  | 0 | 0.59 | 0 | 0 | 0 |  | 0 | 0 |  | 0.71
Bangladesh | 22.61 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.61
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.73 |  | 0 | 0.59 | 0 | 0 | 0 |  | 0 | 0 |  | 23.32
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 18.82 |  | 0 | 0.54 | 0 | 0 | 0.08 |  | 0 | 0 |  | 19.44
Nepal | 2.63 |  | 0 | 3.16 | 0 | 0 | 1.58 |  | 0 | 0 |  | 7.37
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 21.45 |  | 0 | 3.7 | 0 | 0 | 1.66 |  | 0 | 0 |  | 26.81
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 18.82 |  | 0 | 0.54 | 0 | 0 | 0.08 |  | 0 | 0 |  | 19.44
Nepal | 2.51 |  | 0 | 2.57 | 0 | 0 | 1.58 |  | 0 | 0 |  | 6.66
Bangladesh | -22.61 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.61
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -1.28 |  | 0 | 3.11 | 0 | 0 | 1.66 |  | 0 | 0 |  | 3.49