## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 21-Mar-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 53680 | 62298 | 52231 | 18734 | 2518 | 189461
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 0 | 0
Energy Met (MU) |  | 1196 | 1467.4 | 1344.2 | 419.99 | 47.5 | 4475.09
Hydro Gen (MU) |  | 121.92 | 27.02 | 34.6 | 14 | 7.64 | 205
Wind Gen (MU) |  | 23.9 | 74.88 | 45.02 | - | - | 143.8
Solar Gen (MU)* |  | 162.92 | 83.97 | 137.38 | 1.96 | 0.43 | 386.66
Energy Shortage (MU) |  | 1.08 | 0 | 0 | 0 | 0 | 1.08
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 59778 | 67168 | 64531 | 19946 | 2607 | 212150
Time Of Maximum Demand Met |  | 10:23 | 11:02 | 10:24 | 09:27 | 18:13 | 10:23
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.035 | 0 | 0.24 | 3.48 | 3.73 | 78.38 | 17.89
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 10096 | 0 | 184.73 | 86.58 | -0.05 | 178 | 0
| Haryana | 7647 | 0 | 151.91 | 107.67 | -0.6 | 182 | 0
| Rajasthan | 15385 | 0 | 295.56 | 65.05 | -0.19 | 286 | 0
| Delhi | 3860 | 0 | 74.78 | 64.2 | 2.45 | 323 | 0
NR | UP | 17204 | 0 | 352.3 | 107.84 | -0.44 | 483 | 0
| Uttarakhand | 2049 | 0 | 41.26 | 27.85 | 0.48 | 123 | 0
| HP | 1875 | 0 | 33.17 | 25.06 | -0.14 | 74 | 0.03
| J&K(UT) & Ladakh(UT) | 2782 | 0 | 54.91 | 47.26 | -1.15 | 159 | 1.05
| Chandigarh | 215 | 0 | 3.49 | 3.59 | -0.1 | 22 | 0
| Railways_NR ISTS | 185 | 0 | 3.84 | 3.78 | 0.06 | 17 | 0
| Chhattisgarh | 4274 | 0 | 95.5 | 33.6 | -0.3 | 605 | 0
| Gujarat | 20831 | 0 | 435.6 | 168.3 | -0.3 | 906 | 0
| MP | 12851 | 0 | 254.1 | 152.2 | -6.3 | 465 | 0
WR | Maharashtra | 27029 | 0 | 607.3 | 200.2 | -2.8 | 574 | 0
| Goa | 720 | 0 | 14.6 | 11.8 | 2.4 | 54 | 0
| DNHDDPDCL | 1275 | 0 | 29.2 | 29.3 | -0.1 | 55 | 0
| AMNSIL | 840 | 0 | 18.6 | 8.2 | 0.3 | 291 | 0
| BALCO | 524 | 0 | 12.5 | 12.5 | 0 | 11 | 0
| Andhra Pradesh | 12443 | 0 | 225.94 | 84.66 | -3.39 | 357 | 0
| Telangana | 13557 | 0 | 271.23 | 160.47 | -0.97 | 689 | 0
SR | Karnataka | 16335 | 0 | 328.08 | 156.9 | -5.04 | 608 | 0
| Kerala | 5037 | 0 | 101.15 | 85.61 | 1.42 | 290 | 0
| Tamil Nadu | 18839 | 0 | 407.87 | 244.43 | -2.7 | 423 | 0
| Puducherry | 431 | 0 | 9.93 | 9.73 | -0.37 | 28 | 0
| Bihar | 3701 | 0 | 69.38 | 65.43 | -1.5 | 276 | 0
| DVC | 3351 | 0 | 70.42 | -34.25 | 0.66 | 282 | 0
| Jharkhand | 1468 | 0 | 31.39 | 21.89 | -2.84 | 174 | 0
ER | Odisha | 4990 | 0 | 102.92 | 29.45 | -3.5 | 374 | 0
| West Bengal | 7007 | 0 | 144.32 | 15.95 | -3.61 | 217 | 0
| Sikkim | 109 | 0 | 1.44 | 1.8 | -0.36 | 43 | 0
| Railways_ER ISTS | 14 | 0 | 0.12 | 0.18 | -0.06 | 10 | 0
| Arunachal Pradesh | 165 | 0 | 2.97 | 2.86 | 0.02 | 47 | 0
| Assam | 1450 | 0 | 27.2 | 22.16 | 0.07 | 101 | 0
| Manipur | 210 | 0 | 2.93 | 3.12 | -0.19 | 11 | 0
NER | Meghalaya | 352 | 0 | 6.11 | 5.62 | -0.21 | 72 | 0
| Mizoram | 124 | 0 | 1.99 | 1.55 | -0.13 | 34 | 0
| Nagaland | 144 | 0 | 2.32 | 2.3 | -0.03 | 18 | 0
| Tripura | 241 | 0 | 3.98 | 4.42 | 0.04 | 35 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -11.59 | -15.599 | -25.223 | -21.626
Day Peak (MW) |  | -696 | -653.53 | -1099 | -1045
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 136.98 | -289.45 | 313.25 | -168.34 | 7.56 | 0
Actual(MU) |  | 139.33 | -284.14 | 323.738 | -191.5 | 6.73 | -5.842
O/D/U/D(MU) |  | 2.35 | 5.31 | 10.488 | -23.16 | -0.83 | -5.842
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 5349.25 | 8965.6 | 4568 | 2442 | 376 | 21700.85 | 49.3871
State Sector |  | 5915.5 | 10837.5 | 2070 | 3296.5 | 120 | 22239.5 | 50.6129
Total |  | 11264.75 | 19803.1 | 6638 | 5738.5 | 496 | 43940.35 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 731.95 | 1566.21 | 725.63 | 701.37 | 16.59 | 3741.75 | 76.7066
Lignite |  | 29.83 | 23.44 | 75.85 | 0 | 0 | 129.12 | 2.647
Hydro |  | 121.92 | 27.02 | 34.6 | 14 | 7.64 | 205 | 4.2025
Nuclear |  | 31.02 | 59.21 | 51.58 | 0 | 0 | 141.81 | 2.9071
Gas, Naptha & Diesel |  | 12.23 | 33.76 | 4.2 | 0 | 24.46 | 74.65 | 1.5303
RES (Wind, Solar, Biomass & Others) |  | 206.85 | 161.22 | 213.4 | 3.62 | 0.43 | 585.52 | 12.0033
Total |  | 1133.8 | 1870.86 | 1105.26 | 709.43 | 49.12 | 4878 | 100
Share of RES in total generation (%) |  | 18.2298 | 8.6145 | 19.3024 | 0.50329 | 0.87469 | 11.9979
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 31.7861 | 13.2562 | 27.1247 | 2.4886 | 16.4972 | 19.152
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.008 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.035 |  | Solar hr | 212150 |  | 10:23 | 0
|  |  |  | Non-Solar hr | 191635 |  | 19:15 | 0
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 21-Mar-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 48 | 0 | 1.27 |  | -1.27
3 | 765 kV | GAYA-VARANASI | 2 | 4 | 1089 | 0 | 14 |  | -14
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 645 | 0 | 11.08 |  | -11.08
5 | 765 kV | GAYA-BALIA | 1 | 0 | 510 | 0 | 7.42 |  | -7.42
6 | 400 kV | PUSAULI-VARANASI | 1 | 22 | 53 | 0 | 0.45 |  | -0.45
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 5 | 71 | 0 | 0.65 |  | -0.65
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 187 | 651 | 0 | 5.3 |  | -5.3
9 | 400 kV | PATNA-BALIA | 2 | 0 | 633 | 0 | 15.01 |  | -15.01
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 326 | 0 | 4.9 |  | -4.9
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 180 | 195 | 0 | 0.2 |  | -0.2
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 589 | 0 | 8.66 |  | -8.66
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 28 | 342 | 0 | 3.78 |  | -3.78
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 90 | 0 | 1.17 |  | -1.17
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0 | 0 |  | 0
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0 | 73.89 |  | -73.89
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 447 | 546 | 0.15 | 0 |  | 0.15
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 0 | 1343 | 0 | 18.68 |  | -18.68
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 1188 | 0 | 19.86 |  | -19.86
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 39 | 440 | 0 | 3.99 |  | -3.99
5 | 400 kV | RANCHI-SIPAT | 2 | 0 | 379 | 0 | 4.87 |  | -4.87
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 22 | 113 | 0 | 1.19 |  | -1.19
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 109 | 0 | 1.44 | 0 |  | 1.44
ER-WR | [5 empty] | 1.59 | 48.59 |  | -47
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 624 | 0 | 14.84 |  | -14.84
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1993 | 0 | 46.063 |  | -46.063
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 3018 | 0 | 62.13 |  | -62.13
4 | 400 kV | TALCHER-I/C | 2 | 401 | 677 | 0 | 4.696 |  | -4.696
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 123.033 |  | -123.033
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 6 | 1.56 | 0.01 |  | 1.55
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 679 | 0 | 7.16 | 0 |  | 7.16
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 102 | 0 | 1.18 | 0 |  | 1.18
ER-NER | [5 empty] | 9.9 | 0.01 |  | 9.89
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 656 | 0 | 16.12 | 0 |  | 16.12
NER-NR | [5 empty] | 16.12 | 0 |  | 16.12
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1492 | 0 | 35.73 |  | -35.73
2 | HVDC | VINDHYACHAL B/B | - | 304 | 0 | 2.71 | 0 |  | 2.71
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1454 | 0 | 36.29 |  | -36.29
4 | 765 kV | GWALIOR-AGRA | 2 | 26 | 1399 | 0 | 14.75 |  | -14.75
5 | 765 kV | GWALIOR-PHAGI | 2 | 592 | 1530 | 1.61 | 15.68 |  | -14.07
6 | 765 kV | JABALPUR-ORAI | 2 | 3 | 718 | 0 | 12.95 |  | -12.95
7 | 765 kV | GWALIOR-ORAI | 1 | 689 | 0 | 11.25 | 0 |  | 11.25
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1061 | 0 | 19.67 |  | -19.67
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1768 | 0 | 26.04 | 0 |  | 26.04
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 1789 | 0 | 28.43 |  | -28.43
11 | 400 kV | ZERDA-KANKROLI | 1 | 355 | 0 | 5.31 | 0 |  | 5.31
12 | 400 kV | ZERDA -BHINMAL | 1 | 355 | 0 | 5.3 | 0 |  | 5.3
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 964 | 0 | 21.63 | 0 |  | 21.63
14 | 400 kV | RAPP-SHUJALPUR | 2 | 584 | 207 | 5.79 | 0.69 |  | 5.1
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 137 | 0 | 2.42 |  | -2.42
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 0.99 |  | -0.99
17 | 220 kV | MEHGAON-AURAIYA | 1 | 96 | 0 | 1.45 | 0 |  | 1.45
18 | 220 kV | MALANPUR-AURAIYA | 1 | 62 | 0 | 0.65 | 0 |  | 0.65
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 81.74 | 167.6 |  | -85.86
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1011 | 0 | 18.1 |  | -18.1
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6024 | 0 | 123.13 |  | -123.13
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 0 | 1563 | 0 | 20.48 |  | -20.48
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2589 | 0 | 47.81 |  | -47.81
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2878 | 0 | 54.45 |  | -54.45
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1224 | 0 | 16.57 | 0 |  | 16.57
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 120 | 2.28 | 0 |  | 2.28
WR-SR | [5 empty] | 18.85 | 263.97 |  | -245.12
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -220.335 | 142.509 | -94.77 |  | -2.2745
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -296.352 | 139.38 | -146.88 |  | -3.525
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -360.344 | -147.144 | -245.42 |  | -5.89
|  | NER | 132kV GELEPHU-SALAKATI |  | -30 | 0 | -16.25 |  | -0.39
|  | NER | 132kV MOTANGA-RANGIA |  | 26 | -2.49 | 20.417 |  | 0.49
|  | NR | NEPAL IMPORT (FROM UP) |  | -68 | 0 | -53 |  | -1.28
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -68 | 0 | -54 |  | -1.3
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -168.53 | -33.29 | -99.542 |  | -2.389
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -485 | -257 | -442.917 |  | -10.63
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -951 | -800 | -910.54 |  | -21.853
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1045 | -809 | -901.083 |  | -21.626
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -148 | 0 | -140.4167 |  | -3.37

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 21-Mar-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 11.43 | 0 | 0 | 1.11 |  | 0 | 0 |  | 12.54
Nepal | 0.2 |  | 0 | 11.48 | 0 | 0 | 0 |  | 0 | 0 |  | 11.68
Bangladesh | 21.86 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.86
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.06 |  | 0 | 22.91 | 0 | 0 | 1.11 |  | 0 | 0 |  | 46.08
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.33
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0.06 |  | 0 | 0 |  | 0.06
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.33 |  | 0 | 0 | 0 | 0 | 0.06 |  | 0 | 0 |  | 0.39
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.33 |  | 0 | -11.43 | 0 | 0 | -1.11 |  | 0 | 0 |  | -12.21
Nepal | -0.2 |  | 0 | -11.48 | 0 | 0 | 0.06 |  | 0 | 0 |  | -11.62
Bangladesh | -21.86 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.86
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -21.73 |  | 0 | -22.91 | 0 | 0 | -1.05 |  | 0 | 0 |  | -45.69