## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 21-Jul-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 73774 | 54831 | 44320 | 26378 | 3367 | 202670
Peak Shortage (MW) |  | 1533 | 0 | 0 | 732 | 32 | 2297
Energy Met (MU) |  | 1659 | 1281.9 | 1023.97 | 609.33 | 69.15 | 4643.35
Hydro Gen (MU) |  | 380.11 | 46.15 | 78.9 | 136.53 | 31.86 | 673.55
Wind Gen (MU) |  | 4.25 | 143.83 | 294.9 | - | - | 442.98
Solar Gen (MU)* |  | 117.65 | 40.67 | 80.83 | 5.01 | 1.08 | 245.24
Energy Shortage (MU) |  | 7.48 | 0 | 0 | 3.99 | 0.58 | 12.05
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 75076 | 57127 | 47876 | 28962 | 3376 | 205282
Time Of Maximum Demand Met |  | 23:38 | 19:42 | 09:44 | 23:16 | 20:09 | 19:55
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.026 | 0 | 0 | 2.89 | 2.89 | 79.99 | 17.12
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 13908 | 0 | 300.79 | 161.95 | -0.22 | 353 | 0
| Haryana | 10934 | 265 | 235.61 | 176.06 | -0.24 | 274 | 0.45
| Rajasthan | 13286 | 0 | 283.59 | 111.54 | -0.29 | 585 | 3.45
| Delhi | 7018 | 0 | 140.59 | 130.67 | -2.05 | 126 | 0
NR | UP | 27105 | 0 | 557.4 | 270.45 | -1.25 | 302 | 1.97
| Uttarakhand | 2200 | 0 | 46.36 | 27.12 | 0.42 | 201 | 1.4
| HP | 1648 | 0 | 33.3 | 1.36 | 0.68 | 176 | 0.11
| J&K(UT) & Ladakh(UT) | 2516 | 0 | 50.83 | 26.37 | -1.76 | 171 | 0.1
| Chandigarh | 380 | 0 | 7.49 | 7.18 | 0.31 | 41 | 0
| Railways_NR ISTS | 152 | 0 | 3.11 | 3.44 | -0.33 | 8 | 0
| Chhattisgarh | 4896 | 0 | 108.2 | 59 | -1.2 | 367 | 0
| Gujarat | 16767 | 0 | 364.8 | 169.5 | -8.2 | 828 | 0
| MP | 11617 | 0 | 253.5 | 153 | -2.8 | 459 | 0
WR | Maharashtra | 22246 | 0 | 482.3 | 160.7 | -3.4 | 710 | 0
| Goa | 587 | 0 | 11.9 | 11.7 | -0.2 | 103 | 0
| DNHDDPDCL | 1297 | 0 | 30.1 | 30 | 0.1 | 92 | 0
| AMNSIL | 888 | 0 | 18.7 | 10.3 | -0.1 | 236 | 0
| BALCO | 520 | 0 | 12.4 | 12.5 | -0.1 | 3 | 0
| Andhra Pradesh | 9013 | 0 | 191.28 | 22.14 | -1.72 | 709 | 0
| Telangana | 8984 | 0 | 175.24 | 64.05 | -1.52 | 451 | 0
SR | Karnataka | 10512 | 0 | 195.93 | 24.25 | -2.35 | 511 | 0
| Kerala | 3961 | 0 | 87.96 | 55.54 | 1.72 | 282 | 0
| Tamil Nadu | 17070 | 0 | 363.52 | 145.05 | -5.69 | 449 | 0
| Puducherry | 452 | 0 | 10.04 | 9.12 | 0.18 | 48 | 0
| Bihar | 6988 | 414 | 153.39 | 142.23 | 0.25 | 253 | 3.99
| DVC | 3404 | 0 | 76.87 | -37.86 | -0.02 | 513 | 0
| Jharkhand | 1760 | 0 | 36.01 | 35.52 | -0.84 | 159 | 0
ER | Odisha | 6505 | 0 | 113.29 | 35.92 | -1.14 | 498 | 0
| West Bengal | 10289 | 0 | 228.23 | 108.96 | -0.27 | 330 | 0
| Sikkim | 89 | 0 | 1.33 | 1.16 | 0.17 | 37 | 0
| Railways_ER ISTS | 21 | 0 | 0.21 | 0.35 | -0.14 | 0 | 0
| Arunachal Pradesh | 158 | 0 | 2.71 | 2.36 | 0.04 | 57 | 0
| Assam | 2304 | 0 | 47.14 | 39.77 | 0.18 | 339 | 0
| Manipur | 173 | 0 | 2.64 | 2.69 | -0.05 | 21 | 0
NER | Meghalaya | 342 | 0 | 5.81 | 0.39 | 0 | 42 | 0.58
| Mizoram | 109 | 0 | 1.87 | 1.67 | -0.2 | 12 | 0
| Nagaland | 164 | 0 | 2.76 | 2.64 | -0.1 | 16 | 0
| Tripura | 325 | 0 | 6.22 | 5.76 | 0.06 | 60 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 42.77 | 5.7 | -24.902 | -17.07
Day Peak (MW) |  | 1996 | 246 | -1063 | -744
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 358.05 | -272.15 | -24.3 | -59.6 | -2.02 | -0.02
Actual(MU) |  | 350.66 | -267.78 | -31.436 | -55.06 | -0.36 | -3.976
O/D/U/D(MU) |  | -7.39 | 4.37 | -7.136 | 4.54 | 1.66 | -3.956
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3187.09 | 10183.85 | 7818 | 3680 | 271 | 25139.94 | 43.8168
State Sector |  | 6394.5 | 14605.5 | 7443 | 3580 | 212.2 | 32235.2 | 56.1832
Total |  | 9581.59 | 24789.35 | 15261 | 7260 | 483.2 | 57375.14 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 799.71 | 1365.07 | 547.01 | 591.11 | 15.77 | 3318.67 | 66.1906
Lignite |  | 28.13 | 11.46 | 53.61 | 0 | 0 | 93.2 | 1.8589
Hydro |  | 380.11 | 46.15 | 78.9 | 136.53 | 31.86 | 673.55 | 13.4339
Nuclear |  | 28.77 | 51.57 | 46.34 | 0 | 0 | 126.68 | 2.5266
Gas, Naptha & Diesel |  | 32.71 | 21.5 | 6.6 | 0 | 28.65 | 89.46 | 1.7843
RES (Wind, Solar, Biomass & Others) |  | 128.54 | 185.56 | 390.25 | 6.82 | 1.08 | 712.25 | 14.2058
Total |  | 1397.97 | 1681.31 | 1122.71 | 734.46 | 77.36 | 5013.81 | 100
Share of RES in total generation (%) |  | 9.1948 | 11.0366 | 34.7596 | 0.92857 | 1.3961 | 14.2058
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 38.4429 | 16.8488 | 45.9148 | 19.5177 | 42.5801 | 30.1663
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.034 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.074 |  | Solar hr | 203181 |  | 11:56 | 20
|  |  |  | Non-Solar hr | 205282 |  | 19:55 | 1525
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 21-Jul-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 1000 | 0 | 23.95 |  | -23.95
2 | HVDC | PUSAULI B/B | - | 0 | 107 | 0 | 2.75 |  | -2.75
3 | 765 kV | GAYA-VARANASI | 2 | 279 | 388 | 0 | 0.49 |  | -0.49
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 250 | 0 | 2.57 |  | -2.57
5 | 765 kV | GAYA-BALIA | 1 | 0 | 686 | 0 | 11.25 |  | -11.25
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 104 | 0 | 1.75 |  | -1.75
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 77 | 0 | 0.84 |  | -0.84
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 686 | 0 | 11.62 |  | -11.62
9 | 400 kV | PATNA-BALIA | 2 | 0 | 392 | 0 | 7.467 |  | -7.467
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 388 | 0 | 7.11 |  | -7.11
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 35 | 188 | 0 | 2.32 |  | -2.32
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 446 | 0 | 8.19 |  | -8.19
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 161 | 185 | 0 | 0.4 |  | -0.4
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 9 | 118 | 0 | 1.75 |  | -1.75
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.81 | 0 |  | 0.81
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 12 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.81 | 82.457 |  | -81.647
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1785 | 0 | 23.13 | 0 |  | 23.13
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1650 | 0 | 27.83 | 0 |  | 27.83
3 | 765 kV | JHARSUGUDA-DURG | 2 | 356 | 103 | 3.29 | 0 |  | 3.29
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 122 | 302 | 0 | 2.11 |  | -2.11
5 | 400 kV | RANCHI-SIPAT | 2 | 373 | 0 | 5.62 | 0 |  | 5.62
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 149 | 0 | 2.86 |  | -2.86
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 80 | 15 | 0.53 | 0 |  | 0.53
ER-WR | [5 empty] | 60.4 | 4.97 |  | 55.43
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 193 | 0 | 4.9 | 0 |  | 4.9
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1637 | 0 | 29.67 |  | -29.67
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2019 | 0 | 26.99 |  | -26.99
4 | 400 kV | TALCHER-I/C | 2 | 489 | 344 | 2.39 | 0 |  | 2.39
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 4.9 | 56.66 |  | -51.76
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 360 | 0 | 5.15 |  | -5.15
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 70 | 379 | 0 | 3.63 |  | -3.63
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 0 | 91 | 0 | 1.28 |  | -1.28
ER-NER | [5 empty] | 0 | 10.06 |  | -10.06
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 503 | 0 | 12.11 |  | -12.11
NER-NR | [5 empty] | 0 | 12.11 |  | -12.11
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5041 | 0 | 79.82 |  | -79.82
2 | HVDC | VINDHYACHAL B/B | - | 435 | 0 | 0 | 2.59 |  | -2.59
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 260 | 0 | 5.92 | 0 |  | 5.92
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2415 | 0 | 38.31 |  | -38.31
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1606 | 0 | 27.38 |  | -27.38
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1251 | 0 | 41.7 |  | -41.7
7 | 765 kV | GWALIOR-ORAI | 1 | 639 | 0 | 12.93 | 0 |  | 12.93
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1087 | 0 | 21.82 |  | -21.82
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 674 | 1474 | 2.52 | 13.03 |  | -10.51
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3621 | 0 | 67.52 |  | -67.52
11 | 400 kV | ZERDA-KANKROLI | 1 | 146 | 268 | 0.51 | 2.35 |  | -1.84
12 | 400 kV | ZERDA -BHINMAL | 1 | 302 | 392 | 1.39 | 3.03 |  | -1.64
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 957 | 0 | 21.86 | 0 |  | 21.86
14 | 400 kV | RAPP-SHUJALPUR | 2 | 49 | 714 | 0.02 | 8.36 |  | -8.34
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.49 |  | -2.49
17 | 220 kV | MEHGAON-AURAIYA | 1 | 115 | 0 | 1.78 | 0 |  | 1.78
18 | 220 kV | MALANPUR-AURAIYA | 1 | 86 | 0 | 1.11 | 0 |  | 1.11
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 48.04 | 308.4 |  | -260.36
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 997 | 0 | 21.68 | 0 |  | 21.68
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 2003 | 0 | 17.18 |  | -17.18
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2316 | 478 | 24.78 | 0.32 |  | 24.46
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 445 | 1692 | 1.12 | 12.42 |  | -11.3
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1684 | 0 | 29.85 | 0 |  | 29.85
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 101 | 1.81 | 0 |  | 1.81
WR-SR | [5 empty] | 79.24 | 29.92 |  | 49.32
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 712.446 | 557.224 | 575.86 |  | 13.8207
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1029.786 | 0 | 980.58 |  | 23.534
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 187.469 | 71.411 | 149.54 |  | 3.589
|  | NER | 132kV GELEPHU-SALAKATI |  | 26 | 19 | 21.25 |  | 0.51
|  | NER | 132kV MOTANGA-RANGIA |  | 69 | 25 | 55 |  | 1.32
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -75 | 0 | -34 |  | -0.82
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 321 | 120 | 271.667 |  | 6.52
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -921 | -798 | -905.5 |  | -21.732
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -744 | -681 | -711.25 |  | -17.07
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -142 | 0 | -132.0833 |  | -3.17

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 21-Jul-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.11 |  | 0 | 0.4 | 0 | 0 | 0 |  | 0 | 0 |  | 0.51
Bangladesh | 21.77 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.77
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 21.88 |  | 0 | 0.4 | 0 | 0 | 0 |  | 0 | 0 |  | 22.28
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 41.25 |  | 1.83 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 43.08
Nepal | 0 |  | 0 | 7.56 | 0 | 0 | 0 |  | 0 | 0 |  | 7.56
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 41.25 |  | 1.83 | 7.56 | 0 | 0 | 0 |  | 0 | 0 |  | 50.64
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 41.25 |  | 1.83 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 43.08
Nepal | -0.11 |  | 0 | 7.16 | 0 | 0 | 0 |  | 0 | 0 |  | 7.05
Bangladesh | -21.77 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.77
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 19.37 |  | 1.83 | 7.16 | 0 | 0 | 0 |  | 0 | 0 |  | 28.36