## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 23-Sep-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 70888 | 55353 | 45890 | 22997 | 2905 | 198033
Peak Shortage (MW) |  | 0 | 0 | 0 | 89 | 310 | 399
Energy Met (MU) |  | 1555 | 1284.9 | 1146.77 | 510.47 | 58.61 | 4555.75
Hydro Gen (MU) |  | 291.64 | 93.23 | 73.1 | 121 | 32.5 | 611.47
Wind Gen (MU) |  | 15.13 | 69.79 | 64.08 | - | - | 149
Solar Gen (MU)* |  | 130.74 | 46.83 | 97.85 | 4.06 | 0.89 | 280.37
Energy Shortage (MU) |  | 0.83 | 0 | 0 | 0.21 | 1.47 | 2.51
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 71545 | 59310 | 54545 | 24290 | 3177 | 202024
Time Of Maximum Demand Met |  | 22:16 | 18:59 | 11:43 | 18:56 | 17:57 | 19:18
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.02 | 0 | 0 | 1.06 | 1.06 | 83.08 | 15.85
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 12394 | 0 | 264.06 | 153.26 | -0.49 | 268 | 0
| Haryana | 10685 | 0 | 229.61 | 161.17 | -0.19 | 154 | 0
| Rajasthan | 12906 | 0 | 287.33 | 89.36 | -3.51 | 249 | 0
| Delhi | 6475 | 0 | 135.99 | 123.57 | -1.24 | 197 | 0
NR | UP | 25039 | 0 | 497.8 | 220.75 | -1.85 | 605 | 0
| Uttarakhand | 2134 | 0 | 47.41 | 24.82 | 0.17 | 215 | 0
| HP | 1724 | 0 | 35.22 | 8.89 | 0.4 | 125 | 0.36
| J&K(UT) & Ladakh(UT) | 2490 | 0 | 48.02 | 24.24 | 1.93 | 286 | 0.47
| Chandigarh | 341 | 0 | 6.49 | 6.75 | -0.26 | 26 | 0
| Railways_NR ISTS | 157 | 0 | 3.29 | 3.38 | -0.09 | 39 | 0
| Chhattisgarh | 4254 | 0 | 93.6 | 41.1 | -1.7 | 342 | 0
| Gujarat | 17743 | 0 | 364.9 | 164.8 | 0 | 709 | 0
| MP | 11593 | 0 | 245.5 | 127.1 | -3.4 | 438 | 0
WR | Maharashtra | 24216 | 0 | 507.3 | 216.6 | -1.2 | 691 | 0
| Goa | 621 | 0 | 13.3 | 12.5 | 0.2 | 37 | 0
| DNHDDPDCL | 1292 | 0 | 30.2 | 30.3 | -0.1 | 45 | 0
| AMNSIL | 826 | 0 | 17.6 | 7.2 | 0.3 | 335 | 0
| BALCO | 524 | 0 | 12.5 | 12.5 | 0 | 9 | 0
| Andhra Pradesh | 10207 | 0 | 218.25 | 124.93 | -1.98 | 666 | 0
| Telangana | 11326 | 0 | 228.5 | 115.41 | -0.61 | 662 | 0
SR | Karnataka | 14624 | 0 | 262.33 | 96.83 | 0.8 | 1063 | 0
| Kerala | 3859 | 0 | 80.9 | 66.46 | 0.64 | 298 | 0
| Tamil Nadu | 16253 | 0 | 346.39 | 180.78 | -3.28 | 424 | 0
| Puducherry | 455 | 0 | 10.4 | 9.59 | 0.09 | 74 | 0
| Bihar | 5714 | 0 | 108.71 | 106.36 | -2.18 | 284 | 0.12
| DVC | 3565 | 0 | 73.9 | -36.74 | 0.41 | 340 | 0
| Jharkhand | 1533 | 0 | 29.36 | 26.92 | -2.92 | 157 | 0.09
ER | Odisha | 5033 | 0 | 116.34 | 40.25 | -1.93 | 274 | 0
| West Bengal | 8217 | 0 | 180.7 | 50.28 | -2.38 | 164 | 0
| Sikkim | 84 | 0 | 1.31 | 1.39 | -0.08 | 7 | 0
| Railways_ER ISTS | 18 | 0 | 0.15 | 0.13 | 0.02 | 0 | 0
| Arunachal Pradesh | 163 | 0 | 2.8 | 2.68 | -0.25 | 33 | 0
| Assam | 2003 | 0 | 38.08 | 31.04 | 1.2 | 238 | 1.25
| Manipur | 185 | 0 | 2.52 | 2.71 | -0.19 | 24 | 0
NER | Meghalaya | 310 | 0 | 5.62 | 0.88 | 0 | 130 | 0.22
| Mizoram | 120 | 0 | 1.68 | 1.53 | -0.41 | 6 | 0
| Nagaland | 175 | 0 | 2.73 | 2.49 | -0.19 | 23 | 0
| Tripura | 288 | 0 | 5.18 | 4.9 | -0.23 | 31 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 34.82 | 12.52 | -24.727 | -24.4
Day Peak (MW) |  | 1708 | 590 | -1080 | -1647
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 343.05 | -290.7 | 172.87 | -218.15 | -7.07 | 0
Actual(MU) |  | 329.3 | -314.78 | 215.641 | -229.8 | -6.36 | -5.999
O/D/U/D(MU) |  | -13.75 | -24.08 | 42.771 | -11.65 | 0.71 | -5.999
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3808.55 | 9263.85 | 4668 | 0 | 504.5 | 18244.9 | 39.3805
State Sector |  | 5645.5 | 13569 | 5652 | 2990 | 228.4 | 28084.9 | 60.6195
Total |  | 9454.05 | 22832.85 | 10320 | 2990 | 732.9 | 46329.8 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 783.87 | 1377.57 | 636.85 | 684.75 | 13.1 | 3496.14 | 71.0178
Lignite |  | 26.46 | 13.02 | 32.1 | 0 | 0 | 71.58 | 1.454
Hydro |  | 291.64 | 93.23 | 73.1 | 121 | 32.5 | 611.47 | 12.4209
Nuclear |  | 29.41 | 53.47 | 76.04 | 0 | 0 | 158.92 | 3.2282
Gas, Naptha & Diesel |  | 30.12 | 54.94 | 6.2 | 0 | 25.55 | 116.81 | 2.3728
RES (Wind, Solar, Biomass & Others) |  | 152.68 | 118.09 | 190.7 | 5.63 | 0.89 | 467.99 | 9.5064
Total |  | 1314.18 | 1710.32 | 1014.99 | 811.38 | 72.04 | 4922.91 | 100
Share of RES in total generation (%) |  | 11.6179 | 6.9046 | 18.7884 | 0.69388 | 1.2354 | 9.5064
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 36.0476 | 15.4819 | 33.4821 | 15.6067 | 46.3493 | 25.1554
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.053 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.086 |  | Solar hr | 201506 |  | 11:38 | 71
|  |  |  | Non-Solar hr | 202024 |  | 19:18 | 282
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 23-Sep-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 1004 | 0 | 24.58 |  | -24.58
2 | HVDC | PUSAULI B/B | - | 0 | 147 | 0 | 3.88 |  | -3.88
3 | 765 kV | GAYA-VARANASI | 2 | 163 | 862 | 0 | 12.86 |  | -12.86
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 526 | 0 | 9.22 |  | -9.22
5 | 765 kV | GAYA-BALIA | 1 | 0 | 711 | 0 | 11.01 |  | -11.01
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 114 | 0 | 1.48 |  | -1.48
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 145 | 0 | 2.31 |  | -2.31
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 1130 | 0 | 18.58 |  | -18.58
9 | 400 kV | PATNA-BALIA | 2 | 0 | 731 | 0 | 12.97 |  | -12.97
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 779 | 0 | 13.35 |  | -13.35
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 447 | 0 | 6.88 |  | -6.88
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 635 | 0 | 10.66 |  | -10.66
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 70 | 414 | 0 | 5.69 |  | -5.69
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 131 | 0 | 2.24 |  | -2.24
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.47 | 0 |  | 0.47
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.47 | 135.71 |  | -135.24
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 758 | 338 | 3.94 | 0 |  | 3.94
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 729 | 806 | 1.57 | 0 |  | 1.57
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 878 | 0 | 14.21 |  | -14.21
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 141 | 401 | 0 | 4.31 |  | -4.31
5 | 400 kV | RANCHI-SIPAT | 2 | 135 | 234 | 0.12 | 0 |  | 0.12
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 142 | 0 | 1.95 |  | -1.95
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 101 | 0 | 0.85 | 0 |  | 0.85
ER-WR | [5 empty] | 6.48 | 20.47 |  | -13.99
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 346 | 0 | 7.5 |  | -7.5
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1991 | 0 | 46.72 |  | -46.72
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2898 | 0 | 52.72 |  | -52.72
4 | 400 kV | TALCHER-I/C | 2 | 0 | 961 | 0 | 13.85 |  | -13.85
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 106.94 |  | -106.94
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 394 | 0 | 5.1 |  | -5.1
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 200 | 395 | 0 | 2.49 |  | -2.49
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 10 | 109 | 0 | 1.15 |  | -1.15
ER-NER | [5 empty] | 0 | 8.74 |  | -8.74
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 703 | 0 | 16.78 |  | -16.78
NER-NR | [5 empty] | 0 | 16.78 |  | -16.78
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 2513 | 0 | 57.8 |  | -57.8
2 | HVDC | VINDHYACHAL B/B | - | 270 | 0 | 7.27 | 0 |  | 7.27
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 979 | 0 | 24.21 |  | -24.21
4 | 765 kV | GWALIOR-AGRA | 2 | 36 | 2121 | 0 | 27.42 |  | -27.42
5 | 765 kV | GWALIOR-PHAGI | 2 | 325 | 1666 | 0.64 | 22.89 |  | -22.25
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1166 | 0 | 32 |  | -32
7 | 765 kV | GWALIOR-ORAI | 1 | 651 | 0 | 11.29 | 0 |  | 11.29
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1104 | 0 | 21.19 |  | -21.19
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 994 | 645 | 3.44 | 0 |  | 3.44
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2488 | 0 | 40.88 |  | -40.88
11 | 400 kV | ZERDA-KANKROLI | 1 | 204 | 121 | 1.52 | 0.77 |  | 0.75
12 | 400 kV | ZERDA -BHINMAL | 1 | 569 | 244 | 2.24 | 0 |  | 2.24
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 955 | 0 | 21.83 | 0 |  | 21.83
14 | 400 kV | RAPP-SHUJALPUR | 2 | 359 | 609 | 0 | 4.17 |  | -4.17
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 112 | 0 | 1.65 |  | -1.65
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.44 |  | -2.44
17 | 220 kV | MEHGAON-AURAIYA | 1 | 122 | 0 | 1.8 | 0 |  | 1.8
18 | 220 kV | MALANPUR-AURAIYA | 1 | 96 | 0 | 1.12 | 0 |  | 1.12
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 51.15 | 235.42 |  | -184.27
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1004 | 0 | 14.12 |  | -14.12
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6030 | 0 | 94.62 |  | -94.62
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 553 | 1591 | 0.59 | 13.33 |  | -12.74
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3157 | 0 | 47 |  | -47
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1364 | 0 | 22.45 | 0 |  | 22.45
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 116 | 2.15 | 0 |  | 2.15
WR-SR | [5 empty] | 25.19 | 169.07 |  | -143.88
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 544.89 | 355.572 | 424.18 |  | 10.1803
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1010.841 | 820.039 | 898.67 |  | 21.568
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 75.835 | 25.992 | 59.58 |  | 1.43
|  | NER | 132kV GELEPHU-SALAKATI |  | 29 | 1 | 18.333 |  | 0.44
|  | NER | 132kV MOTANGA-RANGIA |  | 69 | 37 | 50 |  | 1.2
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 0.62
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 590 | 480 | 495.833 |  | 11.9
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -927 | -794 | -899.46 |  | -21.587
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1647 | -941 | -1016.667 |  | -24.4
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | 153 | 0 | -130.8333 |  | -3.14

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 23-Sep-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.37 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.37
Bangladesh | 21.64 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.64
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.01 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.01
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 32.02 |  | 2.34 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 34.36
Nepal | 0 |  | 2.63 | 8.51 | 0 | 0 | 0 |  | 0 | 0 |  | 11.14
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 32.02 |  | 4.97 | 8.51 | 0 | 0 | 0 |  | 0 | 0 |  | 45.5
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 32.02 |  | 2.34 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 34.36
Nepal | -0.37 |  | 2.63 | 8.51 | 0 | 0 | 0 |  | 0 | 0 |  | 10.77
Bangladesh | -21.64 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.64
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 10.01 |  | 4.97 | 8.51 | 0 | 0 | 0 |  | 0 | 0 |  | 23.49