## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 23-Nov-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 49408 | 59795 | 46949 | 19977 | 2611 | 178740
Peak Shortage (MW) |  | 213 | 0 | 0 | 367 | 27 | 607
Energy Met (MU) |  | 1092 | 1465.9 | 1076.76 | 418.17 | 47.45 | 4100.28
Hydro Gen (MU) |  | 116.01 | 42.41 | 49.4 | 22.86 | 13.75 | 244.43
Wind Gen (MU) |  | 2.84 | 35.45 | 28.32 | - | - | 66.61
Solar Gen (MU)* |  | 103.97 | 56.77 | 79.32 | 2.55 | 0.98 | 243.59
Energy Shortage (MU) |  | 0.77 | 0 | 0 | 2.189 | 0.07 | 3.029
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 54629 | 71616 | 50790 | 21444 | 2684 | 196989
Time Of Maximum Demand Met |  | 10:13 | 10:24 | 09:26 | 17:36 | 17:19 | 10:22
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.065 | 0.29 | 2.12 | 8.63 | 11.04 | 72.83 | 16.13
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 7193 | 0 | 139.63 | 43.56 | -0.79 | 127 | 0
| Haryana | 7385 | 0 | 139.36 | 97.83 | -0.4 | 189 | 0
| Rajasthan | 15965 | 0 | 301.24 | 113.23 | -3.57 | 147 | 0
| Delhi | 3724 | 0 | 71.12 | 59.55 | 2.19 | 307 | 0
NR | UP | 17015 | 0 | 308.58 | 98.38 | -2.3 | 989 | 0
| Uttarakhand | 2109 | 0 | 39.42 | 29.91 | 0.38 | 161 | 0
| HP | 1966 | 0 | 34.51 | 26.88 | -0.26 | 71 | 0.06
| J&K(UT) & Ladakh(UT) | 2427 | 330 | 50.99 | 44.05 | 1.57 | 497 | 0.71
| Chandigarh | 203 | 0 | 3.56 | 3.29 | 0.27 | 44 | 0
| Railways_NR ISTS | 190 | 0 | 3.67 | 3.69 | -0.02 | 22 | 0
| Chhattisgarh | 4289 | 0 | 89.6 | 32 | -0.8 | 239 | 0
| Gujarat | 19962 | 0 | 391 | 175.9 | -2 | 805 | 0
| MP | 17013 | 0 | 333.8 | 201.2 | -3.1 | 748 | 0
WR | Maharashtra | 27451 | 0 | 578 | 214.9 | 0.3 | 1169 | 0
| Goa | 733 | 0 | 14.7 | 13.3 | 0.8 | 112 | 0
| DNHDDPDCL | 1227 | 0 | 27.9 | 28 | -0.1 | 34 | 0
| AMNSIL | 843 | 0 | 18.4 | 8.8 | 0.2 | 275 | 0
| BALCO | 524 | 0 | 12.5 | 12.4 | 0.1 | 82 | 0
| Andhra Pradesh | 10197 | 0 | 207.22 | 99.57 | 0.39 | 688 | 0
| Telangana | 10205 | 0 | 213.26 | 103.12 | 0.14 | 597 | 0
SR | Karnataka | 14002 | 0 | 259.96 | 117.41 | 1.82 | 939 | 0
| Kerala | 3975 | 0 | 82.18 | 68.88 | 0.45 | 303 | 0
| Tamil Nadu | 15019 | 0 | 305.02 | 180.77 | -1.5 | 1099 | 0
| Puducherry | 414 | 0 | 9.12 | 8.87 | -0.38 | 22 | 0
| Bihar | 4510 | 0 | 84.75 | 72.69 | 0.62 | 530 | 0.426
| DVC | 3427 | 0 | 71.47 | -44.02 | 0.86 | 374 | 0
| Jharkhand | 1644 | 207 | 30.05 | 22.29 | -1.21 | 246 | 1.763
ER | Odisha | 4587 | 0 | 93.91 | 33.78 | -0.98 | 382 | 0
| West Bengal | 7043 | 0 | 136.31 | 7.92 | -3.22 | 166 | 0
| Sikkim | 95 | 0 | 1.49 | 1.52 | -0.03 | 33 | 0
| Railways_ER ISTS | 8 | 0 | 0.19 | 0.13 | 0.06 | 5 | 0
| Arunachal Pradesh | 158 | 0 | 2.66 | 2.35 | 0.15 | 35 | 0
| Assam | 1631 | 0 | 27.49 | 21.8 | -0.6 | 97 | 0
| Manipur | 182 | 0 | 2.64 | 2.49 | 0.15 | 32 | 0
NER | Meghalaya | 331 | 0 | 6.31 | 4.15 | -0.05 | 56 | 0.07
| Mizoram | 137 | 0 | 1.98 | 1.71 | -0.17 | 12 | 0
| Nagaland | 141 | 0 | 2.24 | 2.19 | -0.12 | 10 | 0
| Tripura | 234 | 0 | 4.13 | 3.74 | -0.2 | 5 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -3.63 | 8.41 | -22.989 | -20.032
Day Peak (MW) |  | -225.66 | 434.376 | -1071 | -924.9
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 182.1 | -154.87 | 174.34 | -200.42 | -1.15 | 0
Actual(MU) |  | 171.59 | -135.45 | 191.311 | -222.52 | -1.69 | 3.241
O/D/U/D(MU) |  | -10.51 | 19.42 | 16.971 | -22.1 | -0.54 | 3.241
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 5963.04 | 11873.85 | 5428 | 3266 | 154.5 | 26685.39 | 45.1107
State Sector |  | 9760.5 | 10938.5 | 8509 | 3057 | 145 | 32410 | 54.8893
Total |  | 15723.54 | 22812.35 | 13937 | 6323 | 299.5 | 59095.39 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 691.17 | 1527.54 | 650.13 | 680.66 | 14.17 | 3563.67 | 79.734
Lignite |  | 28.34 | 12.52 | 47.52 | 0 | 0 | 88.38 | 1.9774
Hydro |  | 116.01 | 42.41 | 49.4 | 22.86 | 13.75 | 244.43 | 5.4689
Nuclear |  | 20.57 | 52.91 | 75.95 | 0 | 0 | 149.43 | 3.3434
Gas, Naptha & Diesel |  | 13.89 | 16.8 | 3.8 | 0 | 26.7 | 61.19 | 1.3691
RES (Wind, Solar, Biomass & Others) |  | 124.95 | 94.1 | 138.36 | 3.94 | 1 | 362.35 | 8.1073
Total |  | 994.93 | 1746.28 | 965.16 | 707.46 | 55.62 | 4469.45 | 100
Share of RES in total generation (%) |  | 12.5587 | 5.3886 | 14.3354 | 0.55692 | 1.7979 | 8.1073
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 26.2863 | 10.8471 | 27.3229 | 3.7882 | 26.5192 | 16.9195
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.021 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.056 |  | Solar hr | 196989 |  | 10:22 | 0
|  |  |  | Non-Solar hr | 189571 |  | 18:26 | 331
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 23-Nov-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 49 | 0 | 1.27 |  | -1.27
3 | 765 kV | GAYA-VARANASI | 2 | 0 | 1285 | 0 | 24.84 |  | -24.84
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 743 | 0 | 15.28 |  | -15.28
5 | 765 kV | GAYA-BALIA | 1 | 0 | 587 | 0 | 10.32 |  | -10.32
6 | 400 kV | PUSAULI-VARANASI | 1 | 29 | 23 | 0.05 | 0 |  | 0.05
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 74 | 0 | 1.14 |  | -1.14
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 842 | 0 | 15.27 |  | -15.27
9 | 400 kV | PATNA-BALIA | 2 | 0 | 570 | 0 | 5.5 |  | -5.5
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 820 | 0 | 15.44 |  | -15.44
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 352 | 0 | 6.36 |  | -6.36
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 561 | 0 | 11.02 |  | -11.02
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 0 | 495 | 0 | 9.53 |  | -9.53
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 155 | 0 | 2.71 |  | -2.71
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.37 | 0 |  | 0.37
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 129 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 131 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.42 | 118.68 |  | -118.26
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 527 | 425 | 0 | 1.44 |  | -1.44
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 0 | 1547 | 0 | 25.4 |  | -25.4
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 1263 | 0 | 17.15 |  | -17.15
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 464 | 0 | 6.11 |  | -6.11
5 | 400 kV | RANCHI-SIPAT | 2 | 0 | 496 | 0 | 7.49 |  | -7.49
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 19 | 122 | 0 | 1.1 |  | -1.1
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 146 | 42 | 1.4 | 0 |  | 1.4
ER-WR | [5 empty] | 1.4 | 58.69 |  | -57.29
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 564 | 0 | 12.33 |  | -12.33
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1992 | 0 | 87.89 |  | -87.89
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2874 | 0 | 52.35 |  | -52.35
4 | 400 kV | TALCHER-I/C | 2 | 259 | 215 | 0.649 | 0 |  | 0.649
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 5 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 152.57 |  | -152.57
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 316 | 51 | 2.89 | 0.02 |  | 2.87
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 966 | 33 | 10.39 | 0 |  | 10.39
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 173 | 0 | 2.2 | 0 |  | 2.2
ER-NER | [5 empty] | 15.48 | 0.02 |  | 15.46
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 655 | 0 | 14.07 | 0 |  | 14.07
NER-NR | [5 empty] | 14.07 | 0 |  | 14.07
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 830 | 0 | 19.84 |  | -19.84
2 | HVDC | VINDHYACHAL B/B | - | 432 | 0 | 11.93 | 0 |  | 11.93
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 1171 | 0 | 24.6 |  | -24.6
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 1453 | 0 | 16.65 |  | -16.65
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1946 | 0 | 31.43 |  | -31.43
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 509 | 0 | 15.68 |  | -15.68
7 | 765 kV | GWALIOR-ORAI | 1 | 958 | 0 | 8.2 | 0 |  | 8.2
8 | 765 kV | SATNA-ORAI | 1 | 0 | 987 | 0 | 20.16 |  | -20.16
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2173 | 0 | 26.49 | 0 |  | 26.49
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 1325 | 0 | 18.17 |  | -18.17
11 | 400 kV | ZERDA-KANKROLI | 1 | 298 | 0 | 3.56 | 0 |  | 3.56
12 | 400 kV | ZERDA -BHINMAL | 1 | 545 | 149 | 2.38 | 0 |  | 2.38
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 959 | 0 | 21.86 | 0 |  | 21.86
14 | 400 kV | RAPP-SHUJALPUR | 2 | 471 | 220 | 2.53 | 0.99 |  | 1.54
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 155 | 0 | 2.61 |  | -2.61
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.52 |  | -1.52
17 | 220 kV | MEHGAON-AURAIYA | 1 | 144 | 0 | 1.79 | 0 |  | 1.79
18 | 220 kV | MALANPUR-AURAIYA | 1 | 109 | 0 | 1.12 | 0 |  | 1.12
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 79.86 | 151.65 |  | -71.79
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 492 | 0 | 11.92 |  | -11.92
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 4010 | 0 | 86.37 |  | -86.37
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 1099 | 1337 | 7.23 | 3.56 |  | 3.67
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2335 | 0 | 32.44 |  | -32.44
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2373 | 0 | 31.81 |  | -31.81
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 1668 | 0 | 25.81 | 0 |  | 25.81
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 120 | 2.26 | 0 |  | 2.26
WR-SR | [5 empty] | 35.3 | 166.1 |  | -130.8
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -82.628 | -12.184 | -45.64 |  | -1.0953
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 211.1 | 136.674 | 147.54 |  | 3.541
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -264.942 | -207.225 | -239.21 |  | -5.741
|  | NER | 132kV GELEPHU-SALAKATI |  | -38 | -11 | -23.333 |  | -0.56
|  | NER | 132kV MOTANGA-RANGIA |  | 16.34 | 0 | 9.583 |  | 0.23
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 1.71
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 360 | 156 | 279.167 |  | 6.7
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -933 | -648 | -844.13 |  | -20.259
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -924.9 | -799.21 | -834.667 |  | -20.032
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -138 | 0 | -113.75 |  | -2.73

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 23-Nov-2023
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 20.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.33
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 20.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.33
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.82 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.82
Nepal | 0 |  | 0 | 7.7 | 0 | 0 | 0.68 |  | 0 | 0 |  | 8.38
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.82 |  | 0 | 7.7 | 0 | 0 | 0.68 |  | 0 | 0 |  | 9.2
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.82 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.82
Nepal | 0 |  | 0 | 7.7 | 0 | 0 | 0.68 |  | 0 | 0 |  | 8.38
Bangladesh | -20.33 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.33
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -19.51 |  | 0 | 7.7 | 0 | 0 | 0.68 |  | 0 | 0 |  | -11.13