## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 25-Jul-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 74793 | 55077 | 42620 | 27674 | 3309 | 203473
Peak Shortage (MW) |  | 752 | 0 | 0 | 587 | 63 | 1402
Energy Met (MU) |  | 1702 | 1266.4 | 986.56 | 628.87 | 62.86 | 4646.69
Hydro Gen (MU) |  | 406.2 | 68.57 | 93.5 | 137.32 | 30.73 | 736.32
Wind Gen (MU) |  | 8.99 | 129.06 | 263.23 | - | - | 401.28
Solar Gen (MU)* |  | 111.11 | 43.84 | 66.47 | 2.55 | 0.91 | 224.88
Energy Shortage (MU) |  | 5.05 | 0 | 0 | 5.279 | 0.5 | 10.829
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 76426 | 57312 | 47918 | 29428 | 3385 | 205996
Time Of Maximum Demand Met |  | 14:53 | 19:49 | 09:24 | 23:41 | 18:52 | 14:54
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.031 | 0 | 0.38 | 2.63 | 3.01 | 79.25 | 17.74
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 13626 | 0 | 293.58 | 167.16 | -0.03 | 267 | 0
| Haryana | 12075 | 0 | 253.9 | 193.28 | -0.42 | 180 | 0
| Rajasthan | 13358 | 0 | 286.61 | 113.31 | -0.71 | 239 | 1.04
| Delhi | 7101 | 0 | 146.35 | 133.46 | -1.56 | 181 | 0
NR | UP | 27822 | 0 | 577.46 | 287.37 | 0.39 | 251 | 2.24
| Uttarakhand | 2232 | 0 | 47.88 | 24.71 | 0.3 | 167 | 0.64
| HP | 1617 | 0 | 33.59 | -1.43 | 1.18 | 141 | 0
| J&K(UT) & Ladakh(UT) | 2493 | 180 | 52.46 | 24.41 | 1.87 | 272 | 1.13
| Chandigarh | 363 | 0 | 7.09 | 7.39 | -0.3 | 35 | 0
| Railways_NR ISTS | 180 | 0 | 3.41 | 3.47 | -0.06 | 35 | 0
| Chhattisgarh | 4803 | 0 | 105.4 | 52.8 | -0.6 | 211 | 0
| Gujarat | 15830 | 0 | 352.6 | 157.2 | -3.5 | 814 | 0
| MP | 11684 | 0 | 256.2 | 140.2 | -1.9 | 337 | 0
WR | Maharashtra | 22002 | 0 | 478.5 | 164.6 | -3.4 | 592 | 0
| Goa | 566 | 0 | 11.7 | 11.9 | -0.6 | 52 | 0
| DNHDDPDCL | 1276 | 0 | 29.4 | 29.4 | 0 | 37 | 0
| AMNSIL | 924 | 0 | 20.2 | 10.7 | -0.2 | 269 | 0
| BALCO | 518 | 0 | 12.4 | 12.5 | -0.1 | 29 | 0
| Andhra Pradesh | 9013 | 0 | 190.02 | 35.56 | 3.3 | 870 | 0
| Telangana | 10227 | 0 | 200.71 | 86.63 | 0.94 | 595 | 0
SR | Karnataka | 9291 | 0 | 177.88 | 8.16 | -0.83 | 1196 | 0
| Kerala | 3353 | 0 | 70.67 | 49.14 | 0.78 | 281 | 0
| Tamil Nadu | 16108 | 0 | 337.91 | 131.75 | -5.13 | 594 | 0
| Puducherry | 407 | 0 | 9.37 | 9.13 | -0.48 | 18 | 0
| Bihar | 7115 | 599 | 154.1 | 146.53 | -0.71 | 297 | 3.878
| DVC | 3491 | 0 | 76.8 | -40.78 | -0.51 | 286 | 0
| Jharkhand | 1738 | 138 | 37.52 | 33.9 | 0 | 228 | 1.401
ER | Odisha | 6688 | 0 | 135.47 | 44.82 | -1 | 347 | 0
| West Bengal | 10328 | 0 | 223.58 | 105.03 | -1.21 | 351 | 0
| Sikkim | 91 | 0 | 1.26 | 1.24 | 0.02 | 37 | 0
| Railways_ER ISTS | 13 | 0 | 0.14 | 0.09 | 0.05 | 6 | 0
| Arunachal Pradesh | 148 | 0 | 2.72 | 2.36 | -0.1 | 43 | 0
| Assam | 2195 | 0 | 41.14 | 33.78 | -0.25 | 136 | 0
| Manipur | 198 | 0 | 2.59 | 2.61 | -0.02 | 24 | 0
NER | Meghalaya | 344 | 0 | 5.42 | 0.23 | -0.09 | 51 | 0.5
| Mizoram | 119 | 0 | 1.68 | 1.55 | -0.21 | 11 | 0
| Nagaland | 162 | 0 | 2.91 | 2.62 | 0.07 | 5 | 0
| Tripura | 345 | 0 | 6.4 | 5.96 | 0.49 | 51 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 41.2 | 5.399 | -25.273 | -17.91
Day Peak (MW) |  | 1964 | 281 | -1092 | -784.55
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 381.27 | -266.14 | -22.57 | -87.84 | -4.74 | -0.02
Actual(MU) |  | 378.94 | -267.56 | -35.92 | -82.3 | -3.53 | -10.37
O/D/U/D(MU) |  | -2.33 | -1.42 | -13.35 | 5.54 | 1.21 | -10.35
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3076.09 | 10745.6 | 6088 | 2360 | 326 | 22595.69 | 40.1033
State Sector |  | 6109.5 | 15700.5 | 9123 | 2640 | 175 | 33748 | 59.8967
Total |  | 9185.59 | 26446.1 | 15211 | 5000 | 501 | 56343.69 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 792.82 | 1329.85 | 514.46 | 633.81 | 12.73 | 3283.67 | 65.7178
Lignite |  | 25.49 | 9.39 | 52.79 | 0 | 0 | 87.67 | 1.7546
Hydro |  | 406.2 | 68.57 | 93.5 | 137.32 | 30.73 | 736.32 | 14.7364
Nuclear |  | 29.15 | 48.54 | 61.27 | 0 | 0 | 138.96 | 2.7811
Gas, Naptha & Diesel |  | 33.15 | 16.28 | 6.8 | 0 | 28.75 | 84.98 | 1.7007
RES (Wind, Solar, Biomass & Others) |  | 127.36 | 173.87 | 359.25 | 3.63 | 0.91 | 665.02 | 13.3094
Total |  | 1414.17 | 1646.5 | 1088.07 | 774.76 | 73.12 | 4996.62 | 100
Share of RES in total generation (%) |  | 9.006 | 10.56 | 33.0172 | 0.46853 | 1.2445 | 13.3094
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 39.7908 | 17.6726 | 47.2414 | 18.1927 | 43.2713 | 30.8268
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.041 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.067 |  | Solar hr | 205996 |  | 14:54 | 331
|  |  |  | Non-Solar hr | 205079 |  | 19:59 | 803
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 25-Jul-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 500 | 0 | 13.44 |  | -13.44
2 | HVDC | PUSAULI B/B | - | 0 | 108 | 0 | 2.68 |  | -2.68
3 | 765 kV | GAYA-VARANASI | 2 | 180 | 846 | 0 | 6.39 |  | -6.39
4 | 765 kV | SASARAM-FATEHPUR | 1 | 74 | 314 | 0 | 3.69 |  | -3.69
5 | 765 kV | GAYA-BALIA | 1 | 0 | 709 | 0 | 7.32 |  | -7.32
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 113 | 0 | 1.42 |  | -1.42
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 89 | 0 | 1.42 |  | -1.42
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 809 | 0 | 14.01 |  | -14.01
9 | 400 kV | PATNA-BALIA | 2 | 0 | 498 | 0 | 8.9 |  | -8.9
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 508 | 0 | 8.35 |  | -8.35
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 61 | 258 | 0 | 3.74 |  | -3.74
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 589 | 0 | 10.69 |  | -10.69
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 125 | 265 | 0 | 2.39 |  | -2.39
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 11 | 125 | 0 | 1.5 |  | -1.5
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.84 | 0 |  | 0.84
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.84 | 85.94 |  | -85.1
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 910 | 549 | 5.32 | 0 |  | 5.32
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1462 | 322 | 22.65 | 0 |  | 22.65
3 | 765 kV | JHARSUGUDA-DURG | 2 | 27 | 283 | 0 | 1.88 |  | -1.88
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 75 | 315 | 0 | 2.31 |  | -2.31
5 | 400 kV | RANCHI-SIPAT | 2 | 324 | 139 | 6.12 | 0 |  | 6.12
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 134 | 0 | 2.7 |  | -2.7
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 90 | 0 | 0.7 | 0 |  | 0.7
ER-WR | [5 empty] | 34.79 | 6.89 |  | 27.9
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 391 | 0 | 9.72 | 0 |  | 9.72
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1635 | 0 | 28.62 |  | -28.62
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2633 | 0 | 32.83 |  | -32.83
4 | 400 kV | TALCHER-I/C | 2 | 781 | 301 | 5.18 | 0 |  | 5.18
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 9.72 | 61.45 |  | -51.73
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 37 | 281 | 0.01 | 3.19 |  | -3.18
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 72 | 359 | 0 | 3.79 |  | -3.79
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 0 | 93 | 0 | 1.26 |  | -1.26
ER-NER | [5 empty] | 0.01 | 8.24 |  | -8.23
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 503 | 0 | 12.76 |  | -12.76
NER-NR | [5 empty] | 0 | 12.76 |  | -12.76
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5046 | 0 | 96 |  | -96
2 | HVDC | VINDHYACHAL B/B | - | 0 | 486 | 0 | 11.99 |  | -11.99
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 974 | 0 | 4.69 |  | -4.69
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 2568 | 0 | 42.07 |  | -42.07
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 1729 | 0 | 28.9 |  | -28.9
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1184 | 0 | 36.2 |  | -36.2
7 | 765 kV | GWALIOR-ORAI | 1 | 844 | 0 | 14.95 | 0 |  | 14.95
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1131 | 0 | 22.14 |  | -22.14
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 654 | 1360 | 2.33 | 12.98 |  | -10.65
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3371 | 0 | 60.1 |  | -60.1
11 | 400 kV | ZERDA-KANKROLI | 1 | 125 | 215 | 0.41 | 2.29 |  | -1.88
12 | 400 kV | ZERDA -BHINMAL | 1 | 348 | 322 | 1.4 | 2.91 |  | -1.51
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 956 | 0 | 21.85 | 0 |  | 21.85
14 | 400 kV | RAPP-SHUJALPUR | 2 | 99 | 756 | 0.1 | 8.85 |  | -8.75
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.2 |  | -2.2
17 | 220 kV | MEHGAON-AURAIYA | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 220 kV | MALANPUR-AURAIYA | 1 | 0 | 0 | 0 | 0 |  | 0
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 41.04 | 331.32 |  | -290.28
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 993 | 0 | 23.95 | 0 |  | 23.95
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1504 | 0 | 15.68 |  | -15.68
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2463 | 948 | 25.08 | 0.89 |  | 24.19
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 861 | 2400 | 2.69 | 16.94 |  | -14.25
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1650 | 0 | 31.29 | 0 |  | 31.29
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 90 | 1.63 | 0 |  | 1.63
WR-SR | [5 empty] | 84.64 | 33.51 |  | 51.13
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 598.368 | 390.197 | 518 |  | 12.432
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 1046.024 | 975.657 | 980.33 |  | 23.528
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 191.946 | 108.124 | 151 |  | 3.624
|  | NER | 132kV GELEPHU-SALAKATI |  | 27 | 13 | 18.75 |  | 0.45
|  | NER | 132kV MOTANGA-RANGIA |  | 51 | 34 | 48.75 |  | 1.17
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -70 | 0 | -43 |  | -1.03
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 351 | 224 | 267.875 |  | 6.429
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -932 | -818 | -911.38 |  | -21.873
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -784.55 | -709.66 | -746.25 |  | -17.91
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -160 | 0 | -141.6667 |  | -3.4

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 25-Jul-2023
Export From India (in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.08 |  | 0 | 0.62 | 0 | 0 | 0 |  | 0 | 0 |  | 0.7
Bangladesh | 21.93 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.93
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.01 |  | 0 | 0.62 | 0 | 0 | 0 |  | 0 | 0 |  | 22.63
Import by India(in MU)
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 38.38 |  | 1.85 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.23
Nepal | 0 |  | 0 | 7.29 | 0 | 0 | 0 |  | 0 | 0 |  | 7.29
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 38.38 |  | 1.85 | 7.29 | 0 | 0 | 0 |  | 0 | 0 |  | 47.52
Net from India(in MU) -ve : Export / +ve : Import
STOA
| (ISGS/LTA/MTOA) |  |  | COLLECTIVE
Country | PPA |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 38.38 |  | 1.85 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 40.23
Nepal | -0.08 |  | 0 | 6.67 | 0 | 0 | 0 |  | 0 | 0 |  | 6.59
Bangladesh | -21.93 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.93
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 16.37 |  | 1.85 | 6.67 | 0 | 0 | 0 |  | 0 | 0 |  | 24.89