## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 26-Sep-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 76427 | 58193 | 47567 | 25503 | 3136 | 210826
Peak Shortage (MW) |  | 10 | 0 | 0 | 0 | 0 | 10
Energy Met (MU) |  | 1793 | 1434.4 | 1126.98 | 555.36 | 64.36 | 4974.1
Hydro Gen (MU) |  | 319.44 | 110.34 | 151.4 | 88.58 | 27.78 | 697.54
Wind Gen (MU) |  | 9.11 | 75.72 | 211.8 | - | - | 296.63
Solar Gen (MU)* |  | 157.1 | 78.33 | 99.37 | 2 | 0.77 | 337.57
Energy Shortage (MU) |  | 1.22 | 0.07 | 0 | 0.06 | 0 | 1.35
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 78897 | 63656 | 52518 | 26626 | 3194 | 218867
Time Of Maximum Demand Met |  | 12:27 | 10:26 | 10:00 | 00:00 | 18:52 | 10:26
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.025 | 0 | 0 | 4.63 | 4.63 | 83.5 | 11.87
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 15621 | 0 | 340.05 | 207.38 | -1.49 | 678 | 0
| Haryana | 11893 | 0 | 255.72 | 188.97 | -2.11 | 377 | 0
| Rajasthan | 16155 | 0 | 354.79 | 147.16 | 1.3 | 800 | 0.78
| Delhi | 6691 | 0 | 139.99 | 121.26 | -0.45 | 333 | 0
NR | UP | 27034 | 0 | 542.29 | 228.59 | -0.9 | 477 | 0
| Uttarakhand | 2277 | 0 | 51.55 | 27.8 | -0.25 | 148 | 0.22
| HP | 1884 | 0 | 39.96 | 9.68 | -0.5 | 53 | 0
| J&K(UT) & Ladakh(UT) | 2728 | 0 | 57.39 | 33.59 | 1.92 | 238 | 0.22
| Chandigarh | 363 | 0 | 7.42 | 7.57 | -0.15 | 28 | 0
| Railways_NR ISTS | 210 | 0 | 4.25 | 3.77 | 0.48 | 45 | 0
| Chhattisgarh | 5198 | 0 | 117.1 | 70.8 | -1.5 | 205 | 0
| Gujarat | 22992 | 0 | 471 | 185.8 | -4.6 | 617 | 0
| MP | 12418 | 67 | 262.8 | 139.7 | -1 | 495 | 0.07
WR | Maharashtra | 23173 | 0 | 512.5 | 163.8 | 0.9 | 773 | 0
| Goa | 677 | 0 | 14.2 | 13.5 | 0.5 | 34 | 0
| DNHDDPDCL | 1356 | 0 | 31.1 | 30.9 | 0.2 | 54 | 0
| AMNSIL | 596 | 0 | 13.1 | 3.4 | 0.2 | 186 | 0
| BALCO | 529 | 0 | 12.6 | 12.6 | 0 | 16 | 0
| Andhra Pradesh | 9210 | 0 | 204.91 | 45.72 | -2.12 | 321 | 0
| Telangana | 10744 | 0 | 213.83 | 75.21 | -0.06 | 537 | 0
SR | Karnataka | 12664 | 0 | 228.42 | 47.69 | -1.2 | 550 | 0
| Kerala | 4353 | 0 | 84.96 | 56.18 | 0.52 | 353 | 0
| Tamil Nadu | 17886 | 0 | 383.99 | 135.47 | -0.82 | 684 | 0
| Puducherry | 500 | 0 | 10.87 | 10.29 | -0.04 | 50 | 0
| Bihar | 6817 | 0 | 131.73 | 126.09 | -4.82 | 270 | 0.06
| DVC | 3404 | 0 | 71.48 | -47.86 | -2.25 | 400 | 0
| Jharkhand | 1815 | 0 | 37.99 | 31.28 | -3.94 | 91 | 0
ER | Odisha | 5661 | 0 | 116.83 | 25.98 | -3.34 | 282 | 0
| West Bengal | 9548 | 0 | 195.81 | 54.38 | -3.62 | 267 | 0
| Sikkim | 93 | 0 | 1.39 | 1.62 | -0.23 | 6 | 0
| Railways_ER ISTS | 22 | 0 | 0.13 | 0.15 | -0.02 | 8 | 0
| Arunachal Pradesh | 172 | 0 | 2.51 | 2.81 | -0.8 | 44 | 0
| Assam | 2182 | 0 | 45.08 | 37.6 | 0.51 | 129 | 0
| Manipur | 198 | 0 | 2.82 | 2.92 | -0.1 | 91 | 0
NER | Meghalaya | 272 | 0 | 4.1 | 1.61 | -0.39 | 60 | 0
| Mizoram | 119 | 0 | 1.92 | 1.17 | -0.02 | 25 | 0
| Nagaland | 156 | 0 | 2.81 | 2.63 | -0.18 | 13 | 0
| Tripura | 271 | 0 | 5.12 | 4.9 | -0.07 | 56 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 37.59 | 17.846 | -23.187 | -24.94
Day Peak (MW) |  | 1901 | 904.106 | -992 | -1122
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 474.84 | -230.72 | -77.63 | -170.93 | 4.44 | 0
Actual(MU) |  | 466.76 | -230.78 | -70.856 | -172.68 | 2.26 | -5.296
O/D/U/D(MU) |  | -8.08 | -0.06 | 6.774 | -1.75 | -2.18 | -5.296
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3898.04 | 14576.4 | 5378 | 4715.6 | 329 | 28897.04 | 58.6617
State Sector |  | 4055.5 | 8457 | 6372 | 1324 | 154.97 | 20363.47 | 41.3383
Total |  | 7953.54 | 23033.4 | 11750 | 6039.6 | 483.97 | 49260.51 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 847.85 | 1394.78 | 645.26 | 706.13 | 15.99 | 3610.01 | 67.3258
Lignite |  | 22.59 | 18.42 | 56.39 | 0 | 0 | 97.4 | 1.8165
Hydro |  | 319.44 | 110.34 | 151.4 | 88.58 | 27.78 | 697.54 | 13.009
Nuclear |  | 29.47 | 53.4 | 76.16 | 0 | 0 | 159.03 | 2.9659
Gas, Naptha & Diesel |  | 37.09 | 58.84 | 5 | 0 | 22.8 | 123.73 | 2.3075
RES (Wind, Solar, Biomass & Others) |  | 172.04 | 156.02 | 340.94 | 4.51 | 0.78 | 674.29 | 12.5753
Total |  | 1428.48 | 1791.8 | 1275.15 | 799.22 | 67.35 | 5362 | 100
Share of RES in total generation (%) |  | 12.0436 | 8.7074 | 26.7372 | 0.5643 | 1.1581 | 12.5753
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 36.4688 | 17.8457 | 44.583 | 11.6476 | 42.4053 | 28.5502
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.027 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.086 |  | Solar hr | 218867 |  | 10:26 | 0
|  |  |  | Non-Solar hr | 214450 |  | 18:56 | 536
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 06:00 to 18:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 26-Sep-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 351 | 0 | 7.95 |  | -7.95
2 | HVDC | PUSAULI B/B | - | 0 | 112 | 0 | 2.83 |  | -2.83
3 | 765 kV | GAYA-VARANASI | 2 | 231 | 994 | 0 | 10.41 |  | -10.41
4 | 765 kV | SASARAM-FATEHPUR | 1 | 135 | 442 | 0 | 5.3 |  | -5.3
5 | 765 kV | GAYA-BALIA | 1 | 0 | 970 | 0 | 18.3 |  | -18.3
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 147 | 0 | 2.27 |  | -2.27
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 37 | 57 | 0 | 0.37 |  | -0.37
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 1002 | 0 | 16.13 |  | -16.13
9 | 400 kV | PATNA-BALIA | 2 | 0 | 1187 | 0 | 21.61 |  | -21.61
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 382 | 0 | 6.76 |  | -6.76
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 0 | 368 | 0 | 7.9 |  | -7.9
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 552 | 0 | 9.4 |  | -9.4
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 111 | 416 | 0 | 0 |  | 0
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 143 | 0 | 0.81 |  | -0.81
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.41 | 0 |  | 0.41
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.41 | 110.04 |  | -109.63
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 0 | 1869 | 0 | 29.89 |  | -29.89
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1599 | 216 | 21.27 | 0 |  | 21.27
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 957 | 0 | 14.13 |  | -14.13
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 554 | 0 | 7.58 |  | -7.58
5 | 400 kV | RANCHI-SIPAT | 2 | 328 | 229 | 5.12 | 0 |  | 5.12
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 157 | 0 | 2.76 |  | -2.76
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 0 | 209 | 0 | 2.92 |  | -2.92
ER-WR | [5 empty] | 26.39 | 57.28 |  | -30.89
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 115 | 0 | 2.67 |  | -2.67
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 2 | 0 | 0 |  | 0
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 1794 | 0 | 25.41 |  | -25.41
4 | 400 kV | TALCHER-I/C | 2 | 1364 | 0 | 25.94 | 0 |  | 25.94
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 28.08 |  | -28.08
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 0 | 539 | 0 | 8.01 |  | -8.01
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 0 | 886 | 0 | 14.16 |  | -14.16
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 0 | 167 | 0 | 2.56 |  | -2.56
ER-NER | [5 empty] | 0 | 24.73 |  | -24.73
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 0 | 1104 | 0 | 23.88 |  | -23.88
NER-NR | [5 empty] | 0 | 23.88 |  | -23.88
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 5055 | 0 | 96.25 |  | -96.25
2 | HVDC | VINDHYACHAL B/B | - | 0 | 495 | 0 | 8.25 |  | -8.25
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 2352 | 0 | 48.5 |  | -48.5
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 1736 | 0.16 | 27.96 |  | -27.8
5 | 765 kV | GWALIOR-PHAGI | 2 | 42 | 2131 | 0.01 | 34.12 |  | -34.11
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1372 | 0 | 45.01 |  | -45.01
7 | 765 kV | GWALIOR-ORAI | 1 | 802 | 0 | 12.04 | 0 |  | 12.04
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1055 | 0 | 21.78 |  | -21.78
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2031 | 346 | 19.98 | 0.89 |  | 19.09
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 3669 | 0 | 63.59 |  | -63.59
11 | 400 kV | ZERDA-KANKROLI | 1 | 375 | 124 | 3.36 | 0.52 |  | 2.84
12 | 400 kV | ZERDA -BHINMAL | 1 | 0 | 254 | 0 | 3.76 |  | -3.76
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 0 | 1 | 0 | 0 |  | 0
14 | 400 kV | RAPP-SHUJALPUR | 2 | 206 | 565 | 0.64 | 6.99 |  | -6.35
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 29 | 644 | 0.02 | 9.22 |  | -9.2
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 115 | 0 | 1.66 |  | -1.66
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.39 |  | -2.39
18 | 220 kV | MEHGAON-AURAIYA | 1 | 106 | 0 | 1.13 | 0 |  | 1.13
19 | 220 kV | MALANPUR-AURAIYA | 1 | 75 | 18 | 0.54 | 0.04 |  | 0.5
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 37.88 | 370.93 |  | -333.05
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 306 | 316 | 2.79 | 4.29 |  | -1.5
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 605 | 0 | 14.65 |  | -14.65
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2500 | 0 | 37.7 | 0 |  | 37.7
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 1333 | 842 | 7.23 | 4.16 |  | 3.07
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 1206 | 1023 | 5.65 | 5.66 |  | -0.01
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 2173 | 0 | 43.43 | 0 |  | 43.43
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 86 | 0 | 1.56 | 0 |  | 1.56
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 117 | 2.25 | 0 |  | 2.25
WR-SR | [5 empty] | 100.61 | 28.76 |  | 71.85
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 731.647 | 524.248 | 555.77 |  | 13.3385
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 882.537 | 801.59 | 841.38 |  | 20.193
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 116.54 | 56.984 | 85.92 |  | 2.0621
|  | NER | 132kV GELEPHU-SALAKATI |  | 34 | 23 | 28.75 |  | 0.69
|  | NER | 132kV MOTANGA-RANGIA |  | 66 | 42 | 54.583 |  | 1.31
|  | NR | NEPAL IMPORT (FROM UP) |  | -25 | 0 | 0 |  | 0
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 55.896 | 0 | 42 |  | 1
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 56.21 | 7.48 | 31.083 |  | 0.746
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 792 | 581 | 670.833 |  | 16.1
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -912 | -905 | -906.96 |  | -21.767
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1122 | -999 | -1039.167 |  | -24.94
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -80 | 0 | -59.1667 |  | -1.42

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 26-Sep-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0.38 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.38
Bangladesh | 22.47 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.47
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.85 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.85
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 38.01 |  | 0 | 1.49 | 0 | 0 | 0.45 |  | 0 | 0 |  | 39.95
Nepal | 7.77 |  | 0 | 7.58 | 0 | 0 | 3.78 |  | 0 | 0 |  | 19.13
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 45.78 |  | 0 | 9.07 | 0 | 0 | 4.23 |  | 0 | 0 |  | 59.08
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 38.01 |  | 0 | 1.49 | 0 | 0 | 0.45 |  | 0 | 0 |  | 39.95
Nepal | 7.39 |  | 0 | 7.58 | 0 | 0 | 3.78 |  | 0 | 0 |  | 18.75
Bangladesh | -22.47 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.47
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 22.93 |  | 0 | 9.07 | 0 | 0 | 4.23 |  | 0 | 0 |  | 36.23