## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 27-Jun-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 77756 | 61357 | 45659 | 28479 | 3476 | 216727
Peak Shortage (MW) |  | 323 | 0 | 0 | 436 | 0 | 759
Energy Met (MU) |  | 1843 | 1442.5 | 1115.21 | 648.48 | 71.66 | 5120.85
Hydro Gen (MU) |  | 362.82 | 47.49 | 53.4 | 63.6 | 40.84 | 568.15
Wind Gen (MU) |  | 14.93 | 63.87 | 268.11 | - | - | 346.91
Solar Gen (MU)* |  | 127.31 | 79.01 | 100.34 | 3.01 | 1.08 | 310.75
Energy Shortage (MU) |  | 5.96 | 0.19 | 0 | 8.129 | 0 | 14.279
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 81084 | 62580 | 50965 | 30577 | 3480 | 224164
Time Of Maximum Demand Met |  | 12:26 | 14:51 | 10:31 | 00:01 | 19:46 | 14:57
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.024 | 0 | 0 | 2.07 | 2.07 | 79.72 | 18.2
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 15714 | 0 | 357.23 | 217.35 | 1.77 | 323 | 0
| Haryana | 12667 | 0 | 277.89 | 208.76 | -0.63 | 283 | 1.92
| Rajasthan | 16165 | 0 | 323.55 | 118.18 | -3.92 | 878 | 1.9
| Delhi | 7695 | 0 | 156.14 | 133.82 | 0.4 | 214 | 0
NR | UP | 26408 | 263 | 560.34 | 276.19 | -1.85 | 612 | 1.43
| Uttarakhand | 2526 | 0 | 56.24 | 26.98 | 0.74 | 237 | 0.64
| HP | 1919 | 0 | 41.17 | 4.27 | -0.36 | 91 | 0
| J&K(UT) & Ladakh(UT) | 2709 | 0 | 57.52 | 32.31 | -0.63 | 247 | 0.07
| Chandigarh | 428 | 0 | 8.55 | 8.18 | 0.37 | 77 | 0
| Railways_NR ISTS | 201 | 0 | 4.13 | 3.49 | 0.64 | 104 | 0
| Chhattisgarh | 5392 | 43 | 120.2 | 66.7 | -1.2 | 323 | 0.19
| Gujarat | 20306 | 0 | 438.6 | 158.6 | -1 | 586 | 0
| MP | 11357 | 0 | 250.6 | 129.9 | -4 | 704 | 0
WR | Maharashtra | 25012 | 0 | 559.8 | 161.7 | -5.6 | 705 | 0
| Goa | 699 | 0 | 14.2 | 14.1 | -0.1 | 34 | 0
| DNHDDPDCL | 1329 | 0 | 30.9 | 30.9 | 0 | 123 | 0
| AMNSIL | 708 | 0 | 15.7 | 4.8 | 1.3 | 329 | 0
| BALCO | 525 | 0 | 12.5 | 12.6 | -0.1 | 18 | 0
| Andhra Pradesh | 10384 | 0 | 219.14 | 37.43 | -3.14 | 468 | 0
| Telangana | 11244 | 0 | 229.11 | 128.17 | 0.3 | 526 | 0
SR | Karnataka | 11350 | 0 | 220.88 | 38.75 | -2.09 | 403 | 0
| Kerala | 3622 | 0 | 74.02 | 47.69 | 0.3 | 193 | 0
| Tamil Nadu | 16989 | 0 | 361.6 | 144.78 | -8.84 | 731 | 0
| Puducherry | 457 | 0 | 10.46 | 9.85 | 0.01 | 58 | 0
| Bihar | 6800 | 0 | 138.24 | 129.82 | -1.54 | 888 | 5.654
| DVC | 3720 | 0 | 78.44 | -44.93 | -0.65 | 264 | 0
| Jharkhand | 2319 | 0 | 47.85 | 33.75 | 1.45 | 386 | 2.475
ER | Odisha | 5998 | 0 | 128.41 | 47.64 | -0.9 | 453 | 0
| West Bengal | 12235 | 0 | 253.88 | 103.95 | -1.16 | 362 | 0
| Sikkim | 85 | 0 | 1.51 | 1.43 | 0.08 | 31 | 0
| Railways_ER ISTS | 13 | 0 | 0.15 | 0.15 | 0 | 4 | 0
| Arunachal Pradesh | 161 | 0 | 2.79 | 2.92 | -0.47 | 13 | 0
| Assam | 2386 | 0 | 48.06 | 38.28 | 0.92 | 112 | 0
| Manipur | 207 | 0 | 3.42 | 3.33 | 0.09 | 22 | 0
NER | Meghalaya | 327 | 0 | 6.09 | 0.22 | -0.06 | 31 | 0
| Mizoram | 99 | 0 | 2.15 | 1.12 | -0.14 | 24 | 0
| Nagaland | 164 | 0 | 3.01 | 2.67 | -0.14 | 28 | 0
| Tripura | 308 | 0 | 6.14 | 5.35 | 0.07 | 35 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 34.379 | 9.66 | -24.492 | -8.957
Day Peak (MW) |  | 1691.74 | 692.12 | -1038 | -566
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 489.08 | -365.51 | -37.62 | -85.31 | -0.64 | 0
Actual(MU) |  | 487.25 | -377.13 | -40.044 | -77.16 | -2.66 | -9.744
O/D/U/D(MU) |  | -1.83 | -11.62 | -2.424 | 8.15 | -2.02 | -9.744
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3212.22 | 8574.8 | 5188 | 4781 | 596.8 | 22352.82 | 55.2538
State Sector |  | 3905.5 | 6538 | 6168 | 1371.5 | 119 | 18102 | 44.7462
Total |  | 7117.72 | 15112.8 | 11356 | 6152.5 | 715.8 | 40454.82 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 847.1 | 1609.07 | 654.74 | 734.555 | 14.92 | 3860.385 | 69.9578
Lignite |  | 32.65 | 19.69 | 55.39 | 0 | 0 | 107.73 | 1.9523
Hydro |  | 362.82 | 47.49 | 53.4 | 63.6 | 40.84 | 568.15 | 10.296
Nuclear |  | 29.21 | 59.36 | 51.58 | 0 | 0 | 140.15 | 2.5398
Gas, Naptha & Diesel |  | 48.22 | 66.27 | 5.6 | 0 | 22.83 | 142.92 | 2.59
RES (Wind, Solar, Biomass & Others) |  | 149.73 | 143.94 | 400.12 | 3.94 | 1.1 | 698.83 | 12.6642
Total |  | 1469.73 | 1945.82 | 1220.83 | 802.095 | 79.69 | 5518.165 | 100
Share of RES in total generation (%) |  | 10.1876 | 7.3974 | 32.7744 | 0.49121 | 1.3803 | 12.6642
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 36.8612 | 12.8887 | 41.3735 | 8.4204 | 52.6289 | 25.5
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.020 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.073 |  | Solar hr | 224164 |  | 14:57 | 0
|  |  |  | Non-Solar hr | 220410 |  | 22:37 | 696
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 27-Jun-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 95 | 0 | 2.36 |  | -2.36
3 | 765 kV | GAYA-VARANASI | 2 | 310 | 869 | 0 | 8.04 |  | -8.04
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 454 | 0 | 7.05 |  | -7.05
5 | 765 kV | GAYA-BALIA | 1 | 0 | 654 | 0 | 9.96 |  | -9.96
6 | 400 kV | PUSAULI-VARANASI | 1 | 17 | 60 | 0 | 0.54 |  | -0.54
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 0 | 115 | 0 | 1.66 |  | -1.66
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 0 | 943 | 0 | 18.01 |  | -18.01
9 | 400 kV | PATNA-BALIA | 2 | 0 | 756 | 0 | 12.8 |  | -12.8
10 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 225 | 0 | 3.49 |  | -3.49
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 80 | 233 | 0 | 2.8 |  | -2.8
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 0 | 584 | 0 | 11.33 |  | -11.33
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 50 | 278 | 0 | 4.24 |  | -4.24
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 46 | 63 | 0 | 0.29 |  | -0.29
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.61 | 0 |  | 0.61
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.61 | 82.57 |  | -81.96
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 0 | 1798 | 0 | 20.39 |  | -20.39
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 2409 | 0 | 40.54 | 0 |  | 40.54
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 462 | 0 | 7.13 |  | -7.13
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 360 | 156 | 2.25 | 0 |  | 2.25
5 | 400 kV | RANCHI-SIPAT | 2 | 625 | 0 | 9.82 | 0 |  | 9.82
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 180 | 0 | 2.02 |  | -2.02
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 21 | 137 | 0 | 0.8 |  | -0.8
ER-WR | [5 empty] | 52.61 | 30.34 |  | 22.27
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 602 | 0 | 11.3 | 0 |  | 11.3
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1696 | 0 | 40.94 |  | -40.94
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2276 | 0 | 35.36 |  | -35.36
4 | 400 kV | TALCHER-I/C | 2 | 0 | 686 | 0 | 11.44 |  | -11.44
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 11.3 | 76.3 |  | -65
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 474 | 0 | 7.41 | 0 |  | 7.41
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 291 | 0 | 8.21 | 0 |  | 8.21
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 42 | 0 | 1.39 | 0 |  | 1.39
ER-NER | [5 empty] | 17.01 | 0 |  | 17.01
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 511 | 0 | 12.32 | 0 |  | 12.32
NER-NR | [5 empty] | 12.32 | 0 |  | 12.32
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 6058 | 0 | 101.82 |  | -101.82
2 | HVDC | VINDHYACHAL B/B | - | 0 | 510 | 0 | 6.25 |  | -6.25
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 2357 | 0 | 53.23 |  | -53.23
4 | 765 kV | GWALIOR-AGRA | 2 | 0 | 3356 | 0 | 66.95 |  | -66.95
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 2127 | 0 | 35.58 |  | -35.58
6 | 765 kV | JABALPUR-ORAI | 2 | 0 | 1459 | 0 | 59.13 |  | -59.13
7 | 765 kV | GWALIOR-ORAI | 1 | 778 | 0 | 13.84 | 0 |  | 13.84
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1303 | 0 | 28.08 |  | -28.08
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 404 | 1146 | 0 | 5.12 |  | -5.12
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 4132 | 0 | 77 |  | -77
11 | 400 kV | ZERDA-KANKROLI | 1 | 117 | 215 | 0.53 | 1.4 |  | -0.87
12 | 400 kV | ZERDA -BHINMAL | 1 | 116 | 213 | 0.53 | 1.39 |  | -0.86
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 971 | 0 | 21.4 | 0 |  | 21.4
14 | 400 kV | RAPP-SHUJALPUR | 2 | 0 | 656 | 0 | 10.33 |  | -10.33
15 | 400 kV | NEEMUCH-Chittorgarh | 2 | 0 | 690 | 0 | 10.21 |  | -10.21
16 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 78 | 0 | 1.13 |  | -1.13
17 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 2.14 |  | -2.14
18 | 220 kV | MEHGAON-AURAIYA | 1 | 40 | 44 | 0 | 0.2 |  | -0.2
19 | 220 kV | MALANPUR-AURAIYA | 1 | 16 | 53 | 0 | 0.52 |  | -0.52
20 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
21 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 36.3 | 460.48 |  | -424.18
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 998 | 0 | 23.85 | 0 |  | 23.85
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 1202 | 0 | 16.4 |  | -16.4
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 2399 | 0 | 38.63 | 0 |  | 38.63
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 320 | 1325 | 0.67 | 11.86 |  | -11.19
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 429 | 1390 | 1.25 | 10.73 |  | -9.48
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 2161 | 0 | 43.32 | 0 |  | 43.32
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 67 | 0 | 1.48 |  | -1.48
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 119 | 2.19 | 0 |  | 2.19
WR-SR | [5 empty] | 109.91 | 40.47 |  | 69.44
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 652.673 | 652.673 | 652.673 |  | 15.7636
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 867.401 | 596.761 | 702.58 |  | 16.862
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | 34.494 | -15.159 | 17.09 |  | 0.4102
|  | NER | 132kV GELEPHU-SALAKATI |  | 30.94 | 6.71 | 16.625 |  | 0.399
|  | NER | 132kV MOTANGA-RANGIA |  | 62.8 | -16.74 | 39.167 |  | 0.94
|  | NR | NEPAL IMPORT (FROM UP) |  | -60 | 0 | -16 |  | -0.38
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -60 | 0 | -24 |  | -0.58
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | 0 | 0 | 0 |  | 0
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | 656 | 263 | 442.5 |  | 10.62
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -941 | 0 | -938.83 |  | -22.532
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -566 | -181 | -373.208 |  | -8.957
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -97 | 0 | -81.6667 |  | -1.96

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 27-Jun-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0.37 |  | 0 | 0 |  | 0.37
Bangladesh | 22.46 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 22.46
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.46 |  | 0 | 0 | 0 | 0 | 0.37 |  | 0 | 0 |  | 22.83
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 30.63 |  | 0 | 0.76 | 0 | 0 | 0.39 |  | 0 | 0 |  | 31.78
Nepal | 2.63 |  | 0 | 7.71 | 0 | 0 | 0.92 |  | 0 | 0 |  | 11.26
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 33.26 |  | 0 | 8.47 | 0 | 0 | 1.31 |  | 0 | 0 |  | 43.04
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 30.63 |  | 0 | 0.76 | 0 | 0 | 0.39 |  | 0 | 0 |  | 31.78
Nepal | 2.63 |  | 0 | 7.71 | 0 | 0 | 0.56 |  | 0 | 0 |  | 10.9
Bangladesh | -22.46 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -22.46
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | 10.8 |  | 0 | 8.47 | 0 | 0 | 0.95 |  | 0 | 0 |  | 20.22