## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 04-Mar-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 46073 | 57440 | 46830 | 21273 | 2484 | 174100
Peak Shortage (MW) |  | 25 | 0 | 0 | 107 | 0 | 132
Energy Met (MU) |  | 948 | 1343 | 1269.27 | 450.51 | 46.76 | 4057.54
Hydro Gen (MU) |  | 159.56 | 20.94 | 35.6 | 14.54 | 8.5 | 239.14
Wind Gen (MU) |  | 12.21 | 110.48 | 30.01 | - | - | 152.7
Solar Gen (MU)* |  | 161.02 | 82.67 | 137.42 | 2.49 | 1.01 | 384.61
Energy Shortage (MU) |  | 0.43 | 0 | 0 | 0.589 | 0 | 1.019
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 49395 | 61979 | 62119 | 21622 | 2566 | 193298
Time Of Maximum Demand Met |  | 10:12 | 10:14 | 11:55 | 18:35 | 18:08 | 10:12
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.072 | 0 | 0 | 0.98 | 0.98 | 68.12 | 30.9
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 6313 | 0 | 120.77 | 46.27 | -0.56 | 216 | 0
| Haryana | 5480 | 0 | 112.95 | 77.58 | -2.8 | 151 | 0
| Rajasthan | 14585 | 0 | 275.67 | 85.28 | -0.83 | 396 | 0
| Delhi | 3838 | 0 | 66.69 | 56.16 | 2.56 | 325 | 0
NR | UP | 14439 | 0 | 253.55 | 59.06 | -0.21 | 403 | 0
| Uttarakhand | 1829 | 0 | 35.18 | 15.41 | -1.18 | 143 | 0
| HP | 1585 | 23 | 26.75 | 20.31 | -1.15 | 190 | 0.43
| J&K(UT) & Ladakh(UT) | 2687 | 0 | 48.9 | 38.27 | -2.28 | 113 | 0
| Chandigarh | 210 | 0 | 3.46 | 3.93 | -0.47 | 21 | 0
| Railways_NR ISTS | 194 | 0 | 3.69 | 3.52 | 0.17 | 25 | 0
| Chhattisgarh | 5661 | 0 | 125.9 | 65.1 | -1.3 | 466 | 0
| Gujarat | 17203 | 0 | 361.5 | 147.1 | -6.7 | 1131 | 0
| MP | 11388 | 0 | 213.5 | 119 | -2.9 | 750 | 0
WR | Maharashtra | 25878 | 0 | 569.1 | 181.9 | -3.6 | 733 | 0
| Goa | 639 | 0 | 12.6 | 12.3 | 0.2 | 98 | 0
| DNHDDPDCL | 1198 | 0 | 27.6 | 27.6 | 0 | 63 | 0
| AMNSIL | 883 | 0 | 20.3 | 10.1 | -0.2 | 253 | 0
| BALCO | 523 | 0 | 12.5 | 12.5 | 0 | 7 | 0
| Andhra Pradesh | 12914 | 0 | 233.7 | 98.93 | -3.56 | 791 | 0
| Telangana | 14477 | 0 | 285.35 | 174.77 | -0.19 | 630 | 0
SR | Karnataka | 15769 | 0 | 303.61 | 165.03 | -0.78 | 746 | 0
| Kerala | 4629 | 0 | 87.14 | 75.52 | 0.5 | 233 | 0
| Tamil Nadu | 16210 | 0 | 350.59 | 220 | -2.86 | 346 | 0
| Puducherry | 384 | 0 | 8.88 | 8.82 | -0.42 | 17 | 0
| Bihar | 4421 | 0 | 80.41 | 73.1 | -2.89 | 543 | 0.17
| DVC | 3297 | 0 | 67.81 | -29.94 | -1.46 | 303 | 0
| Jharkhand | 1662 | 0 | 33.41 | 23.11 | -1.63 | 236 | 0.419
ER | Odisha | 5354 | 0 | 116.67 | 47.8 | -0.85 | 373 | 0
| West Bengal | 7077 | 0 | 150.61 | 26.05 | -1.5 | 263 | 0
| Sikkim | 85 | 0 | 1.46 | 1.77 | -0.31 | 20 | 0
| Railways_ER ISTS | 10 | 0 | 0.14 | 0.13 | 0.01 | 4 | 0
| Arunachal Pradesh | 171 | 0 | 3.19 | 3.03 | 0.07 | 21 | 0
| Assam | 1427 | 0 | 26.72 | 20.44 | 0.5 | 120 | 0
| Manipur | 212 | 0 | 3.16 | 3.18 | -0.02 | 35 | 0
NER | Meghalaya | 329 | 0 | 6.17 | 5.37 | -0.1 | 48 | 0
| Mizoram | 109 | 0 | 1.89 | 1.65 | -0.28 | 13 | 0
| Nagaland | 124 | 0 | 2.45 | 2.39 | -0.04 | 0 | 0
| Tripura | 242 | 0 | 3.18 | 3.5 | -0.61 | 31 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -5.66 | -11.246 | -22.941 | -26.62
Day Peak (MW) |  | -492.56 | -757.19 | -1070 | -1420
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 23.86 | -253.15 | 333.29 | -110.54 | 6.54 | 0
Actual(MU) |  | 10.01 | -258.93 | 352.931 | -121.06 | 7.64 | -9.409
O/D/U/D(MU) |  | -13.85 | -5.78 | 19.641 | -10.52 | 1.1 | -9.409
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 6867.92 | 8918.85 | 4078 | 3508.5 | 407.5 | 23780.77 | 46.804
State Sector |  | 9095.5 | 9326.5 | 5551 | 2956.5 | 99 | 27028.5 | 53.196
Total |  | 15963.42 | 18245.35 | 9629 | 6465 | 506.5 | 50809.27 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 586.4 | 1397.74 | 637.9 | 637.37 | 10.62 | 3270.03 | 74.2198
Lignite |  | 21.7 | 12.66 | 55.71 | 0 | 0 | 90.07 | 2.0443
Hydro |  | 159.56 | 20.94 | 35.6 | 14.54 | 8.5 | 239.14 | 5.4278
Nuclear |  | 31.34 | 48.46 | 51.82 | 0 | 0 | 131.62 | 2.9874
Gas, Naptha & Diesel |  | 12.12 | 32.7 | 6.4 | 0 | 24.79 | 76.01 | 1.7252
RES (Wind, Solar, Biomass & Others) |  | 195.71 | 196.23 | 201.22 | 4.83 | 1.01 | 599 | 13.5955
Total |  | 1006.83 | 1708.73 | 988.65 | 656.74 | 44.92 | 4405.87 | 100
Share of RES in total generation (%) |  | 19.4382 | 11.484 | 20.353 | 0.73545 | 2.2484 | 13.5955
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 38.3987 | 15.5455 | 29.1954 | 2.9494 | 21.171 | 22.0106
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.022 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.052 |  | Solar hr | 193298 |  | 10:12 | 126
|  |  |  | Non-Solar hr | 176410 |  | 19:00 | 132
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 04-Mar-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 48 | 0 | 1.23 |  | -1.23
3 | 765 kV | GAYA-VARANASI | 2 | 459 | 712 | 0 | 2.5 |  | -2.5
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 465 | 0 | 6.07 |  | -6.07
5 | 765 kV | GAYA-BALIA | 1 | 50 | 406 | 0 | 2.27 |  | -2.27
6 | 400 kV | PUSAULI-VARANASI | 1 | 7 | 80 | 0 | 1.15 |  | -1.15
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 31 | 54 | 0 | 0.16 |  | -0.16
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 374 | 419 | 1.2 | 0 |  | 1.2
9 | 400 kV | PATNA-BALIA | 2 | 0 | 592 | 0 | 6.62 |  | -6.62
10 | 400 kV | NAUBATPUR-BALIA | 2 | 32 | 254 | 0 | 2.17 |  | -2.17
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 283 | 147 | 2.83 | 0 |  | 2.83
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 68 | 466 | 0 | 3.99 |  | -3.99
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 157 | 309 | 0 | 0.81 |  | -0.81
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 2 | 90 | 0 | 0.86 |  | -0.86
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0.27 | 0 |  | 0.27
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 4.3 | 27.83 |  | -23.53
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1297 | 0 | 16.68 | 0 |  | 16.68
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 0 | 1364 | 0 | 19.06 |  | -19.06
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 622 | 0 | 11.94 |  | -11.94
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 533 | 0 | 8.85 |  | -8.85
5 | 400 kV | RANCHI-SIPAT | 2 | 0 | 399 | 0 | 5.74 |  | -5.74
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 160 | 0 | 2.45 |  | -2.45
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 126 | 0 | 1.25 | 0 |  | 1.25
ER-WR | [5 empty] | 17.93 | 48.04 |  | -30.11
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 639 | 0 | 14.71 |  | -14.71
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1989 | 0 | 45.99 |  | -45.99
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2946 | 0 | 60.2 |  | -60.2
4 | 400 kV | TALCHER-I/C | 2 | 395 | 984 | 0 | 2.86 |  | -2.86
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 120.9 |  | -120.9
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 1 | 7 | 1.66 | 0.05 |  | 1.61
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 688 | 0 | 6.55 | 0 |  | 6.55
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 87 | 24 | 0.81 | 0 |  | 0.81
ER-NER | [5 empty] | 9.02 | 0.05 |  | 8.97
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 707 | 0 | 17.27 | 0 |  | 17.27
NER-NR | [5 empty] | 17.27 | 0 |  | 17.27
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1497 | 0 | 31.31 |  | -31.31
2 | HVDC | VINDHYACHAL B/B | - | 431 | 0 | 12.15 | 0 |  | 12.15
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 789 | 0 | 15.79 |  | -15.79
4 | 765 kV | GWALIOR-AGRA | 2 | 508 | 1220 | 3.27 | 4.95 |  | -1.68
5 | 765 kV | GWALIOR-PHAGI | 2 | 1609 | 1349 | 8.06 | 10.69 |  | -2.63
6 | 765 kV | JABALPUR-ORAI | 2 | 540 | 522 | 0 | 5.58 |  | -5.58
7 | 765 kV | GWALIOR-ORAI | 1 | 619 | 23 | 7.6 | 0.01 |  | 7.59
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1011 | 0 | 15.19 |  | -15.19
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1108 | 203 | 14.41 | 0.06 |  | 14.35
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 501 | 1544 | 0 | 13.32 |  | -13.32
11 | 400 kV | ZERDA-KANKROLI | 1 | 286 | 30 | 3.92 | 0.01 |  | 3.91
12 | 400 kV | ZERDA -BHINMAL | 1 | 681 | 122 | 6.6 | 0.1 |  | 6.5
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 965 | 0 | 15.43 | 0 |  | 15.43
14 | 400 kV | RAPP-SHUJALPUR | 2 | 834 | 242 | 8.63 | 0.58 |  | 8.05
15 | 220 kV | BHANPURA-RANPUR | 1 | 110 | 37 | 1.19 | 0.04 |  | 1.15
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 3.17 | 0 |  | 3.17
17 | 220 kV | MEHGAON-AURAIYA | 1 | 103 | 0 | 1.33 | 0 |  | 1.33
18 | 220 kV | MALANPUR-AURAIYA | 1 | 81 | 0 | 0.94 | 0 |  | 0.94
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 86.7 | 97.63 |  | -10.93
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1013 | 0 | 21.25 |  | -21.25
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6022 | 0 | 114.35 |  | -114.35
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 0 | 2106 | 0 | 33.08 |  | -33.08
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3089 | 0 | 58.17 |  | -58.17
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 3143 | 0 | 60.74 |  | -60.74
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 897 | 0 | 8.82 | 0 |  | 8.82
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 62 | 0 | 0.75 |  | -0.75
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 109 | 2.18 | 0 |  | 2.18
WR-SR | [5 empty] | 11 | 288.34 |  | -277.34
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -186.855 | 113.268 | -67.77 |  | -1.6265
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -262.52 | 140.733 | -29.71 |  | -0.713
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -250.563 | -28.303 | -132.08 |  | -3.17
|  | NER | 132kV GELEPHU-SALAKATI |  | -28 | 0 | -14.167 |  | -0.34
|  | NER | 132kV MOTANGA-RANGIA |  | 21.44 | -5.31 | 7.917 |  | 0.19
|  | NR | NEPAL IMPORT (FROM UP) |  | 0 | 0 | 0 |  | -1
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 0
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -160.19 | 0 | -53.583 |  | -1.286
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -597 | -14 | -373.333 |  | -8.96
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -931 | -640 | -844.21 |  | -20.261
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1420 | -808 | -1109.167 |  | -26.62
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -139 | 0 | -111.6667 |  | -2.68

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 04-Mar-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 7.94 | 0 | 0 | 0 |  | 0 | 0 |  | 7.94
Nepal | 0.21 |  | 0 | 9.62 | 0 | 0 | 0.12 |  | 0 | 0 |  | 9.95
Bangladesh | 20.28 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 20.28
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 20.49 |  | 0 | 17.56 | 0 | 0 | 0.12 |  | 0 | 0 |  | 38.17
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.68 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.68
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.68 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.68
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.68 |  | 0 | -7.94 | 0 | 0 | 0 |  | 0 | 0 |  | -7.26
Nepal | -0.21 |  | 0 | -9.62 | 0 | 0 | -0.12 |  | 0 | 0 |  | -9.95
Bangladesh | -20.28 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -20.28
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -19.81 |  | 0 | -17.56 | 0 | 0 | -0.12 |  | 0 | 0 |  | -37.49