## MOP_E
Report for previous day | [5 empty] | Date of Reporting: |  | 13-Mar-2024
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) |  | 52930 | 64854 | 53086 | 23206 | 2619 | 196695
Peak Shortage (MW) |  | 119 | 0 | 0 | 280 | 0 | 399
Energy Met (MU) |  | 1145 | 1529.1 | 1387.92 | 503.58 | 49.79 | 4615.39
Hydro Gen (MU) |  | 121.56 | 36.52 | 62.2 | 20.35 | 8.88 | 249.51
Wind Gen (MU) |  | 12.34 | 83.68 | 35.39 | - | - | 131.41
Solar Gen (MU)* |  | 160.91 | 85.39 | 130.5 | 3.55 | 0.98 | 381.33
Energy Shortage (MU) |  | 0.15 | 0 | 0 | 1.485 | 0 | 1.635
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 57998 | 70488 | 67328 | 24149 | 2744 | 218897
Time Of Maximum Demand Met |  | 10:47 | 10:58 | 11:53 | 18:39 | 18:09 | 10:58
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.046 | 0 | 0.34 | 9.12 | 9.45 | 75.95 | 14.59
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day (MW) | maximum Demand (MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 8271 | 0 | 155 | 64.98 | -0.4 | 202 | 0
| Haryana | 7244 | 0 | 145.81 | 100.86 | -0.03 | 141 | 0
| Rajasthan | 16067 | 0 | 307.59 | 83.57 | 0.75 | 430 | 0
| Delhi | 3811 | 0 | 69.67 | 61.27 | 0.11 | 309 | 0
NR | UP | 17967 | 0 | 331.76 | 61.45 | 0.61 | 303 | 0
| Uttarakhand | 2079 | 0 | 40.01 | 24.93 | 1.06 | 156 | 0.03
| HP | 1793 | 0 | 30.73 | 24.98 | -0.33 | 45 | 0
| J&K(UT) & Ladakh(UT) | 2770 | 0 | 57.4 | 50.33 | 0.5 | 195 | 0.12
| Chandigarh | 210 | 0 | 3.41 | 3.5 | -0.09 | 23 | 0
| Railways_NR ISTS | 170 | 0 | 3.59 | 3.66 | -0.07 | 9 | 0
| Chhattisgarh | 5998 | 0 | 136.6 | 77.2 | 0.3 | 393 | 0
| Gujarat | 20553 | 0 | 429.2 | 178.9 | -0.6 | 630 | 0
| MP | 13158 | 0 | 263.4 | 144.6 | -5 | 426 | 0
WR | Maharashtra | 28428 | 0 | 624.9 | 206.7 | -5.7 | 577 | 0
| Goa | 723 | 0 | 15.3 | 12.2 | 2.8 | 240 | 0
| DNHDDPDCL | 1266 | 0 | 29 | 29.2 | -0.2 | 71 | 0
| AMNSIL | 834 | 0 | 18.2 | 8.8 | 0.1 | 246 | 0
| BALCO | 523 | 0 | 12.5 | 12.5 | 0 | 6 | 0
| Andhra Pradesh | 13073 | 0 | 243.17 | 87.43 | -1.71 | 552 | 0
| Telangana | 15374 | 0 | 306.76 | 180.98 | 0.35 | 752 | 0
SR | Karnataka | 17220 | 0 | 328.68 | 161.75 | -1.05 | 643 | 0
| Kerala | 5004 | 0 | 101.31 | 78.52 | 0.91 | 329 | 0
| Tamil Nadu | 18783 | 0 | 398.44 | 238.15 | 0 | 567 | 0
| Puducherry | 422 | 0 | 9.56 | 9.32 | -0.35 | 44 | 0
| Bihar | 5044 | 0 | 92.76 | 81.74 | -0.95 | 319 | 0.053
| DVC | 3330 | 0 | 71.8 | -46.46 | -0.25 | 330 | 0
| Jharkhand | 1649 | 280 | 36.04 | 24.49 | -1.42 | 317 | 1.432
ER | Odisha | 5781 | 0 | 125.86 | 55.1 | -0.31 | 320 | 0
| West Bengal | 8376 | 0 | 175.18 | 29.61 | -0.71 | 350 | 0
| Sikkim | 109 | 0 | 1.8 | 1.76 | 0.04 | 20 | 0
| Railways_ER ISTS | 13 | 0 | 0.14 | 0.14 | 0 | 11 | 0
| Arunachal Pradesh | 164 | 0 | 2.85 | 2.81 | -0.04 | 27 | 0
| Assam | 1584 | 0 | 29.57 | 24.17 | 0.41 | 103 | 0
| Manipur | 213 | 0 | 2.96 | 2.94 | 0.02 | 25 | 0
NER | Meghalaya | 340 | 0 | 5.97 | 4.63 | -0.04 | 46 | 0
| Mizoram | 130 | 0 | 1.97 | 1.54 | -0.07 | 39 | 0
| Nagaland | 141 | 0 | 2.21 | 2.13 | 0.03 | 35 | 0
| Tripura | 238 | 0 | 4.26 | 3.92 | 0.3 | 63 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | -10.29 | -14.425 | -24.689 | -29.372
Day Peak (MW) |  | -511 | -699.8 | -1079 | -1429
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 90.54 | -271.11 | 300.97 | -130.64 | 10.24 | 0
Actual(MU) |  | 90.6 | -280.3 | 306.511 | -135.19 | 11.37 | -7.009
O/D/U/D(MU) |  | 0.06 | -9.19 | 5.541 | -4.55 | 1.13 | -7.009
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 7702.92 | 8570.6 | 4578 | 4637 | 642.5 | 26131.02 | 49.3788
State Sector |  | 7695.5 | 12188.5 | 4059 | 2746.5 | 99 | 26788.5 | 50.6212
Total |  | 15398.42 | 20759.1 | 8637 | 7383.5 | 741.5 | 52919.52 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 750.36 | 1615.54 | 781.01 | 719.8127 | 9.75 | 3876.4727 | 77.1308
Lignite |  | 29.89 | 14.63 | 64.99 | 0 | 0 | 109.51 | 2.1789
Hydro |  | 121.56 | 36.52 | 62.2 | 20.35 | 8.88 | 249.51 | 4.9645
Nuclear |  | 31.08 | 47.22 | 51.74 | 0 | 0 | 130.04 | 2.5874
Gas, Naptha & Diesel |  | 12.26 | 49.46 | 6.5 | 0 | 24.88 | 93.1 | 1.8524
RES (Wind, Solar, Biomass & Others) |  | 191.79 | 171.87 | 198.27 | 4.3 | 0.98 | 567.21 | 11.2859
Total |  | 1136.94 | 1935.24 | 1164.71 | 744.4627 | 44.49 | 5025.8427 | 100
Share of RES in total generation (%) |  | 99.2935 | 8.8565 | 17.0144 | 0.58309 | 2.1973 | 96.763
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 99.4082 | 13.2163 | 26.8435 | 3.2916 | 22.3543 | 97.0399
H. All India Demand Diversity Factor |  |  |  | I. All India Peak Demand and shortage at Solar and Non-Solar Hour
Based on Regional Max Demands |  | 1.017 |  |  | Max Demand Met(MW) |  | Time | Shortage(MW)
Based on State Max Demands |  | 1.045 |  | Solar hr | 218897 |  | 10:58 | 0
|  |  |  | Non-Solar hr | 200787 |  | 19:15 | 399
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Solar Hours -> 07:00 to 17:00hrs and rest are Non-Solar Hours
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 13-Mar-2024
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 48 | 0 | 1.3 |  | -1.3
3 | 765 kV | GAYA-VARANASI | 2 | 38 | 670 | 0 | 8.84 |  | -8.84
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 412 | 0 | 7.55 |  | -7.55
5 | 765 kV | GAYA-BALIA | 1 | 0 | 484 | 0 | 5.63 |  | -5.63
6 | 400 kV | PUSAULI-VARANASI | 1 | 24 | 84 | 0 | 0.68 |  | -0.68
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 35 | 72 | 0 | 0.44 |  | -0.44
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 304 | 491 | 0 | 2.26 |  | -2.26
9 | 400 kV | PATNA-BALIA | 2 | 0 | 465 | 0 | 13.92 |  | -13.92
10 | 400 kV | NAUBATPUR-BALIA | 2 | 80 | 223 | 0 | 2.61 |  | -2.61
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 272 | 133 | 1 | 0 |  | 1
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 78 | 381 | 0 | 3.8 |  | -3.8
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 32 | 263 | 0 | 3 |  | -3
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 46 | 60 | 0 | 0.22 |  | -0.22
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 30 | 0 | 0 | 0 |  | 0
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 1 | 50.25 |  | -49.25
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1304 | 0 | 22.17 | 0 |  | 22.17
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 222 | 957 | 0 | 13.88 |  | -13.88
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 954 | 0 | 11.56 |  | -11.56
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 590 | 0 | 9.67 |  | -9.67
5 | 400 kV | RANCHI-SIPAT | 2 | 0 | 371 | 0 | 6.5 |  | -6.5
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 80 | 158 | 0 | 1.6 |  | -1.6
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 151 | 56 | 1.01 | 0 |  | 1.01
ER-WR | [5 empty] | 23.18 | 43.21 |  | -20.03
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 638 | 0 | 14.07 |  | -14.07
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1989 | 0 | 44.566 |  | -44.566
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2772 | 0 | 57.4 |  | -57.4
4 | 400 kV | TALCHER-I/C | 2 | 393 | 214 | 0 | 0.446 |  | -0.446
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 116.036 |  | -116.036
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 1 | 6 | 0.72 | 0.24 |  | 0.48
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 549 | 38 | 4.47 | 0 |  | 4.47
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 27 | 23 | 0.03 | 0 |  | 0.03
ER-NER | [5 empty] | 5.22 | 0.24 |  | 4.98
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 662 | 0 | 15.87 | 0 |  | 15.87
NER-NR | [5 empty] | 15.87 | 0 |  | 15.87
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1491 | 0 | 27.01 |  | -27.01
2 | HVDC | VINDHYACHAL B/B | - | 430 | 0 | 12.12 | 0 |  | 12.12
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 981 | 0 | 24.23 |  | -24.23
4 | 765 kV | GWALIOR-AGRA | 2 | 226 | 1811 | 0.3 | 12.18 |  | -11.88
5 | 765 kV | GWALIOR-PHAGI | 2 | 643 | 1377 | 1.89 | 15.58 |  | -13.69
6 | 765 kV | JABALPUR-ORAI | 2 | 303 | 776 | 0 | 9.42 |  | -9.42
7 | 765 kV | GWALIOR-ORAI | 1 | 753 | 0 | 11.72 | 0 |  | 11.72
8 | 765 kV | SATNA-ORAI | 1 | 0 | 1071 | 0 | 18.86 |  | -18.86
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1570 | 498 | 15.17 | 0.43 |  | 14.74
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2227 | 0 | 28.06 |  | -28.06
11 | 400 kV | ZERDA-KANKROLI | 1 | 793 | 42 | 4.11 | 0.01 |  | 4.1
12 | 400 kV | ZERDA -BHINMAL | 1 | 352 | 41 | 3.54 | 0.01 |  | 3.53
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 981 | 0 | 22.25 | 0 |  | 22.25
14 | 400 kV | RAPP-SHUJALPUR | 2 | 711 | 247 | 5.72 | 0.48 |  | 5.24
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 133 | 0 | 2.13 |  | -2.13
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 1.33 |  | -1.33
17 | 220 kV | MEHGAON-AURAIYA | 1 | 105 | 0 | 1.59 | 0 |  | 1.59
18 | 220 kV | MALANPUR-AURAIYA | 1 | 73 | 10 | 0.98 | 0 |  | 0.98
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 79.39 | 139.73 |  | -60.34
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1013 | 0 | 19.4 |  | -19.4
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 5515 | 0 | 92.33 |  | -92.33
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 0 | 1964 | 0 | 30.84 |  | -30.84
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2853 | 0 | 55.16 |  | -55.16
5 | 765 kV | WARORA-WARANGAL(NEW) | 2 | 0 | 2839 | 0 | 57.84 |  | -57.84
6 | 400 kV | KOLHAPUR-KUDGI | 2 | 992 | 0 | 13.3 | 0 |  | 13.3
7 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
9 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 126 | 2.36 | 0 |  | 2.36
WR-SR | [5 empty] | 15.66 | 255.57 |  | -239.91
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -199.607 | 94.652 | -103.95 |  | -2.4949
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | -265.227 | 146.146 | -144.5 |  | -3.468
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -239.777 | -112.98 | -191.75 |  | -4.602
|  | NER | 132kV GELEPHU-SALAKATI |  | -14 | 0 | -6.667 |  | -0.16
|  | NER | 132kV MOTANGA-RANGIA |  | 35 | 0 | 17.917 |  | 0.43
|  | NR | NEPAL IMPORT (FROM UP) |  | -73 | 0 | -60 |  | -1.45
NEPAL |  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -73 | 0 | -57 |  | -1.37
|  | ER | NEPAL IMPORT (FROM BIHAR) |  | -171.8 | -20 | -106.042 |  | -2.545
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -528 | -50 | -377.5 |  | -9.06
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -941 | -803 | -910.38 |  | -21.849
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -1429 | -810 | -1223.833 |  | -29.372
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -138 | 0 | -118.3333 |  | -2.84

## CrossBorder
|  | CROSS BORDER EXCHANGE SCHEDULE | [5 empty] | Date of Reporting: |  |  | 13-Mar-2024
Export From India (in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0 |  | 0 | 11.37 | 0 | 0 | 0 |  | 0 | 0 |  | 11.37
Nepal | 0.23 |  | 0 | 9.51 | 0 | 0 | 0.11 |  | 0 | 0 |  | 9.85
Bangladesh | 21.89 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 21.89
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Export | 22.12 |  | 0 | 20.88 | 0 | 0 | 0.11 |  | 0 | 0 |  | 43.11
Import by India(in MU)
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGA/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.51 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.51
Nepal | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Bangladesh | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Import | 0.51 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.51
Net from India(in MU) -ve : Export / +ve : Import
T-GNA
| GNA |  |  | COLLECTIVE
Country | (ISGS/PPA) |  | BILATERAL | IDAM |  |  | RTM |  |  |  |  | TOTAL
|  |  | TOTAL | IEX | PXIL | HPX | IEX |  | PXIL | HPX
Bhutan | 0.51 |  | 0 | -11.37 | 0 | 0 | 0 |  | 0 | 0 |  | -10.86
Nepal | -0.23 |  | 0 | -9.51 | 0 | 0 | -0.11 |  | 0 | 0 |  | -9.85
Bangladesh | -21.89 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | -21.89
Myanmar | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total Net | -21.61 |  | 0 | -20.88 | 0 | 0 | -0.11 |  | 0 | 0 |  | -42.6